INTERNATIONAL ELECTROTECHNICAL COMMISSION SCHEME FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR

USE IN EXPLOSIVE ATMOSPHERES (IECEx SCHEME)

Title:	Report from Dr Uwe Klausmeyer, Convenor ExTAG WG 10, Proficiency Testing

Circulated to: Ex Testing and Assessment Group (ExTAG)

INTRODUCTION

The following document is a report prepared by Dr Uwe Klausmeyer the Convenor of ExTAG WG10, Proficiency Testing. The document is issued for consideration during the ExTAG Paris Meeting.

For

Michel Brenon

ExTAG Secretary

| Address: Standards Australia Building 286 Sussex Street Sydney NSW 2000 Australia | IECEx Secretariat Contact Details: Tel: +61 2 8206 6940 Fax: +61 2 8206 6272 e-mail: chris.agius@iecex.com http://www.iecex.com | ExTAG Secretary Mr Michel Brenon/LCIE Tel: +33 1 40 95 5519 Fax: +33 1 40 95 5520 e-mail michel.brenon@lcie.fr |
| --- | --- | --- |

Report of the convenor of ExTAG WG 10, Dr. Klausmeyer, for the ExTAG meeting in Paris (2008)

General issues

Within the quality assurance policy for accredited laboratories it is always an issue how to take part in round robin tests, comparison tests and proficiency testing programs. In general the accreditation bodies are asking for comparison tests, but the Ex laboratories usually cannot refer to large scale programs.

The IECEx Scheme has the capability to organize and execute home-grown activities in this field. Other schemes (e.g. regional) sometimes are contracting service providers to execute the programs. Bearing in mind the high specific objectives and the fact that we have to train the external providers on their job by spending lots of time, we should (at least) start with programs with own resources and tailor the activities based on the present needs we have detected.

The vision should be to cover the whole field of conformity assessment, but to step in realistically we should start with simple basics. The most easy objectives to deal with are physically tests like temperature rise tests, explosion tests etc. These tests have to be aligned with the requirements of the ISO/IEC 17043, monitoring the results from the various IECEx test laboratories. A group of experts from the participating laboratories finally have to assess the results and possible differences, to investigate the reasons of the differences and to detail the test procedures in Operational Documents (ODs) of IECEx. Step by step all issues of conformity assessment of explosion protected products will be covered, promising to our customers an improved quality of our global scale operations.

Think smart – start small – start with explosion tests

UL DEMKO and PTB have designed a small proficiency testing program on explosion tests. Other IECEx test laboratories are invited to join our activities. Basic element of the program are small and medium sized explosion vessels with inbuilt movable walls. Various tests have been conducted in PTB under monitored conditions as displayed in the test report.

Next step will be now to align the program and the results with the requirements of the ISO/IEC 17043. Please find attached an example of a documentation of the results.

Conclusion

As soon as the first, in acc. with ISO/IEC 17043 validated results are available the floor is open to improve the first program (e.g. by introduce medium scale vessels and including propagation tests) or to go over other to other test specifications or both. It depends on the amount of resources we all are spending for this project.

Attachment: first results

|  | Test report | PL-EX-1 |
| --- | --- | --- |
|  |  | Page 1 of 6 |
| Job number | PEx1200800184 |
| Test report number | 2008 / 00184.1.0 / 2372-E |
| Sample number | 1.0 |
| Together with | UL International Demko A/S |
| Description | Test rig |
| Type designation | Explosion Wave Test Jig |
| Gas group | Acetylene, Hydrogen, Ethylene, Propane |
| Braunschweig, 2008-08-26 |  | Author: | Rüdiger Strutz |
|  |  | Signature: |  |
| Instructions - + - When all tests are conducted by one person, printed name and signature can be inserted here instead of including printed name and signature on each page containing data. Must indicate number of pages in the test report. ++ - When a test conducted by more than one person, printed name and signature of person conducting the test can be inserted next to the test name instead of including printed name and signature on each page containing data. |

|  | Test Report | PL-EX-1 |
| --- | --- | --- |
| Test Report No. | 2008 / 00184.1.0 / 2372-E | Page 2 of 6 |
| Date | 2008-07-14 | Author: Rüdiger Strutz |
| Comment | General comments |

Testcomments

Main Sample for proficiency testing, supplemented with Spark plugs for ignition.

|  | Test Report | PL-EX-1 |
| --- | --- | --- |
| Test Report No. | 2008 / 00184.1.0 / 2372-E | Page 3 of 6 |
| Date | 2008-07-14 | Author: Rüdiger Strutz |
| Testplace | Halle |

| Number | Type of instrument | Ident No. | Measurement range | Last calibration | Next calibration |
| --- | --- | --- | --- | --- | --- |
| 1 | Digital Oscilloscope | PL-EX-1-61135 | 0 - 10 V | 07.12.2007 | 07.12.2008 |
| 2 | Digital Oscilloscope | PL-EX-1-61133 | 0 - 10 V | 07.12.2007 | 07.12.2008 |
| 3 | Humidity and Temperature Transmitter | PL-EX-1-71039 | 0 - 100°C 0 - 99rH | 17.12.2007 | 17.12.2008 |
| 4 | Mass Flow Controller | PL-EX-1-73002 | n/a |  |  |
| 5 | Charge Amplifier | PL-EX-1-61011 | 0 - 10 V | 22.11.2006 | 22.11.2008 |
| 6 | Multimeter | PL-EX-1-61149 | 0 - 10 V | 25.03.2008 | 25.03.2009 |
| 7 | Piezoresistive Absolute Pressure Sensor | PL-EX-1-41017 | 0 - 2 bar | 21.09.2007 | 21.09.2009 |
| 8 | Piezoresistive Amplifier | PL-Ex-1-61024 | 0 - 10 V | 15.07.2008 | 15.07.2009 |
| 9 | Oxygen Analyser | PL-EX-1-71041 | 0 - 25% O2 |  |  |

|  | Test Report | PL-EX-1 |
| --- | --- | --- |
| Test Report No. | 2008 / 00184.1.0 / 2372-E | Page 4 of 6 |
| Date | 2008-07-14 | Author: Rüdiger Strutz |
| Testplace | Additional measurement tools |

| Number | Type of instrument | Ident No. | Measurement range | Last calibration | Next calibration |
| --- | --- | --- | --- | --- | --- |
| 1 | Quartz Pressure Sensor | PL-EX-1-41141 | 0 - 250 bar | 10.03.2008 | 10.03.2010 |
| 2 | Quartz Pressure Sensor | PL-Ex-1-41005 | 0 - 250 bar | 11.03.2008 | 11.03.2010 |
| 3 | Quartz Pressure Sensor | PL-EX-1-41032 | 0 - 250 bar | 10.03.2008 | 10.03.2010 |

|  | Test Report | PL-EX-1 |
| --- | --- | --- |
| Test Report No. | 2008 / 00184.1.0 / 2372-E | Author: Rüdiger Strutz | Page 5 of 6 |
| Date | 2008-07-14 |  |
| Test | Reference pressure / Standard ignition | Testplace: Halle |
| Standards | Individual test requirements, as requested by UL DEMKO. |

| No. | Igni- tion place | Precompr. of testmixture [bar] | Gas | Percentage of gas in air | Humidity [%] | Temperature [°C] | P1 [bar] | P2 [bar] | P3 [bar] | Tra.- miss. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 1.00 | Acetylene | 14.17 | 0.03 | 21.04 | 8.44 | 8.36 | 8.44 | no |
| 2 | 1 | 1.00 | Acetylene | 12.95 | 0.03 | 21.10 | 8.55 | 8.44 | 8.55 | no |
| 3 | 2 | 1.00 | Acetylene | 13.23 | 0.03 | 21.55 | 8.71 | 8.71 | 8.75 | no |
| 4 | 1 | 1.00 | Acetylene | 13.47 | 0.03 | 21.58 | 8.63 | 8.55 | 8.67 | no |
| 5 | 2 | 1.00 | Acetylene | 13.79 | 0.03 | 21.08 | 8.55 | 8.48 | 8.55 | no |
| 6 | 1 | 1.00 | Acetylene | 14.08 | 0.03 | 21.27 | 8.55 | 8.48 | 8.48 | no |
| 7 | 2 | 1.00 | Acetylene | 14.17 | 0.03 | 21.38 | 8.52 | 8.40 | 8.48 | no |
| 8 | 1 | 1.00 | Acetylene | 14.36 | 0.03 | 21.41 | 8.40 | 8.32 | 8.36 | no |
| 9 | 2 | 1.00 | Acetylene | 14.45 | 0.03 | 21.57 | 8.48 | 8.44 | 8.48 | no |
| 10 | 1 | 1.00 | Acetylene | 14.60 | 0.03 | 21.57 | 8.40 | 8.36 | 8.44 | no |
| 11 | 2 | 1.00 | Acetylene | 14.78 | 0.03 | 21.58 | 8.40 | 8.28 | 8.32 | no |
| 12 | 1 | 1.00 | Acetylene | 14.88 | 0.03 | 21.61 | 8.13 | 8.05 | 8.16 | no |
| 13 | 2 | 1.00 | Acetylene | 14.97 | 0.03 | 21.81 | 8.32 | 8.24 | 8.32 | no |
| 14 | 1 | 1.01 | Ethylene | 7.09 | 4.49 | 20.20 | 7.11 | 7.15 | 7.19 | no |
| 15 | 1 | 1.01 | Ethylene | 7.37 | 3.74 | 20.52 | 7.19 | 7.19 | 7.19 | no |
| 16 | 2 | 1.01 | Ethylene | 7.65 | 4.21 | 20.65 | 7.19 | 7.11 | 7.19 | no |
| 17 | 1 | 1.00 | Ethylene | 7.79 | 2.31 | 20.85 | 7.11 | 7.07 | 7.15 | no |
| 18 | 1 | 1.01 | Ethylene | 8.08 | 1.64 | 21.04 | 7.11 | 7.07 | 7.11 | no |
| 19 | 2 | 1.01 | Ethylene | 8.31 | 2.68 | 21.16 | 7.19 | 7.15 | 7.19 | no |
| 20 | 1 | 1.01 | Ethylene | 8.50 | 2.52 | 21.28 | 7.15 | 7.23 | 7.23 | no |
| 21 | 2 | 1.01 | Ethylene | 8.79 | 2.46 | 21.43 | 7.11 | 7.07 | 7.07 | no |
| 22 | 1 | 1.01 | Ethylene | 9.12 | 3.38 | 21.49 | 6.80 | 6.80 | 6.84 | no |
| 23 | 1 | 1.00 | Hydrogen | 29.19 | 3.19 | 21.59 | 6.37 | 6.37 | 6.33 | no |
| 24 | 2 | 1.00 | Hydrogen | 29.63 | 2.13 | 21.66 | 6.17 | 6.05 | 6.13 | no |
| 25 | 1 | 1.00 | Hydrogen | 29.97 | 1.88 | 21.76 | 6.21 | 6.13 | 6.21 | no |
| 26 | 2 | 1.00 | Hydrogen | 30.64 | 0.88 | 21.92 | 6.29 | 6.29 | 6.33 | no |
| 27 | 1 | 1.00 | Hydrogen | 31.08 | 2.99 | 21.89 | 6.29 | 6.21 | 6.21 | no |
| 28 | 1 | 1.00 | Hydrogen | 31.61 | 2.59 | 22.07 | 6.37 | 6.21 | 6.25 | no |
| 29 | 1 | 1.00 | Hydrogen | 32.09 | 3.53 | 22.11 | 6.37 | 6.29 | 6.33 | no |
| 30 | 2 | 1.00 | Hydrogen | 32.53 | 3.40 | 22.14 | 6.29 | 6.29 | 6.29 | no |
| 31 | 2 | 1.01 | Hydrogen | 33.06 | 4.12 | 22.12 | 6.25 | 6.05 | 6.09 | no |
| 32 | 1 | 1.00 | Propane | 4.03 | 3.91 | 20.37 | 0.12 | 0.12 | 0.12 | no |
| 33 | 2 | 1.00 | Propane | 5.00 | 2.24 | 20.70 | 6.45 | 6.52 | 6.41 | no |
| 34 | 1 | 1.00 | Propane | 4.86 | 3.08 | 20.76 | 6.29 | 6.29 | 6.37 | no |
| 35 | 2 | 1.00 | Propane | 4.63 | 2.76 | 20.84 | 6.45 | 6.45 | 6.41 | no |
| 36 | 2 | 1.00 | Propane | 4.45 | 1.25 | 21.24 | 6.45 | 6.48 | 6.45 | no |
| 37 | 1 | 1.00 | Propane | 4.12 | 1.12 | 21.69 | 6.45 | 6.41 | 6.41 | no |
| 38 | 1 | 1.00 | Acetylene | 14.03 | 0.03 | 21.92 | 9.30 | 8.98 | 13.28 | no |
| 39 | 2 | 1.01 | Acetylene | 14.03 | 0.03 | 21.82 | 7.81 | 7.73 | 7.81 | no |
| 40 | 1 | 1.00 | Acetylene | 14.45 | 0.03 | 22.14 | 9.30 | 8.91 | 12.81 | no |
| 41 | 2 | 1.00 | Acetylene | 14.45 | 0.03 | 22.03 | 7.38 | 7.27 | 7.23 | no |
| 42 | 1 | 1.01 | Acetylene | 14.83 | 0.03 | 22.07 | 9.14 | 8.83 | 12.11 | no |
| 43 | 2 | 1.01 | Acetylene | 14.83 | 0.03 | 22.08 | 7.15 | 7.07 | 7.11 | no |
| 44 | 1 | 1.01 | Acetylene | 15.16 | 0.03 | 22.34 | 8.98 | 8.67 | 10.47 | no |

|  | Test Report | PL-EX-1 |
| --- | --- | --- |
| Test Report No. | 2008 / 00184.1.0 / 2372-E | Author: Rüdiger Strutz | Page 6 of 6 |
| Date | 2008-07-14 |  |
| Test | Reference pressure / Standard ignition | Testplace: Halle |
| Standards | Individual test requirements, as requested by UL DEMKO. |

| No. | Igni- tion place | Precompr. of testmixture [bar] | Gas | Percentage of gas in air | Humidity [%] | Temperature [°C] | P1 [bar] | P2 [bar] | P3 [bar] | Tra.- miss. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 45 | 2 | 1.00 | Acetylene | 15.16 | 0.03 | 22.23 | 7.07 | 6.88 | 6.99 | no |
| 46 | 1 | 1.00 | Acetylene | 12.99 | 0.03 | 22.45 | 9.14 | 8.83 | 14.38 | no |
| 47 | 2 | 1.00 | Acetylene | 13.04 | 0.03 | 22.35 | 7.89 | 7.77 | 7.85 | no |
| 48 | 1 | 1.00 | Acetylene | 13.47 | 0.03 | 22.67 | 9.14 | 8.83 | 14.06 | no |
| 49 | 2 | 1.00 | Acetylene | 13.47 | 0.03 | 22.60 | 7.97 | 7.77 | 7.77 | no |
| 50 | 1 | 1.00 | Acetylene | 13.84 | 0.03 | 22.54 | 9.06 | 8.44 | 13.44 | no |
| 51 | 2 | 1.01 | Acetylene | 13.84 | 0.03 | 22.51 | 7.81 | 7.77 | 7.81 | no |

| No.of test | Comment |
| --- | --- |
| 37 | Experiment 1 - 37 : without room partition. |
| 51 | Experiment 38 - 51: with room partition. |

Example curve pressure to time without room separation

Example curve pressure to time with room separation