INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR

USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

Title: 	Annex A - WITNESSED TESTING SITE ASSESSMENT CHECKLIST Draft Operational Document IECEx OD 024 Version 03/Toronto

Circulated to: ExTAG Members

INTRODUCTION

This document was prepared by ExTAG WG6 and is Annex A to a revised version of OD024/V1 (ExTAG/177/CD). It has been prepared as a result of a Meeting held on April 22/23, 2009, in Toronto, and subsequent work carried out by the WG. The document along with ExTAG/177/CD  Draft Operational Document IECEx OD 024 Version 03/Toronto IECEx Rules of Procedure covering testing, or witnessing testing at a manufacturer’s or user’s facility is issued for consideration during the ExTAG Melbourne Meeting.

Michel Brenon

ExTAG Secretary

| Address: SAI Global Building 286 Sussex Street Sydney NSW 2000 Australia | IECEx Secretariat Contact Details: Tel: +61 2 8206 6940 Fax: +61 2 8206 6272 e-mail: chris.agius@iecex.com http://www.iecex.com | ExTAG Secretary Mr Michel Brenon/LCIE Tel: +33 1 40 95 5519 Fax: +33 1 40 95 5520 e-mail michel.brenon@lcie.fr |
| --- | --- | --- |

WITNESSED TESTING

SITE ASSESSMENT CHECKLIST

Draft

ANNEX A to OD 024

| ExTL or ExCB DATA |  |  | TEST FACILITY |  |  |
| --- | --- | --- | --- | --- | --- |
| Date of Testing |  |  | Name of Facility |  |  |
| ExTL or ExCB Representative |  |  | Address |  |  |
| Signature |  |  | Primary Contact |  |  |
| Date: |  |  | Phone/Fax |  |  |
| File No. |  |  | Quality Manager |  |  |
|  |  |  | Phone/Fax |  |  |
|  |  |  | Email |  |  |

|  | Complies? |  |  | Comments/Auditor Notes |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A |  |
| # Documentation |  |  |  |  |
| Do external accreditations exist for the test site? (attach copies of certificates) |  |  |  |  |
| Is the appropriate version of the test standard available for use? |  |  |  |  |
| - Are the appropriate ExTL test procedures available? - Are other standards or test methods involved and are they available? (Attach a list of the additional standards or methods) |  |  |  |  |
| # Test Equipment & Calibration |  |  |  |  |
| All test equipment/measurement instrumentation must comply with ExTL Quality System requirements pertinent to the tests being conducted. |  |  |  |  |
| Is the test equipment properly housed, maintained, and suitable to perform the required testing? |  |  |  |  |
| Have you noted details of the test equipment used? (i.e. type, serial number, model, manufacturer, model, calibration date, etc.) (Attach a separate list if necessary) |  |  |  |  |
| Does the instrumentation meet the requirements of the test standard? |  |  |  |  |
| Is all instrumentation in current calibration? (attach proof of calibration, for on-site equipment) |  |  |  |  |
| Is the equipment calibration traceable to national standards? |  |  |  |  |
| If an internal laboratory is used for instrument calibration - Do calibration methods exist? - Are they under document control? - Can traceability of measurements be established? (attach copies of methods and traceability documentation) |  |  |  |  |
| Is the equipment calibration provided with measurement uncertainty information? |  |  |  |  |
| Do procedures exist for the laboratory to notify ExTL or ExCB if prior used test equipment is received at calibration out of tolerance? |  |  |  |  |
| # Accommodations and Environmental Conditions |  |  |  |  |
| Are the room ambient conditions within the requirements of the standard(s)? - Are they monitored? - Is monitoring equipment calibrated? (attach proof of calibration and document ambient conditions throughout test) |  |  |  |  |
| Are the test utilities within test standard(s) requirements |  |  |  |  |
| # Is there effective separation from areas of incompatible activities? |  |  |  |  |
| Is the condition of the test sample appropriate for the tests to be conducted? |  |  |  |  |
| Identification Of Test Samples |  |  |  |  |
| # Are samples clearly identified by the client and accompanied by the relevant instructions/operating manual? |  |  |  |  |
| Are samples entered in a tracking database? |  |  |  |  |
| Are samples locked? And is access secure from entry by non-authorized personnel? |  |  |  |  |
| Do test Samples have a Identification/Tracking Label? |  |  |  |  |
| # Test Procedures and Methods |  |  |  |  |
| Are the specific ExTL test procedures in place? |  |  |  |  |
| Are the test methods/techniques used to carry out ExTL tests in accordance with the QPS test procedures? |  |  |  |  |
| Are these test methods (if used) recorded and identified with date and revision level? |  |  |  |  |
| Is testing under the control of the ExTL or ExCB representative? |  |  |  |  |
| If software is used for data processing: - Is it documented; - Validated for accuracy; - - Identified with date and revision levels |  |  |  |  |
| Consumables |  |  |  |  |
| Do procedures exist for the purchase, reception and storage of reagent and laboratory consumable materials relevant for the tests and calibrations? |  |  |  |  |
| Are there records (list) of critical consumables and approved suppliers? |  |  |  |  |
| Are consumables required for the product category under witness testing? |  |  |  |  |
| Do the consumables meet the requirement of the applicable standard(s)? |  |  |  |  |
| # Test Results |  |  |  |  |
| Are test results recorded on appropriate and controlled data sheets? |  |  |  |  |
| Do the data sheets contain sufficient information to determine compliance/non compliance with the test standard? |  |  |  |  |
| Are the data sheets signed and dated by the person performing the test? |  |  |  |  |
| Are the data sheets reviewed, countersigned and dated by the ExTL or ExCB representative witnessing the tests? |  |  |  |  |
| # Test Personnel |  |  |  |  |
| Have you noted the names of personnel assigned to perform the required tests? |  |  |  |  |
| Are the personnel performing the tests qualified: - For the tests being performed? - In the use of the test instruments being utilized? - In the use of ExTL test procedures? (provide names |  |  |  |  |
| Do the personnel: - Have the required training records? - Exhibit knowledge of the tests being performed and the equipment being used? |  |  |  |  |