**INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR  
CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE  
IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)**

## Title: Draft Amendment to IECEx 03-5, Edition 1.2

To: Members of the IECEx Management Committee, ExMC

**Introduction**

This document contains a proposed amendment to IECEx 03-5, Edition 1.2, as endorsed by the 2019 ExSFC Meeting.

This is now submitted for consideration and approval during the 2019 ExMC meeting for publication as Edition 1.3

Proposed changes to Clause 9.6 are shown using the tracking tools to indicate proposed additions, changes and ~~deletions~~.

**IECEx Secretary**

|  |  |
| --- | --- |
| **Address:**  **Level 33, Australia Square**  **264 George Street**  **Sydney NSW 2000**  **Australia** | **Contact Details:**  **Tel: +61 2 4628 4690**  **Fax: +61 2 4627 5285**  **e-mail:info@iecex.com**  [**http://www.iecex.com**](http://www.iecex.com) |

**CONTENTS**

**FOREWORD** 3

1 Scope 6

2 Normative references 6

3 Definitions 6

4 Governance of the IECEx Certified Service Facilities Scheme 7

5 Principles of the IECEx Certified Service Facilities Scheme for repair, overhaul and reclamation of Ex equipment 7

5.1 IECEx Service Facility Certificate 7

5.2 Method of application 8

5.3 Acceptance 8

5.4 Permissions 8

5.5 Editions of Standards, documents and guides 8

6 Confidentiality 9

7 Participation of countries in the IECEx Certified Service Facilities Scheme 9

8 IECEx instruments 9

8.1 IECEx Service Facility Certificate 9

8.1.1 Issue 9

8.1.2 Layout 9

8.1.3 Contents 9

8.2 IECEx Facility Audit Report 10

8.2.1 Content 10

8.2.2 Layout 10

8.2.3 Issue 10

8.2.4 Restrictions 10

9 Process to issue an IECEx Service Facility Certificate for repair, overhaul and reclamation of Ex equipment 10

9.1 Applicant 10

9.2 Documentation 10

9.3 Examination 11

9.4 Assessment of Service Facility’s quality system 11

9.5 Completion 11

9.6 Surveillance 11

9.7 Changes not covered by the FAR 12

9.8 Ensuring conformity 12

10 Acceptance of certification bodies 13

10.1 Acceptance of certification bodies (new ExCBs) not currently participating in the IECEx System’s Scheme for Certified Service Facilities 13

10.1.1 Conditions for acceptance 13

10.1.2 Application 13

10.1.3 Assessment 14

10.1.4 Resolution of differences 14

10.1.5 Report to ExMC 14

10.1.6 Acceptance 14

10.1.7 Notification 14

10.1.8 Changes in application 15

10.1.9 Extension of scope within the IECEx 03-5 Scheme 15

10.1.10 Re-assessment 15

10.1.11 Withdrawal 15

10.1.12 Suspension 15

11 IECEx publications 16

11.1 Types of publications 16

11.2 Information to be available 16

11.3 IECEx Bulletin 16

11.4 Source of information 16

12 Complaints 16

Annex A Declaration by a certification body applying to become an Ex Certification Body for the IECEx Certified Service Facilities Scheme for Repair, overhaul and reclamation of Ex equipment 17

**INTERNATIONAL ELECTROTECHNICAL COMMISSION**

**IECEx Certified Service Facilities Scheme - Part 5**

**Repair, overhaul and reclamation of Ex equipment**

**Rules of Procedure**

**FOREWORD**

The IECEx Management Committee (ExMC) has prepared this publication.

This publication is directly related to Publication IECEx 03-0 that complements the IECEx Basic Rules (comprising IEC CA 01 and the IECEx Supplement IECEx 01-S)

This edition of IECEx 03-5 takes effect immediately upon publication.

All of the annexes to this publication are normative.

**Document History**

|  |  |
| --- | --- |
| Date | Summary |
| 2013 | Original Issue (Edition 1 )  Approved during 2012 ExMC Meeting on the basis of   1. ExMC/819A/RM 2. ExMC/746/Inf |
| 2017 10 | Edition 1.1  Approved during 2017 ExMC Meeting on the basis of ExMC/1269/DV via ExMC/1298/DL, Decision 2017/57 |
| 2018 10 | Edition 1.2  Revised to clarify requirements for certificate and FAR Content. Approved for publication via ExMC Decision 2018/49 |
| 2019-10 | Edition 1.3  Revisions to Clause 9.6. |

**INTRODUCTION**

The IECEx is a single global certification Framework based on the IEC International Standards. It caters for countries whose national standards are either identical to those of the IEC or else very close to IEC standards.

The IECEx is truly global in concept and practice, reduces trade barriers caused by different conformity assessment criteria in various countries, and helps industry to open up new markets.

The goal is to help manufacturers reduce costs and time while developing and maintaining uniform product evaluation to protect users against products that are not in line with the required level of safety.

The aim of the IECEx System and its Schemes is to ease international trade of Explosion Protected Equipment (termed Ex equipment) by eliminating the need for duplication of testing and certification, while preserving safety. IECEx operates as an International Certification System covering products and services associated with the Ex industries and plants.

IECEx Schemes also aim the true view and approach of assure safety in hazardous areas during the whole life-cycle of Ex plants, which requires proper auditing, hazardous area classification, design, installation, inspection, maintenance and repair of explosion protected equipment.

The certification of the required competence of personnel engaged in tasks in hazardous areas is covered by the Certification of Personnel Competence IECEx 05 Scheme.

**Where do we commonly find Ex equipment and hazardous areas?**

Flammable gases, vapours, as well as combustible dusts create potentially explosive atmospheres. Ex equipment and installations in such areas include:

* Automotive refuelling stations or petrol stations
* Oil refineries, rigs and processing plants
* Oil and gas tankers, drilling ships and FPSO (Floating Production Storage Offloading vessels)
* Chemical and petrochemical processing plants
* Printing industries, paper and textiles
* Hospital operating theatres
* Aircraft refuelling and hangars
* Surface coating industries
* Underground coal mines
* Sewerage treatment plants
* Gas pipelines and distribution centres
* Grain handling and storage and processing (flour-milling industry)
* Woodworking areas
* Sugar and ethanol refineries
* Light metal working, where metal dust and fine particles can appear

**IECEx Certified Service Facilities Scheme – Part 5 – Repair, overhaul and reclamation of Ex equipment**

While certification of new Ex equipment is covered by the IECEx Certified Equipment Scheme, as detailed in IECEx 02, the IECEx Certified Service Facilities Scheme provides a single international scheme for the assessment and certification of Ex related service facilities that have an impact on the on-going compliance of Ex equipment with Ex safety standards.

Manufacturers producing new Ex equipment in accordance with their Ex Equipment Certification regime, cannot be held responsible for the actions or inactions taken during repair and overhaul, required during the whole life cycle of Ex installations.

The IECEx Certified Service Facilities Scheme – Repair, overhaul and reclamation of Ex equipment – provides Ex equipment users, regulators and the community with the confidence that Ex safety is maintained when Ex equipment is repaired, overhauled and/or reclaimed by an IECEx Certified Service Facility in accordance with this Scheme.

Ex Service Facilities that achieve IECEx Certification are required to demonstrate compliance with stringent IECEx requirements including:

* Operational procedures and repair, overhaul and reclamation techniques meet IECEx technical / management requirements encompassing IEC 60079-19
* Possess and maintain in operating condition necessary facilities and equipment including test equipment and traceability of measurements
* IECEx Quality Management System (QMS) requirements, based on ISO 9001
* Competent responsible person and operatives with current competence related to repair, overhaul and reclamation of Ex equipment standards or certification requirements, encompassing IEC 60079-19 and Unit of Competence Ex 005 (Overhaul and repair of explosion-protected equipment) set forth in IECEx OD 504 (Specification for Units of Competence assessment outcomes)
* Others necessary for proper servicing of Ex equipment

**More Information**

Further information is available from the IECEx website: [*www.iecex.com*](http://www.iecex.com) (containing free copies of the IECEx Rules and Procedures), from any of the IECEx Certification Bodies or directly from the IECEx Secretariat via the coordinates shown on the IECEx website.

**IECEx Certified Service Facilities Scheme**

**Part 5 – Repair, overhaul and reclamation of Ex equipment –**

**Rules of Procedure**

# Scope

This publication is directly related to IECEx 03-0 that complements the IECEx Basic Rules (comprising IEC CA 01 and the IECEx Supplement IECEx 01-S).

This document IECEx 03-5 supplements the general requirements contained in IECEx 03-0 by defining the rules of procedure of the IECEx Service Facilities Scheme covering Repair, overhaul and reclamation of Ex equipment These Rules are further supplemented by the IECEx Scheme’s Operational Documents.

NOTE: Rules covering the IECEx Certified Equipment Scheme and the IECEx Certification of Personnel Competence Scheme are given in Publications IECEx 02 and IECEx 05 respectively.

# Normative references

The following referenced documents are required for the application of these Rules.

IECEx Basic Rules (IEC CA 01 + IECEx 01-S), *IEC Harmonised Basic Rules (IEC CA 01) plus the IECEx Supplement (IECEx 01-S)*

IECEx OD 504, *Specification for units of competence assessment outcomes*

IEC 60079-19, *Explosive atmospheres – Part 19: Repair, overhaul and reclamation of Ex equipment*

ISO/IEC Guide 2, *Standardization and related activities - General vocabulary*

ISO 9001, *Quality management systems – Requirements*

ISO/IEC 17000, *Conformity assessment – Vocabulary and general principles*

ISO/IEC 17021-1, *Conformity assessment – Requirements for bodies providing audit and certification of management systems*

ISO/IEC 17065, *Conformity assessment - Requirements for bodies certifying products, processes and services*

# Definitions

ISO/IEC Guide 2 and ISO/IEC 17000 give the basic definitions.

For the purpose of the IECEx Service Facilities Scheme – Part 5, the definitions contained in IECEx 02 and those below apply:

**3.1**

**Ex Certification Body (ExCB) within the ExSFC Scheme**

a body which has been accepted according to these Rules and which issues IECEx Service Facility Certificates and IECEx Facility Audit Reports.

3.2

IECEx Certified Service Facilities Scheme – Part 5

the IECEx Scheme for the certification of workshops and repair facilities who conduct repair, overhaul and/or reclamation of equipment intended for use in explosive atmospheres**.** This Part 5 may also be referred to as the “IECEx 03-5 Scheme”.

3.3

IECEx Service Facility Certificate

a document issued under these Rules indicating that adequate confidence is provided that a duly identified Service Facility has been found to operate procedures that provide confidence that the work undertaken complies with IECEx requirements and is under the surveillance of an IECEx Certification Body (ExCB).

3.4

IECEx Facilities Audit Report (FAR)

a document that presents the results of an on-site assessment of a service facility’s quality control system, equipment, operating procedures and competence of their staff, by an ExCB, to the requirements of the IECEx Service Facility Certification Scheme. The FAR Summary is published on the IECEx On-line Certificate System.

3.5

Applicant

an organisation who applies to an ExCB for an IECEx Service Facility Certificate.

3.6

Service facility

an organization situated at a stated location or stated locations, that carries out or controls such stages in the repair, overhaul and reclamation, as required in IEC 60079-19, of an Ex equipment. At the same time the organisation accepts responsibility for continued compliance of the product with the relevant requirements and undertakes all obligations in that connection. This definition includes manufacturers of Ex equipment that offers a repair and overhaul service as well as Ex equipment users with their own repair, overhaul and reclamation service facility.

# Governance of the IECEx Certified Service Facilities Scheme

The Ex Management Committee (ExMC), whose responsibilities in this respect are defined in the IECEx Basic Rules, shall govern this IECEx Certified Service Facilities Scheme (referred to throughout this document as “Scheme”).

This document, (IECEx 03-5) sets out the rules of procedures of the IECEx Service Facilities Scheme covering repair, overhaul and reclamation of Ex equipment. These general rules are supplemented by the IECEx Scheme’s Operational Documents.

The IECEx Executive Secretary shall be responsible for the issuing and maintenance of Operational Documents which generally fall under the following categories:

1. Document containing explanatory guidance (IECEx Guide 03A).
2. Document containing rules and procedures that supplement those contained in IECEx 03-5.

The ExMC shall be kept informed on the currency of Operational Documents with ExMC agreement required for Operational Documents that fall under category b) above.

# Principles of the IECEx Certified Service Facilities Scheme for repair, overhaul and reclamation of Ex equipment

## IECEx Service Facility Certificate

The IECEx Certified Service Facilities Scheme provides the means for service facilities to obtain an IECEx certificate that is intended to provide the international Ex community with confidence that such Service Facilities undertake repair, overhaul and reclamation work in accordance with the technical and quality system requirements of the IECEx Service Facilities Scheme.

The aim of the IECEx Certified Service Facilities Scheme is to ensure that IECEx Certified Service Facilities comply with the following:

* Possess and maintain in operating condition the equipment (including specialized equipment) required for repair (including major repair), overhaul and reclamation of Ex equipment.
* The establishment and implementation of relevant quality management system procedures
* Possess as a minimum one person determined as competent in the Ex repair field by the ExCB
* Controls and procedures for safe access to the equipment being inspected or maintained in accordance with the site operator’s requirements and minimum occupational health and safety requirements

IEC 60079-19 and IECEx Certified Service Facilities Scheme’s Quality Management System (QMS) requirements, based on the relevant requirements of ISO 9001 with additional requirements specific to the repair, overhaul and reclamation of Ex equipment, form the basis of the IECEx Certified Service Facilities Scheme requirements.

The IECEx Service Facility Certificate may be issued for a specific area of operation of an Ex repair facility, for example to cover repair and overhaul of Ex d rotating machines only.

Ex Repair and Overhaul Service Facilities that have attained and maintain IECEx Certification may affix the IECEx logo to IECEx Repair and Overhaul Reports and stationery providing that there is no misrepresentation of the scope of certification.

NOTE: Refer to IECEx Operational Document, OD 315-5 for examples of IECEx Repair and Overhaul Report forms.

## Method of application

An ExCB approved by the ExMC in accordance with these Rules and associated IECEx Operational Documents may issue IECEx Service Facility Certification.

Applications from organizations seeking acceptance as an ExCB for the purpose of issuing IECEx Service Facility Certificates can be accepted from bodies that reside in an IECEx Participating Member Country. The application is made to the IECEx Secretariat.

Refer to IECEx Basic Rules regarding country membership of the IECEx.

## Acceptance

Certification bodies are accepted into the IECEx Certified Service Facilities Scheme for repair, overhaul and reclamation of Ex equipment, following satisfactory assessment of their capability by assessors appointed by the ExMC.

The Certification Body’s capability is assessed in accordance with the requirements of ISO/IEC 17065 and IECEx Scheme requirements.

## Permissions

Only ExCBs that have been accepted for the purpose of issuing IECEx Service Facility Certificates and reside in an IECEx Participating Member Country are permitted to issue IECEx Service Facility Certificates.

## Editions of Standards, documents and guides

A new IECEx Service Facility Certificate may be issued to a service facility for only to the current edition or one prior of the relevant standards, documents and guides indicated in Clause 2 (Normative references).

NOTE It is often the practise that Ex Service Facility issue reports for any specified edition of the relevant Standards, up to and including the edition given in the certificate.

An upgrading of existing IECEx Service Facility Certificates is required to be undertaken within a time period not exceeding 3 years after the publication of a new edition of an IEC International Standard.

Certificates that are not up graded to the latest editions within this period shall be suspended or cancelled.

# Confidentiality

All those participating in the IECEx Certified Service Facilities Scheme shall respect the confidentiality of any information that they obtain and take all reasonable steps to bind their staff and those working under contract to preserve that confidentiality. The effectiveness of such steps taken shall be evaluated as part of the IECEx assessment of the ExCB.

# Participation of countries in the IECEx Certified Service Facilities Scheme

In order for a country to participate in the management of the IECEx Certified Service Facilities Scheme the country must first be a member of the IECEx System and comply with the requirements for IECEx Membership, as detailed in IECEx Basic Rules. Countries that are existing members of the IECEx System shall be considered members of the IECEx Certified Service Facilities Scheme.

# IECEx instruments

## IECEx Service Facility Certificate

### Issue

An ExCB, on the basis of a satisfactory IECEx Facilities Audit Report (FAR), issues an IECEx Service Facility Certificate certifying that the type of Ex repair, overhaul or reclamation service identified on the certificate conforms in all relevant respects with the IECEx requirements concerning technical and quality management system procedures; and utilises at least one person, identified as a responsible person, as defined in IEC 60079-19, and whose competence has been satisfactorily demonstrated to the ExCB.

The purpose of an IECEx Service Facility Certificate is to provide independent verification that the Service Facility, listed on the IECEx Service Facility Certificate, has the capability to comply with IECEx Certified Service Facilities Scheme requirements.

NOTE 1 The ExCB obtains evidence to verify the competence of the Service Facility staff, as claimed by the Service Facility, during the assessment which may be by way of examination, interviews or combination of both. Formal training, both internal and external, concerning Ex should also be taken into account.

NOTE 2 The requirements set forth in IECEx OD 504 (Specification for Units of Competency Assessment Outcomes), Units of Competency Ex 005 (Overhaul and repair of explosion-protected equipment) should be used as a reference

### Layout

The ExMC shall decide on the layout and content of IECEx Service Facility Certificates.

### Contents

The IECEx Service Facility Certificate shall contain at least the following information:

* Certificate Number
* Date of Issue
* clear description of the repair, overhaul and reclamation service and any limitations of scope
* Reference to the requirements set forth in IEC 60079-19
* clear description of the repair, overhaul or reclamation service, including the type of equipment (e.g. rotating machines, enclosures, instruments, radios), and the explosion protection techniques in relation to the type of equipment
* the name and address of the Service Facility for repair, overhaul or reclamation of Ex equipment
* The location from where the services covered by the IECEx Service Facility Certificate are controlled and reports are issued. A certificate shall only cover one location; in case of multiple locations each location shall have its own certificate.
* the reference number of the original FAR that enabled the IECEx Service Facility Certificate to be issued
* name of the issuing ExCB

## IECEx Facility Audit Report

### Content

A FAR is prepared and issued by an ExCB recording the assessment of an Ex Service Facility’s quality system for compliance with the IECEx Repair and Overhaul requirements. The assessment includes assessing conformity of the Service Facility’s documented quality system with the requirements of the IECEx Certified Service Facilities Scheme in addition to assessing the implementation of the quality system by the Service Facility and the system for verifying competency of Ex repair staff.

### Layout

The ExMC shall define the layout and content of FARs.

### Issue

Upon issuing FARs, ExCBs shall ensure that the FAR refers to the location from where the services covered by the IECEx Service Facility Certificate are controlled and reports are issued.

### Restrictions

The FARs are documents used in the preparation of the IECEx Service Facility Certificate and are the basis for on-going surveillance of the Service Facility. They shall not be used in any form of advertising or sales promotion in a way that the information may be misrepresented.

# Process to issue an IECEx Service Facility Certificate for repair, overhaul and reclamation of Ex equipment

## Applicant

An Ex Service Facility may make an application for an IECEx Service Facility Certificate for repair, overhaul and reclamation of Ex equipment to any ExCB that has been accepted for this purpose by ExMC. The applicant may be a workshop or repair facility. The applicant shall declare that the same application is not ongoing with any other ExCB nor have been refused in a previous stage with the same ExCB.

## Documentation

The documentation submitted by the applicant shall accurately identify the repair, overhaul and reclamation services (including any Scope Limitations) for which certification is required, the names of the responsible persons and operatives to be verified as being competent as well as the location(s) where the Ex Service Facility conducts its activities.

The Quality Management System (QMS) of the Service Facility shall be documented and shall control at least the following:

* the appointment of Responsible Persons and operatives and the maintenance of their competence.
* the maintenance and calibration of test and measuring equipment used in conducting repair, overhaul and reclamation
* procedures for safe access to the equipment being repaired or overhauled in accordance with the site operator’s requirements and minimum occupational health and safety requirements
* the authorities and responsibilities of persons reviewing, issuing and managing reports

Reference should be made to the requirements set forth in IECEx OD 504 (Specification for Units of Competence Assessment Outcomes), Unit of Competence Ex 005 (Overhaul and repair of explosion-protected equipment).

## Examination

The ExCB shall conduct an examination of the documentation to verify that the Ex repair, overhaul and reclamation service is in conformity with IECEx requirements, which embody the requirements of IEC 60079-19.

## Assessment of Service Facility’s quality system

The ExCB shall assess the conformity of the Service Facility’s Quality Management System (QMS) and associated quality plan(s) for compliance with IECEx Certified Service Facility Scheme requirements. The ExCB shall issue an IECEx FAR, only when full conformity with IECEx Certified Service Facilities Scheme requirements has been established.

A Facility Assessment Report (FAR) is valid for a maximum period of three (3) years providing intermediate FAR assessments are satisfactory and the FAR is up-issued. A FAR can be withdrawn or suspended if the results of intermediate surveillance assessments are unsatisfactory during the three year period. On or before the expiry of the three year period a full reassessment is required and the FAR up-issued to reflect a satisfactory completion of a full reassessment of the specified location(s).

## Completion

Upon satisfactory completion of the work, the ExCB shall conduct an independent review of the FAR to ensure that it covers the Service Facility location and the type of product and Ex types of protection. If the review is satisfactory the ExCB shall issue the FAR together with an IECEx Service Facility Certificate to the applicant, with a copy of each being retained by the ExCB. The Service Facility and the ExCB shall each retain a set of the documentation referred to in the certificate.

An FAR Summary is published on the IECEx website and contains at least the Service Facility’s location, the type of service, the type of explosion protection of the equipment to be repaired, overhauled or reclaimed, and the expiration date of the FAR.

The on-line FAR Summary shall be used to expand upon the essential content of the Certificate and include clear description of the repair, overhaul or reclamation service, including the type of equipment (e.g. rotating machines, enclosures, instruments, radios), the explosion protection techniques in relation to the type of equipment and rating of the equipment and other technical characteristics including but not limited to voltage, electrical capacity, dimensions, and weight limitations of the Ex equipment where these define limit the capability of a certified service facility.

## Surveillance

The ExCB shall sign an agreement with the Service Facility to enable the ExCB to carry out, or arrange for another body to carry out on its behalf, periodic surveillance of the Service Facility’s Quality Management System (QMS) and quality plan(s) that shall include on-site assessments at the Service Facility’s premises. The frequency of such surveillance, inspection and assessment shall be set at a frequency of at least once every 12 months, unless the ExCB is aware of concerns that may consider the Service Facility no longer capable of complying with the IECEx Service Facility Scheme requirements and an increased frequency is deemed appropriate.

As an exception, the period between assessments may be extended to 18 months, provided all of the following apply:

* the service facility is also a Manufacturer under the IECEx Certified Equipment Scheme,
* the facility will ONLY repair certified products that they have manufactured,
* a valid QAR is maintained,
* the repair process and manufacturing process are under the same management structure and same Quality Management System,
* the service facility certificate scope states that they are only able to repair equipment that they have manufactured under an IECEx Certificate of Conformity that is supported by a valid and current QAR,
* the equipment is released in accordance with the requirements of IEC 60079-19 for marking with the “R in square” repair mark, indicating that the equipment has been repaired to the original certification documentation.

## Changes not covered by the FAR

If the Service Facility wishes to make any changes to the details of the FAR where such changes may compromise the continued capability to provide the Ex repair service listed on the FAR at the specified location, the Service Facility shall apply for an addendum to the ExCB which granted the IECEx Service Facility Certificate. This application shall describe the changes and the measures adopted to ensure continuing conformity with IECEx requirements.

The ExCB shall arrange for such work as is necessary to be carried out to verify that the repair service will continue to conform to the Scheme requirements after incorporating the change(s). The ExCB shall issue an IECEx FAR, only when (continued) full conformity with IECEx Certified Service Facilities Scheme requirements has been established.

Upon satisfactory completion of the work, the ExCB shall review the FAR to ensure that it covers the requested change(s). If the review is satisfactory the ExCB shall issue the FAR together with a new version of the relevant certificate to the applicant, with a copy of each being retained by the ExCB.

The Ex Service Facility and the ExCB shall each retain a set of the documentation referred to in the IECEx ExSF certificate.

## Ensuring conformity

The Service Facility has the responsibility to ensure that all Ex equipment is repaired, overhauled and reclaimed in accordance with IECEx Scheme and IEC 60079-19 requirements. Following such work, the Service Facility shall issue their clients with an IECEx Repair and Overhaul Report that may bear the IECEx logo in accordance with IECEx Guide 01B.

The Ex Service Facility shall ensure that the IECEx logo or IECEx Service Facility Certificate is not subjected to misuse or misrepresentation. Such misuse or misrepresentation could lead to suspension or withdrawal of the IECEx Service Facility Certificate.

**9.9 Documentation retained**

In placing an application with an ExCB, the Service Facility authorises the ExCB to keep, for future reference, photographs and technical documentation of the Service Facility. Such reference material shall be confidential.

**9.10 Surcharges**

An Ex Service Facility who is not located in an IECEx participating country and an applicant acting on behalf of a Service Facility in such a country shall pay a contribution to the costs of the IECEx Scheme in the form of a surcharge for each application, the amount to be decided by the ExMC and defined in IECEx OD 019.. The surcharge is to be collected by the ExCB handling the application, and remitted to the IECEx account.

**9.11 Suspension or cancellation**

An IECEx Service Facility Certificate may be suspended or cancelled by the issuing ExCB in case:

* there is no payment of outstanding fees;
* it has been issued in error;
* the holder requests cancellation;
* where the certificate or IECEx logo or Mark is used in a misleading way;
* the Ex repair service no longer complies with the IECEx requirements; or
* the Service Facility’s Quality Management System (QMS) and associated quality plan(s) no longer provides adequate confidence that Ex equipment will be repaired or overhauled in accordance with IECEx requirements.

The ExCB shall give due notice to the Service Facility of such suspension or cancellation and shall give the reason(s).

When an IECEx Service Facility Certificate is suspended or when it has been cancelled, the Service Facility shall no longer describe the Ex repair or overhaul service, or their organization, as "IECEx certified", nor shall he use the IECEx logo on IECEx Repair, overhaul and reclamation reports.

The ExCB responsible for issuing the IECEx Service Facility Certificate shall determine the effect of Ex equipment already repaired, overhauled or reclaimed, prior to the cancellation of the certificate.

**9.12 Notification of cancellation**

When an IECEx Service Facility Certificate has been cancelled, the issuing ExCB shall notify the IECEx Secretariat immediately. Cancellation of certificates shall be published on the IECEx website.

**9.13 Compliance with rules**

The applicant shall follow the rules of procedure of the ExCB and shall confirm readiness to comply with all the relevant provisions regarding, for example, facility surveillance and payment of fees.

**9.14 Appeals**

Should a Service Facility or applicant be refused the issuing of an IECEx FAR or IECEx Service Facility Certificate or be the subject of suspension or cancellation of an IECEx Service Facility Certificate and disagree with this decision, he may lodge an appeal to the IECEx Board of Appeal.

# Acceptance of certification bodies

## Acceptance of certification bodies (new ExCBs) not currently participating in the IECEx System’s Scheme for Certified Service Facilities

### Conditions for acceptance

A new IECEx Certified Service Facility Scheme Certification Body (“new certification body”) shall be accepted as an ExCB in the IECEx Certified Service Facility Scheme by the IECEx Management Committee (ExMC) and given the right to issue IECEx Service Facility Certificates and FARs, under the following conditions:

* The applicant certification body shall be located in a participating country;
* The applicant certification body shall be recognised at national level for operating Ex certification or approval schemes for specified types of protection;
* The competence of the applicant certification body to comply with these Rules shall be demonstrated by assessment. The general competence, efficiency, experience, familiarity with the relevant standards and the types or concepts of protection included in those standards and competence to carry out quality management system assessments to ISO/IEC 17021-1 as well as compliance with ISO/IEC 17065 shall be assessed. Acceptance in another IEC Conformity Assessment System or IECEx Scheme or accreditation by a recognized national accreditation body shall be taken into account. In those cases, the ExMC shall decide upon the extent of the assessment that is necessary.

### Application

The candidate new certification body, via the national Member Body of the IECEx System, shall make an application for the acceptance of a certification body for the issuing of IECEx Service Facility Certificates.

The application shall be submitted to the IECEx Secretariat as a completed Form (refer ExMC/417\*/Q) and shall be accompanied by a declaration as detailed in Annex A following in this publication.

Existing ExCBs currently accepted in the IECEx Certified Equipment Scheme may apply for acceptance as an ExCB in the IECEx Certified Service Facilities Scheme by submission of an application to the IECEx Secretariat using ExMC/417\*/Q. IECEx OD 316-5, Section 3 provides details on the process for responding to this type of application for acceptance.

### Assessment

The candidate new IECEx certification body (ExCB) shall be assessed according to the IECEx Assessment procedures to determine that the conditions according to 10.1.1 are fulfilled. The assessment may include witnessing by an IECEx Assessor of an assessment of a service facility conducted by the candidate new ExCB.

Assessors approved by ExMC shall carry out the assessment as part of an IECEx Assessment Team appointed by the IECEx Secretariat. The candidate new ExCB shall be given the names and current appointments of the assessors proposed. All those IECEx Assessors proposed shall have a working knowledge of repair, overhaul and reclamation of Ex equipment or other service facilities. Candidate new ExCBs may object "for cause" (reasons to be stated) to the appointment of specific assessors.

The candidate new ExCB to be assessed shall express its willingness to pay the professional fees of the assessors prior to assessment. The amount will be decided by the ExMC (and normally documented in IECEx OD 019), and will include reasonable travelling and living expenses arising from the assessment. An estimate of these expenses shall be provided to the candidate in advance and agreed by the candidate new ExCB.

IECEx Assessment Teams shall report to the IECEx Executive Secretary who shall manage all assessments, including the appointment of assessment teams from a list of assessors approved by the ExMC, to ensure assessments are carried out in a timely manner and in accordance with the requirements of the Scheme.

### Resolution of differences

During the assessment, the assessors shall prepare a draft report that shall be discussed with the management of the candidate ExCB. Efforts should be made to resolve any differences of opinion between the assessors and the candidate during this discussion.

### Report to ExMC

The assessors shall submit to the IECEx Secretariat for initial review and then to ExMC, with a copy to the representatives of the candidate certification body, a confidential report containing their findings and recommendations, taking into account the declaration submitted together with the application. The candidate ExCB may attend an ExMC meeting or submit written comments in order to respond to enquiries regarding its application.

### Acceptance

The ExMC shall decide upon the acceptance of the candidate new certification body at an ExMC meeting or by correspondence. In the latter case, the decision shall be reported to the next meeting of the ExMC and recorded in the minutes.

### Notification

If the decision of the ExMC is positive, the IECEx Executive Secretary shall inform the candidate certification body in writing of their acceptance.

If the decision of the ExMC is negative, the Chairman of the ExMC may, depending on the findings, suggest to the candidate certification body:

1. to withdraw the application, or
2. to accept a new assessment.

### Changes in application

Each ExCB as an applicant, candidate or accepted ExCB shall inform the IECEx Secretariat of the ExMC about changes in the information given according to 10.1.2.

### Extension of scope within the IECEx 03-5 Scheme

When an ExCB already accepted in the IECEx Certified Service Facility Scheme to issue Certificates and FARs to facilities providing repair and overhaul services wishes to extend its scope of acceptance within the 03-5 Scheme with respect to additional Ex protection techniques , an application shall be made to the IECEx Secretariat If the ExCB has been assessed within the last five years, the members of the Assessment Team who assessed the ExCB may be invited to provide comments on the application during a review process that shall be conducted by the IECEx Secretariat in consultation with the IECEx Executive.

The IECEx Executive shall decide whether the extension can be accepted on the basis of the information provided or if a full or limited assessment will be needed. Decisions of the IECEx Executive shall be reported to the next ExMC meeting for endorsement.

### Re-assessment

By means of re‑assessment to the extent and frequency deemed necessary, the ExMC shall verify whether ExCBs are still fulfilling the conditions of 10.1.1.

### Withdrawal

An ExCB wishing to withdraw from the IECEx Certified Service Facility Scheme shall notify IECEx Secretariat via the Member Body of the IECEx Certified Service Facility Scheme at least one year in advance and shall indicate the reason for the withdrawal and the date from which the withdrawal will become effective.

### Suspension

The acceptance of an ExCB may be suspended or withdrawn by the ExMC if the ExCB no longer fulfils the conditions of 10.1.1 or if in the opinion of the ExMC, the ExCB hampers the aim, operation or development of the IECEx Certified Service Facilities Scheme, fails to take action regarding misuse of IECEx Service Facility Certificate, or violates these Rules. Before such a decision is made, the ExCB shall be given the opportunity to take corrective action over a period of six months and state its own opinion on the matter.

A decision to suspend or withdraw the acceptance of an ExCB shall require agreement at a meeting of the ExMC by a majority of at least four fifths of the total number of IECEx System Member Bodies voting. Where dealt with at a Meeting, Members not attending that meeting shall have the right to cast their vote in writing by registered mail, or e-mail to the IECEx Secretariat of the ExMC prior to the meeting.

Where, in the opinion of the IECEx Executive Secretary, a matter is considered so serious, for example an item or action that might bring the reputation of IEC and IECEx into question, that it requires immediate action, an ExCB may be suspended following consultation and support with the IECEx Chairman and at least two thirds of Members of the IECEx Executive. The IECEx Secretariat shall within one month, inform ExMC Members of the decision with an indication of the date of suspension.

In such cases the IECEx Chairman shall report, with supporting information, at the next ExMC meeting for review of the decision to continue with suspension or withdrawal of the ExCB acceptance or if the decision needs to be taken before the next ExMC meeting this matter shall be dealt with via voting by correspondence by a majority of at least four fifths of the total number of members voting.

In case of a suspension or a withdrawal, the certification body in question shall not be allowed to claim any relationship with the IECEx Certified Service Facilities Scheme.

# IECEx publications

## Types of publications

The publications of the IECEx System shall accommodate the relevant information regarding Ex Repair and Overhaul.

In addition, the ExMC through its Secretariat may issue Operational Documents to ensure the common application of these Rules of procedures by all ExCBs.

The IECEx Secretariat shall maintain a current list of all Operational Documents.

## Information to be available

The following information shall be made readily available to the public:

* A current list of accepted ExCBs
* Service facilities holding IECEx Service Facility Certificates
* IECEx Service Facility Certificates

This and other relevant information may be made available on the IECEx Website: *www.iecex.com*

## IECEx Bulletin

The Bulletin detailed in IECEx 02 shall be amended to accommodate the relevant information regarding the IECEx Certified Service Facilities Scheme.

## Source of information

The information published in the IECEx publications is based on information given by the Member Bodies of the IECEx Certified Service Facilities Scheme and ExCBs. Neither the IEC nor the IECEx Executive Secretary is therefore liable for the accuracy of that information. Publication of commercial information shall be avoided.

# Complaints

If there are complaints concerning the actions of an ExCB that the ExMC cannot resolve, the ExMC or the complainant shall have the right to request the IEC Conformity Assessment Board (CAB) for appropriate action in accordance with IECEx Basic Rules.

1. Declaration by a certification body applying  
   to become an Ex Certification Body for the IECEx Certified Service Facilities Scheme for Repair, overhaul and reclamation of Ex equipment

The declaration by a certification body applying to become an Ex Certification Body (ExCB) under the IECEx Certified Service Facilities Scheme for Repair and Overhaul, shall be a self‑contained document including the following information:

a) a description of the body which gives, in addition to an organization chart, information about the legal status of the body, the address(es) at which it manages services and issues reports;

b) the means by which the body will demonstrate compliance with ISO/IEC 17021-1 and ISO/IEC 17065;

c) The responsibilities at national level concerning certification and the schemes operated;

d) The arrangements for appeal, the documents available for providing supporting information, for example with regard to existing accreditation;

e) Details of senior management and staff with competence in the validation of Ex Service Facilities;

f) A list of the type of repair, overhaul and reclamation of Ex equipment and Ex types of protection according to which the Certification Body wishes to issue IECEx Service Facility Certificates;

g) A statement of the number of reports issued in the preceding two years for each type of protection, under the IECEx Service Facilities Scheme or some other relevant national or regional Ex certification Scheme;

1. A summary of past experience in relevant repair, overhaul or reclamation activities regarding Ex equipment and Ex installations, onshore or offshore; and

i) A statement that the body will abide by the Rules and use its best endeavours to assist in the achievement of the aims and objectives of the IECEx System