INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM) Title: IECEx Application to become an Accepted Ex Test Laboratory in the IECEx Equipment Scheme, 02.

CIRCULATED TO: Members of ExMC, ExTAG

Introduction During the 2015 ExMC Christchurch NZ Meeting, ExMC WG4 was charged with the task of conducting a review of the IECEx Application to become an Accepted Ex Test Laboratory in the IECEx Equipment Scheme, 02. The document will supersede ExMC/48J/Q. WG4 undertook this work and during their May 2016 meeting in Northbrook determined a number of proposed changes. Refer WG4 Report Document ExMC/1141/R. While intended for consideration during the Umhlanga meeting, ExMC Members are invited to submit any comments to the Secretariat no later than Monday 22 August 2016.

IECEx Secretariat

Level 33, 264 George Street I Sydney NSW  2000 I Australia I tel: +61 24628 4690 I E-mail: info@iecex.com I Web: www.iecex.com

IEC Head Office,

3 rue de Varembé, PO Box 131, CH-1211 Geneva 20, Switzerland
Telephone: +41 22 919 02 15 Telefax: +41 22 919 03 00 E-mail: info@iecex.com  Web www.iec.ch

IECEx Secretariat

Level 33, Australia Square

264 George Street

Sydney NSW 2000

Australia

Email: info@iecex.com

Date:

Reference:

For the attention of the Secretary of the IEC Ex Management Committee.

Application for a test laboratory to become an Accepted Ex Test Laboratory in the Scheme of the IEC for Certification to Standards relating to Equipment for use in Explosive Atmospheres (IECEx Equipment Scheme)

The IECEx Member Body of (name of the country)………………………………… makes the following application in accordance with 11.2.2 and annex C of Publication IECEx 02

a)	Description of the testing laboratory

-	name of the laboratory

-	organisation chart (use a separate page or pages)

-	relationship between the laboratory and the relevant Ex Certification Body (ies)

-	the legal status of the laboratory

-	the address(es) at which it carries out its operations

-	the responsibilities concerning testing

the means by which the laboratory will demonstrate compliance with ISO/IEC Guide 17025

-	the documents available for providing supporting information, for example with regard to existing accreditation

- a list of the standards accepted for use in the IECEx Scheme according to which the laboratory intends to conduct tests (tick one or  more of the following IEC standards) (* indicates superseded standard):

| Number (Latest edition will be assumed unless otherwise indicated) | Title |  |
| --- | --- | --- |
| IEC 60079-0 | Explosive atmospheres - Part 0: Equipment - General requirements |  |
| IEC 60079-1 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” |  |
| IEC 60079-2 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure «p» |  |
| IEC 60079-5 | Explosive atmospheres - Part 5: Equipment protection by powder filling «q» |  |
| IEC 60079-6 | Explosive atmospheres - Part 6: Equipment protection by oil immersion «o» |  |
| IEC 60079-7 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" |  |
| IEC 60079-11 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” |  |
| IEC 60079-13 | Explosive atmospheres - Part 13: Equipment protection by pressurized room 'p' |  |
| IEC 60079-15 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" |  |
| IEC 60079-18 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” |  |
| IEC 60079-25 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems |  |
| IEC 60079-26 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga |  |
| *IEC 60079-27 | Explosive atmospheres – Part 27: Fieldbus intrinsically safe concept (FISCO) |  |
| IEC 60079-28 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation |  |
| IEC 60079-29-1 | Explosive atmospheres - Part 29-1: Gas detectors – Performance requirements of detectors for flammable gases |  |
| IEC 60079-29-4 | Explosive Atmospheres – Part 29-4: Gas detectors - Performance requirements of open path detectors for flammable gases |  |
| IEC/IEEE 60079-30-1 | Explosive atmospheres – Part 30-1: Electrical resistance trace heating – General and testing requirements |  |
| IEC 60079-31 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" |  |
| IEC TS 60079-32-1 | Explosive atmospheres - Part 32-1: Electrostatic hazards, guidance |  |
| IEC 60079-32-2 | Explosive atmospheres - Part 32-2: Electrostatics hazards - Tests |  |
| IEC 60079-33 | Explosive atmospheres – Part 33: Equipment protection by special protection “s” |  |
| IEC 60079-35-1 | Explosive atmospheres – Part 35-1: Caplights for use in mines susceptible to firedamp – General requirements – Construction and testing in relation to the risk of explosion |  |
| IEC 60079-35-2 | Explosive atmospheres – Part 35-2: Caplights for use in mines susceptible to firedamp – Performance and other safety-related matters |  |
| IS0 80079-36 | Explosive atmospheres - Part 36: Non-electrical equipment for explosive atmospheres – Basic method and requirements |  |
| ISO 80079-37 | Explosive atmospheres - Part 37: Non-electrical equipment for explosive atmospheres – Non electrical type of protection constructional safety ”c” control of ignition source ”b”, liquid immersion ”k” |  |
| IEC TS 60079-39 | Explosive atmospheres-Part 39: Intrinsically safe systems with electronically controlled spark duration limitation |  |
| IEC TS 60079-40 | Explosive atmospheres-Part 40: Requirements for process sealing between flammable process fluids and electrical systems |  |
| *IEC 61241-0 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements |  |
| *IEC 61241-1 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosure “tD” |  |
| *IEC 61241-4 | Electrical apparatus for use in the presence of combustible dust - Part 4: Protection by pressurization "pD" |  |
| *IEC 61241-11 | Electrical apparatus for use in the presence of combustible dust – Part 11: Protection by intrinsic safety 'iD' |  |
| *IEC 61241-18 | Electrical apparatus for use in the presence of combustible dust - Part 18: Protection by encapsulation "mD" |  |
| *IEC 62013-1 Edition 2.0 | Caplights for use in mines susceptible to firedamp - Part 1: General requirements - Construction and testing in relation to the risk of explosion |  |
| *IEC 62013-2 | Caplights for use in mines susceptible to firedamp - Part 2: Performance and other safety-related matters |  |
| IECEx DS2015/001A 2015 10 09 | Equipment assemblies |  |

c)	the information required in Annex C of Publication IECEx 02 - Rules of Procedure use separate sheets)

d)	number of test reports issued in the preceding two years for each type of protection covered by the standards listed in b)

## e)	 pparticipation in IECEx Proficiency Testing Program

Program: PTB Ex PT Scheme <note if involved in any other program>

| Year(s) of participation | IECEx Proficiency Testing program |
| --- | --- |

<Additional comments>

The laboratory undertakes to abide by the Rules and Procedures laid down in the Publication IECEx 02.

(signature)

(name)

(role)

(date)

Enclosed ......... pages concerning the national differences declared in accordance with paragraph c).