INTERNATIONAL ELECTROTECHNICAL COMMISSION

IEC Framework for Certification to Standards relating to Equipment for use in Explosive Atmospheres -

IECEx 03 - Certified Service Facilities Scheme covering repair and overhaul of Ex equipment,

(Rules of Procedure)

DRAFT New IECEx 03 – Rules and Procedures

Introduction

During the 2003 ExMC meeting in Budapest, the IECEx Management Committee agreed to commence work the preparation of documents to enable the introduction of Assessment and Certification of Facilities and Workshops involved in the Repair and Overhaul of Ex equipment, into the IECEx Scheme.  This work was assigned to IECEx Working Group WG10.

Following the 2004 WG 10 meeting in Singapore, Draft rules and procedure document ExMC/194/CD was issued to ExMC for comment and discussion during the 2005 Brdo IECEx meetings, during which ExMC agreed to the following:

- Publication of the new IECEx 01 to encompass Certification of Service Facilities

- A further period of time to allow industries in the member countries to carefully consider the draft IECEx 03 rules, and the supporting Draft Operational Documents.

Comments received during this extended period have been collated and issued to ExMC for information via document ExMC/227/CC.  These comments were reviewed during the February 2005 IECEx Officers meeting held in Geneva.

This revised draft document now incorporates these comments with changes to ExMC/194/CD shown using the Tracking Tool and include.

- Use of the term “IECEx Framework” to relate to the IECEx Service Facility Scheme operating under the IECEx Framework

- Clarification concerning assessment of competent persons

- Maximum time between surveillance visits by ExCBs to 2 years

- Expansion of requirements to require the maintaining of Repair Service equipment.

This document is now submitted for voting by ExMC in accordance with the voting procedures of IECEx 01, with ExMC Members requested to return their voting form by 23 June 2005

| Address: IECEx Secretariat 286 Sussex Street Sydney NSW 2000 Australia |  | Tel: +61 2 8206 6940 Fax: +61 2 8206 6272 Email: chris.agius@iecex.com |
| --- | --- | --- |

Voting Form

IECEx Management Committee Voting on Draft IECEx 03

IEC Framework for Certification to Standards relating to Equipment for use in Explosive Atmospheres -

IECEx 03 – IECEx Certified Service Facilities Scheme covering repair and overhaul of Ex equipment, –

Rules of Procedure

Yes. I agree with the acceptance of the Draft Rules of Procedure (IECEx 03) in ExMC/230/DV  (Comments maybe submitted with a YES vote)

No. I do not agree with the acceptance of the Draft Rules of Procedure (IECEx 03) in ExMC/230/DV, for the following reasons:-

Signature: _________________________________________

Name: ____________________________________________

Member Body: _____________________________________

Date: _____________________________________________

Please complete and return by 2005 06 23 to:

Mr Chris Agius

IECEx Secretariat

Contact Details:

E-mail: chris.agius@iecex.com

Tel:  +61 2 8206 6940

Fax: +61 2 8206 6272

IECEx

03

| INTERNATIONAL ELECTROTECHNICAL COMMISSION | DRAFT First edition |
| --- | --- |

IEC Framework for Certification to Standards relating to Equipment for use in Explosive Atmospheres -

IECEx 03 – IECEx Certified Service Facilities Scheme covering repair and overhaul of Ex equipment, –

Rules of Procedure

Reference number

IECEx 03: 2005

IECEx

03

| INTERNATIONAL ELECTROTECHNICAL COMMISSION | DRAFT First edition XXXX-XX-XX |
| --- | --- |

IEC Framework for Certification to Standards relating to Equipment for use in Explosive Atmospheres -

IECEx 03 – IECEx Certified Service Facilities Scheme covering repair and overhaul of Ex equipment, –

Rules of Procedure

© IEC XXXX Copyright – all rights reserved

No part of this publication may be reproduced or utilized in any form or by any means, electronic or mechanical, including photocopying and microfilm, without permission in writing from publisher.

International Electrotechnical Commission

3, rue de Varembé

Geneva Switzerland

Telefax: +41 22 919 03 00

e-mail: inmail@iec.ch

IEC web site http://www.iec.ch

PRICE CODE

For price, see current Catalogue

CONTENTS

Foreword …………………………………………………………………………………………………………4

Introduction……………………………………………………………………………………………………….5

1	Scope	10

2	Normative references	10

3	Definitions	10

4	Governing of the IECEx Scheme	11

5	Principles of the IECEx Service Facilities Scheme	11

5.1	IECEx Service Facility Certificate	11

5.2	Method of Application	12

5.3	Acceptance	12

5.4	Permissions	12

6	Confidentiality	12

7	Participating countries	12

8	IECEx instruments	12

8.1	IECEx Service Facility Certificate	12

8.1.1	Issue	12

8.1.2	Layout	12

8.1.3	Contents	13

8.2	IECEx Workshop Audit Report	13

8.2.1	Content	13

8.2.2	Layout	13

8.2.3	Issue	13

8.2.4	Restrictions	13

8.2.5	Copies

9	Certification procedure	13

9.1	Applicant	13

9.2	Documentation	13

9.3	Examination	14

9.4	Assessment of Service Facility’s Quality System	14

9.5	Completion	14

9.6	Surveillance	14

9.7	Changes	14

9.8	Ensuring conformity	14

9.9	Documentation retained	15

9.10	Surcharges	15

9.11	Suspension or withdrawal	15

9.12	Notification of withdrawal

9.13	Compliance with rules	15

9.14	Appeals

10	Acceptance of certification bodies	16

10.1	Acceptance of certification bodies	16

10.1.1	Conditions for acceptance	16

10.1.2	Application	16

10.1.3	Assessment	16

10.1.4	Resolution of differences	16

10.1.5	Report to ExMC	16

10.1.6	Acceptance	17

10.1.7	Notification	17

10.1.8	Changes	17

10.1.9	Extension of scope	17

10.1.10	Reporting of decisions	17

10.1.11	Re-assessment	17

10.1.12	Withdrawal	17

10.1.13	Suspension	17

11	IECEx publications	18

11.1	Types of publications	18

11.2	Information to be available	18

11.3	IECEx Bulletin	18

11.4	Source of information	18

12	Complaints	18

Annex A Declaration by a certification body applying to become an Ex Certification Body for the IECEx Service Facilities Scheme	19

ExCB application form	20

INTERNATIONAL ELECTROTECHNICAL COMMISSION

IEC Framework for Certification to Standards relating to Equipment for use in Explosive Atmospheres -

IECEx 03 – IECEx Certified Service Facilities Scheme covering repair and overhaul of Ex equipment, –

Rules of Procedure

FOREWORD

The IECEx Management Committee (ExMC) has prepared this publication.

All of the annexes to this publication are normative.

These requirements are not intended to change national regulations but offer a practical and workable option to Regulators especially where national regulations do not exist.

This publication is directly related to Publication IECEx 01 containing the Basic Rules of the IECEx Scheme.

This edition of IECEx 03 takes effect immediately upon publication and replaces the previous edition.

The text of this publication is based on the following documents:

| Document | Report on Voting |
| --- | --- |
| ExMC/…../DV | ExMC/…../RV |

Full information on the voting for the approval of this publication can be found in the report on voting indicated in the above table.

INTRODUCTION

The IECEx is a single global certification Framework based on the International Electrotechnical Commission's international standards. It caters for differing countries whose national standards are either identical to those of the IEC or else very close to IEC standards. The IECEx is truly global in concept and practice, reduces trade barriers caused by different conformity assessment criteria in various countries, and helps industry to open up new markets. The goal is to help manufacturers reduce costs and time while developing and maintaining uniform product evaluation to protect users against products that are not in line with the required level of safety.

The aim of the IECEx is to ease international trade of Explosion Protected Equipment (termed Ex equipment) by eliminating the need for duplication of testing and certification. It is a voluntary scheme that provides an internationally accepted means of proving product compliance with an IEC standard.

Where do you commonly find Ex equipment?

Flammable gases, vapours and mists, as well as combustible dusts create potentially explosive atmospheres. Ex equipment in such areas include:

- Automotive refueling stations or petrol stations

- Oil refineries, rigs and processing plants

- Oil and gas tankers, drilling ships and FPSO (Floating Production Storage Offloading vessels)

- Chemical processing plants

- Printing industries, paper and textiles

- Hospital operating theatres

- Aircraft refueling and hangars

- Surface coating industries

- Underground coalmines

- Sewerage treatment plants

- Gas pipelines and distribution centres

- Grain handling and storage and processing (flour-milling industry)

- Woodworking areas

- Sugar refineries

- Light metal working, where metal dust and fine particles can appear.

IECEx Certified Service Facilities Scheme

While certification of new Ex equipment is covered by the IECEx Certified Equipment Scheme, as detailed in IECEx 02, the IECEx Certified Service Facilities Scheme provides a single international scheme for the assessment and certification of Ex related service facilities that have an impact on the on-going compliance of Ex equipment with Ex safety standards.

Manufacturers producing new Ex equipment in accordance with their Ex Equipment Certification regime, cannot be held responsible for the actions or in actions taken during Ex repair and overhaul.

The IECEx Certified Service Facilities Scheme provides Ex equipment users, regulators and the community with the confidence that Ex safety is maintained when Ex equipment is repaired, overhauled or modified by an IECEx Certified Service Facility in accordance with this Scheme.

Ex Service Facilities that achieve IECEx Certification are required to demonstrate compliance with stringent IECEx requirements including:

- Operational procedures and repair techniques meet IECEx Technical requirements encompassing IEC 60079-19

- Possess and maintain in operating condition necessary facilities and equipment including test equipment and traceabilty of measurements

- IECEx quality system requirements, based on ISO 9001

- Competent personnel with current competencies related to Ex equipment Standards and certification requirements

- Others necessary for proper servicing of Ex equipment

More Information

Further information is available from the official IECEx Website: www.iecex.com, containing free copies of the IECEx Rules and Procedures, from any of the IECEx Accepted Certification Bodies or directly from the IECEx Secretariat via the coordinates shown on the IECEx website.

Overview of IECEx Service Facilities Scheme

To be completed

IEC Framework for Certification to Standards relating to Equipment for use in Explosive Atmospheres -

IECEx 03 – IECEx Certified Service Facilities Scheme covering repair and overhaul of Ex equipment, –

Rules of Procedure –

Publication IECEx 03

# Scope

This publication contains the Rules of Procedure of the Scheme of the IEC, hereinafter referred to as the "Rules", for the certification of Service facilities involved in the repair of equipment which is intended for use in explosive atmospheres.  (IECEx Certified Service Facilities Scheme).

The IECEx Service Facilities Scheme becomes operative as soon as at least three certification bodies have been accepted according to these rules

This IECEx Service Facilities Scheme operates as a complimentary Scheme to the IECEx Scheme covering equipment for use in explosive atmospheres covered by IECEx 02.  .

These Rules relate to the Basic Rules of the IECEx Scheme, as given in Publication IECEx 01.

# Normative references

The following publications contain provisions, which, through reference in this text, constitute provisions of these Rules. At the time of publication, the editions indicated were valid. The Ex Management Committee shall decide the timetable for the introduction of revised editions of the publications.

- IECEx 01: 1999, Basic Rules of the IECEx Scheme.

- ISO/IEC Guide 2:1996, Standardization and related activities - General vocabulary.

- .

- ISO/IEC Guide 65:1996,General requirements for bodies operating product certification systems.

# Definitions

ISO/IEC Guide 2 gives the basic definitions.

For the purpose of the IECEx Service Facilities Scheme, the definitions contained in IECEx 02 and the below apply:

3.1

IECEx Service Facilities Scheme

Scheme of the IECEx for the certification of workshops and repair facilities involved in the repair or overhaul of equipment intended for use in explosive atmospheres.

3.2

IECEx Service Facility Certificate

document issued under these Rules indicating that adequate confidence is provided that a duly identified Service Facility  has been found to operate procedures that provide confidence that the repair, overhaul or modification work undertaken complies with IECEx requirements and is under the surveillance of an IECEx Certification Body, ExCB.

3.3

IECEx Facilities Audit Report (FAR)

a document that presents the results of an on-site assessment of a service facility’s quality control system, by an ExCB, to the requirements of the IECEx Scheme

3.4

Applicant

an organisation or a person who applies to an Ex Certification Body  for an IECEx Service Facility Certificate.

3.5

Service facility

An organization situated at a stated location or stated locations, that carries out or controls such stages in the repair, overhaul and or modification of an Ex product. At the same time the organisation accepts responsibility for continued compliance of the product with the relevant requirements and undertakes all obligations in that connection. This definition includes Manufacturers of Ex equipment that offers a repair and overhaul service as well as equipment users with their own repair service facility and includes reclamation

# Governing of the IECEx Scheme

This IECEx Scheme will be governed by the Ex Management Committee (ExMC). The responsibilities of the ExMC, in this respect, are defined in the Basic Rules of the IECEx Scheme, Publication IECEx 01.

This document, IECEx 03, sets out the general rules and procedures of the IECEx Service Facilities Scheme. These general rules are supplemented by the Scheme’s Operational Documents.These Operational Documents are available to all IECEx Member Bodies, ExCBs, and Service Facilities who have applied for an IECEx Service Facility Certificate.

# Principles of the IECEx Service Facilities Scheme

## IECEx Service Facility Certificate

The IECEx Service Facilities Scheme provides the means for Service facilities to obtain an IECEx certificate that is intended to provide the international Ex community with confidence that such Service Facilities undertake repair and overhaul work in accordance with the technical and quality system requirements of the IECEx Service Facilities Scheme.  The aim of the IECEx Service Facilities Scheme is to ensure that IECEx Certified Service Facilities comply with the following:

- Possess and maintain in operating condition the equipment (including specialized equipment) required for repair (including, major repair) of Ex equipment.

- The establishment and implementation of system procedures

- Possess as a minimum one person determined as competent in the Ex repair field by the ExCB

- Possession and maintenance of necessary test and measuring equipment that is adequate and under calibration control.

IEC 60079-19 and relevant requirements of ISO 9001 form the basis of the IECEx Service Facilities Scheme requirements.

The IECEx Service Facility certificate may be issued for a specific area of operation of an Ex repair facility, for example to cover “repair and overhaul of Ex d rotating machines only.

Ex Repair and Overhaul Service facilities that have attained and maintain IECEx certification may affix the IECEx logo to workshop repair reports and stationery providing that there is no misrepresentation of the scope of certification.

## Method of Application

An ExCB approved by the ExMC in accordance with these rules and associated IECEx Operational Documents may issue IECEx Service Facility Certification.  Applications for acceptance for the purpose of issuing IECEx Service Facility Certification can be accepted from Bodies that reside in an IECEx Participating Member Country. An application for a country to participate in the IECEx Scheme is made on by the candidate Member Body of the IECEx Scheme for that country. Refer to IECEx 01. The application is made to the Secretary of the ExMC.Certification bodies wishing to be accepted for the purpose of issuing IECEx Service Facility Certificates must reside in an IECEx participating country.

## Acceptance

Certification bodies are accepted into the IECEx Service Facilities Scheme following satisfactory assessment of their competence by assessors appointed by the ExMC as providing adequate confidence to regulatory authority, user, manufacturer and certification body interests. Competence is judged by reference to ISO/IEC Guide 65 and IECEx Scheme requirements.

## Permissions

Only ExCBs that have been accepted for the purpose of issuing IECEx Service Facility Certification  and reside in an IECEx participating country are permitted to issue IECEx Service Facility Certificates.

# Confidentiality

All those participating in the IECEx Scheme shall respect the confidentiality of any information that they obtain and take all reasonable steps to bind their staff and those working under contract to preserve that confidentiality. The effectiveness of such steps taken shall be evaluated as part of the IECEx assessment of the ExCB.

# IECEx Certificate Issuing Countries

In order for a country to participate in the IECEx Service Facilities Scheme the country must first be a member of the IECEx Scheme, as required by IECEx 01 and comply with the requirements for IECEx Membership as detailed in IECEx 01. Countries that are existing members of the IECEx Scheme shall be considered members of the IECEx Service Facilities Scheme.

# IECEx instruments

## IECEx  Service Facility Certificate for an IECEx Service Facility

### Issue

An ExCB, on the basis of a satisfactory IECEx Facilities Audit Report. (FAR), issues an IECEx Service Facility Certificate certifying that the type of Ex Repair and overhaul service identified on the Certificate conforms in all relevant respects with the IECEx requirements concerning Technical and quality management system procedures; and utilises at least one person demonstrated as Competent by the ExCB. The principle purpose of an IECEx Service Facility Certificate is to provide independent verification that the Service Facility, listed on the IECEx Service Facility Certificate, has the capability to comply with IECEx Service Facilities Scheme requirements.

NOTE: The ExCB obtains evidence to verify the competence of the Service Facility Staff, as claimed by the Service Facility, during the assessment which may be by way of examination, interviews or combination of both.  Formal training, both internal and external, concerning Ex should also be taken into account.

### Layout

The ExMC shall decide on the layout and content of IECEx Service Facility Certificates.

### Contents

The IECEx Service Facility Certificate shall contain at least the following information:

Date of Issue

Indication of changes to Certification and amendment issue

clear description of the Repair or Overhaul Service,

the name and address of the Service Facility,

the locations that are included within the scope of IECEx Service Facility Certification,

the reference number of the original FAR that enabled IECEx Service Facility Certification to be issued

Name of the issuing ExCB

Conditions on certification, if any

## IECEx Facility Audit Report

### Content

A FAR is prepared and issued by an ExCB recording the assessment of an Ex Service Facility’s quality system for compliance with the IECEx Repair and Overhaul requirements.  The assessment includes assessing conformity of the Service Facility’s documented quality system with the requirements of the IECEx Service Scheme in addition to assessing the implementation of the quality system by the Service Facility and the system for verifying competency of Ex repair staff.

### Layout

The ExMC shall prepare a document detailing quality requirements for the Scheme and the layout and content of FARs.

### Issue

Upon issuing FARs, ExCBs shall ensure that the FAR refers to the location(s) of the Service Facility’s activities.

### Restrictions

The FARs are documents used in the preparation of IECEx Service Facility certificate and basis for on-going surveillance of the Service Facility, they shall not be used in any form of advertising or sales promotion in a way that the information may be misrepresented.

# Certification procedure

## Applicant

An Ex Service Facility may make an application for an IECEx Service Facility Certificate to any ExCB, that has been accepted for this purpose by ExMC.The applicant may be a workshop or repair facility.

## Documentation

The documentation submitted by the applicant shall accurately identify the Repair and Overhaul services for which certification is required, the names of Ex repair person(s) that are to be verified as being competent as well as the location(s) where the Ex Service Facility conducts its activities. In case of dismissal of the personnel identified in the documentation submitted by the applicant, the applicant can engage other persons that they deem to have the necessary knowledge and experience in this field with their subsequent  approval by the ExCB to be conducted at the next surveillance audit

The documentation may be provided in paper form or electronic format. If electronic format is used, it shall be provided in a commonly used file format as determined by the ExMC, e.g. PDF or TIFF on a commonly used storage medium, e.g. 3.5” disk, CD-Rom, DVD-Rom

## Examination

The ExCB shall conduct an examination of the documentation to verify that the Ex repair and overhaul service is in conformity with IECEx requirements, which embody the requirements of IEC 60079-19.

## Assessment of Service Facility’s Quality System

The ExCB shall assess the conformity of the Service Facility’s quality system and associated quality plan(s) for compliance with IECEx Service Scheme requirements.The ExCB shall issue an IECEx FAR, only when full conformity with IECEx Service Scheme requirements have been established.

## Completion

Upon satisfactory completion of the work, the ExCB shall issue the FAR together with an IECEx Service Facility Certificate shall be issued to the applicant, with a copy of each being retained by the ExCB. The Service Facility and the ExCB shall each retain a set of the documentation referred to in the certificate. The ExCB shall send a copy of the Certificate to the Secretary of the ExMC along with details of the FAR.

## Surveillance

The ExCB shall sign an agreement with the Service Facility to enable the ExCB to carry out, or arrange for another body to carry out on its behalf, periodic surveillance of the Service Facility’s quality system and quality plan(s)that shall include onsite assessments at the Service Facility’s premises. The frequency of such surveillance, inspection, assessment and testing shall be determined by the ExCB in accordance with the IECEx Scheme requirements and in light of the effectiveness of the Service Facility's quality plan(s). Such frequency shall take into account whether the Service Facility holds current ISO 9001 certification/registration by a competent body.

.

## Changes

If the Service Facility wishes to make any changes that may compromise the Ex repair service listed on the Certificate, he shall apply to the ExCB which granted the IECEx Service Facility Certificate. The Service Facility is required to describe the changes and the measures adopted to ensure continuing conformity with IECEx requirements. The ExCB shall arrange for such work as is necessary to be carried out to verify that the repair service incorporating the change will still conform to the scheme requirements. The ExCB shall issue a new Certificate authorizing the change. The ExMC shall specify the layout and content of the addendum.  An ExCB may determine that a major change(s) requires a new Certificate to be issued.

## Ensuring conformity

The Service Facility has the responsibility to ensure that all Ex equipment is repaired,overhauled or modified in accordance with IECEx requirements. Following such work, the Service Facility shall issue their clients with a “IECEx Repair and Overhaul Report” that may bear the IECEx logo. The Service Facility shall ensure that the IECEx logo or IECEx Service Facility Certificate is not subjected to misuse or misrepresentation. Such misuse or misrepresentation could lead to suspension or withdrawal of the IECEx  Service Facility Certificate

9.9	Documentation retained

In placing an application with an ExCB, the Service Facility authorises the ExCB to keep, for future reference, photographs and technical documentation of the service facility. Such reference material shall be confidential

9.10	Surcharges

An Ex Service Facility who is not in an IECEx participating country and an applicant acting on behalf of a manufacturer in such a country shall pay a contribution to the costs of the IECEx Scheme in the form of a surcharge for each application, the amount to be decided by the ExMC. The surcharge is to be collected by the ExCB handling the application, and remitted to the IECEx account.

9.11	Suspension or withdrawal

An IECEx Service Facility Certificate may be suspended or cancelled by the issuing ExCB if

- Non payment of outstanding fees

- it has been issued in error,

- the holder requests cancellation,

- it is used in a misleading way,

- the Ex repair service no longer complies with the IECEx requirements, or

- the Service Facility’s quality system and associated quality plan no longer provides adequate confidence that Ex equipment will be repaired or overhauled in accordance with IECEx requirements.

The ExCB shall give due notice to the Service Facility of such suspension or cancellation and shall give the reason(s).

When an IECEx Service Facility Certificate is suspended or when it has been cancelled, the Service Facility shall no longer describe the Ex repair or overhaul service, or their organisation, as "IECEx certified", nor shall he use the IECEx logo on Repair and Overhaul Reports.  Equipment already repaired prior to the cancellation of the Certificate is not affected however, the Service Facility is responsible for determining the necessary action, if any, for previously repaired or overhauled equipment as a result of the suspension or cancellation.

9.12	Notification of cancellation

When an IECEx Service Facility Certificate has been cancelled, the issuing ExCB shall notify the Secretary of the ExMC as soon as possible. Cancellation of Certificates shall be communicated to other ExCBs.

9.13	Compliance with rules

The applicant shall follow the rules of procedure of the ExCB and shall confirm readiness to comply with all the relevant provisions regarding, for example, factory surveillance and payment of fees.

9.14	Appeals

Should a Service Facility or applicant be refused the issuing of an IECEx FAR or IECEx Service Facility Certificate or be the subject of suspension or cancellation of an IECEx Service Facility Certificate and disagree with this decision he may lodge an appeal to the IECEx Board of Appeals.

# Acceptance of certification bodies

## Acceptance of certification bodies

### Conditions for acceptance

A certification body shall be accepted as an ExCB by the ExMC and given the right to issue IECEx Service Facility Certificates and FARs, under the following conditions:

- the certification body shall be located in a participating country;

- the certification body shall be recognised at national level for operating Ex certification or approval schemes for specified types of protection;

- the competence of the certification body to comply with these Rules shall be demonstrated by assessment. The general competence, efficiency, experience, familiarity with the relevant standards and the types or concepts of protection included in those standards and competence to carry out quality management system assessments as well as compliance with ISO/IEC 65 shall be assessed. Acceptance in another IEC Scheme or accreditation by a recognized national accreditation body shall be taken into account. In those cases, the ExMC shall decide upon the extent of the assessment that is necessary;

### Application

The candidate certification body, via the national Member Body of the IECEx Scheme, shall make an application for the acceptance of a certification body for the issuing of IECEx Service Facility Certificates.

The application shall be submitted to the Secretary of the ExMC and shall be accompanied by a declaration as detailed in Annex A

### Assessment

The candidate certification body shall be assessed according to the IECEx Assessment procedures to determine that the conditions according to 10.1.1 are fulfilled

Assessors appointed by ExMC shall carry out the assessment. The candidate shall be given the names and current appointments of the assessors proposed. All those IECEx Assessors proposed will have a working knowledge of repair or other service facility. Candidates may object "for cause" (reasons to be stated) to the appointment of the assessors.

The candidate to be assessed shall express its willingness to pay the professional fees of the assessors. The amount will be decided by the ExMC, and will include reasonable travelling and living expenses arising from the assessment. An estimate of these expenses shall be provided to the candidate in advance and agreed by the candidate.

IECEx Assessment Teams shall report to the Secretary of the ExMC who shall manage all assessments, including the appointment of assessors, to ensure assessments are carried out in a timely manner and in accordance with the requirements of the Scheme.

### Resolution of differences

During the assessment, the assessors shall prepare a draft report that shall be discussed with the management of the candidate certification body. Efforts should be made to resolve any differences of opinion between the assessors and the candidate during this discussion.

### Report to ExMC

The assessors shall submit to the ExMC, with a copy to the representatives of the candidate certification body, a confidential report containing their findings and recommendations, taking into account the declaration submitted together with the application. The candidate may attend an ExMC meeting or submit written comments in order to respond to enquiries regarding its application.

### Acceptance

The ExMC shall decide upon the acceptance of the candidate certification body at a meeting or by correspondence. In the latter case, the decision shall be reported to the next meeting of the ExMC and recorded in the minutes.

### Notification

If the decision of the ExMC is positive, the Secretary of the ExMC shall inform the candidate certification body in writing.

If the decision of the ExMC is negative, the Chairman of the ExMC may, depending on the findings, suggest to the candidate certification body

to withdraw the application, or

to accept a new assessment.

### Changes

Each ExCB shall inform the Secretary of the ExMC about changes in the information given according to 10.1.2.

### Extension of scope

When an ExCB wishes to extend its scope of acceptance an application shall be made to the Secretary of the ExMC via the Member Body of the IECEx Scheme. When the ExCB has been assessed within the last five years, the members of the Assessment Team who assessed the ExCB, should give their comments on the application.

The ExMC shall decide whether the extension can be accepted on the basis of the information thus available or whether a full or limited assessment will be needed.

The matter shall either be submitted to a meeting of the ExMC for decision or handled according to 10.1.10.

### Reporting of decisions

The ExMC may delegate the decisions according to 10.1.9 to the Chairman and Officers of the ExMC to be made by correspondence between meetings. Such a decision shall be reported to the next meeting of the ExMC and recorded in the minutes.

### Re-assessment

By means of re-assessment to the extent and frequency deemed necessary, the ExMC shall verify whether ExCBs are still fulfilling the conditions of 10.1.1.

### Withdrawal

An ExCB wishing to withdraw from the IECEx Service Facility Scheme shall notify the Secretary of the ExMC via the Member Body of the IECEx Service Facility Scheme. This notification to be at least one year in advance and shall indicate the reason for the withdrawal and the date from which the withdrawal will become effective.

### Suspension

The acceptance of an ExCB may be suspended or withdrawn by the ExMC if the ExCB no longer fulfils the conditions of 10.1.1 or, if in the opinion of the ExMC, the ExCB hampers the aim, operation or development of the IECEx Service Facility Scheme, fails to take action regarding misuse of IECEx Repair Certificates, or violates these Rules. Before such a decision is made, the ExCB shall be given the opportunity to take corrective action over a period of six months and state its own opinion on the matter.

A decision to suspend or withdraw the acceptance of an ExCB shall require agreement at a meeting of the ExMC by a majority of at least four fifths of the total number of members. Members not attending that meeting shall have the right to cast their vote in writing by registered mail to the Secretary of the ExMC prior to the meeting.

In case of a suspension or a withdrawal, the certification body in question shall not be allowed to claim any relationship with the IECEx Scheme.

# IECEx publications

## Types of publications

The publications detailed in IECEx 02 shall be expanded to accommodate the relevant information regarding Ex Repair and Overhaul.

## Information to be available

- The following information shall be made readily available, to the public.ExCBs

- Service Facility holding IECEx Service Facility Certificates,

- IECEx Service Facility Certificates,

## IECEx Bulletin

The Bulletin detailed in IECEx 02 shall be amended to accommodate the relevant information regarding the IECEx Service Facility Scheme.

## Source of information

The information published in the IECEx publications is based on information given by the Member Bodies of the IECEx Scheme, ExCBs and ExTLs. Neither the IEC nor the Secretary of the ExMC is therefore liable for the accuracy of that information. Publication of commercial information shall be avoided.

# Complaints

If there are complaints concerning the actions of an ExCB that the ExMC cannot resolve, the ExMC or the complainant shall have the right to request the CAB to take appropriate action.

Declaration by a certification body applying
to become an Ex Certification Body for the IECEx Service Facilities Scheme

(normative)

The declaration by a certification body applying to become an Ex Certification Body (ExCB) under the IECEx Service Facilities Scheme, shall be a self-contained document including the following information:

a)	a description of the body which gives, in addition to an organization chart, information 	about	the legal status of the body, the address(es) at which it carries out its 	operations,

the means by which the body will demonstrate compliance with ISO/IEC Guides 62 and 65,

the responsibilities at national level concerning certification, and the schemes operated,

the arrangements for appeal,	the documents available for providing supporting information, for example with regard to existing accreditation;

Details of Senior Management and Staff with competence in the validation  of Ex Service Facilities.

b)	a list of the type of Ex equipment and methods of protection according to which the body wishes to issue IECEx Service Facility Certificates;

c)	a statement of the number of certificates issued in the preceding two years for each 	type of protection covered by the standards listed in b)

a statement that the body will abide by the Rules.

Annex B

ExCB application form

(normative)

This Annex contains copies of the following application forms –

ExMC/…/Q IECEx Application to become an Ex Certification Body in the IECEx Service Facilities Scheme.

ExMC/…./Q

Mr C Agius

Secretary ExMC

286 Sussex St										SYDNEY 2000

Australia

Tel:+61 2 8206 6940									Fax: +61 2 8206 6272

Email: Chris.agius@iecex.com

Date:

Reference:

For the attention of the Secretary of the IEC Ex Management Committee.

Application for a certification body to become an Ex Certification Body in the Scheme of the IECEx for Certification of Ex Repair and Overhaul Facilities (IECEx Service Facilities Scheme).

The IECEx Member Body of (name of country)…………………………………………….

makes the following application in accordance with 10.1.2, 10.1.3 and annex B of Publication IECEx  03

a)	description of the certification body

-	name of the body

-	organisation chart (use a separate page or pages)

-	the legal status of the body

-	the address(es) at which it carries out its operations

-the means by which the body will demonstrate compliance with ISO/IEC Guide 65

-	the responsibilities at national level concerning certification, and the schemes operated

-	the arrangements for appeal

-	the documents available for providing supporting information, for example with regard to existing accreditation

b)	a list of the Ex equipment accepted for use in the IECEx Service Facility Scheme according to which the body wishes to issue IECEx Service Facility Certificates (tick one or more of the following):

| Ex Equipment Type | Group | Ex Protection Techniques |
| --- | --- | --- |
|  | I | II | d | e | i | n | m | p | DIP | other |
| Rotating Machines |  |  |  |  |  |  |  |  |  |  |
| Enclosures |  |  |  |  |  |  |  |  |  |  |
| Luminaries |  |  |  |  |  |  |  |  |  |  |
| Instrumentation |  |  |  |  |  |  |  |  |  |  |
| Process Control Equipment |  |  |  |  |  |  |  |  |  |  |

The certification body undertakes to abide by the Rules and Procedures laid down in Publication IECEx 01 and IECEx 03

(signature)

(name)

(role)

(date)