| - IEC Standard 61779-5 1st Edition 1998 Electrical apparatus for the detection and measurement of flammable gases Part 5: Performance requirements for group II apparatus indicating a volume fraction up to 100% gas |  |  |  |
| --- | --- | --- | --- |
| Country | Group differences | National differences | National Standards |
| AU Australia |  | NO | AS/NZS 61779-5 2000 |
| BR Brazil* |  | TBA |  |
| CA Canada |  | NO |  |
| CH Switzerland | YES |  | EN 61779-5:2000 |
| CN China* |  | TBA |  |
| CZ Czech Republic | YES |  | ČSN EN 61779-5:2001 |
| DE Germany | YES |  | EN 61779-5:2000 |
| DK Denmark | YES |  | DS/EN 61779-5:2000 |
| FI Finland | YES |  | EN 61779-5:2000 |
| FR France | YES |  | EN 61779-5:2000 |
| GB United Kingdom | YES |  | EN 61779-5:2000 |
| HR Croatia | YES |  |  |
| HU Hungary | YES |  | MESZ EN 61779-5:2000 |
| IN India |  | N/R |  |
| IT Italy | YES |  | EN 61779-5:2000 |
| JP Japan* |  | TBA |  |
| KR Republic of Korea* |  | TBA |  |
| MY Malaysia |  | N/R | NO NATIONAL STANDARD |
| NL The Netherlands | YES |  | EN 61779-5:2000 |
| NO Norway | YES |  | EN 61779-5:2000 |
| NZ New Zealand |  | NO | AS/NZS 61779-5 2000 |
| PL Poland | YES |  |  |
| RO Romania | YES |  | EN 61779-5:2000 |
| RU Russia* |  | TBA |  |
| SE Sweden | YES |  | EN 61779-5:2000 |
| SG Singapore |  | N/R |  |
| SI Slovenia | YES |  | EN 61779-5:2000 |
| TR Turkey* |  | TBA |  |
| US United States |  | YES | ANSI/ISA 12.13.01 2002 |
| ZA South Africa |  | N/R |  |

(N/R Not Recognised)

* NOTE: For information relating to National Differences not listed, please contact the IECEx Member Body of that country. Refer to Section 1 for contact details.

Countries that have declared adoption of IEC 61779-5 1st Edition 1998 Without National Differences

AU Australia

CA Canada

NZ New Zealand

- Countries that have declared adoption of IEC 61779-5 1st Edition 1998 With National/Group Differences- 	Differences follow

# EU Group     CH Switzerland, CZ Czech Republic, DE Germany, DK Denmark, FI Finland, FR France, GB United Kingdom, HR Croatia, HU Hungary, IT Italy, NL The Netherlands, NO Norway, PL Poland, RO Romania, SE Sweden, SI Slovenia

# Endorsement notice

The text of the International Standard IEC 61779-5:1998 was approved by CENELEC as a European Standard with agreed common modifications as given below.

COMMON MODIFICATIONS

4 Performance requirements

4.21 Replace the subclause by:

4.21 Electromagnetic compatibility

The apparatus shall fulfil the requirements specified in EN 50270.

4.25 Delete.

US	United States of America

| # US National differences to IEC 61779-5 (1998) |  |  |
| --- | --- | --- |
| # IEC Standard | # Clause | ## Difference |
| IEC 61779-5 (1998) | General | The U.S. version of IEC 61779-5 does not include requirements for Group I electrical apparatus. |
| IEC 61779-5 (1998) | General | Where references are made to other IEC 60079 or IEC 61779 standards, the referenced requirements found in these standards shall apply as modified by any applicable U.S. National Differences. |
| IEC 61779-5 (1998) | 4.8 | Revise pressure test acceptance criteria as shown: The variation of the indications at 80 95 kPa and 110 kPa from the indication at 100 kPa shall not exceed ±7,5 % of the measuring range or ±30 % of the indication, whichever is the greater. |
| IEC 61779-5 (1998) | 4.16 | Remove recovery time requirements as shown: The time of response t(50) in either direction shall be not greater than 20 s, and t(90) in either direction shall be not greater than 60 s. |
| IEC 61779-5 (1998) | 4.23 | Remove entire clause. |
| IEC 61779-5 (1998) | 4.26 | ## Add the following clause: ## 4.26 Dielectric strength When subjected to the dielectric strength test, the apparatus shall have no breakdown or repeated flashover. |