| - IEC Standard 60079-31 1st Edition 2008 Explosive atmospheres - - Part 31: Equipment dust ignition protection by enclosure "t" |  |  |  |
| --- | --- | --- | --- |
| Country | Group differences | National differences | National Standards |
| AU Australia |  | NO |  |
| BR Brazil |  | NO |  |
| CA Canada |  | YES | CAN/CSA-C22.2 No. 60079-31:09 |
| CH Switzerland | NO |  | EN 60079-31:2010 |
| CN China* |  | TBA |  |
| CZ Czech Republic | NO |  | EN 60079-31:2010 |
| DE Germany | NO |  | EN 60079-31:2010 |
| DK Denmark | NO |  | EN 60079-31:2010 |
| FI Finland | NO |  | EN 60079-31:2010 |
| FR France | NO |  | EN 60079-31:2010 |
| GB United Kingdom | NO |  | EN 60079-31:2010 |
| HR Croatia | NO |  | EN 60079-31:2010 |
| HU Hungary | NO |  | EN 60079-31:2010 |
| IN India |  | N/R |  |
| IT Italy | NO |  | EN 60079-31:2010 |
| JP Japan* |  | TBA |  |
| KR Republic of Korea* |  | TBA |  |
| MY Malaysia |  | N/R | NO NATIONAL STANDARD |
| NL The Netherlands | NO |  | EN 60079-31:2010 |
| NO Norway | NO |  | EN 60079-31:2010 |
| NZ New Zealand |  | NO |  |
| PL Poland | NO |  | EN 60079-31:2010 |
| RO Romania | NO |  | EN 60079-31:2010 |
| RU Russia* |  | TBA | Included in the national standardization program for 2009 |
| SE Sweden | NO |  | EN 60079-31:2010 |
| SG Singapore |  | NO |  |
| SI Slovenia | NO |  | EN 60079-31:2010 |
| TR Turkey* |  | TBA |  |
| US United States |  | YES Contact Member Body |  |
| ZA South Africa |  | NO |  |

(N/R Not Recognised)

*NOTE: For information relating to National Differences not listed, please contact the IECEx Member Body of that country. Refer to Section 1 for contact details.

Countries that have declared adoption of IEC 60079-31 1st Edition 2008 Without National Differences

AU Australia

BR Brazil

EU Group: CH Switzerland, CZ Czech Republic, DE Germany, DK Denmark, FI Finland, FR France, GB United Kingdom, HR Croatia, HU Hungary, IT Italy, NL The Netherlands, NO Norway, PL Poland, RO Romania, SE Sweden, SI Slovenia

NZ New Zealand

SG Singapore

ZA South Africa

Countries that have declared adoption of IEC 60079-31 1st Edition 2008 With National/Group Differences- 	Differences follow.

CA	Canada

CAN/CSA-C22.2 No. 60079-31:09

Explosive atmospheres –

Part 31: Equipment dust ignition protection by enclosure “t”

This is the first edition of CAN/CSA-C22.2 No. 60079-31, which is an adoption, with Canadian deviations, of the identically titled CEI/IEC (Commission Électrotechnique Internationale / International Electrotechnical Commission) Standard 60079-31 (Edition 1.0, 2008-11).  Publication of this Standard supersedes CAN/CSA-C22.2 No. E61241-1-1.

This Standard is considered suitable for use for conformity assessment within the stated scope of the Standard.

This Standard was reviewed for Canadian adoption b the CSA Technical Committee on International Standards, under the jurisdiction of the Strategic Steering Committee on Requirements for Electrical Safety, and has been formally approved by the Technical Committee.  This Standard has been approved as a National Standard of Canada by the Standards Council of Canada.

Interpretations:  The Strategic Steering Committee on Requirements for Electrical Safety has provided the following direction for the interpretation of standards under its jurisdiction: “The literal text shall be used in judging compliance of products with the safety requirements of this Standard.  When the literal text cannot be applied to the product, such as for new materials or construction, and when a relevant committee interpretation has not already been published, CSA’s procedures for interpretation shall be followed to determine the intended safety principle.”

February 2009

[… and the rest of that is necessary…]

Canadian deviations

- Scope

[Add the following paragraphs]

The requirements of IEC 60079 series Standards cover the protection techniques with respect to gas explosion, dust explosion and layer ignition, hazards only.  The CAN/CSA-C22-2 No. 60079 series of CSA Standards (based on the adoption of corresponding IEC Standards) are to be used in conjunction with other applicable standards containing the appropriate electrical safety requirements for general use equipment.

NOTE 1:  The IEC 61241 series of Standards, cover dust-explosion and dust-layer combustion,  are being converted (merged) into the IEC 60079 series of Standards.  Due to the publication schedules (dates), some IEC 61241 and IEC 60079 Standards may not be fully aligned.

NOTE 2:  See also Canadian deviations under CAN/CSA-C22.2 No. 60079-0:09 and CAN/CSA-C22.2 No. 61241-0:09.

2   Normative references

[Add the following paragraph]

CSA (Canadian Standards Association)

Where reference is made to CSA publications, such reference shall be considered to refer to the latest edition and all amendments published to that edition.  This Standard refers to the following publication and the years shown indicated the latest editions available at the time of printing:

C22.1-09

Canadian Electrical Code, Part I

CAN/CSA-M421-00 (R2005)

Use of electricity in mines

    - Type tests for dust exclusion by enclosures

[Add a NOTE to the following effect]

NOTE:  The ingress protection test is now based on the “IP” rating tests.  The alternative testing by the heat/cold cycling (as permitted in former IEC 61241-1, which is now superseded by this Standard) is no longer an “alternative”.

- Marking

[Add the following paragraph]

It is a requirement in Canada that any warning and cautionary statements must be in both English and French.