| - IEC Standard 60079-29-4 1st Edition 2009 Explosive atmospheres - - Part 29-4: Gas detectors - Performance requirements of open path detectors for flammable gases |  |  |  |
| --- | --- | --- | --- |
| Country | Group differences | National differences | National Standards |
| AU Australia |  | NO |  |
| BR Brazil* |  | TBA |  |
| CA Canada* |  | TBA |  |
| CH Switzerland | YES |  | EN 60079-29-4:2010 |
| CN China* |  | TBA |  |
| CZ Czech Republic | YES |  | EN 60079-29-4:2010 |
| DE Germany | YES |  | EN 60079-29-4:2010 |
| DK Denmark | YES |  | EN 60079-29-4:2010 |
| FI Finland | YES |  | EN 60079-29-4:2010 |
| FR France | YES |  | EN 60079-29-4:2010 |
| GB United Kingdom | YES |  | EN 60079-29-4:2010 |
| HR Croatia | YES |  | EN 60079-29-4:2010 |
| HU Hungary | YES |  | EN 60079-29-4:2010 |
| IN India* |  | TBA |  |
| IT Italy | YES |  | EN 60079-29-4:2010 |
| JP Japan* |  | TBA |  |
| KR Republic of Korea* |  | TBA |  |
| MY Malaysia |  | N/R | NO NATIONAL STANDARD |
| NL The Netherlands | YES |  | EN 60079-29-4:2010 |
| NO Norway | YES |  | EN 60079-29-4:2010 |
| NZ New Zealand |  | NO |  |
| PL Poland | YES |  | EN 60079-29-4:2010 |
| RO Romania | YES |  | EN 60079-29-4:2010 |
| RU Russia* |  | TBA |  |
| SE Sweden | YES |  | EN 60079-29-4:2010 |
| SG Singapore |  | NO |  |
| SI Slovenia | YES |  | EN 60079-29-4:2010 |
| TR Turkey* |  | TBA |  |
| US United States* |  | TBA |  |
| ZA South Africa* |  | TBA |  |

(N/R Not Recognised)

*NOTE: For information relating to National Differences not listed. Please contact the IECEx Member Body of that country. Refer to Section 1 for contact details.

Countries that have declared adoption of IEC 60079-29-4 1st Edition 2009 Without National Differences

AU Australia

NZ New Zealand

SG Singapore

Countries that have declared adoption of IEC 60079-29-4 1st Edition 2009 With National/Group Differences- 	Differences follow.

EU Group      CH Switzerland, CZ Czech Republic, DE Germany, DK Denmark, FI Finland, FR France, GB United Kingdom, HR Croatia, HU Hungary, IT Italy, NL The Netherlands, NO Norway, PL Poland, RO Romania, SE Sweden, SI Slovenia

Group Differences declared for the European Countries  EN 60079-29-4:2010 / IEC 60079-29-4:2009

Scope

Replace “IEC 60079-29” with “EN 60079-29” in paragraph 1.

Replace “IEC 60079-29-1” with “EN 60079-29-1” in Note 1.

Delete note 3.

2 Normative references

Replace “IEC 60079 (all parts)” with “EN 60079 (all parts)” in paragraph 2.

Replace “IEC 60079-0” with “EN 60079-0” in paragraph 3.

Replace “IEC 60079-29-1” with “EN 60079-29-1” in paragraph 4.

Delete references to IEC 61000-4-1 and IEC 61000-4-3 in paragraphs 6 and 7.

Add the following undated references:

EN 50270, Electromagnetic compatibility - Electrical apparatus for the detection and measurement of combustible gases, toxic gases or oxygen

EN 50271, Electrical apparatus for the detection and measurement of combustible gases, toxic gases or oxygen - Requirements and tests for apparatus using software and/or digital technologies

3 Terms and definitions

In the 1st paragraph:

Replace “IEC 60079-0” with “EN 60079-0”.

Replace “IEC 60079-29-1” with “EN 60079-29-1”.

4 General requirements

4.1.1

In the 2nd paragraph, line 2, replace “… of these other parts of IEC 60079” with “… of the appropriate regulations for explosion protection”.

4.3

Add “The apparatus shall fulfil the requirements of EN 50271.”

Delete subclauses 4.3.1 to 4.3.5.

5 Test methods

5.2.4.2

In the second paragraph, replace reference to test 5.4.16 by 5.4.20.

5.4.12

In the 3rd paragraph, replace “A 90% of the change.......” with “90% of the change.......”.

5.4.15 Power supply interruptions and transients

Replace 5.4.15.1, 5.4.15.2 and 5.4.15.3 with “Text deleted”.

5.4.17

Replace this subclause by:

5.4.17 Electromagnetic compatibility

The apparatus shall be set up under normal conditions, in accordance with 5.3, and then shall be subjected to the tests specified in EN 50270.

NOTE For this test the operating distance may be relaxed to suit the requirements of the EMC test facility.”

7 Information for use

7.1 Labelling and marking

Delete the text and replace with:

“The equipment shall comply with the marking requirements of EN 60079-0.

In addition, the equipment shall also be marked:

a) “EN 60079-29-4” (to represent conformance with this performance standard);

b) year of construction (may be encoded within the serial number).”

7.2 Instruction manual

Add “EN” before “60079-0” in paragraph 1, line 2.