| IEC Standard 60079-27 2nd Edition 2008 Electrical apparatus for explosive gas atmospheres – Part 27: Fieldbus intrinsically safe concept (FISCO) |  |  |  |
| --- | --- | --- | --- |
| Country | Group differences | National differences | National Standards |
| AU Australia |  | NO | AS/NZS 60079-27: 2006 |
| BR Brazil |  | NO |  |
| CA Canada |  | YES | CAN/CSA-C22.2 No. 60079-27:09 |
| CH Switzerland | NO |  | EN 60079-27:2008 |
| CN China* |  | TBA |  |
| CZ Czech Republic | NO |  | EN 60079-27:2008 |
| DE Germany | NO |  | EN 60079-27:2008 |
| DK Denmark | NO |  | EN 60079-27:2008 |
| FI Finland | NO |  | EN 60079-27:2008 |
| FR France | NO |  | EN 60079-27:2008 |
| GB United Kingdom | NO |  | EN 60079-27:2008 |
| HR Croatia | NO |  | EN 60079-27:2008 |
| HU Hungary | NO |  | EN 60079-27:2008 |
| IN India |  | N/R |  |
| IT Italy | NO |  | EN 60079-27:2008 |
| JP Japan* |  | TBA |  |
| KR Republic of Korea* |  | TBA |  |
| MY Malaysia |  | NO | MS IEC 60079-27:2009 |
| NL The Netherlands | NO |  | EN 60079-27:2008 |
| NO Norway | NO |  | EN 60079-27:2008 |
| NZ New Zealand |  | NO | AS/NZS 60079-27: 2006 |
| PL Poland | NO |  | EN 60079-27:2008 |
| RO Romania | NO |  | EN 60079-27:2008 |
| RU Russia |  | YES | GOST R IEC 60079-27-2008 |
| SE Sweden | NO |  | EN 60079-27:2008 |
| SG Singapore |  | N/R |  |
| SI Slovenia | NO |  | EN 60079-27:2008 |
| TR Turkey* |  | TBA |  |
| US United States |  | N/R |  |
| ZA South Africa |  | NO |  |

(N/R Not Recognised)

* NOTE: For information relating to National Differences not listed, please contact the

IECEx Member Body of that country. Refer to Section 1 for contact details.

Countries that have declared adoption of IEC 60079-27 2nd Edition 2008 Without National Differences

AU Australia

BR Brazil

EU Group: CH Switzerland, CZ Czech Republic, DE Germany, DK Denmark, FI Finland, FR France, GB United Kingdom, HR Croatia, HU Hungary, IT Italy, NL The Netherlands, NO Norway, PL Poland, RO Romania, SE Sweden, SI Slovenia

MY Malaysia

NZ New Zealand

ZA South Africa

Countries that have declared adoption of IEC 60079-27 2nd Edition 2008 With National/Group Differences- 	Differences follow.

- CA		Canada

CAN/CSA-C22.2 No. 60079-27:09

Explosive atmospheres –

Part 27: Fieldbus intrinsically safe concept (FISCO)

This is the first edition of CAN/CSA-C22.2 No. 60079-27, which is an adoption, with Canadian deviations, of the identically titled CEI/IEC (Commission Électrotechnique Internationale / International Electrotechnical Commission) Standard 60079-27 (Edition 2.0, 20086-01).

This Standard is considered suitable for use for conformity assessment within the stated scope of the Standard.

This Standard was reviewed for Canadian adoption by the CSA Technical Committee on International Standards, under the jurisdiction of the Strategic Steering Committee on Requirements for Electrical Safety, and has been formally approved by the Technical Committee.  This Standard has been approved as a National Standard of Canada by the Standards Council of Canada.

Interpretations:  The Strategic Steering Committee on Requirements for Electrical Safety has provided the following direction for the interpretation of standards under its jurisdiction: “The literal text shall be used in judging compliance of products with the safety requirements of this Standard.  When the literal text cannot be applied to the product, such as for new materials or construction, and when a relevant committee interpretation has not already been published, CSA’s procedures for interpretation shall be followed to determine the intended safety principle.”

February 2009

[… and the rest of that is necessary…]

Canadian deviations

- Scope

[Add the following paragraphs]

The requirements of IEC 60079 series Standards cover the protection techniques with respect to gas explosion, dust explosion and layer ignition, hazards only.  The CAN/CSA-C22-2 No. 60079 series of CSA Standards (based on the adoption of corresponding IEC Standards) are to be used in conjunction with other applicable standards containing the appropriate electrical safety requirements for general use equipment.

NOTE 1:  See also Canadian deviations under CAN/CSA-C22.2 No. 60079-0:09 (General requirements) and CAN/CSA-.60079-11.09 (Intrinsic safety)

NOTE 2:  The technique of intrinsic safety “ic” protection is not currently recognized in CE Code, Part I.  The use of “ic” rated equipment, (under this Standard, Fieldbus intrinsically safe concept (FISCO) system), is considered as equivalent to the “nL” equipment previously acknowledged for use in the Filedbus non-incendive concept (FNICO) system.

2   Normative references

[Add the following paragraph]

CSA (Canadian Standards Association)

C22.1-09

Canadian Electrical Code, Part I – Safety Standard for Electrical Installations

- System requirements

  - General

[Add a NOTE to the following effect]

While the parameters (the resistance, inductance, capacitance and maximum lengths) of the cable or wire shall be in compliance with the specified values in this Standard; the selection and installation of the types of cable or wire shall be in accordance with the Canadian Electrical Code, Part I.

RU      Russia

| 60079-27 2008 2nd ed. | GOST R IEC 60079.27-2008 | MOD | The following text is added: - in 4.3.3 page 4 – the values of minimum input parameters of field devices shall be Ii 380 mA and Pi 5,32 W; - in 5.3 – minimum input parameters of the device shall be – Ii=380 mА and Pi=5.32 W; - in 4.7 page. 5 – Note – Each unit of electrical equipment shall be marked with a symbol of explosion protection level placed in front of the symbol Ех in accordance with GOST 52350.0. Added text is italicised. Replace the references to IEC by the references to GOST R. |
| --- | --- | --- | --- |

| IEC Standard 60079-27 1st Edition 2004 Electrical apparatus for explosive gas atmospheres – Part 27: Fieldbus intrinsically safe concept (FISCO) |  |  |  |
| --- | --- | --- | --- |
| Country | Group differences | National differences | National Standards |
| AU Australia |  | NO | AS/NZS 60079-27 2003 (Int) |
| BR Brazil |  | N/R |  |
| CA Canada* |  | TBA |  |
| CH Switzerland | NO |  | EN 60079-27:2006 |
| CN China* |  | TBA |  |
| CZ Czech Republic | NO |  | EN 60079-27:2006 |
| DE Germany | NO |  | EN 60079-27:2006 |
| DK Denmark | NO |  | EN 60079-27:2006 |
| FI Finland | NO |  | EN 60079-27:2006 |
| FR France | NO |  | EN 60079-27:2006 |
| GB United Kingdom | NO |  | EN 60079-27:2006 |
| HR Croatia | NO |  | EN 60079-27:2006 |
| HU Hungary | NO |  | EN 60079-27:2006 |
| IN India |  | N/R |  |
| IT Italy | NO |  | EN 60079-27:2006 |
| JP Japan* |  | TBA |  |
| KR Republic of Korea* |  | TBA |  |
| MY Malaysia |  | N/R | NO NATIONAL STANDARD |
| NL The Netherlands | NO |  | EN 60079-27:2006 |
| NO Norway | NO |  | EN 60079-27:2006 |
| NZ New Zealand |  | NO | AS/NZS 60079-27 2003 (Int) |
| PL Poland | NO |  | EN 60079-27:2006 |
| RO Romania | NO |  | EN 60079-27:2006 |
| RU Russia* |  | TBA |  |
| SE Sweden | NO |  | EN 60079-27:2006 |
| SG Singapore |  | N/R |  |
| SI Slovenia | NO |  | EN 60079-27:2006 |
| TR Turkey* |  | TBA |  |
| US United States |  | YES Contact Member Body |  |
| ZA South Africa |  | NO |  |

(N/R Not Recognised)

* NOTE: For information relating to National Differences not listed, please contact the IECEx Member Body of that country. Refer to Section 1 for contact details.

Countries that have declared adoption of IEC 60079-27 1st Edition 2004 Without National Differences

AU Australia

EU Group: CH Switzerland, CZ Czech Republic, DE Germany, DK Denmark, FI Finland, FR France, GB United Kingdom, HR Croatia, HU Hungary, IT Italy, NL The Netherlands, NO Norway, PL Poland, RO Romania, SE Sweden, SI Slovenia

NZ New Zealand

ZA South Africa

Countries that have declared adoption of IEC 60079-27 1st Edition 2004 With National/Group Differences- 	Differences follow.