INTERNATIONAL ELECTROTECHNICAL COMMISSION (IEC) SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

Title: 	Activities between IEC TC18 and IMO - Report to the IECEx MC in 		Berlin 2010

- Circulated to: ExMC – IECEx Management Committee

- INTRODUCTION

This document is a report on the co-operation between the International Maritime Organisation, IMO, and IEC TC18 - Electrical installations of ships and of mobile and fixed offshore units

- This document is for noting.

- Chris Agius

- IECEx Secretariat

| Address: SAI Global Building Level 7 286 Sussex Street Sydney NSW 2000 Australia | Contact Details: Tel: +61 2 8206 6940 Fax: +61 2 8206 6272 e-mail: chris.agius@iecex.com http://www.iecex.com |
| --- | --- |

Activities in IEC TC18 and IMO

Report to IECEx MC in Berlin 2010

TC18 MT 18

The cooperation between IECTC31 and TC18 are well established and the Convenor for MT 18 in TC18 attended the meeting of SC 31J in Split, 25 - 28 April, in connection with the ongoing revision of the IEC 60079-10-1, IEC 60079-14 and IEC 60079-17. This is the standards that are important for the revision of IEC 61892-7. Work on the revision of the latter standard will coordinate with the audit of the said SC 31J standards.

It is so far not taken a position on the time of revision of 61892-6 and -7. This will, to the extent possible be coordinated with the revision of the mentioned SC 31J standards.

Part 7 are referring to IECTC31 standards similarly to IECEx

IMO

IMO BLG 14 - "Interim Guidelines for natural gas-fuelled engines in ships" has been sent out to National members for comments. SC31J will follow the matter when it is required by the TC18 Chair.

The IMO MODU code is ratified and will become effective in 2012. In the new version of MODU Code the IEC TC 31 standards for equipment are recommended for hazardous area. Area classifications are based on 60079-10-1 principle. For installation reference is made to both the TC 31 standards as well as the IEC 61892 standards prepared by TC 18.

The IMO MODU code is the rules for all mobile Drilling units and the trend by the major international drilling companies is to require Ex equipment according to IECEx in addition to equipment with i.e.  ATEX approvals.

The IMO SOLAS and MODU code rules is normally implemented by National authorities as requirements for vessels in International waters.

Thore Andersen

Norway