INTERNATIONAL ELECTROTECHNICAL COMMISSION

IEC SCHEME FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES  (IECEx SCHEME)

## OPERATIONAL DOCUMENT

## OD003

TITLE:	Assessment Procedures for IECEx acceptance of Candidate Accepted Certification Bodies (ExCBs) and Ex Testing Laboratories (ExTLs)

Secretariat Note:

- This version of OD 003 is an update of the IECEx Assessment Procedures previously contained in ExMC/100/CD and takes into account the experiences gained from IECEx assessments conducted to date including the first round of 5 year re-assessments.  Major changes to ExMC/100/CD are shown with yellow highlight.

- A new Section 3 has been included covering the procedures for surveillance audits of ExTRs and QARs.  This has also been issued as a separate document.  See ExMC/295/CD

Document History

| Date | Summary |
| --- | --- |
| 2005 09 | Original Issue (Version 1, to supersede ExMC/100/CD) |

| Visiting address: Standards Australia Building 286 Sussex Street Sydney NSW 2000 Australia | Contact Details: Tel: +61 2 8206 6940 Fax: +61 2 8206 6272 E-mail: chris.agius@iecex.com http://www.iecex.com |
| --- | --- |

### Introduction

This document details the assessment procedures established by the IECEx Scheme’s Management Committee, ExMC, for the purpose of ensuring a thorough assessment of candidate ExCBs and ExTLs.  The principle aim of these procedures is to instil international confidence of manufacturers, users and regulators, in the body's competence and capabilities for performing testing and certification of Ex equipment.

International confidence is established by evaluating the competence of a certifying body or Ex test laboratory to comply with the IEC Ex scheme and associated rules. The assessment will cover the competence, experience and familiarity of personnel and the organisation with the relevant explosion protected standards, quality management systems, IECEx scheme and associated rules and ISO/IEC Guide 65 and IECEx technical guidance documents.  The procedures are also aimed at ensuring a consistent approach to assessments by IECEx assessment teams.

This document provides the following two Sections:

- Section 1 – Initial Assessment and Re-Assessment of ExCBs and ExTLs

- Section 2 – On going Surveillance of ExCBs and ExTLs

The procedures are set out in table form identifying:

- Step number

- Required action

- Responsible person or party

- Desired outcome

The steps identified in the table correspond to the steps shown in the flowchart.

Further instructions are included to assist Assessment Team Members in performing their duties.

SECTION 1 – INITIAL ASSESSMENT & RE-ASSESSMENT

This Section is to be applied for the initial assessment of ExCBs and ExTLs prior to their acceptance in the IECEx Scheme and re-assessment of existing ExCBs and ExTLs.  The term Lead Assessor, as used throughout this document, shall mean the IECEx Assessment Team  Leader appointed by ExMC.

Steps 1 – 4 are applicable to new applications.

IECEx Assessment Procedure

Refer attached IECEx Assessment Flow Chart

| Step | Activity | By Whom | Desired Outcome |
| --- | --- | --- | --- |
|  | Formal Application Submitted to ExMC Secretary |  |  |
| 1 | Application received by ExMC Secretary, in accordance with IECEx 02. | ExMC Secretary | Candidate ExCB or ExTL |
| 2 | Application assessed for completeness. Appoint Assessment Team from Assessors accepted by ExMC. Assessors are not permitted to assess ExCBs or ExTLs from within their own country | ExMC Secretary | Assessment team proposed by ExMC Secretary from Assessors appointed by ExMC. |
| 3 | ExMC Secretary reviews application documentation for completeness. ExMC Secretary and may request further information from the candidate. ExMC Secretary to report findings to candidate ExCB or ExTL | ExMC Secretary | ExMC Secretary issues an Application Review Report to applicant. This may require follow information from the applicant ExCB or ExTL |
| 4 | When considered complete, ExMC Secretary forwards Application package to Members of the appointed Assessment Team. ExMC Secretary prepares the Invoice for the application Fee which is submitted to the applicant Body | ExMC Secretary | All relevant information available for team to commence their assessment. |
|  | Documentation Review Stage |  |  |
| 5 | Prior to the commencement of work by the Appointed IECEx Assessment Team, the Team leader shall prepare a cost estimate and initial assessment program for review by the applicant ExCB or ExTL. Work should only commence after the ExCB or ExTL has given their agreement to the cost estimate. IECEx Assessment Team commences assessment. Lead Assessor , in conjunction with team members reviews application documentation to satisfy steps 6 to 8. Assessment Team Leader may request additional information from the Candidate ExCB or ExTL | Assessment Team Leader to Manage | A copy of the cost estimate and assessment program (eg site assessment plan) shall be forwarded to the ExMC Secretary Lead Assessor notifies candidate of successful review of documentation and then prepares to arrange site visit |
| 6 | Assessment Team Leader, in conjunction with team members determines whether the applicant ExCB or ExTL has Independent Accreditation | Assessment Team Leader or his designate | Formal notification of accreditation, with a copy being submitted by the applicant |
| 7 | Assessment of the accreditation and credentials of the accreditation body. For example determining: *Whether the body has Mutual Recognition Agreements with other bodies *Whether the body has National Government recognition *What Standards or Guides are used IECEx Assessment Team Leader may obtain information directly from accreditation body or candidate ExCB or TL and circulate to other IECEx Assessment team members for review via correspondence. Note: ExCB or TL should obtain all necessary information from accreditation body for presentation to IECEx Assessment Team Leader. | Assessment Team Leader | *Verification of MRAs *Notification of Government recognition *Use of ISO/IEC 17025 and 65 *Frequency of surveillance audits *Whether signatory to the IEC/ILAC MOU |
| 8 | Review of past audit reports, issued by the accreditation body, by Assessment Team to establish compliance with the requirements of IECEx 02, Technical Guidance Documents, ISO/IEC 17025 and ISO/IEC Guide 65. This may be conducted on-site | Assessment Team managed by Lead Assessor | Acceptance by IECEx Assessment Team of information and audit reports as evidence of compliance to the requirements of IECEx 02 and the Technical Guidance Documents |
| 9 | Notification of results of step 6-8 to candidate ExCB or TL and ExMC Secretariat | Assessment Team Leader | Letter, Fax or e-mail to Candidate ExCB or ExTL. Copy to ExMC Secretary |
|  | On-site Visit |  |  |
| 10 | Assessment Team conducts a site assessment of the candidate using as a minimum 1 day site visit for each ExCB and ExTL application (where the ExCB and ExTL are one organisation 2 mandays is required as a minimum. Generally this site visit is conducted by 2 members of the Assessment Team with the third member of the Team available for consultation and review. This visit is to verify implementation of certification or testing procedures and compliance with IECEx rules and Operational Documents, including application of ExTAG Decision sheets. IECEx Assessment Team Leader shall review the site assessment plan, prepared in step 5, along with the estimate of costs and agreement from the candidate body shall be sort for any variations. | At least 1 person from IECEx Ass. Team Usually Assessment Assessment Team Leader to appoint | Visit notes to be included in assessment file. Following reports shall be completed: -OD 006 Site Assessment Report (for all visits) -OD 007 Guide 65 report, where full assessment to Guide 65 is required, eg no national accreditation -OD 018 17025 Report, where full assessment to 17025 is required, eg no national accreditation - TGDs Technical Guidance Documents The Assessment Team Leader in consultation with his Team shall decide the required duration of the site visit |
| 11 | Results of site visit determined with a final report for submission to the ExMC Secretary prepared in the format as outlined in Annex A and B. Final report to be reviewed by all members of the assessment team Where results of site visit require rectification or corrective action by the candidate ExCB or ExTL, refer to step 18 | Assessment Team Leader | Assessment Team Leader to commence arrange for compiling a Final Assessment report for voting by ExMC. |
| 12 | Final IECEx Assessment Team Report Reviewed by ExMC Secretary. | ExMC Secretary | Review by ExMC Secretary to ensure completeness of information and ready for circulation to ExMC for voting. |
| 12A | Where review in step 12 is unsatisfactory, ExMC Secretary refers the matter to the IECEx Assessment Team Leader seeking additional information or revised report | ExMC Secretary | An acceptable report for circulation to ExMC |
| 13 | ExMC Secretary prepares Voting Document containing the Assessment Report for voting and submits to ExMC Members for formal voting, via correspondence or at the next ExMC meeting | ExMC Secretary | ExMC Document issued for voting, with a copy submitted to candidate ExCB or ExTL |
|  | Final Approval of ExCB or ExTL by ExMC |  |  |
| 14 | Assessment of report considered by ExMC members with members returning the completed voting form to the ExMC Secretary as soon as possible and by due date | ExMC Members | Majority acceptance vote approves application (re Clause 12 of IECEx 01) |
| 14A | Where voting is unsuccessful the application is then referred to the next ExMC meeting for discussion | ExMC Secretary to arrange | Findings recorded in the minutes |
| 15 | If voting is acceptable then ExMC Secretary notifies applicant of their acceptance | ExMC Secretary | ExMC Letter to accepted ExCB and ExTL |
| 16 | Appointment recorded at next ExMC meeting | ExMC Secretary to arrange | Recorded in Minutes |
| 17 | If at the conclusion of the “Document Review Stage’, the Assessment Team are not satisfied with the information presented, the Assessment Team Leader shall inform the candidate ExCB or ExTL and ExMC Secretary of the Assessment team’s views. In order for the assessment to proceed, the IECEx Assessment Team shall then conduct a full on site assessment in accordance with IECEx 02 and Technical Guidance Documents, ISO 17025 and ISO/IEC Guide 65 as applicable. The candidate body may decide to withdraw their application | Assessment Team Leader to manage | Assessment report by Assessment Team Leader |
| 18 | Where non-conformances are identified during the assessment process the candidate ExCB or TL implements corrective action if they wish to proceed with their application | Candidate ExCB or TL | implementation of corrective actions |
| 19 | Assessment team assesses corrective action. This may be performed by either the full team or a partial team or even one member of the team and may include a follow up site visit of the candidate ExCB or ExTL | Assessment Team Leader to manage | Report on assessment of corrective actions |
| 20 | Where the results of the Assessment Team’s review of corrective action is positive then the process shall proceed to step 11. Where the follow up review is unsatisfactory the process shall repeat step 18. | Assessment Team Leader to manage | ExMC Secretary shall be kept informed. |

SECTION 2 – ON GOING ASSESSMENTS

This Section applies to all ExCBs and ExTLs that have been accepted into the IECEx Scheme.  The purpose of on going assessments is to satisfy the International Ex community that ExCBs and ExTLs maintain their facilities and capabilities that enabled their entry into the Scheme.

### 2.1	Surveillance of ExCBs and ExTLs with National Accreditation acceptable by ExMC

2.1.1	Scope	This section covers ExCBs and ExTLs that maintain national accreditation  found to be acceptable by the original IECEx Assessment Team, and by way of ExMC voting on the initial assessment report, the ExMC.

2.1.2	Procedures  Each year, prior to the anniversary date of acceptance into the IECEx Scheme, ExCBs and ExTLs shall submit to the ExMC Secretary a report containing the following information:

- Any changes in the organisation

Description of changes in the organisation of the ExCB or ExTL, its staff, facilities, quality system, operating procedures, or other similar changes.

##### AND

- Activity Report

Report on the number of Certificates of Conformity, ExTRs and QARs issued and/or accepted for each standard or type of protection during the preceding 12 months.

Supplementary information on related technical activities may be provided at the discretion of the ExCB or ExTL.

##### AND

- Annual audit report

Copy of the National Accreditation Body’s audit report issued during the preceding 12 months.  This report should show:

-Site that was audited by the accreditation body

-Date and duration of the audit

-Audit scope

-ISO/IEC Guides, Standards and IECEx Technical Guidance Documents used during the audit

-Observation notes

-Details of any non-conformances raised

-Copy of any audit report summary

##### OR

d)	Report by the ExCB or ExTL based on its own internal audit(s) carried out during the preceding 12 months.  A standardised report format should be used for this purpose.  Annex A and B include sample audit report.  Once every two years, the report, prepared by the ExCB or ExTL shall be endorsed by the National Accreditation Body.

Items a) and b) are mandatory and either c) or d)

2.1.3	The ExMC Secretary shall review the information to ensure:

*Site assessed aligns with the site previously approved by ExMC;

*All Clauses of, ISO/IEC 17025 and ISO/IEC Guide 65, as applicable, have been covered;

*Ensure that Technical Guidance Documents have been used;

*Any Non-Conformances are identified;

Where Non-Conformances have been identified the reports shall be referred to the IECEx Assessor Panel Chairman and IECEx Officers, as necessary. During the period of referral to ExMC, the ExMC Chairman in consultation with the other IECEx Officers shall decide on the status of the ExCB or ExTL in question.  In extreme circumstances the status of temporary suspension may be considered. The ExMC is to decide on the final action to be taken.

The Secretary will retain a copy of the report, for a minimum of 10 years, for record keeping purposes.

    - On the 5th anniversary of the original assessment or re-assessment of an ExCB or ExTL a re-assessment, in accordance with the assessment procedure detailed in Section 1, shall be performed by the original assessment team.  Where the original Assessment Team is no longer available the re-assessment shall be performed by a newly appointed assessment Team comprising IECEx Assessors appointed by ExMC.

2.1.5	As part of the on-going surveillance of ExCBs and ExTLs the IECEx Scheme shall conduct random surveillance assessments of ExTRs and QARs that are issued to support an IECEx Certificate of Conformity.  This shall conducted in accordance with the procedures outlined in Section 3.

2.2	Surveillance of ExCBs and ExTLs without National Accreditation acceptable by ExMC

2.2.1	Scope	This section covers ExCBs and ExTLs that do not have national accreditation but who have been accepted in to the IECEx Scheme by way of a full on-site assessment, by the IECEx Assessment Team.

2.2.2	The ExMC Secretary shall arrange for an annual on-site audit of the ExCB and ExTL.  This should normally be carried out by one member of the original IECEx assessment team.  The assessor  shall be appointed by the ExMC Secretary.  The ExCB and ExTL shall agree to bear the costs associated with this on-site audit and may object to the selection of the appointed Assessor giving reasons for such objection.  In such cases the ExMC Secretary shall consult with the IECEx Chairman and Officers.

The appointed  assessor shall carry out an assessment for compliance with ISO/IEC 17025 for ExTLs and IECEx Technical Guidance Documents (TGDs).  For ExCBs assessment shall be conducted according to ISO/IEC Guide 65 and their ability to comply with IECEx Rules and Operational Documents. This  being in accordance with the requirements of the IECEx Technical Guidance Documents. The assessor shall then report back to the original IECEx Assessment Team Leader. The Team Leader will then issue a site assessment report as per OD 006, to the ExMC Secretary, with copy to the ExCB or ExTL.  The ExMC Secretary shall retain these reports for a minimum of 10 years.

These reports shall be forwarded to the ExMC Secretary who shall review them for completeness and any non conformances.  Where  non-conformances have not been identified the reports shall be retained, for a minimum of 10 years, for record keeping purposes, by the ExMC Secretary.

2.2.3 Where Non-Conformances have been identified the reports shall be referred to the IECEx Assessor Panel Chairman and IECEx Officers, as necessary  During the period of referral, the ExMC Chairman in consultation with the other IECEx Officers shall decide on the status of the ExCB or ExTL in question.  In extreme circumstances the status of temporary suspension may be considered. The ExMC is to decide on the final action to be taken for any unresolved Non-Conformances.

The Secretary will retain a copy of the report, for a minimum of 10 years, for record keeping purposes. The ExMC will then decide on the final action to be taken.

2.2.4 On the 5th anniversary of the original assessment or re-assessment of an ExCB or ExTL a reassessment, in accordance with the assessment procedure detailed in Section 1, shall be performed, preferably, by the original assessment team. Where the original assessment team is no longer available a new assessment team shall be appointed by the ExMC Secretary from the Panel of Assessors appointed by ExMC.

2.2.5	As part of the on-going surveillance of ExCBs and ExTLs the IECEx Scheme shall conduct random surveillance assessments of ExTRs and QARs that are issued to support an IECEx Certificate of Conformity.  This shall conducted in accordance with the procedures outlined in Section 3, or may be conducted as part of the annual surveillance visit.

###### SECTION 3 – SURVEILLANCE AUDITS OF ISSUED ExTRs AND QARs

3.1	Scope   This Section applies to all ExCBs and ExTLs that have been accepted into the IECEx Scheme.  The purpose of conducting surveillance assessments of issued ExTRs and QARs is for the International Ex industry, Regulators and all IECEx Member ExCBs and ExTLs to gain confidence that IECEx Certificates of Conformity are supported by credible tests and assessments and that the IECEx rules and procedures are followed by all IECEx Bodies.

3.2	Procedures   During each calendar year the ExMC Secretary shall arrange for ExTR and QAR documents, relating to an issued IECEx Certificate of Conformity, from each ExCB to be subjected to a technical review.

3.3	Sampling    The method of sampling ExTRs and QARs shall be as follows:

| Number of IECEx CoCs Issued | Minimum Number of ExTRs and QARs to be reviewed |
| --- | --- |
| 1 to 5 | 1of each |
| 6 to 20 | 2of each |
| 21 or more | 5% of number of issued CoCs |

Note: It is intended that over the course of the 5 year surveillance period of ExCBs and ExTLs, that at least 1 set of CoC and supporting ExTR and QAR will be reviewed for each Ex protection concept within the scope of the ExC and ExTL

3.4	Review Criteria   	The criteria for such review shall include the following:

- That the ExTR and QAR show clear relationship to the product(s) covered by the IECEx CoC

- The ExTR and QAR are complete and address all clauses and requirements of both the IEC Standard shown on the CoC and the Quality System requirements of OD 005

- ExTR provides sufficient information on the evidence of compliance with the requirements of Standards, eg inclusion of details of tests such as identification of samples used for testing, equipment used, measured results etc

- That ExTRs use the IECEx approved format, noting that Section 1 of the ExTR blanks (available on the IECEx website) has been used.

- A general appreciation for technical compliance is available, eg that an item intended as submersible or exposed to weather has an appropriate IP rating.

- QARs clearly show the locations of the manufacturing sites audited.

- QARs contain sufficient information to give the reader confidence that the auditor has conducted a thorough audit, eg recording of individual procedures reviewed during the audit, recording of persons interviewed during the audit, etc.

- That the ExTRs and QARs give sufficient information for the reviewer to feel that the IECEx Rules, Operational Documents and ExTAG Decisions have been met.

- The CoC shall also be reviewed as part of the ExTR and QAR review for consistency between ExTR, QAR and CoC.

- The CoC shall also clearly identify what product(s) are covered by the certificate with any conditions listed to be clear and appropriate.

3.5	Outcome of the Review   The Reviewer shall prepare a brief report of the findings which fall under the following two categories

- Review is Satisfactory, No Major Issues Raised – Where the review has been found to be satisfactory even with some minor issues raised, eg that the ExTR or QAR should have contained a little more information to be complete, then the report shall indicate the result and any areas where improvements could be made.  This report shall be submitted to the ExMC Secretary with a copy to the ExCB and ExTL responsible for the ExTR and QAR.

The ExMC Secretary shall retain copies of the report on file at the Secretariat Office for a minimum of 5 years.

General findings shall be included in an annual report to the ExMC.

- Review is Un-satisfactory, with Major Issues Raised -   Where major issues have been identified that may suggest that Ex products NOT complying with the IEC Standards listed in the CoC which either have been or there is a potential of being released to the market, the Reviewer shall immediately notify the ExMC Secretary who shall form a Task Group consisting of

- IECEx Chairman and Officers

- Reviewer

- ExCB and ExTL responsible

- Any other experts nominated by the IECEx Chairman

This Task Group shall be led by the ExTAG Chairman and shall examine the details surrounding the issues raised and arrive at a course of action to be taken, either by the ExCB responsible or the ExMC Secretariat.  Such action may include, re-assessment by the ExCB and ExTL responsible, suspension or cancellation of the CoC etc.

Such action shall be recorded by the ExMC Secretary and included in the annual report to the ExMC

3.6 	Funding   A Reviewer or his organisation is entitled to the following compensation as contributing towards the time spent conducting the review, issuing a report and any follow up action that may be required.

    - Initial Review and Issue of a Report –  Review of CoC and its supporting ExTRs and QAR shall be CHF 1’000 in total.  This amount shall be paid from the IECEx General Funds as part of the overall operational costs of the Scheme.  Payments shall be managed by the ExMC Secretariat in consultation with the IECEx Treasurer.

3.6.2	Follow up action to resolve any outstanding issues identified in 3.5 b) above – Where follow up action of a substantial nature is required, eg reviews of additional ExTRs and QARs or site visits, such costs shall be paid by the ExCB or ExTL responsible for the CoC, ExTR and QAR that are in question, subject to their prior agreement.  Any such follow up actions shall be managed by the ExMC Secretariat in consultation with the IECEx Chairman and Officers.

###### SECTION 4 – NOTES TO ASSESSORS

### Instructions for Assessment Teams

It is recognised that assessors have been approved by ExMC on the basis of their knowledge, experience and expertise and therefore ExMC relies on the wisdom and judgement of all Assessors, especially Lead Assessors, for conducting meaningful and credible assessments.

While credibility of an assessment is paramount, the assessment process must also be mindful of containing assessment costs as well as maintaining consistency among assessments.  The following guidance instructions are provided with these issues in mind.

Instructions for IECEx Assessment Team Leaders

Assessment Team Leaders have the additional task of coordinating the assessment process of the ExCB or ExTL under assessment by their team.

Once an assessment team has been appointed, the Team Leader should make contact with their team members and the candidate ExCB and ExTL and their ExMC National Member Body as soon as possible.  It is the Team Leader’s responsibility to ensure that all team members have the following:

*Copies of the ExCB and ExTL applications and supporting documentation

*Technical Guidance Documents, where available.

*Working copy of IECEx 02

*IECEx Assessment Procedure, Doc. OD 003, this document

In addition, all team members must have their own working copies of the relevant ISO/IEC Guides, eg 65 and ISO 17025.

The Team Leader generally acts as the contact between the assessment team members, National Member Body and their candidate ExCB or ExTL and is responsible for all correspondence.

The Team Leader should liaise with the National Member Body and their candidate ExCB or ExTL regarding the assessment program and estimated costs (assessment fees and travel costs).  The National Member Body in conjunction with their candidate ExCB or ExTL should reach agreement with the Lead Assessor on costs before assessment work commences.

The Team Leader should ensure that the assessment procedures, detailed in this document are followed and that the spirit of assessments is one of seeking evidence of compliance with requirements.  This includes reporting of examples where the requirements of ISO/IEC Guides, the Technical Guidance Documents and IECEx 02 are met and implemented

It is expected that most of the consultation between team members would be via correspondence, fax, e-mail etc.

Assessments of ExCBs are aimed at demonstrating compliance with ISO/IEC Guide 65 and IECEx 02.  This includes verifying:

- An agreement between the ExCB and a recognised ExTL (where separate)

- An organisational chart - note where the ExCB is also an ExTL the organisational chart shall demonstrate independence of testing and certification up to at least manager level

- Certification procedure. (IECEx 02, OD 009)

- Procedures for assessing manufacturers quality plans, these to include the evaluation of documents that attest to a manufacturers certification/registration to such as ISO9001. (OD 005, ExMC/161/CD)

- Procedures for completing an independent review of ExTR’s.

- Procedures for retaining, recording, filing and reporting such things as ExTR’s, QAR’s and IECEx certificates of conformity.

- Procedures for carrying out periodic surveillance of the manufacturers quality plans (OD 009, OD 005, ExMC/161/CD).

- Procedures for dealing with changes to certified Ex equipment.

- Confidentiality procedures when keeping technical documents etc.

- Procedures for suspending or cancelling a certificate of conformity.

- Procedures for dealing with ExTRs and QARs for the purpose of issuing their own National Certification

- Procedures for national certification and approval, including whether foreign manufacturers are required to make application through a resident agent.

The IECEx Assessment Team shall also review the ExCB’s ability to perform assessment of Quality Management Systems covering the manufacturer of Ex apparatus.  This shall include verifying:

- Understanding of the differences between auditing of Quality management Systems to ISO 9000 and Quality Plans associated with product certification systems;

- Assessing the ExCB’s system for the appointment of auditors to audit manufacturers under the IECEx Scheme (noting that IECEx require that all ExCB auditors appointed to audit manufacturers are required to have Ex technical expertise, see ExMC/161/CD);

- A thorough understanding by the ExCB’s auditors of the requirements of OD 005, ExMC/161/CD and OD 009;

- Experience with operating Product Certification Programs incorporating surveillance of manufacturers

- The Assessment should also conduct a Technical interview of some or all ExCB auditors to determine their level of both Ex knowledge and requirements of OD 005 and ExMC/161/CD.

Assessment of ExTLs are aimed at demonstrating compliance with ISO/IEC 17025, the Technical Guidance Documents and verification of the requirements of IECEx 02.  This includes verifying:

- Declaration as per appendix C of IECEx 02

- An organisational chart - note where the ExCB is also an ExTL the organisational chart shall demonstrate independence of testing and certification up to at least manager level

- Information as per appendix D of IECEx 02

- A statement respecting the confidentiality of any information they obtain and how this is achieved

- Suitable facilities are available and the necessary test and measuring equipment are available

- That the laboratory has appropriately qualified and experienced staff with intimate knowledge of testing and assessing Ex equipment

- Implementation of IECEx Operational Documents and ExTAG Decisions into their own documentation structure.

- Implementation of testing procedures and acceptance of test facilities at national level

As part of the assessment procedure, it is the responsibility of the Team Leader to provide the ExMC Secretary with an IECEx Assessment Report for each ExCB and ExTL their team have assessed.  A separate report is required for each.  Pro forma Reports for both ExCBs and ExTLs are included as Annex A and B.

To assist IECEx Assessment Teams, the IECEx Management Committee have appointed An IECEx Assessor Panel Chairman with the task acting as a reference body for Assessment Teams.  In addition the ExMC Secretary and ExTAG Secretary and other IECEx Officers are always willing to provide assistance.  Therefore Team Leader should feel free to make use of this assistance throughout the course of their assessments.

Assessor fees, payable by the ExCB and ExTL are currently set at:

- CHF 1’200 per day or part thereof for Lead Assessors (plus expenses)

- CHF 1’000 per day or part thereof for Assessors (plus expenses)

Closing Comment

The above instructions for Team Leaders, regarding seeking evidence of compliance with requirements, apply to all assessors.  Team members are reminded that the Lead Assessor is responsible for liaison between the assessment team and the National Member Body and their candidate ExCB, ExTL.  Points of non-compliance raised by any team member must be immediately brought to the Team Leader’s attention who will then raise the non-conformity with the National Member Body and their candidate ExCB or ExTL

An effective and timely assessment requires the cooperation of all those participating in the assessment, especially all members of the assessment teams.  Therefore it is most important that assessment team members respond quickly to correspondence and requests from their Team Leaders.  Should any assessor have difficulty in meeting their obligations they are requested to contact their Lead Assessor immediately and advise the ExMC Secretary.

ExCB and ExTL assessments is an extremely important process and will greatly assist in establishing and maintaining the IECEx Scheme’s credibility.  The Assessment Panel Chairman, ExMC Chairman and Officers are all available should assessors require assistance.  Assessors may contact the ExMC Secretary if they need assistance at any stage of the assessment process.

*** END OF DOCUMENT ***

ANNEX A - IECEx ASSESSMENT REPORT FORM

## For ExCB

(Accepted Certification Body)

Type of Assessment:

Initial Assessment for Candidate ExCB

Surveillance Assessment for existing ExCB

1.	OBJECT AND FIELD OF APPLICATION

1.1	Country:

1.2	Name of Candidate EXCB

1.3	Members Of The Assessment Team

1.4	Place And Date Of Assessment

1.5	Assessment References

Document:

i)	IECEx 02 Second  Edition

ii)	IECEx Operational Document OD/003

iii)	IECEx Operational Document OD 009 and others as referenced

iii)	ISO/IEC Guide 65 1996

iv)	ExCB application documents dated………………

1.6	Scope Of Application

Product Category					Standard

General Requirements				IEC 60079-0

(List all Standards within scope of application or acceptance within IECEx)

1.7	Candidate ExCB Persons Interviewed

Name							Position

1.8	Legal Entity Of The Candidate ExCB

1.9	Associated Testing Laboratories

Names of Laboratories				Address

1.10	Associated Certification Functions

1.11	National Marks And Certificates

1.12	Financial Support

1.13	History

1.14	Standards Accepted

1.15	National Differences To IEC Standards

2.    ORGANISATION

2.1	Names, Titles And Experience Of The Senior Executives

Name	Title	Experience

2.2	Name, Title And Experience of The Quality Management Representative

Name	Title	Experience

2.3	Name And Title of Nominated Principal Contact

Name	Title	Comments

2.4	Name and Title of Signatories for Certification

Name	Title	Comments

2.5	Other Employees in ExCB activity

Name		Title	Responsibility

2.6	Organisational Structure

2.7       Administration

2.7.1	Administrative Structure

2.7.2	Terms of Reference of the Governing Board

3.	RESOURCES

(Verification that ExCB has all necessary resources for its operation in-house, including personnel trained and experienced in factory inspection / quality audits).

4.	COMMITTEES

5.	CERTIFICATION OPERATIONS

5.1	National Approval/Certification Methods

5.2	Certification Policy

5.3	Staff Work Instructions

5.4	Application for Certification

6.     STATISTICS

Certificates issued during the past 2 years:

flameproof		d

intrinsic safety		i

increased safety		e

special			s

powder filled		q

encapsulated		m

type			n

pressurised		p

Gas Detectors

Apparatus for Dusts

7.	DOCUMENTATION

7.1	Document and Change Control

8.	RECORDS

9.	CONFIDENTIALLY

10.	PUBLICATIONS

11.	APPEALS

12.	NATIONAL ACCREDITATION

13.	RECOGNITION AND AGREEMENTS

14.	QUALITY MANUAL

15.	INTERNAL AUDIT AND PERIODIC REVIEW

16.	COMPLAINTS

17.	WITHDRAWAL AND CANCELLATION OF CERTIFICATES

18.	SPECIAL FACTS TO BE NOTED

19.	RECOMMENDATION

LIST OF ANNEXES

ANNEX B - IECEx ASSESSMENT REPORT FORM

(TEST LABORATORY – ExTL)

Type of Assessment:

Initial Assessment for Candidate ExTL

Surveillance Assessment for existing ExTL

1.	OBJECT AND FIELD OF APPLICATION

1.1	Country:

1.2	Name of Candidate TL

1.3	Members Of The Assessment Team

1.4	Place And Date Of Assessment

1.5	Assessment References

Document:

i)	IECEx 02

- IECEx Operational Document OD/003

- IECEx Operational Document OD 009

- ISO/IEC 17025

- IECEx Technical Guidance Documents

iv)	ExTL application documents

1.6	Scope Of Application

Product Category				Standard

General Requirements				IEC 60079-0

(List all Standards within scope of application or acceptance within IECEx)

1.7	Candidate TL Persons Interviewed

Name 							Position

1.8	Legal Entity Of The Candidate TL

1.9	Associated EXCB

Names of Laboratories				Address

1.12	Financial Support

1.13	History

1.14	Relevant Standards

2.	ORGANISATION

2.1	Names, Titles And Experience Of The Senior Executives

2.2	Name, Title And Experience Of The Quality Management Representative

2.3	Name And Title Of Nominated Principal Contact

2.4	Employees

2.5	Organisational Structure

3.	RESOURCES

- TEST METHODS

4.1	Procedures

4.2	Staff Work Instructions

.

5.	TEST REPORTS AND RECORDS

5.1	Test Reports Issued

The following table is an example

| Type of protection | Number of test reports |
| --- | --- |
| d |  |
| e |  |
| i |  |
| o |  |

5.2	Test Records

6.	CALIBRATION

7.	DOCUMENTATION

7.1	Quality Manual

7.2	Document Change Control

8.	CONFIDENTIALLY

9.	NATIONAL ACCREDITATION

10.	RECOGNITION AND AGREEMENTS

11.	INTERNAL AUDIT AND PERIODIC REVIEW

12.	COMPLAINTS MECHANISM

13.   SPECIAL FACTS TO BE NOTED

14.	COMMENTS

- RECOMMENDATION

LIST OF ANNEXES