INTERNATIONAL ELECTROTECHNICAL COMMISSION SCHEME

FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SCHEME)

##### IECEx Operational Document

##### OD 024 Version 1

Title: IECEx Rules of Procedure covering the use of “Other Testing Laboratories” for the purpose of third party assessment and certification. (e.g. manufacturers or users laboratories)

### IECEx Operational Document

#### This Operational Document OD 024 sets out the rules of procedure covering the use of “Other Testing Laboratories”. This document has been prepared taking into account the comment received.

Any comment or questions concerning this document may be directed to Mr Michel Brenon via Christine Kane, at the IECEx Secretariat Office-

E-mail: christine.kane@iecex.com

## Document History

| # Date | # Summary |
| --- | --- |
| 2006 07 | Original Issue (Version 1) |

| Address: Standards Australia Building 286 Sussex Street Sydney NSW 2000 Australia | IECEx Secretariat Contact Details: Tel: +61 2 8206 6940 Fax: +61 2 8206 6272 e-mail: chris.agius@iecex.com http://www.iecex.com |
| --- | --- |

IECEx OPERATIONAL DOCUMENT

IECEx Rules of Procedure covering the use of “Other Testing Laboratories” for the purpose of third party assessment and certification. (e.g. manufacturers or users laboratories)

1	 Introduction

In order to develop confidence and because of the high risks connected with the hazards of using electrical equipment in potentially explosive atmospheres, ExCBs using “Other Testing Laboratories” such as “Manufacturers laboratories”, End-user laboratories expect a very specific high level of competence of these external bodies

2	Terms, Definitions  and OTL” Procedures

ExTL(A)				For the purpose of this OD, it is an Ex Testing

Laboratory (A) accepted by the IECEx Scheme

and that is using an “OTL”, in accordance to an

applicable “OTL” procedures (see below), on the

request of an ExCB .

Other Testing Laboratory (OTL)	A Testing Laboratory which is not the

ExTL(A). It shall be an organisation suitable to be used for testing.

For the purpose of this OD, “OTLs” are restricted to the following types:

A Manufacturer Testing Laboratory

An End-User Testing Laboratory

Testing on “OTL” Premises (TOP)	On request of an ExCB, testing is done by

ExTL(A) staff at the “OTL” premises with its

own equipment or with “OTL” equipment.

Witness “OTL” (WOT)	On the request of an ExCB, staff of the (OTL) does testing. ExCB or ExTL(A) staff controls and witnesses all tests done by the “OTL” which uses its own equipment.

Supervised “OTL” Testing (SOT)	A representative of an accepted ExCB supervises the quality system, the laboratory testing process and witnesses some part of each agreed testing program at “OTL” laboratory which uses its own equipment.

##### General Rules

##### 3.1 	Provisions applicable to the ExCB or to the ExTL

  - The decision to use an “OTL” shall be made by an ExCB accepted in the IECEx Scheme for the particular standard / type of protection for which this ExCB shall be able to demonstrate at least 5 years of experience.

Note: This experience may have been obtained before entering the IECEx Scheme. Over this period of time a minimum of 20 Certificates should have been issued for the particular standards / type of protection.

  - The ExCB staff, supervising the quality management system of the Laboratory and the laboratory testing process and witnessing some part of each agreed testing program at the “OTL” which uses its own equipment, shall be able to demonstrate at least 3 years of experience for that standard / type of protection.

Note: This experience may have been partially or fully gained before entering the ExCB.

- The ExCB decides upon which “OTL” will be used and shall have an agreement with this “OTL”, prior to its use, that describes the activities and defines responsibilities.

- The ExCB may decide to request an ExTL to act on its behalf.

For the purpose of this OD this ExTL is designated as ExTL(A).

In this case the ExTL(A) shall be a part of the agreement specified in

article 3

- If the ExTL(A) is not integrated to the ExCB or is not owned by the ExCB it is a also, a signatory of the agreement.

- The ExTL(A) shall be accepted in the IECEx Scheme for the particular standard / type of protection for which this ExTL shall be able to demonstrate at least 5 years of experience and that it is completely equipped for testing this type of protection.

Note: This experience may have been obtained before entering the IECEx Scheme. Over this period of time a minimum of 20 full tests reports should have been issued for the particular standards / type of protection.

- The ExTL(A) staff, actually performing testing in an “OTL” or witnessing all tests done by an “OTL” or supervising  the quality management system (QMS), the laboratory testing process and witnessing some part of each agreed testing program at the “OTL” which uses its own equipment, shall be able to demonstrate at least 3 years of experience in testing with the ExTL(A) equipment for that standard / type of protection and shall demonstrate  a reasonable experience in  QMS and ISO 17025.

Note: This experience may have been partially or fully gained before entering the ExTL(A).

- The ExTL(A) shall have ISO/IEC 17025 procedures adequately covering off-site work when operating under “TOP”.

- The ExCB has the responsibility to assess the “OTL”.

- The above provisions fully apply to each ExCB having signed an agreement with the manufacturer/user.

##### General Provisions applicable to “OTL”

- To be accepted in the IECEx Scheme an “OTL” shall be fully assessed initially by the ExCB.

- The “OTL” shall demonstrate to the ExCB it complies with the requirements of ISO/IEC 17025 for the given scope. This can be achieved by formal accreditation or by assessment conducted by the ExCB.

- The “OTL” shall demonstrate to the ExCB it is fully equipped to perform testing for the given standard or part of standard

- To be maintained in the Scheme the “OTL” shall be assed once a year by the ExCB.

- Every three years the “OTL” shall be fully re-assessed by the ExCB and by a team designated by the IECEx. The ExCB  being a member of the team.

- The above provisions fully apply to each ExCB having signed an agreement with the manufacturer/user.

Specific Provisions applicable to “OTLs” (manufacturer or end user)

##### “OTL”

    - TOP

The ExCB for a given job defines the testing program.

The ExTL(A) conducts the testing.

The test report shall be signed by the ExTL(A).

The test report shall be authorized by the

ExTL(A).

The ExCB, upon satisfactory evaluation of the full ExTR and successful completion of the QAR, issues the IECEx Certificate.

The presence of ExTL(A) personnel at individual

job is 100%.

When testing is performed with manufacturer/user’s equipment, the manufacturer/user shall be fully equipped to standard or relevant part of standard

The manufacturer/user may have agreement with more than one ExCB, in that event the manufacturer/user must be assessed for ISO/IEC 17025 and relevant TGDs by each individual ExCB.

The manufacturer/user shall be supervised and trained through respective EXCB.

No direct participation to ExTAG is requested from the manufacturer/user.

Participation to ExTL(A) Proficiency testing is requested. NB: When the “manufacturer “is a user manufacturing for its own use, proficiency testing may not be required.

WOT

The ExCB for a given job defines the testing program

The manufacturer/user conducts the testing under the control and witness of the ExCB representative.

When the representative of the ExCB is the ExTL(A), the manufacturer/user and the ExTL(A) shall sign the test report.

The ExTL(A) shall authorize the test

report.

The ExCB, following satisfactory evaluation of the full ExTR and successful completion of the QAR, issues the IECEx Certificate

The presence of the ExCB representative at individual job is 100%, except for duration of ageing tests.

The manufacturer/user shall be equipped to standard or relevant part of standard

The manufacturer may have agreement with more than one ExCB. In that event each ExCB must assess the manufacturer for ISO/IEC 17025 and relevant TGDs

The manufacturer/user shall be supervised and trained  through respective ExCB

No direct participation to ExTAG is requested from the manufacturer.

Participation of the manufacturer/user to ExTL(A)  Proficiency testing  is requested. NB: When the “manufacturer “is a user manufacturing for its own use, proficiency testing may not be required.

    - SOT (See note)

The supervision program is defined by the ExCB in agreement with the Manufacturer

The manufacturer conducts testing under control of ExCB . Some part of each testing program must be witnessed on site by the ExCB or the ExTL(A) to ensure the continuous capability of the manufacturer. The manufacturer shall sign the test report regarding its testing scope.

Manufacturer shall authorize the test report

The ExCB upon satisfactory examination of the full ExTR endorsed by an ExTL(A) and completion of the QAR issues the IECEx Certificate.

The supervision is under the responsibility of the ExCB which may delegates it to an ExTL(A)

The manufacturer shall be fully equipped to standard or relevant part of standard

The manufacturer may have agreement with more than one ExCB. In that event each ExCB must assess the manufacturer independently for ISO/IEC 17025 and relevant TGDs

The manufacturer shall be supervised and trained through respective ExCBs

No direct participation to ExTAG is requested from the Manufacturer.

Participation of the Manufacturer to ExTL(A) Proficiency testing  is requested.

NB : SOT is not applicable to a manufacturer operating on the premises of an end-user and not applicable to end-users manufacturing for their own purposes.

.

    - “OTL” is an ExTL(B) (not part of this OD)

  - Provisions applicable to information obligation

- When an ExCB decides to use an “OTL” it shall get the agreement of the manufacturer/user.

2. The use of “OTL” must be disclosed in the full ExTR.

3. IECEx secretariat shall be informed about number and type of tests conducted in “OTL” every year. IECEx assessors for assessments of ExCBs and ExTLs using this OD shall take the information into account

4. When using an “OTL” the relevant contract shall be notified beforehand to IECEx Secretariat.

5. A list of “OTLs” by procedure (see table 4) shall be made available to ExCBs by the IECEx

Secretary

6. The IECEx Secretariat shall arrange all the necessary 3 yearly assessments

- IECEx Summary of Procedures of covering the use of “Other Testing  Laboratories”

| Procedure | ExTL | TOP | WOT | SOT |
| --- | --- | --- | --- | --- |
| Test Location | ExTL(A) | Manufacturer/ User | Manufacturer/ User | Manufacturer |
| Who does the work? | A laboratory accepted in the IECEx Scheme performs all necessary tests with its own equipment in its own facilities on request of an accepted ExCB | An ExTL(A) on request of an ExCB performs the testing in a manufacturer / user laboratory with its own equipment or with the manufacturer/user or user equipment | The ExCB or an ExTL(A) on request of an the ExCB witnesses all the testing of the defined testing program in the manufacturer / user laboratory that is using its own equipment. | A representative of an ExCB or an accepted ExTL(A) on request of the ExCB supervises the quality management system, the laboratory testing process of the manufacturer and witnesses some part of each agreed testing program at manufacturers laboratory which uses its own equipment |
| Signature : Tested by : | ExTL | ExTL(A) | Manufacturer or user for the part it has conducted. | Manufacturer for the part it has conducted. |
| Signature : Witnessed by : | none | none | ExCB or ExTL(A) | none |
| Full ExTR : Authorized by : | ExTL(A) | ExTL(A) | ExTL(A) | Manufacturer |
| Signature : Supervised by : | none | none | none | ExCB or ExTL(A) by delegation |
| IECEx certificate issued by | ExCB | ExCB | ExCB | ExCB |

| Presence at Individual jobs (excluding duration of ageing tests) | Yes (100%) | Yes (100%) | Yes (100%) | Some part of each product testing program must be witnessed on site |
| --- | --- | --- | --- | --- |
| Requirements for equipment | Fully equipped to standard | Fully equipped to standard or part of standard | Fully equipped to standard or part of standard | Fully equipped to standard or part of standard |
| Accreditation | Peer assessment through IECEx | Assessment by ExCB based on relevant part of ISO/IEC 17025 and TGDs. Follow up assessment each year. Re-assessment after 3 years by ExCB in combination with IECEx audit team | Assessment by ExCB based on relevant part of ISO/IEC 17025 and TGDs. Follow up assessment each year . Re-assessment after 3 years by ExCB in combination with IECEx audit team | Assessment by ExCB based on relevant part of ISO/IEC 17025 and TGDs. Follow up assessment each year. Re-assessment after 3 years by ExCB in combination with IECEx audit team |
| Relationship between ExCB and “OTL” | Contract with one ExCB for a given type of protection and application of ISO/IEC Guide 65 | Agreement with more than one ExCB possible. Must be assessed by each ExCB. | Agreement with more than one ExCB possible. Must be assessed by each ExCB. | Agreement with one ExCB Must be assessed by ExCB. |
| Registration of Contract within IECEx | IECEx Secretary | Yes IECEx Secretary | Yes IECEx Secretary | Yes IECEx Secretary |
| Supervision/training | Through one ExCB | Through respective ExCB | Through respective ExCB | Through the ExCB |
| Participation to ExTAG | yes | no | no | no |
| Participation to ExMC | Yes | no | no | no |
| Participation to Proficiency Test | Yes | Yes for manufacturer. Not excluded for user | Yes for manufacturer. Not excluder for user | Yes. |