INTERNATIONAL ELECTROTECHNICAL COMMISSION SCHEME

FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SCHEME)

Title: ExTAG Draft Decision Sheet – Certification Documentation

Circulated to: Ex Testing and Assessment Group (ExTAG)

##### INTRODUCTION

This draft Decision Sheet, prepared by Australian Bodies, covers - The requirement to supply documentation associated with the use, installation, maintenance and overhaul of explosion protected electrical equipment has been included in IEC 60079.0:2004 and is issued for discussion during the ExTAG Meeting, Shanghai, 5th September 2006.

#### Michel Brenon

ExTAG Secretary

| Address: Standards Australia Building 286 Sussex Street Sydney NSW 2000 Australia | IECEx Secretariat Contact Details: Tel: +61 2 8206 6940 Fax: +61 2 8206 6272 e-mail: chris.agius@iecex.com http://www.iecex.com | ExTAG Secretary Mr Michel Brenon/LCIE Tel: +33 1 40 95 5519 Fax: +33 1 40 95 5520 e-mail michel.brenon@lcie.fr |
| --- | --- | --- |

## COLLECTION OF IECEx/ExTAG DECISIONS

| Subject: Certification Documentation Status of document: Draft | Key words: - manufacturers - documentation - instructions - installation - overhaul | Date: 28 July 2006 Originator of Proposal: AU |
| --- | --- | --- |

Question:   The requirement to supply documentation associated with the use, installation, maintenance and overhaul of explosion protected electrical equipment has been included in IEC 60079.0:2004. Should such a requirement also apply to equipment certified against earlier editions of IEC 60079.0?

Background:

There is a need for those involved in the use, installation maintenance and overhaul of explosion protected electrical equipment to be provided with appropriate information and documentation to undertake their tasks. This has been recognised by TC31 with the inclusion of clause 30 of IEC 60079.0:2004.

For equipment certified to the earlier issues of IEC60079.0 there is inconsistency in what is made available to users, installers etc. Some certificates include a list of certification drawings while others do not. However, drawings alone typically will not satisfy the clause 30 requirements.

Answer:

The requirements of clause 30 of IEC60079.0:2004 be applied for all certificates for explosion protected electrical equipment. At application for certification, if the application is for certification to an earlier issue of IEC 60079.0, the applicant/manufacturer shall be advised of the requirement for compliance with clause 30 of IEC60079.0:2004. This requirement is also applicable to the IEC 61241 dust standards.

--------------------------