| Reference No: |  |  |  |  |  |  |  | #### IEC 60079-11 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ## Field of application This form is intended to be used when assessing and testing electrical apparatus for explosive atmospheres according to the standard specified in the adjoining column. The test results are valid for the tested items only. Reproduction This report must not be reproduced other than in its entirety except with the prior written approval of the issuing body | Standard: # IEC 60079-11 : 1999 Electrical apparatus for explosive gas atmospheres – Intrinsic safety "i" |  |  |  |  | ## Instructions for use This ExTR version consolidates the requirements of the indicated standards. ExCB review is to be recorded in Appendix A of the Section 2 Report. The short descriptions in the column "Heading of Clause" therein do not replace the complete text in the standard. The "ExCB Review" column segments must contain an entry of either "Pass" or "Fail" or "N/A" for each clause. The applicant is the body/person who has requested the assessment/test and to which the results, as specified in this report, are provided. |  |  |  |  |
|  | Amendments: None |  |  |  |  |  |  |  |  |  |
|  | # IEC 60079-0 : 2004 Electrical apparatus for explosive gas atmospheres – General requirements |  |  |  |  |  |  |  |  |  |
|  | Amendments: None |  |  |  |  | This test report may only be used for the IECEx Scheme and must be accompanied by an ExTR cover page issued by an ExCB. |  |  |  |  |
| ## Product name |  |  |  |  | ## Model/Type designation |  |  |  |  |  |
| Serial No | Code (e.g. Ex II T ) |  |  |  |  |  | Ambient temperature [min-max] |  |  |  |
| Applicant [name and postal address] |  |  |  |  | Manufactured by [name and postal address] |  |  |  |  |  |
| Test sample received [date] |  |  |  |  |  |  |  |  |  |  |
| ## Product description |  |  |  |  |  |  |  |  |  |  |
| The equipment complies with the standard [yes/no] | ## Prepared by |  |  |  |  |  |  |  |  | Date [year-month-day] |
|  | [signature] |  |  |  |  |  |  |  |  |  |

| ##### Section 2 EVALUATION RECORD To be completed by ExTL |  |
| --- | --- |
| IEC 60079-11: 1999 Electrical apparatus for explosive gas atmospheres - Part 11: Intrinsic safety "i" IEC 60079-0 : 2004 Electrical equipment for explosive atmospheres – Part 0: General requirements |  |
| Report |  |
| Reference No. |  |
| Tested by ( + signature) Approved by (+ signature) Date of issue Content |  |
| Client |  |
| Name Address |  |
| Evaluation Record Form No. ExTR6007911/Version 4 Copyright reserved to the bodies participating in the IECEx Scheme |  |
| Testing laboratory |  |
| Name Address Testing location |  |
| Test item Standards IEC 60079-11 and IEC 60079-0 Description. Trademark. Model and/or type reference Manufacturer |  |
| Sheet 1 of 3 |  |

| Test Item (continued) Rating(s) Type of transformers (where relevant) Application Protection index Other characteristics Rated ambient temperature ta (OC) | stationary / portable / hand-held IP |
| --- | --- |
| Other information |  |
| Sheet 2 of 3 |  |

General remarks This evaluation record is not valid unless appended to an IECEx Test Report issued by an ExCB, in accordance with IECEx 02. This evaluation record shall not be reproduced except in full without the written approval of the testing laboratory. The test results presented in this evaluation record relate only to the item(s) tested.

Copy of marking plate

Sheet 3 of 3

## Report

This Report deals with the test and assessment of equipment regarding the following Standards: IEC 60079-0:2004 Electrical equipment for explosive atmospheres – Part 0: General requirements IEC 60079-11:1999 Electrical apparatus for explosive gas atmospheres – Part 11: Intrinsic safety

| Equipment: |  |  |
| --- | --- | --- |
| Submitted by: |  |  |
| Manufactured by: |  |  |
| Group: |  |  |
| Type of Protection: |  |  |
| Temperature Classification: |  |  |
| Degree of Ingress Protection: |  |  |

1	Scope

2	Equipment

The following samples were submitted for assessment and testing:

- Test and Assessment

3.1	General Aspects

    - Description of enclosure

    - Drop Assessment and Test

    - Ingress Protection method and test

    - Connection arrangement

    - Insulation test

    - Earthing, bonding and circulating currents

    - Encapsulation

    - Plastic Electrostatic Hazard Assessment and Tests

    - Printed Circuit Board

    - Partitions

    - Cable pull test

    - Internal Connectors

    - Internal Wiring

    - Marking Requirements, including warning markings

    - Any other general aspects

  - Spark Ignition Assessment and Tests

    - Design of equipment to comply with Spark Ignition requirements

    - Apparatus supply and Input/Output parameters

    - Protection against Polarity Reversal

    - Resistive Spark Ignition Assessment and Tests

    - Capacitive Spark Ignition Assessment and Tests

    - Inductive Spark Ignition Assessment and Tests

    - Combination of Resistive, Capacitive and Inductive Assessment and Tests

    - Any other Spark Ignition Assessments and Tests

  - Thermal Ignition Assessment and Tests

    - Design of equipment to comply with Thermal Ignition requirements

    - Components Temperature Assessment and Tests, including small component ignition test

    - Wiring Temperature Assessment and Tests

    - Printed Board Tracks Assessment and Tests

    - Enclosure External Temperature Assessments and Tests

    - Any other Thermal Ignition Assessments and Tests

  - Segregation Requirements

  - Safety components

    - Transformers

    - Resistors

    - Capacitors

    - Semiconductors

    - Opto-isolators

    - Relays

    - Fuses

    - Infallible Connections

    - Any other safety components used

    - Ratings of Safety Components

| Component Designation | Component Location | Value | Rating used * (W2) | Maximum Rating (W1) | W1 W2 |
| --- | --- | --- | --- | --- | --- |

(* “Rating used” is a term used to describe the maximum voltage, current and/or power which the component may be subjected to when applying the number of faults as prescribed in the Standards)

  - Requirements of specific components

    - Batteries

    - Piezo Electric Devices

    - Fibre Optic Cables

    - Safety Barriers – Assessments and Tests

    - Simple Apparatus

    - Determination of parameters of loosely specified components

    - Group I Surveying Instruments

    - Ex components and their mounting method

    - Cap Lamps

    - Any other components

  - Marking requirements

- Results

- Additional Information

###### 6	Conditions

6.1	Conditions of Manufacture

6.2	Conditions of Safe Use

7	Schedule

The tests and assessments provided in this report are considered applicable to the following range of equipment:

8	Documents

The following documents were assessed in the course of preparing this report. The documents listed give a full and correct specification of the safety aspects of the electrical equipment.

| Document No. | Document Title | Issue | Date (yyyy/mm/dd) |
| --- | --- | --- | --- |

APPENDIX A COMPLIANCE CHECK LISTS

Appendix A1

| IEC 60079-0:2004 Edition 4 Electrical apparatus for explosive gas atmospheres - Part 0: General requirements |  |  |  |
| --- | --- | --- | --- |
| No: | Heading of clause | Report clause no., or excluded or no requirement | IEC ExCB Review |
| 1 | Scope | 1 |  |
| 2 | Normative references | No requirement |  |
| 3 | Terms and definitions | No requirement |  |
| 4 | Apparatus grouping and temperature classification |  |  |
| 4.1 | Apparatus grouping | 1 |  |
| 4.2 | Group II | 1 |  |
| 4.2.3 | Apparatus for a particular explosive atmosphere | 1 |  |
| 5 | Temperatures |  |  |
| 5.1 | Environmental influences |  |  |
| 5.1.1 | Ambient temperature | 1, 3.3 |  |
| 5.1.2 | External source of heating or cooling | 1, 3.3.1, 6.2 |  |
| 5.2 | Service temperature | 3.3.1 |  |
| 5.3 | Maximum surface temperature |  |  |
| 5.3.1 | Determination of maximum surface temperature | 3.3.1 |  |
| 5.3.2 | Limitation of maximum surface temperature |  |  |
| 5.3.2.1 | Group I electrical apparatus | 1, 3.3 |  |
| 5.3.2.2 | Group II electrical apparatus | 1, 3.3 |  |
| 5.4 | Surface temperature and ignition temperature | 1, 3.3 |  |
| 5.5 | Small components | 1, 3.3 |  |
| 6 | Requirements for all electrical apparatus |  |  |
| 6.1 | General | 1, 3, 4 |  |
| 6.2 | Mechanical strength of apparatus | 3.1.2, 3.1.3 |  |
| 6.3 | Opening times | Excluded |  |
| 6.4 | Circulating currents | 3.1.6 |  |
| 6.5 | Gasket retention | 3.1.3 |  |
| 7 | Non-Metallic enclosures and non-metallic parts of enclosures |  |  |
| 7.1 | General |  |  |
| 7.1.1 | Applicability | 3.1.1 |  |
| 7.1.2 | Specification of materials | 3.1.1 |  |
| 7.1.3 | Plastic materials | Excluded |  |
| 7.2 | Thermal endurance | Excluded |  |
| 7.3 | Electrostatic charges on external non-metallic materials of enclosures |  |  |
| 7.3.1 | Applicability | 3.1.8 |  |
| 7.3.2 | Avoidance of a build-up of electrostatic charge | 3.1.8 |  |
| 7.4 | Threaded holes | Excluded |  |
| 8 | Enclosures containing light metals |  |  |
| 8.1 | Material composition |  |  |
| 8.1.1 | Group I | 3.1.1 |  |
| 8.1.2 | Group II | 3.1.1 |  |
| 8.2 | Threaded holes | Excluded |  |
| 9 | Fasteners | Excluded |  |
| 10 | Interlocking devices | Excluded |  |
| 11 | Bushings | Excluded |  |
| 12 | Materials used for cementing | Excluded |  |
| 13 | Ex components |  |  |
| 13.1 | General | 3.6.8 |  |
| 13.2 | Mounting internal to apparatus | 3.6.8 |  |
| 13.3 | Mounting external to apparatus | 3.6.8 |  |
| 14 | Connection facilities and terminal compartments |  |  |
| 14.1 | General | 3.1.4 |  |
| 14.2 | Connection space | 3.1.4 |  |
| 14.3 | Type of protection | 3 |  |
| 14.4 | Creepage and clearance | 3.2.2 |  |
| 15 | Connection facilities for earthing or bonding conductors | Excluded |  |
| 16 | Entries into enclosures | Excluded |  |
| 17 | Supplementary requirements for rotating electrical machines | Excluded |  |
| 18 | Supplementary requirements for switchgear | Excluded |  |
| 19 | Supplementary requirements for fuses | Excluded |  |
| 20 | Supplementary requirements for plugs and sockets | Excluded |  |
| 21 | Supplementary requirements for luminaries | Excluded |  |
| 22 | Supplementary requirements for caplights and handlights | Excluded |  |
| 23 | Apparatus incorporating cells and batteries | 3.6.1 |  |
| 23.1 | Batteries | 3.6.1 |  |
| 23.2 | Cell types | 3.6.1 |  |
| 23.3 | Cells in a battery | 3.6.1 |  |
| 23.4 | Ratings of batteries | 3.6.1 |  |
| 23.5 | Mixture of cells | 3.6.1 |  |
| 23.6 | Interchangeability | 3.6.1 |  |
| 23.7 | Charging of primary batteries | 3.6.1 |  |
| 23.8 | Leakage | 3.6.1 |  |
| 23.9 | Connections | 3.6.1 |  |
| 23.10 | Orientation | 3.6.1 |  |
| 23.11 | Replacement of cells or batteries | 3.6.1 |  |
| 24 | Documentation | 8 |  |
| 25 | Compliance of prototype or sample with documents | 2, 3, 8 |  |
| 26 | Type tests |  |  |
| 26.1 | General | 2, 3, 7, 8 |  |
| 26.2 | Test configuration | 3 |  |
| 26.3 | Tests in explosive test mixtures | 3 |  |
| 26.4 | Tests of enclosures |  |  |
| 26.4.1 | Order of tests |  |  |
| 26.4.1.1 | Metallic enclosures, metallic parts of enclosures and glass of parts of enclosures (drop test and IP test only) | 3.1.2, 3.1.3 |  |
| 26.4.1.2 | Non-metallic enclosures or non-metallic parts of enclosures (drop test and IP test only) | 3.1.2, 3.1.3 |  |
| 26.4.1.2.1 | Group I electrical apparatus (drop test and IP test only) | 3.1.2, 3.1.3 |  |
| 26.4.1.2.2 | Group II electrical apparatus | 3.1.2, 3.1.3 |  |
| 26.4.2 | Resistance to impact | Excluded |  |
| 26.4.3 | Drop test | 3.1.2 |  |
| 26.4.4 | Acceptance criteria | 3.1.2 |  |
| 26.4.5 | Degree of protection (IP) by enclosures |  |  |
| 26.4.5.1 | Test procedure | 3.1.3 |  |
| 26.4.5.2 | Acceptance criteria | 3.1.3 |  |
| 26.5 | Thermal tests |  |  |
| 26.5.1 | Temperature measurement | 3.3 |  |
| 26.5.2 | Thermal shock test | Excluded |  |
| 26.5.3 | Small component ignition test |  |  |
| 26.5.3.1 | General | 3.3.2 |  |
| 26.5.3.2 | Procedure | 3.3.2 |  |
| 26.5.3.3 | Acceptance criteria | 3.3.2 |  |
| 26.6 | Torque test for bushings | Excluded |  |
| 26.7 | Non-metallic enclosures or non-metallic parts of enclosures | Excluded |  |
| 26.8 | Thermal endurance to heat | Excluded |  |
| 26.9 | Thermal endurance to cold | Excluded |  |
| 26.10 | Resistance to light | Excluded |  |
| 26.11 | Resistance to chemical agents for Group I electrical apparatus | Excluded |  |
| 26.12 | Earth continuity | Excluded |  |
| 26.13 | Surface resistance test of parts of enclosures of non-metallic materials | 3.1.8 |  |
| 26.14 | Charging tests |  |  |
| 26.14.1 | Introduction | 3.1.8 |  |
| 26.14.2 | Principle of the test | 3.1.8 |  |
| 26.14.3 | Samples and apparatus | 3.1.8 |  |
| 26.14.4 | Ambient conditions | 3.1.8 |  |
| 26.14.5 | Conditioning | 3.1.8 |  |
| 26.14.6 | Determination of the most efficient charging method |  |  |
| 26.12.6.1 | Method A: Rubbing with a pure polyamide cloth (Figure 6) | 3.1.8 |  |
| 26.14.6.2 | Method B: Rubbing with a cotton cloth | 3.1.8 |  |
| 26.14.6.3 | Method C: Charging by influence with a d.c. high-voltage power supply (Figure 8) | 3.1.8 |  |
| 26.14.7 | Assessment of discharge | 3.1.8 |  |
| 26.15 | Measurement of capacitance |  |  |
| 26.15.1 | Test procedure | 3.1.8 |  |
| 26.15.2 | Acceptance criteria | 3.1.8 |  |
| 27 | Routine verifications and tests | 6.1 |  |
| 28 | Manufacturer’s responsibility |  |  |
| 28.1 | Certificate | No requirement |  |
| 28.2 | Responsibility for marking | No requirement |  |
| 29 | Marking |  |  |
| 29.1 | Location | 3.1.14 |  |
| 29.2 | General | 3.1.14 |  |
| 29.3 | Different type of protection | 3.1.14 |  |
| 29.4 | Order of marking | 3.1.14 |  |
| 29.5 | Ex components | 3.1.14 |  |
| 29.6 | Small apparatus and Ex components | 3.1.14 |  |
| 29.7 | Extremely small apparatus and Ex components | 3.1.14 |  |
| 29.8 | Warning markings | 3.1.14 |  |
| 29.9 | Cells and batteries | 3.1.14 |  |
| 29.10 | Examples of marking3 | 3.1.14 |  |
| 30 | Instructions |  |  |
| 30.1 | General | 3.1.14 |  |
| 30.2 | Cells and batteries | 3.1.14 |  |
| Annex A | Ex cable glands | Excluded |  |
| Annex B | Requirements for Ex components | 3.6.8 |  |

Appendix A2

| IEC 60079-11:1999 Fourth Edition Electrical apparatus for explosive gas atmospheres - Part 11: Intrinsic safety "i" |  |  |  |  |
| --- | --- | --- | --- | --- |
| No: | Heading of clause | Report clause no., or excluded or no requirement |  | IEC ExCB Review |
| 1 | Scope | 1 |  |  |
| 2 | Normative references | No requirement |  |  |
| 3 | Definitions | No requirement |  |  |
| 4 | Grouping and classification of intrinsically safe apparatus and associated apparatus | 1 |  |  |
| 5 | Categories of electrical apparatus |  |  |  |
| 5.1 | General | 1 |  |  |
| 5.2 | Category "ia" | 1 |  |  |
| 5.3 | Category "ib" | 1 |  |  |
| 5.4 | Simple apparatus | 3.6.5 |  |  |
| 6 | Apparatus construction |  |  |  |
| 6.1 | Enclosures | 3.1.1 |  |  |
| 6.2 | Wiring and small component temperatures |  |  |  |
| 6.2.1 | Dust layers on Group I equipment | 3.1.2, 3.3 |  |  |
| 6.2.2 | Wiring within apparatus | 3.3.3 |  |  |
| 6.2.3 | Printed circuit wiring | 3.3.4 |  |  |
| 6.2.4 | Small components | 3.3.2 |  |  |
| 6.3 | Facilities for connection of external circuits |  |  |  |
| 6.3.1 | Terminals | 3.1.4 |  |  |
| 6.3.2 | Plugs and sockets | 3.1.4 |  |  |
| 6.3.3 | Determination of maximum external inductance to resistance ratio (Lo/Ro) for resistance limited power source | 3.2.2 |  |  |
| 6.3.4 | Permanently connected cable | 3.1.4, 3.1.11 |  |  |
| 6.4 | Separation distances |  |  |  |
| 6.4.1 | Separation of conductive parts | 3.4, 3.1.1, 3.1.6, 3.1.10 |  |  |
| 6.4.2 | Voltage between conductive parts | 3.4 |  |  |
| 6.4.3 | Clearance | 3.4, 3.1.10 |  |  |
| 6.4.4 | Separation distances through and requirements of casting compound | 3.1.7, 3.1.10 |  |  |
| 6.4.5 | Separation distances through solid insulation | 3.1.5, 3.1.10 |  |  |
| 6.4.6 | Composite separations | 3.4 |  |  |
| 6.4.7 | Creepage distance in air | 3.4, 3.1.10 |  |  |
| 6.4.8 | Creepage distance under coating | 3.4, 3.1.9 |  |  |
| 6.4.9 | Requirements for assembled printed circuit boards | 3.4, 3.1.9 |  |  |
| 6.4.10 | Separation by earth screens | 3.4, 3.1.6 |  |  |
| 6.4.11 | Internal wiring | 3.1.13, 3.4 |  |  |
| 6.4.12 | Electric strength tests | 3.1.5 |  |  |
| 6.4.13 | Relays | 3.5.6 |  |  |
| 6.5 | Protection against polarity reversal | 3.2.3 |  |  |
| 6.6 | Earth conductors, connections and terminals | 3.1.6 |  |  |
| 6.7 | Encapsulation used for the exclusion of a potentially explosive atmosphere | 3.1.7 |  |  |
| 7 | Components on which intrinsic safety depends |  |  |  |
| 7.1 | Rating of components | 3.5.10 |  |  |
| 7.2 | Connectors for internal connections, plug-in cards and components | 3.1.12, 3.1.6 |  |  |
| 7.3 | Fuses | 3.5.7 |  |  |
| 7.4 | Primary and secondary cells and batteries |  |  |  |
| 7.4.1 | General | 3.6.1 |  |  |
| 7.4.2 | Electrolyte leakage | 3.6.1 |  |  |
| 7.4.3 | Cell and battery voltages | 3.6.1, 3.2.2 |  |  |
| 7.4.4 | Internal resistance of battery and cell | 3.6.1, 3.2.2 |  |  |
| 7.4.5 | Current-limiting devices for batteries in associated apparatus | 3.6.1, 3.2.2 |  |  |
| 7.4.6 | Current-limiting devices for batteries to be used and replaced in explosive atmospheres | 3.6.1, 3.2.2 |  |  |
| 7.4.7 | Current-limiting devices for batteries to be used but not replaced in explosive atmospheres | 3.6.1, 3.2.2 |  |  |
| 7.4.8 | External contacts for charging batteries | 3.6.1, 3.2.2 |  |  |
| 7.4.9 | Battery construction | 3.6.1, 3.2.2 |  |  |
| 7.5 | Semiconductors |  |  |  |
| 7.5.1 | Transient effects | 3.5.4 |  |  |
| 7.5.2 | Shunt voltage limiters | 3.5.4 |  |  |
| 7.5.3 | Series current limiters | 3.5.4 |  |  |
| 7.6 | Failure of components and connections | 3 |  |  |
| 7.7 | Piezo-electric devices | 3.6.2 |  |  |
| 8 | Infallible components, infallible assemblies of components and infallible connections |  |  |  |
| 8.1 | Mains transformers |  |  |  |
| 8.1.1 | Winding faults | 3.5.1 |  |  |
| 8.1.2 | Protective measures | 3.5.1 |  |  |
| 8.1.3 | Transformer construction | 3.5.1, 3.4 |  |  |
| 8.1.4 | Transformer type tests | 3.5.1 |  |  |
| 8.1.5 | Routine test of mains transformers | 3.5.1, 6.1 |  |  |
| 8.2 | Transformers other than mains transformers | 3.5.1 |  |  |
| 8.3 | Damping windings | 3.5.9 |  |  |
| 8.4 | Current-limiting resistors | 3.5.2 |  |  |
| 8.5 | Blocking capacitors | 3.5.3 |  |  |
| 8.6 | Shunt safety assemblies |  |  |  |
| 8.6.1 | General | 3.5.4, 3.5.8 |  |  |
| 8.6.2 | Safety shunts | 3.5.4 |  |  |
| 8.6.3 | Shunt voltage limiters | 3.5.4 |  |  |
| 8.7 | Wiring and connections | 3.5.8 |  |  |
| 8.8 | Galvanically separating components | 3.5.5, 3.5.6 |  |  |
| 9 | Diode safety barriers |  |  |  |
| 9.1 | General | 3.6.4, 6.1 |  |  |
| 9.2 | Construction |  |  |  |
| 9.2.1 | Mounting | 3.6.4 |  |  |
| 9.2.2 | Facilities for connection to earth | 3.6.4 |  |  |
| 9.2.3 | Protection of components | 3.6.4 |  |  |
| 10 | Type verifications and type tests |  |  |  |
| 10.1 | Spark ignition test |  |  |  |
| 10.1.1 | General | 3.2 |  |  |
| 10.1.2 | Spark test apparatus | 3.2 |  |  |
| 10.2 | Explosive test mixtures | 3.2 |  |  |
| 10.3 | Calibration of the spark test apparatus | 3.2 |  |  |
| 10.4 | Tests with the spark test apparatus |  |  |  |
| 10.4.1 | Circuit test | 3.2 |  |  |
| 10.4.2 | Safety factors | 3.2 |  |  |
| 10.4.3 | Testing considerations |  |  |  |
| 10.4.3.1 | General | 3.2 |  |  |
| 10.4.3.2 | Circuits with both inductance and capacitance | 3.2.7 |  |  |
| 10.4.3.3 | Circuits using shunt short-circuit (crowbar) protection | 3.2.4 |  |  |
| 10.4.4 | Results of spark tests | 3.2 |  |  |
| 10.5 | Temperature tests | 3.3 |  |  |
| 10.6 | Voltage tests | 3.1.5, 6.1 |  |  |
| 10.7 | Small component ignition test | 3.3.2 |  |  |
| 10.8 | Determination of parameters of loosely specified components | 3.6.6 |  |  |
| 10.9 | Tests for cells and batteries |  |  |  |
| 10.9.1 | General | 3.6.1 |  |  |
| 10.9.2 | Electrolyte leakage test for cells and batteries | 3.6.1 |  |  |
| 10.9.3 | Spark ignition and surface temperature of cells and batteries | 3.6.1, 3.2.2 |  |  |
| 10.9.3 a) | (Spark Ignition assessment) | 3.6.1, 3.2.4 |  |  |
| 10.9.3 b) | (Maximum surface temperature assessment) | 3.6.1, 3.3.2 |  |  |
| 10.10 | Mechanical tests |  |  |  |
| 10.10.1 | Casting compound | 3.1.7 |  |  |
| 10.10.2 | Partitions | 3.1.10 |  |  |
| 10.11 | Tests for apparatus containing piezoelectric devices | 3.6.2 |  |  |
| 10.12 | Type tests for diode safety barriers and safety shunts | 3.6.4 |  |  |
| 10.13 | Cable pull test | 3.1.11 |  |  |
| 11 | Routine verifications and tests |  |  |  |
| 11.1 | Routine tests for diode safety barriers |  |  |  |
| 11.1.1 | Completed barriers | 3.6.4, 6.1 |  |  |
| 11.1.2 | Diodes for 2-diode ‘ia’ barriers | 3.6.4 |  |  |
| 11.2 | Routine tests for mains transformers | 3.5.1, 6.1 |  |  |
| 12 | Marking |  |  |  |
| 12.1 | General | 3.1.14 |  |  |
| 12.2 | Marking of connection facilities | 3.1.4, 3.1.14 |  |  |
| 13 | Documentation | 3.1.4, 6.2, 8 |  |  |
| Annex A | Assessment of intrinsically safe circuits |  |  |  |
| A.1 | Basic criteria | 3.2, 3.3, 3.4 |  |  |
| A.2 | Assessment using reference curves and tables | 3.2, 3.3 |  |  |
| A.3 | Examples of simple circuits | No requirement |  |  |
| Annex B | Spark test apparatus for intrinsically safe circuits |  |  |  |
| B.1 | Test methods for spark ignition |  |  |  |
| B.1.1 | Principle | 3.2 |  |  |
| B.1.2 | Apparatus | 3.2 |  |  |
| B.1.3 | Calibration of spark test apparatus | 3.2 |  |  |
| B.1.4 | Preparation and cleaning of tungsten wires | 3.2 |  |  |
| B.1.5 | Conditioning of new cadmium disc | 3.2 |  |  |
| B.1.6 | Limitations of the apparatus | 3.2 |  |  |
| Annex C | Measurement of creepage distance, clearances and separation distances through casting compound and through solid insulation | 3.4 |  |  |
| Annex D | Encapsulation |  |  |  |
| D.1 | Adherence | 3.1.7 |  |  |
| D.2 | Temperature | 3.1.7 |  |  |

APPENDIX B: Tests

## B.1

| Equipment Tested |  |
| --- | --- |
| Date of Test |  |
| Standards |  |

B.1.1	Test Procedure

###### B.1.2	Results

APPENDIX C:  (If required)