| IECEx TEST REPORT IEC 60079-13 Explosive atmospheres – Part 13: Equipment protection by pressurized room “p” |  |  |
| --- | --- | --- |
| ExTR Reference Number : |  |  |
| ExTR Free Reference Number : |  |  |
| Compiled by + signature (ExTL) : | (enter typed name here) | (enter signature here) |
| Reviewed by + signature (ExTL) : | (enter typed name here) | (enter signature here) |
| Date of issue : |  |  |
| Ex Testing Laboratory (ExTL) : |  |  |
| Address : |  |  |
| Applicant’s name : |  |  |
| Address : |  |  |
| Standard : | IEC 60079-13:2010, 1st Edition |  |
| Test procedure : | IECEx System |  |
| Test Report Form Number : | ExTR60079-13_1A_DS (released 2019-12) |  |
| Instructions for Intended Use of Ex Test Report: An Ex Test Report provides a clause-by-clause documentation of the initial evaluation and testing that verified compliance of an item or product with an IEC Ex standard. This Ex Test Report is part of an ExTR package that may include other Ex Test Report, Addendum, National Differences and Partial Testing documents, along with a single ExTR Cover. An Ex Test Report is to be compiled and reviewed by the ExTL. The Issuing ExCB indicates final approval of the Ex Test Report as part of the overall ExTR package on the associated ExTR Cover. |  |  |
| Copyright © 2011 International Electrotechnical Commission System for Certification to Standards Relating to Equipment for use in Explosive Atmospheres (IECEx System), Geneva, Switzerland. All rights reserved. This blank publication may be reproduced in whole or in part for non-commercial purposes as long as the IECEx System is acknowledged as copyright owner and source of the material. The IECEx system takes no responsibility for, and will not assume liability for, damages resulting from the reader's interpretation of the reproduced material due to its placement and context. |  |  |

| Possible test case verdicts: |  |
| --- | --- |
| - test case does not apply to the test item :N / A |  |
| - test item does meet the requirement :Pass |  |
| General remarks: The test results presented in this Ex Test Report relate only to the item or product tested. - "(see Attachment #)" refers to additional information appended to this document. - "(see appended table)" refers to a table appended to this document. - Throughout this document, a point “.” is used as the decimal separator. The technical content of this Ex Test Report shall not be reproduced except in full without the written approval of the Issuing ExCB and ExTL. |  |

| IEC 60079-13 |  |  |  |
| --- | --- | --- | --- |
| Clause | Requirement – Test | Result – Remark | Verdict |
| 1 | Scope |  |  |
| 2 | Normative references |  |  |
| 3 | Terms and definitions |  |  |
| 4 | Requirements for rooms |  |  |
| 4.1 | General |  |  |
| 4.2 | Construction |  |  |
| 4.3 | Mechanical strength |  |  |
| 4.4 | Openings, penetrations and seals |  |  |
| 4.5 | Doors |  |  |
| 4.6 | Inlets and outlets |  |  |
| 4.7 | Ducts |  |  |
| 5 | Clean air supply |  |  |
| 5.1 | Source of clean air |  |  |
| 5.2 | Environmental and air temperature conditions |  |  |
| 5.3 | Heating, ventilation and air conditioning services |  |  |
| 5.4 | Minimum flow rate |  |  |
| 6 | Purging and cleaning |  |  |
| 6.1 | General |  |  |
| 6.2 | Gases – Purging |  |  |
| 6.2.1 | General |  |  |
| 6.2.2 | Purge volume |  |  |
| 6.2.3 | Purging flow rate |  |  |
| 6.2.4 | Sequence of operations of the purging safety devices for type of protection px |  |  |
| 6.2.5 | Enclosures within the room |  |  |
| 6.3 | Dusts – Cleaning |  |  |
| 7 | Temperature limits |  |  |
| 8 | Minimum safety provisions, safety devices and electrical disconnects |  |  |
| 8.1 | Safety devices |  |  |
| 8.2 | Safety devices based upon type of protection |  |  |
| 8.3 | Gas detectors |  |  |
| 8.4 | Failure of the pressurization system |  |  |
| 9 | Pressurized room in a hazardous area and with no internal source of flammable substance |  |  |
| 9.1 | General |  |  |
| 9.2 | Protective gas |  |  |
| 9.2.1 | Type of protection px |  |  |
| 9.2.2 | Type of protection py |  |  |
| 9.2.3 | Type of protection pz |  |  |
| 9.3 | Group II |  |  |
| 9.3.1 | Room pressure differential |  |  |
| 9.3.2 | Power for pressurization system |  |  |
| 9.4 | Preventing the explosive atmosphere from entering an open door |  |  |
| 9.5 | Airlock |  |  |
| 9.6 | Outward air velocity through a door |  |  |
| 9.7 | Air consuming device |  |  |
| 9.8 | Action when pressurization system fails |  |  |
| 9.8.1 | Type of protection px |  |  |
| 9.8.2 | Types of protection py and pz |  |  |
| 9.9 | Re-energizing the room |  |  |
| 10 | Pressurized room in a hazardous area and containing an internal source of flammable substance |  |  |
| 10.1 | Evaluation of internal sources of a flammable substance |  |  |
| 10.1.1 | Flammable substance assessment |  |  |
| 10.1.2 | Assessment of release |  |  |
| 10.1.3 | Release – Additional requirements |  |  |
| 10.1.4 | Adequate dilution |  |  |
| 10.2 | Applicability of Clause 9 |  |  |
| 10.3 | Containment system |  |  |
| 10.4 | Sample lines |  |  |
| 10.5 | Types of anticipated releases |  |  |
| 10.5.1 | General |  |  |
| 10.5.2 | No release |  |  |
| 10.5.3 | Negligible release |  |  |
| 10.5.4 | Limited release |  |  |
| 10.5.5 | Unlimited release |  |  |
| 10.6 | Safety measures |  |  |
| 10.7 | Minimum flow rate for dilution |  |  |
| 10.8 | Warning to prevent entry into a room |  |  |
| 10.9 | Air distribution |  |  |
| 10.10 | Protective gas |  |  |
| 10.11 | Additional pressurization system requirements when inert gas is used |  |  |
| 11 | Pressurized room in a non-hazardous area with internal source of flammable substance (type of protection pv) |  |  |
| 11.1 | Applicability of Clause 9 |  |  |
| 11.2 | Applicability of Clause 10 |  |  |
| 11.3 | Loss of flow of the protective gas |  |  |
| 11.4 | Safety devices |  |  |
| 12 | Verification |  |  |
| 12.1 | General |  |  |
| 12.2 | Sequence of tests |  |  |
| 12.3 | Mechanical strength test |  |  |
| 12.4 | Overpressure test |  |  |
| 12.5 | Purging test |  |  |
| 12.6 | Minimum pressure differential test for types of protection px, py and pz |  |  |
| 12.7 | Minimum flow rate test |  |  |
| 12.8 | Overpressure test for containment systems with limited release |  |  |
| 12.9 | Confirmation of the ratings of the safety devices |  |  |
| 12.10 | Verification sequence of operation of the safety devices |  |  |
| 13 | Marking |  |  |
| 14 | Technical documentation |  |  |
| Annex A (Normative) | Containment system |  |  |
| A.1 | General |  |  |
| A.2 | Design requirements for the containment system |  |  |
| A.2.1 | General design requirements |  |  |
| A.2.2 | Infallible containment system |  |  |
| A.2.3 | Containment system with a negligible release |  |  |
| A.2.4 | Containment system with a limited release |  |  |
| Annex B (Informative) | Maintenance |  |  |
| Annex C (Informative) | Guidelines when pressurization not immediately restored |  |  |
| Annex D (Normative) | Classification of the type of release within rooms |  |  |
| D.1 | General |  |  |
| D.2 | No normal release, no abnormal release |  |  |
| D.3 | No normal release, limited abnormal release |  |  |
| D.4 | Limited normal release |  |  |
| D.5 | Unlimited release |  |  |

Measurement Section, including Additional Narrative Remarks (as deemed applicable)