| IECEx TEST REPORT IEC 60079-15 Electrical apparatus for explosive gas atmospheres - Part 15: Construction, test and marking of type of protection "n" electrical apparatus |  |  |
| --- | --- | --- |
| ExTR Reference Number : |  |  |
| ExTR Free Reference Number : |  |  |
| Compiled by + signature (ExTL) : | (enter typed name here) | (enter signature here) |
| Reviewed by + signature (ExTL) : | (enter typed name here) | (enter signature here) |
| Date of issue : |  |  |
| Ex Testing Laboratory (ExTL) : |  |  |
| Address : |  |  |
| Applicant’s name : |  |  |
| Address : |  |  |
| Standard : | IEC 60079-15:2005, 3rd Edition |  |
| Test procedure : | IECEx System |  |
| Test Report Form Number : | ExTR60079-15_3C_DS (released 2019-12) |  |
| Instructions for Intended Use of Ex Test Report: An Ex Test Report provides a clause-by-clause documentation of the initial evaluation and testing that verified compliance of an item or product with an IEC Ex standard. This Ex Test Report is part of an ExTR package that may include other Ex Test Report, Addendum and National Differences documents, along with a single ExTR Cover. An Ex Test Report is to be compiled and reviewed by the ExTL. The Issuing ExCB indicates final approval of the Ex Test Report as part of the overall ExTR package on the associated ExTR Cover. |  |  |
| Copyright © 2011 International Electrotechnical Commission System for Certification to Standards Relating to Equipment for use in Explosive Atmospheres (IECEx System), Geneva, Switzerland. All rights reserved. This blank publication may be reproduced in whole or in part for non-commercial purposes as long as the IECEx System is acknowledged as copyright owner and source of the material. The IECEx system takes no responsibility for, and will not assume liability for, damages resulting from the reader's interpretation of the reproduced material due to its placement and context. |  |  |

| Possible test case verdicts: |  |
| --- | --- |
| - test case does not apply to the test item :N / A |  |
| - test item does meet the requirement :Pass |  |
| General remarks: The test results presented in this Ex Test Report relate only to the item or product tested. - "(see Attachment #)" refers to additional information appended to this document. - "(see appended table)" refers to a table appended to this document. - Throughout this document, a point is used as the decimal separator. The technical content of this Ex Test Report shall not be reproduced except in full without the written approval of the Issuing ExCB and ExTL. |  |

| IEC 60079-15 |  |  |  |
| --- | --- | --- | --- |
| Clause | Requirement – Test | Result – Remark | Verdict |
| 1 | Scope |  |  |
| 2 See also DS 2010/006A | Normative references |  |  |
| 3 See also DS 2008/005A | Terms and definitions |  |  |
| 4 | General |  |  |
| 4.1 | Apparatus grouping and temperature classification |  |  |
| 4.2 | Potential ignition sources |  |  |
| 5 | Temperatures |  |  |
| 5.1 | Environmental influences |  |  |
| 5.1.1 | Ambient temperature |  |  |
| 5.1.2 | External source of heating or cooling |  |  |
| 5.2 | Service temperature |  |  |
| 5.3 | Maximum surface temperature |  |  |
| 5.3.1 | Determination of maximum surface temperature |  |  |
| 5.3.2 | Limitation of maximum surface temperature |  |  |
| 5.4 | Surface temperature and ignition temperature |  |  |
| 5.5 | Small components |  |  |
| 6 | Requirements for electrical apparatus |  |  |
| 6.1 | General |  |  |
| 6.2 | Mechanical strength of apparatus |  |  |
| 6.3 | Opening times |  |  |
| 6.4 | Circulating currents |  |  |
| 6.5 | Gasket retention |  |  |
| 6.6 | Degree of protection of enclosure (IP) |  |  |
| 6.6.1 | Minimum degree of protection |  |  |
| 6.6.2 | Degree of protection provided by installation |  |  |
| 6.7 | Clearances, creepage distances and separations |  |  |
| 6.7.1 | General |  |  |
| 6.7.2 | Determination of working voltage |  |  |
| 6.7.3 | Conformal coating |  |  |
| 6.7.4 | Comparative tracking index (CTI) |  |  |
| 6.7.5 | Measurement of creepage and clearance |  |  |
| 6.7.6 | Compound filled cable sealing boxes |  |  |
| 6.8 | Electric strength |  |  |
| 6.8.1 | Insulation from earth or frame |  |  |
| 6.8.2 | Insulation between conductive parts |  |  |
| 7 | Non-metallic enclosures and non-metallic parts of enclosures |  |  |
| 7.1 | General |  |  |
| 7.2 | Thermal endurance |  |  |
| 7.3 | Electrostatic charges on external non-metallic materials of enclosures |  |  |
| 7.4 | Threaded holes |  |  |
| 7.5 | Thermal shock |  |  |
| 7.6 | Resistance to light |  |  |
| 8 | Enclosures containing light metals |  |  |
| 8.1 | Material composition |  |  |
| 8.2 | Threaded holes |  |  |
| 9 | Fasteners |  |  |
| 9.1 | General |  |  |
| 9.2 | Special fasteners |  |  |
| 10 | Interlocking device |  |  |
| 11 | Bushings |  |  |
| 12 | Materials used for cementing |  |  |
| 13 | Ex components |  |  |
| 13.1 | Type of protection “n” |  |  |
| 13.2 | Mounting |  |  |
| 13.3 | Internal mounting |  |  |
| 13.4 | External mounting |  |  |
| 14 | Connection facilities and terminal compartments |  |  |
| 14.1 | General |  |  |
| 14.2 | Connection for external conductors |  |  |
| 14.2.1 | Connection facilities |  |  |
| 14.2.1.1 | Terminals |  |  |
| 14.2.1.2 | Permanently connected cable, provided with loose leads |  |  |
| 14.2.2 | Conductor accommodation |  |  |
| 14.2.3 | Cable glands |  |  |
| 14.3 | Internal connection facilities |  |  |
| 15 | Connection facilities for earthing or bonding conductors |  |  |
| 16 | Entries into enclosures |  |  |
| 17 | Supplementary requirements for non-sparking electrical machines |  |  |
| 17.1 | General |  |  |
| 17.1.1 | Machine enclosure |  |  |
| 17.1.2 | Terminal boxes |  |  |
| 17.1.3 | Conduit stopping boxes, cable sealing and dividing boxes |  |  |
| 17.2 | Connection facilities for external conductors |  |  |
| 17.3 | Neutral point connections |  |  |
| 17.4 | Radial air gap |  |  |
| 17.5 | Ventilation systems |  |  |
| 17.6 | Bearing seals and shaft seals |  |  |
| 17.6.1 | Non-rubbing seals and labyrinths |  |  |
| 17.6.2 | Rubbing seals |  |  |
| 17.7 | Rotor cages |  |  |
| 17.7.1 | Rotor cages built from bars connected to end rings |  |  |
| 17.7.2 | Cast rotor cages |  |  |
| 17.7.3 | Assessment for possible air gap sparking |  |  |
| 17.8 | Surface temperature limitation |  |  |
| 17.8.1 | Prevention of thermal ignition |  |  |
| 17.8.2 | Operation with a frequency convertor or a non-sinusoidal supply |  |  |
| 17.8.2.1 | Type test methods |  |  |
| 17.8.2.2 | Type test |  |  |
| 17.8.2.3 | Alternative type test by calculation |  |  |
| 17.9 | Additional requirements for machines with rated voltage greater than 1 kV |  |  |
| 17.9.1 | General |  |  |
| 17.9.1.1 | Assessment and test |  |  |
| 17.9.1.2 | “As new” condition |  |  |
| 17.9.1.3 | High-voltage rated machines |  |  |
| 17.9.2 | Potential incendivity of the stator winding insulation system |  |  |
| 18 | Supplementary requirements for switchgear |  |  |
| 19 | Supplementary requirements for non-sparking fuses and fuse assemblies |  |  |
| 19.1 | Fuses |  |  |
| 19.2 | Temperature class of an apparatus |  |  |
| 19.3 | Fuse mounting |  |  |
| 19.4 | Fuse enclosures |  |  |
| 19.5 | Replacement fuse identification |  |  |
| 20 | Supplementary requirements for non-sparking plugs and sockets |  |  |
| 20.1 | Plugs and sockets for external connections |  |  |
| 20.2 See also DS 2015/003 | Maintaining degree of protection |  |  |
| 20.3 | Plugs and sockets for internal connections |  |  |
| 20.4 | Sockets that do not have plugs inserted in normal operation |  |  |
| 21 See also DS 2008/003A | Supplementary requirements for non-sparking luminairies |  |  |
| 21.1 | General |  |  |
| 21.2 | Construction |  |  |
| 21.2.1 | General |  |  |
| 21.2.2 | Enclosure of lamp |  |  |
| 21.2.3 | Mounting arrangement |  |  |
| 21.2.4 | Lampholders |  |  |
| 21.2.4.1 | General |  |  |
| 21.2.4.2 | Bayonet non-sparking lampholders |  |  |
| 21.2.4.3 | Screw non-sparking lampholders |  |  |
| 21.2.4.4 | Bi-pin non-sparking lampholders |  |  |
| 21.2.5 | Auxiliaries |  |  |
| 21.2.5.1 | General |  |  |
| 21.2.5.2 | Glow-type starters |  |  |
| 21.2.5.3 | Electronic starters and ignitors |  |  |
| 21.2.5.4 | Starter holders |  |  |
| 21.2.5.5 | Ballasts |  |  |
| 21.2.6 | Reflectors |  |  |
| 21.2.7 | Creepage distances and clearances |  |  |
| 21.2.8 | Terminals |  |  |
| 21.2.8.1 | General |  |  |
| 21.2.8.2 | Looping connections |  |  |
| 21.2.8.3 | Internal connections |  |  |
| 21.2.8.4 | Screw type lampholder polarity |  |  |
| 21.2.9 | External and internal wiring |  |  |
| 21.2.10 | Endurance tests and thermal tests |  |  |
| 21.2.10.1 | General |  |  |
| 21.2.10.2 | Thermal test (normal operation) |  |  |
| 21.2.10.3 | Thermal test (abnormal conditions) |  |  |
| 21.2.10.3.1 | Temperatures except for windings |  |  |
| 21.2.10.3.2 | Temperatures for windings |  |  |
| 21.2.10.4 | Surface temperatures |  |  |
| 21.2.10.4.1 | Restricted-breathing luminairies |  |  |
| 21.2.10.4.2 | Other luminairies |  |  |
| 21.2.10.4.3 | Illuminated surfaces |  |  |
| 21.2.11 | Resistance to dust and moisture |  |  |
| 21.2.12 | Insulation resistance and electric strength |  |  |
| 21.3 | Other apparatus containing light sources |  |  |
| 22 | Supplementary requirements for apparatus incorporating non-sparking cells and batteries |  |  |
| 22.1 | Categorization of cells and batteries |  |  |
| 22.1.1 | Type 1 cells and batteries |  |  |
| 22.1.2 | Type 2 cells and batteries |  |  |
| 22.1.3 | Type 3 cells and batteries |  |  |
| 22.2 | General requirements for cells and batteries of types 1 and 2 |  |  |
| 22.2.1 | Maximum capacity |  |  |
| 22.2.2 | Secondary cells |  |  |
| 22.2.3 | Cell connection |  |  |
| 22.2.4 | Discharge mode |  |  |
| 22.2.5 | Temperature |  |  |
| 22.2.6 | Creepage and clearance |  |  |
| 22.2.7 | Connections |  |  |
| 22.2.8 | Connecting cells in series |  |  |
| 22.2.9 | Deep discharge protection |  |  |
| 22.2.10 | Temperature test conditions |  |  |
| 22.2.11 | Battery packs |  |  |
| 22.2.12 | Battery pack connections |  |  |
| 22.2.13 | Cell electrolyte and gas release |  |  |
| 22.2.14 | Excessive load draw |  |  |
| 22.3 | Charging of type 1 cells and batteries |  |  |
| 22.3.1 | Temperature range |  |  |
| 22.3.2 | Charger specifications |  |  |
| 22.3.3 | Charging separated cells or batteries |  |  |
| 22.3.4 | Charger limitations |  |  |
| 22.3.5 | Charging outside the hazardous area |  |  |
| 22.4 | Charging of type 2 cells and batteries |  |  |
| 22.4.1 | Temperature range |  |  |
| 22.4.2 | Charger specifications |  |  |
| 22.4.2.1 | Charging separated cells or batteries |  |  |
| 22.4.2.2 | Charger limitations |  |  |
| 22.4.2.3 | Gassing during charging |  |  |
| 22.4.2.4 | Charging outside the hazardous area |  |  |
| 22.5 | Requirements for type 3 secondary batteries |  |  |
| 22.5.1 | Types of permissible batteries |  |  |
| 22.5.2 | Battery containers |  |  |
| 22.5.2.1 | Internal surfaces |  |  |
| 22.5.2.2 | Mechanical requirements |  |  |
| 22.5.2.3 | Creepage distances |  |  |
| 22.5.2.4 | Covers |  |  |
| 22.5.2.5 | Cell assembly |  |  |
| 22.5.2.6 | Liquid extraction |  |  |
| 22.5.2.7 | Ventilation |  |  |
| 22.5.2.8 | Plugs and sockets |  |  |
| 22.5.2.9 | Polarity marking |  |  |
| 22.5.2.10 | Other apparatus |  |  |
| 22.5.2.11 | Insulation resistance |  |  |
| 22.5.3 | Cells |  |  |
| 22.5.3.1 | Lids |  |  |
| 22.5.3.2 | Support |  |  |
| 22.5.3.3 | Electrolyte maintenance |  |  |
| 22.5.3.4 | Expansion space |  |  |
| 22.5.3.5 | Filling and vent plugs |  |  |
| 22.5.3.6 | Electrolyte seals |  |  |
| 22.5.4 | Connections |  |  |
| 22.5.4.1 | Intercell connections |  |  |
| 22.5.4.2 | Temperature assessment |  |  |
| 22.5.4.3 | Connector protection |  |  |
| 22.6 | Verification and tests |  |  |
| 22.6.1 | Insulation resistance |  |  |
| 22.6.2 | Mechanical shock test |  |  |
| 23 See also DS 2014/004 | Supplementary requirements for non-sparking low power apparatus |  |  |
| 24 | Supplementary requirements for non-sparking current transformers |  |  |
| 25 | Other electrical apparatus |  |  |
| 26 | General supplementary requirements for apparatus producing arcs, sparks or hot surfaces |  |  |
| 27 | Supplementary requirements for enclosed-break devices and non-incendive components producing arcs, sparks or hot surfaces |  |  |
| 27.1 | Type testing |  |  |
| 27.2 | Ratings |  |  |
| 27.2.1 | Enclosed-break devices |  |  |
| 27.2.2 | Non-incendive components |  |  |
| 27.3 | Construction of enclosed-break devices |  |  |
| 27.3.1 | Free internal volume |  |  |
| 27.3.2 | Continuous operating temperature (COT) requirements |  |  |
| 27.3.3 | Seal protection |  |  |
| 28 | Supplementary requirements for hermetically sealed devices producing arcs, sparks or hot surfaces |  |  |
| 29 See also DS 2013/005 | Supplementary requirements for sealed devices or encapsulated devices producing arcs, sparks or hot surfaces |  |  |
| 29.1 | Non-metallic materials |  |  |
| 29.2 | Opening |  |  |
| 29.3 | Internal spaces |  |  |
| 29.4 | Handling |  |  |
| 29.5 | Resilient gasket and seals |  |  |
| 29.6 | Encapsulating compounds |  |  |
| 29.7 | Thickness of encapsulant |  |  |
| 29.8 | Type tests |  |  |
| 30 | Supplementary requirements for energy-limited apparatus and circuits producing arcs, sparks or hot surfaces |  |  |
| 30.1 | General |  |  |
| 30.2 | Associated energy-limited apparatus |  |  |
| 30.3 | Energy-limited apparatus |  |  |
| 30.4 | Self protected energy-limited apparatus |  |  |
| 30.5 | Separation of conducting parts |  |  |
| 30.6 | Plugs and sockets |  |  |
| 30.7 | Protection against polarity reversal |  |  |
| 30.8 | Requirements for components on which energy limitation depends |  |  |
| 30.8.1 | Ratings of components |  |  |
| 30.8.2 | Fuses |  |  |
| 30.8.3 | Shunt safety components |  |  |
| 30.9 | Battery powered apparatus |  |  |
| 30.10 | Marking and documentation |  |  |
| 31 | Supplementary requirements for restricted-breathing enclosures protecting apparatus producing arcs, sparks or hot surfaces |  |  |
| 31.1 | General |  |  |
| 31.2 | Test point for restricted-breathing apparatus |  |  |
| 31.3 | Test point exemption |  |  |
| 31.4 | Gasket and seal requirements |  |  |
| 31.5 | Non-resilient seals |  |  |
| 31.6 | Maintenance considerations |  |  |
| 31.7 | Internal fans |  |  |
| 32 | General information on verification and tests |  |  |
| 33 | Type tests |  |  |
| 33.1 | Representative samples |  |  |
| 33.2 | Test configuration |  |  |
| 33.3 | Tests for enclosures on which the type of protection depends |  |  |
| 33.3.1 | Order of tests |  |  |
| 33.3.1.1 | Non-metallic enclosures and non-metallic parts of enclosures (other than glass and ceramic) |  |  |
| 33.3.1.2 | Metallic enclosures, metallic parts of enclosures and glass and ceramic parts of enclosures |  |  |
| 33.3.2 | Thermal endurance tests |  |  |
| 33.3.2.1 | Thermal endurance to heat |  |  |
| 33.3.2.2 | Thermal endurance to cold |  |  |
| 33.3.3 | Mechanical strength tests |  |  |
| 33.3.3.1 | Tests for resistance to impact |  |  |
| 33.3.3.2 | Drop test for hand held apparatus |  |  |
| 33.3.3.3 | Criteria for compliance |  |  |
| 33.3.4 | Tests for degree of protection (IP code) by enclosures |  |  |
| 33.3.4.1 | Test |  |  |
| 33.3.4.1.1 | General |  |  |
| 33.3.4.1.2 | Mounting |  |  |
| 33.3.4.1.3 | Category determination |  |  |
| 33.3.4.1.4 | Test conditions |  |  |
| 33.3.4.1.5 | Dielectric strength test |  |  |
| 33.3.4.1.6 | Drain holes and ventilation openings |  |  |
| 33.3.4.2 | Criteria for compliance supplementary to IEC 60529 |  |  |
| 33.3.4.2.1 | Dust ingress |  |  |
| 33.3.4.2.2 | Water ingress |  |  |
| 33.4 | Test for enclosed-break devices and non-incendive components |  |  |
| 33.4.1 See also DS 2015/008 | Preparation of enclosed-break device samples |  |  |
| 33.4.2 | Preparation of non-incendive component samples |  |  |
| 33.4.3 | Test conditions for enclosed-break devices and non-incendive components |  |  |
| 33.4.3.1 | General |  |  |
| 33.4.3.2 | Enclosed-break devices |  |  |
| 33.4.3.3 | Non-incendive components |  |  |
| 33.5 See also DS 2013/005 | Tests for sealed devices and encapsulated devices |  |  |
| 33.5.1 | Conditioning |  |  |
| 33.5.2 | Voltage test |  |  |
| 33.5.3 | Tests on devices with free space |  |  |
| 33.5.3.1 | Apparatus for leakage test on sealed devices |  |  |
| 33.5.3.2 | Leakage test on sealed devices |  |  |
| 33.5.4 | Test for encapsulated devices for luminairies |  |  |
| 33.5.4.1 | Thermal cycling test |  |  |
| 33.5.4.2 | Dielectric withstand test |  |  |
| 33.5.5 | Test for sealed devices for luminairies |  |  |
| 33.6 | Assessment and test of energy-limited apparatus and circuits |  |  |
| 33.6.1 | General |  |  |
| 33.6.2 | Test conditions |  |  |
| 33.6.3 | Variable components |  |  |
| 33.7 | Tests for restricted-breathing enclosures |  |  |
| 33.7.1 | Apparatus with provision for routine checking of restricted-breathing properties |  |  |
| 33.7.2 | Apparatus without provision for routine checking of restricted-breathing properties |  |  |
| 33.7.3 | Apparatus where the nominal volume of the enclosure changes due to pressure |  |  |
| 33.8 | Test for screw lampholders |  |  |
| 33.9 | Test for starter holders for luminairies |  |  |
| 33.10 | Tests for electronic starters for tubular fluorescent lamps and for ignitors for high pressure sodium or metal halide lamps |  |  |
| 33.10.1 | General |  |  |
| 33.10.2 | Moisture resistance, insulation and electric strength test |  |  |
| 33.10.3 | Cut-out device test |  |  |
| 33.10.4 | Life test (failed lamp) |  |  |
| 33.10.4.1 | Ignitor thermal endurance test |  |  |
| 33.10.4.2 | Evaluation criteria |  |  |
| 33.11 | Test for wiring of luminaires subject to high-voltage impulses from ignitors |  |  |
| 33.12 | Mechanical shock test for batteries |  |  |
| 33.12.1 | General |  |  |
| 33.12.2 | Test procedure |  |  |
| 33.12.3 | Evaluation criteria |  |  |
| 33.13 | Insulation resistance test for batteries |  |  |
| 33.13.1 | Test conditions |  |  |
| 33.13.2 | Evaluation criteria |  |  |
| 33.14 | Additional ignition tests for large or high-voltage machines |  |  |
| 33.14.1 | Test for cage rotor construction |  |  |
| 33.14.1.1 | General |  |  |
| 33.14.1.2 | Rotor cage ageing process |  |  |
| 33.14.1.3 | Ignition test |  |  |
| 33.14.2 | Test for stator winding insulation system incendivity |  |  |
| 33.14.2.1 | General |  |  |
| 33.14.2.2 | Test conditions |  |  |
| 33.14.2.3 | Steady state ignition test |  |  |
| 33.14.2.4 | Impulse ignition test |  |  |
| 34 | Routine verifications and tests |  |  |
| 34.1 | General |  |  |
| 34.2 | Specific routine tests |  |  |
| 34.2.1 | Electric strength test |  |  |
| 34.2.2 | Alternate dielectric strength test |  |  |
| 34.2.3 | Restricted-breathing routine test |  |  |
| 34.2.4 | Routine tests for electronic starters and ignitors |  |  |
| 35 | Marking |  |  |
| 35.1 | General |  |  |
| 35.2 | Additional marking for batteries |  |  |
| 35.3 | Examples of marking3 |  |  |
| 35.3.1 | Warning markings |  |  |
| 36 | Documentation |  |  |
| 37 | Instructions |  |  |

Measurement Section, including Additional Narrative Remarks (as deemed applicable)