| IECEx TEST REPORT IEC 60079 Explosive atmospheres – Part 29-1: Gas Detectors – Performance Requirements of Detectors for Flammable Gases |  |  |  |
| --- | --- | --- | --- |
| ExTR Reference Number : |  |  |  |
| ExTR Free Reference Number : |  |  |  |
| Complied by + signature (ExTL) : |  |  |  |
| Reviewed by + signature (ExTL) : |  |  |  |
| Date of issue : |  |  |  |
| Ex Testing Laboratory (ExTL) : |  |  |  |
| Address : |  |  |  |
| Applicant’s name : |  |  |  |
| Address : |  |  |  |
| Standard : | IEC 60079-29-1:2007, 1st edition |  |  |
| Test procedure : | IECEx Scheme |  |  |
| Test Report Form No. : | ExTR60079-29-1_1A |  |  |
| TRF Originator : | Underwriters Laboratories Inc. (UL) |  |  |
| Master TRF : | dated 2008-09 |  |  |
| Instructions for Intended Use of Ex Test Report: This ExTR blank document is to be compiled and reviewed by the ExTL. The ExTR package in which this ExTR is incorporated (comprised of a single ExTR document or multiple ExTR documents) is to be accompanied by a single ExTR Cover Sheet, which is to be approved by the ExCB. ExTR Addendum(s) and/or ExTR Report of National Differences may also supplement this ExTR. |  |  |  |
| Copyright © 2008 International Electrotechnical Commission Scheme for Certification to Standards Relating to Equipment for use in Explosive Atmospheres (IECEx), Geneva, Switzerland. All rights reserved. This publication may be reproduced in whole or in part for non-commercial purposes as long as the IECEx is acknowledged as copyright owner and source of the material. IECEx takes no responsibility for and will not assume liability for damages resulting from the reader's interpretation of the reproduced material due to its placement and context. |  |  |  |
| Possible test case verdicts: |  |  |  |
| - test case does not apply to the test object :N / A |  |  |  |
| - test object does meet the requirement :Pass |  |  |  |
| General remarks: The tests results presented in this report relate only to the object tested. This report shall not be reproduced except in full without the written approval of the testing laboratory. "(see Attachment #)" refers to additional information appended to the report. "(see appended table)" refers to a table appended to the report. Throughout this report a point is used as the decimal separator. |  |  |  |

| IEC 60079-29-1 |  |  |  |
| --- | --- | --- | --- |
| Clause | Requirement – Test | Result – Remark | Verdict |
| 1 | SCOPE |  |  |
| 2 | NORMATIVE REFERENCES |  |  |
| 3 | TERMS AND DEFINITIONS |  |  |
| 4 | GENERAL REQUIREMENTS |  |  |
| 4.1 | Introduction |  |  |
| 4.1.1 | Comply with Annex A |  |  |
| 4.1.2 | Comply with clauses 4.2 and 5 |  |  |
| 4.1.3 | Group I intrinsically safe “ia” |  |  |
| 4.2 | Construction |  |  |
| 4.2.1 | General |  |  |
| 4.2.2 | Indicating devices |  |  |
| 4.2.2.1 | General |  |  |
| 4.2.2.2 | Resolution |  |  |
| 4.2.2.3 | Measurement range |  |  |
| 4.2.2.4 | Selectable range |  |  |
| 4.2.2.5 | Indicating light |  |  |
| 4.2.2.6 | Indicator light marking |  |  |
| 4.2.3 | Alarm or output functions |  |  |
| 4.2.3.1 | General |  |  |
| 4.3.2.2 | Continuous duty apparatus |  |  |
| 4.3.2.3 | Group I portable apparatus indicating up to 5% v/v |  |  |
| 4.2.3.4 | Group II portable apparatus indicating up to 100% LFL |  |  |
| 4.2.4 | Fault signals |  |  |
| 4.2.5 | Adjustments |  |  |
| 4.2.6 | Battery powered apparatus |  |  |
| 4.2.7 | Stand alone gas detection apparatus for use with separate control units |  |  |
| 4.2.8 | Separate control units for use with stand-alone gas detection apparatus |  |  |
| 4.2.9 | Software controlled apparatus |  |  |
| 4.2.9.1 | Conversion errors |  |  |
| 4.2.9.2 | Special state indication |  |  |
| 4.2.9.3 | Software a) software version b) cannot modify code c) Parameter settings d) Program structure e) software documentation |  |  |
| 4.2.9.4 | Data transmission |  |  |
| 4.2.9.5 | Self-test routines a) power supply b) output functions c) program monitor d) program / data memory e) volatile memory Tests repeat? |  |  |
| 4.2.9.6 | Functional concept |  |  |
| 4.3 | Labelling and marking |  |  |
| 4.4 | Instruction manual |  |  |
| 5 | TEST METHODS |  |  |
| 5.1 | Introduction |  |  |
| 5.2 | General requirements for tests |  |  |
| 5.2.1 | Samples ad sequence of tests |  |  |
| 5.2.1.1 | General |  |  |
| 5.2.1.2 | Sequence |  |  |
| 5.2.1.3 | Stand alone gas detection apparatus |  |  |
| 5.2.1.4 | Stand alone control units |  |  |
| 5.2.1.5 | Sample |  |  |
| 5.2.1.6 | Sample with selectable range |  |  |
| 5.2.2 | Preparation of apparatus before testing |  |  |
| 5.2.3 | Mask for calibration and tests |  |  |
| 5.3 | Normal conditions for test |  |  |
| 5.3.1 | General |  |  |
| 5.3.2 | Test gas(es) |  |  |
| 5.3.3 | Standard test gas |  |  |
| 5.3.4 | Flow rate for test gases |  |  |
| 5.3.5 | Voltage |  |  |
| 5.3.6 | Temperature |  |  |
| 5.3.7 | Pressure |  |  |
| 5.3.8 | Humidity |  |  |
| 5.3.9 | Stabilization time |  |  |
| 5.3.10 | Orientation |  |  |
| 5.3.11 | Communication options |  |  |
| 5.3.12 | Gas detection apparatus as part of systems |  |  |
| 5.4 | Test methods |  |  |
| 5.4.1 | General |  |  |
| 5.4.2 | Unpowered storage |  |  |
| 5.4.3 | Calibration and adjustment |  |  |
| 5.4.3.1 | Initial preparation of the apparatus |  |  |
| 5.4.3.2 | Calibration curve |  |  |
| 5.4.3.3 | Response to different gases |  |  |
| 5.4.4 | Stability (continuous duty) |  |  |
| 5.4.4.1 | Short-term stability |  |  |
| 5.4.4.2 | Long-term stability (fixed and transportable apparatus – Group I only) |  |  |
| 5.4.4.3 | Long-term stability (portable apparatus – Group I only) |  |  |
| 5.4.4.4 | Long-term stability (fixed and transportable apparatus – Group II only) |  |  |
| 5.4.4.5 | Long-term stability (portable apparatus – Group II only) |  |  |
| 5.4.5 | Stability (spot-reading apparatus only) |  |  |
| 5.4.6 | Alarm set point(s) |  |  |
| 5.4.6.1 | General |  |  |
| 5.4.6.2 | Increasing concentration |  |  |
| 5.4.6.3 | Decreasing concentration |  |  |
| 5.4.7 | Temperature |  |  |
| 5.4.8 | Pressure |  |  |
| 5.4.9 | Humidity |  |  |
| 5.4.10 | Air velocity |  |  |
| 5.4.10.1 | General |  |  |
| 5.4.10.2 | Test conditions |  |  |
| 5.4.11 | Flow rate for aspired apparatus |  |  |
| 5.4.12 | Orientation |  |  |
| 5.4.12.1 | Portable apparatus |  |  |
| 5.4.12.2 | Fixed and transportable apparatus |  |  |
| 5.4.13 | Vibration |  |  |
| 5.4.13.1 | Test equipment |  |  |
| 5.4.13.2 | Procedures |  |  |
| 5.4.13.2.1 | Procedure 1 |  |  |
| 5.4.13.2.2 | Procedure 2 |  |  |
| 5.4.14 | Drop test for portable and transportable apparatus |  |  |
| 5.4.15 | Warm-up time |  |  |
| 5.4.16 | Time of response |  |  |
| 5.4.17 | Minimum time to operate (spot-reading apparatus) |  |  |
| 5.4.18 | High gas concentration operation above the measuring range |  |  |
| 5.4.18.1 | Spot-reading apparatus |  |  |
| 5.4.18.2 | Apparatus other than spot-reading apparatus |  |  |
| 5.4.19 | Battery capacity |  |  |
| 5.4.19.1 | Battery-powered continuous duty apparatus |  |  |
| 5.4.19.1.1 | Battery discharge |  |  |
| 5.4.19.1.2 | Low-battery duration |  |  |
| 5.4.19.2 | Battery-powered portable spot-reading apparatus |  |  |
| 5.4.19.2.1 | Battery discharge |  |  |
| 5.4.19.2.2 | Low battery discharge |  |  |
| 5.4.20 | Power supply variations |  |  |
| 5.4.21 | Power supply interruptions, voltage transients and step changes of voltage |  |  |
| 5.4.21.1 | General |  |  |
| 5.4.21.2 | Short interruption of power supply |  |  |
| 5.4.21.3 | Voltage transients |  |  |
| 5.4.21.4 | Step changes of voltage without interruption |  |  |
| 5.4.22 | Addition of sample probe |  |  |
| 5.4.23 | Dust (for apparatus where air is sampled by natural diffusion) |  |  |
| 5.4.24 | Poisons and other gases |  |  |
| 5.4.24.1 | Poisons (Group I) |  |  |
| 5.4.24.2 | Other gases |  |  |
| 5.4.25 | Electromagnetic immunity |  |  |
| 5.4.26 | Field calibration kit |  |  |
| 5.4.27 | Software verification |  |  |
| ANNEX A (normative) | PERFORMANCE REQUIREMENTS |  |  |
| A.1 | Performance requirements |  |  |
| ANNEX B (informative) | DETERMINATION OF TIME OF RESPONSE |  |  |
| B.1 | Aspirated apparatus |  |  |
| B.2 | Apparatus that samples by diffusion |  |  |
| B.2.1 | Calibration mask method |  |  |
| B.2.2 | Applicator method |  |  |
| B.2.3 | Test chamber method |  |  |
| B.2.3.1 | Test chamber |  |  |
| B.2.3.2 | Procedure |  |  |
| B.3 | Step change response |  |  |
| B.4 | Flooding |  |  |