| Reference No: |  |  |  |  |  |  |  |  |  |  | #### IEC 62086-1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ## Field of application This form is intended to be used when assessing and testing electrical apparatus for explosive atmospheres according to the standard specified in the adjoining column. The test results are valid for the tested items only. Reproduction This report must not be reproduced other than in its entirety except with the prior written approval of the issuing body | Standard: # IEC 62086-1: 2001 Edition 1 Electrical apparatus for explosive gas atmospheres – Electrical resistance trace heating - Part 1: General and testing requirements |  |  |  |  | ## Instructions for use The comment columns can be used to e.g. specify test values, applied alternative requirements/tests or to refer to enclosed additional pages with comments. Abbreviations: N/A = Not applicable (for the assessment/test of the equipment and its design documentation) The applicant is the body/person who has requested the assessment/test and to which the results, as specified in this report, are provided. The short descriptions in the column for "Clause" do not replace the complete text in the standard. |  |  |  |  |  |
|  |  |  |  |  |  | # This test report may only be used for the # IECEx Scheme and must be accompanied by an ExTR cover page issued by an ExCB. |  |  |  |  |  |
| ## Product name |  |  |  |  | # Model/Type designation |  |  |  |  |  |  |
| Serial No | Code (e.g. Ex II T ) |  |  |  |  |  | Ambient temperature [min-max] |  |  |  |  |
| Applicant [name and postal address] |  |  |  |  | Manufactured by [name and postal address] |  |  |  |  |  |  |
| Test sample received [date] |  |  |  |  |  |  |  |  |  |  |  |
| ## Product description |  |  |  |  |  |  |  |  |  |  |  |
| The equipment complies with the standard [yes/no] | ## Prepared by |  |  |  |  |  |  |  |  | Date [year-month-day] |  |
|  | [signature] |  |  |  |  |  |  |  |  |  |  |

| Reference No: |  |  |  |  |  |  |  |  | IEC 62086-1 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Clause |  |  | Results |  |  |  |  |  |  |  |
|  |  |  | Pass | Fail |  | N/A | Comments |  |  | ExCB Review |
| 1 | Scope |  |  |  |  |  |  |  |  |  |
| 2 | Normative references |  |  |  |  |  |  |  |  |  |
| 3 | Definitions |  |  |  |  |  |  |  |  |  |
| 4 | General requirements |  |  |  |  |  |  |  |  |  |
| 4.1 | General |  |  |  |  |  |  |  |  |  |
| 4.2 | Trace heaters |  |  |  |  |  |  |  |  |  |
| 4.3 | Terminations and connections |  |  |  |  |  |  |  |  |  |
| 4.4 | Circuit protection requirements for branch circuits |  |  |  |  |  |  |  |  |  |
| 4.5.1 | General |  |  |  |  |  |  |  |  |  |
| 4.5.2 | Stabilized design for zone 1 and zone 2 applications |  |  |  |  |  |  |  |  |  |
| 4.5.3 | Controlled design |  |  |  |  |  |  |  |  |  |
| 5 | Testing |  |  |  |  |  |  |  |  |  |
| 5.1.1 | General |  |  |  |  |  |  |  |  |  |
| 5.1.2 | Dielectric test |  |  |  |  |  |  |  |  |  |
| 5.1.3 | Electrical insulation resistance test |  |  |  |  |  |  |  |  |  |
| 5.1.4 | Flammability test |  |  |  |  |  |  |  |  |  |
| 5.1.5 | Impact test |  |  |  |  |  |  |  |  |  |
| 5.1.6 | Deformation test |  |  |  |  |  |  |  |  |  |
| 5.1.7 | Cold bend test |  |  |  |  |  |  |  |  |  |
| 5.1.8 | Moisture resistance test (trace heating cables only) |  |  |  |  |  |  |  |  |  |
| 5.1.9 | Verification of rated output |  |  |  |  |  |  |  |  |  |
| 5.1.10 | Thermal stability of electrical insulating material |  |  |  |  |  |  |  |  |  |
| 5.1.11.1 | General |  |  |  |  |  |  |  |  |  |
| 5.1.11.2.1 | Systems approach, design verification method – Heating cables |  |  |  |  |  |  |  |  |  |
| 5.1.11.2.2 | Systems approach, design verification method – Pads, panels, surface heaters |  |  |  |  |  |  |  |  |  |
| 5.1.11.2.3 | Systems approach, design verification method – Alternative method |  |  |  |  |  |  |  |  |  |
| 5.1.11.3 | Product classification approach |  |  |  |  |  |  |  |  |  |
| 5.1.12 | Verification of start-up current |  |  |  |  |  |  |  |  |  |
| 5.1.13 | Verification of the resistance of metallic covering |  |  |  |  |  |  |  |  |  |
| 5.2.1 | Routine test - Dielectric test |  |  |  |  |  |  |  |  |  |
| 5.2.2 | Routine test - Verification of rated output |  |  |  |  |  |  |  |  |  |
| 6 | Marking |  |  |  |  |  |  |  |  |  |
| 6.1 | General |  |  |  |  |  |  |  |  |  |
| 6.2 | Factory-fabricated trace heater units or sets |  |  |  |  |  |  |  |  |  |
| 6.3 | Bulk heater cables |  |  |  |  |  |  |  |  |  |
| 6.4 | Cable spools, reels or cartons |  |  |  |  |  |  |  |  |  |
| 6.5 | Heater field terminations / splice kits |  |  |  |  |  |  |  |  |  |
| 6.6 | Installation marking |  |  |  |  |  |  |  |  |  |

| Section 2 EVALUATION RECORD To be completed by ExTL IEC 62086-1: 2001 Electrical apparatus for explosive gas atmospheres - Electrical resistance trace heating - Part 1: General and testing requirement |  |
| --- | --- |
| Report |  |
| Reference No. |  |
| Tested by ( + signature) Approved by (+ signature) Date of issue Content |  |
| Client |  |
| Name Address |  |
| Evaluation Record Form No. ExTR62086/Version 1_DS Copyright reserved to the bodies participating in the IECEx Scheme |  |
| Testing laboratory |  |
| Name Address Testing location |  |
| Test item Standard IEC 62086-1 Description. Trademark. Model and/or type reference Manufacturer |  |

| Test Item (continued) Rating(s) Type of transformers (where relevant) Application Protection index Other characteristics Rated ambient temperature ta (C) | Stationary / portable / hand-held IP |
| --- | --- |
| Other information |  |

General remarks This evaluation record is not valid unless appended to an IECEx Test Report issued by an ExCB, in accordance with IECEX 02. This evaluation record shall not be reproduced except in full without the written approval of the testing laboratory. The test results presented in this evaluation record relate only to the items tested.

Copy of marking plate

| MANUFACTURER'S DOCUMENTS |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Subject | Drawing No. | Rev. | Date |

| Sample designation. | Model / Catalog No. | Description/Comments |
| --- | --- | --- |

Evaluation Record

| IEC 62086-1 |  | # COVERAGE 1/2 |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CLAUSE |  | REQUIREMENTS |  | ENCL. |  |
| 1 |  | ## Scope |  |  |  |
| Apparatus |  |  |  |  |  |
| ### Scope |  |  |  |  |  |
| The electrical resistance trace heaters defined below and in 2/2 are feasible for coverage in accordance with the hazardous areas defined in IEC 60079-10. Type: |  |  |  |  |  |
|  | Series heating cables |  |  |  |  |
|  | Model / Type: |  |  |  |  |
|  | Parallel heating cables |  |  |  |  |
|  | Model / Type: |  |  |  |  |
|  | Heating panels |  |  |  |  |
|  | Model / Type: |  |  |  |  |

| IEC 62086-1 |  |  | COVERAGE 2/2 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ##### CLAUSE |  |  | REQUIREMENTS |  | ENCL. |  |  |
| 2 |  |  | ## Normative references |  |  |  |  |
| 3 |  |  | Definitions |  |  |  |  |
| Item: |  |  |  |  |  |  |  |
| ### Normative references |  |  |  |  |  |  |  |
| The electrical apparatus has been assessed to the most recent editions of the standards which are referenced and posted as provisions of this part of IEC 62086-1: |  |  |  |  |  |  |  |
|  | YES |  |  |  |  |  |  |
|  | NO |  |  |  |  |  |  |
|  | Notes: |  |  |  |  |  |  |
| Definitions |  |  |  |  |  |  |  |
|  | All definitions covered in Clause 3 apply, as noted for the specific requirements herein |  |  |  |  |  |  |

| ###### IEC 62086-1 |  | GENERAL REQUIREMENTS 1/3 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ###### CLAUSE |  | REQUIREMENTS |  |  |  |  | ENCL. |
| 4.1 |  | ## General |  |  |  |  |  |
| 4.2 |  | Trace heaters |  |  |  |  |  |
| 4.3 |  | Terminations and connections |  |  |  |  |  |
| Item: |  |  |  |  |  |  |  |
| General |  |  |  |  |  |  |  |
| Maximum operating temperature (°C): |  |  |  |  |  |  |  |
| Trace heaters |  |  |  |  |  |  |  |
| Metallic braid or metallic sheath coverage (%): |  |  |  |  |  |  |  |
| Impact load level 7J or 4J: |  |  |  |  |  |  |  |
| Terminations and connections |  |  |  |  |  |  |  |
|  | Integral component |  |  |  |  |  |  |
|  | Separate components |  |  |  |  |  |  |
| Component type (i.e. power connection kit) |  |  | Cat. No. |  |  | Protection method |  |

| ###### IEC 62086-1 |  | GENERAL REQUIREMENTS 2/3 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ###### CLAUSE |  | REQUIREMENTS |  |  |  | ENCL. |  |
| 4.4 |  | ## Circuit protection requirements for branch circuits |  |  |  |  |  |
| Item: |  |  |  |  |  |  |  |
| Circuit protection requirements for branch circuits (if applicable) |  |  |  |  |  |  |  |
| Means of isolation |  |  |  |  |  |  |  |
| Over-current protection |  |  |  |  |  |  |  |
| Protection against earth faults |  |  |  |  |  |  |  |
| TT and TN systems: |  |  |  |  |  |  |  |
|  |  |  |  | Yes | No |  |  |
| Rated residual operating current not to exceed 300 mA |  |  |  |  |  |  |  |
| Break time at 5x rated residual operating current not to exceed 150 ms |  |  |  |  |  |  |  |
| IT systems: |  |  |  |  |  |  |  |
| Electrical insulation monitoring device to disconnect below 50 /V or rated voltage |  |  |  |  |  |  |  |
| Notes: |  |  |  |  |  |  |  |

| ###### IEC 62086-1 |  |  | GENERAL REQUIREMENTS 3/3 |  |
| --- | --- | --- | --- | --- |
| ###### CLAUSE |  |  | REQUIREMENTS | ENCL. |
| 4.5 |  |  | ## Control and temperature requirements |  |
| Item: |  |  |  |  |
| Control and temperature requirements (if applicable) |  |  |  |  |
|  |  | Stabilized design for zone 1 and zone 2 applications |  |  |
|  |  | Controlled design |  |  |
| Notes: |  |  |  |  |

| ###### IEC 62086-1 |  | TYPE TESTS 1/12 |  |
| --- | --- | --- | --- |
| ###### CLAUSE |  | REQUIREMENTS | ENCL. |
| 5.1.1 |  | ## General |  |
| 5.1.2 |  | ## Dielectric test |  |
| Item: |  |  |  |
| Dielectric test |  |  |  |
| Sample designation; Rated voltage r.m.s. a.c. or d.c. (V); Test voltage (Vac); Applied between:; Period (min); Breakdown (NO/YES). |
| ###### IEC 62086-1 |  | TYPE TESTS 2/12 |  |
| ###### CLAUSE |  | ## REQUIREMENTS | ENCL. |
| 5.1.3 |  | ## Electrical insulation resistance test |  |
| Item: |  |  |  |
| Electrical insulation resistance test |  |  |  |
| Sample designation; Test Voltage (d.c.); Measured resistance (M). |

| ###### IEC 62086-1 |  |  | TYPE TESTS 3/12 |  |
| --- | --- | --- | --- | --- |
| ###### CLAUSE |  |  | REQUIREMENTS | ENCL. |
| 5.1.4 |  |  | Flammability test |  |
| Item: |  |  |  |  |
| Flammability test |  |  |  |  |
| Sample designation:. YES; NO. Support combustion for 1 minute. Ignite cotton from falling burning particles. Burn more than 25% of the extended unbleached paper indicator. Sample designation:. YES; NO. Support combustion for 1 minute. Ignite cotton from falling burning particles. Burn more than 25% of the extended unbleached paper indicator. Sample designation:. YES; NO. Support combustion for 1 minute. Ignite cotton from falling burning particles. Burn more than 25% of the extended unbleached paper indicator. Sample designation:. YES; NO. Support combustion for 1 minute. Ignite cotton from falling burning particles. Burn more than 25% of the extended unbleached paper indicator. Sample designation:. YES; NO. Support combustion for 1 minute. Ignite cotton from falling burning particles. Burn more than 25% of the extended unbleached paper indicator. |
| ###### IEC 62086-1 |  |  | TYPE TESTS 4/12 |  |
| ###### CLAUSE |  |  | REQUIREMENTS | ENCL. |
| 5.1.5 |  |  | ## Impact test |  |
| Item: |  |  |  |  |
| Impact test |  |  |  |  |
| Sample designation:. Impact energy; Results. High risk (7J) (X); Low risk (4J) (X); Impact location; Applied between:; Dielectric test; Insulation resistance. Rated voltage r.m.s. a.c. or d.c. (V); Test voltage (Vac); Period (min); Breakdown (NO/YES); Test voltage (d.c.); Measured resistance (M). |
| ###### IEC 62086-1 |  |  | TYPE TESTS 5/12 |  |
| ###### CLAUSE |  |  | REQUIREMENTS | ENCL. |
| 5.1.6 |  |  | ## Deformation test |  |
| Item: |  |  |  |  |
| Deformation test |  |  |  |  |
| Sample designation:. Crushing Force; Results. High risk (1500N); Low risk (800N); Deformation location; Applied between:; Dielectric test; Insulation resistance. Rated voltage r.m.s. a.c. or d.c. (V); Test voltage (Vac); Period (min); Breakdown (NO/YES); Test voltage (d.c.); Measured resistance (M). |

| ###### IEC 62086-1 |  | TYPE TESTS 6/12 |  |
| --- | --- | --- | --- |
| ###### CLAUSE |  | REQUIREMENTS | ENCL. |
| 5.1.7 |  | ## Cold bend test |  |
| Item: |  |  |  |
| Cold bend test |  |  |  |
| Declared minimum installation temperature (°C). Mandrel diameter (mm):. Sample designation:. Ambient; Results. Test chamber ambient (°C); Period (hr); Applied between:; Dielectric test; Resistance. Rated voltage r.m.s. a.c. or d.c. (V); Test voltage (Vac); Period (min); Breakdown (NO/YES); Test voltage (d.c.); Measured resistance (M). |

| ###### IEC 62086-1 |  | TYPE TESTS 7/12 |  |
| --- | --- | --- | --- |
| ###### CLAUSE |  | REQUIREMENTS | ENCL. |
| 5.1.8 |  | ## Moisture resistance test |  |
| Item: |  |  |  |
| Mositure resistance test |  |  |  |
| Sample Designation:. Results. Water ingress; Dielectric. Yes; No; Applied between:; Rated voltage r.m.s. a.c. or d.c. (V); Test voltage (Vac); Period (min); Breakdown (NO/YES). |

| ###### IEC 62086-1 |  |  | TYPE TESTS 8/12 |  |
| --- | --- | --- | --- | --- |
| ###### CLAUSE |  |  | REQUIREMENTS | ENCL. |
| 5.1.9 |  |  | ## Verification of rated output |  |
| Item: |  |  |  |  |
| Verification of rated output |  |  |  |  |
| Sample designation: |  |  |  |  |
| Resistance. Sample No.; Temp. (C); DC resistance, ohms AC conductance, ohms; Manufacturer declared tolerance. Thermal. Sample No.; Length; Voltage; Current; Power output; Temp. pipe entry (°C); Temp. pipe exit (°C); Manufacturer declared tolerance. |

| ###### IEC 62086-1 |  |  | TYPE TESTS 9/12 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ###### CLAUSE |  |  | REQUIREMENTS |  | ENCL. |  |  |
| 5.1.10 |  |  | ## Thermal stability of electrical insulating material |  |  |  |  |
| Item: |  |  |  |  |  |  |  |
| Thermal stability of electrical insulating material |  |  |  |  |  |  |  |
| Sample designation:. Results. Temperature; Dielectric. Rated temp (°C); Chamber ambient (°C); Period (weeks); Applied between:; Rated voltage r.m.s. a.c. or d.c. (V); Test voltage (Vac); Period (min); Breakdown (NO/YES). |
| ###### IEC 62086-1 |  |  | TYPE TESTS 10/12 |  |  |  |  |
| ###### CLAUSE |  |  | REQUIREMENTS |  | ENCL. |  |  |
| 5.1.11 |  |  | ## Determination of maximum sheath temperature |  |  |  |  |
| Item: |  |  |  |  |  |  |  |
| Determination of maximum sheath temperature |  |  |  |  |  |  |  |
| 5.1.11.2.1/2; ## Systems approach, design verification method. Sample designation:. Measured; Manufacturer’s calculated values. Max pipe or surface temp (°C):. Max sheath temp (°C):. Sample Designation:. Measured; Manufacturer’s calculated values. Max pipe or surface temp (°C):. Max sheath temp (°C):. Sample Designation:. Measured; Manufacturer’s calculated values. Max pipe or surface temp (°C):. Max sheath temp (°C):. 5.1.11.3; ## Product classification approach. Sample designation:. Oven temp (°C):. Sheath temp (°C):. T (°C):. T-code:. Sample designation:. Oven temp (°C):. Sheath temp (°C):. T (°C):. T-code:. Sample designation:. Oven temp (°C):. Sheath temp (°C):. T (°C):. T-code:. |  |  |
| ###### IEC 62086-1 |  |  | TYPE TESTS 11/12 |  |  |  |  |
| ###### CLAUSE |  |  | REQUIREMENTS |  | ENCL. |  |  |
| 5.1.12 |  |  | ## Verification of start-up current |  |  |  |  |
| Item: |  |  |  |  |  |  |  |
| Verification of start-up current |  |  |  |  |  |  |  |
| Sample designation:. Minimum start up temp (°C):. Test voltage (Vac):. Time current characteristic. Sample; Test voltage (Vac); Current at 5 min (amps); Declared max current at 5 min (amps); Declared max current at 5 min (Amp. |  |  |
| ###### IEC 62086-1 |  |  | TYPE TESTS 12/12 |  |  |  |  |
| ###### CLAUSE |  |  | REQUIREMENTS |  | ENCL. |  |  |
| 5.1.13 |  |  | ## Verification of the resistance of metallic covering |  |  |  |  |
| Item: |  |  |  |  |  |  |  |
| Verification of the resistance of metallic covering |  |  |  |  |  |  |  |
| Room ambient (°C): |  |  |  |  |  |  |  |
| Sample length (m): |  |  |  |  |  |  |  |
| Manufacturer’s declared resistance (/m): |  |  |  |  |  |  |  |
| Measured resistance (/m): |  |  |  |  |  |  |  |

| ###### IEC 62086-1 |  |  |  |  | Routine tests 1/1 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ###### CLAUSE |  |  |  |  | REQUIREMENTS |  |  |  |  | ENCL. |  |  |  |
| 5.2.1 |  |  |  |  | ## Dielectric test |  |  |  |  |  |  |  |  |
| 5.2.2 |  |  |  |  | ## Verification of rated output |  |  |  |  |  |  |  |  |
| Item: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dielectric test |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sample designation; Rated voltage r.m.s. a.c. or d.c. (V); Test voltage (Vac); Applied between:; Period (min); Breakdown (NO/YES). |
| Verification of rated output |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resistance. Sample No.; Temp. (C); DC resistance, ohms AC conductance, ohms; Manufacturer declared tolerance. Thermal. Sample No.; Length; Voltage; Current; Power output; Temp. pipe entry (°C); Temp. pipe exit (°C); Manufacturer declared tolerance. |
| IEC 62086-1 |  |  |  |  | MARKING 1/1 |  |  |  |  |  |  |  |  |
| CLAUSE |  |  |  |  | REQUIREMENTS |  |  |  |  |  | ENCL. |  |  |
| 6 |  |  |  |  | Marking |  |  |  |  |  |  |  |  |
| Note: For major marking content refer to forms for IEC 60079-0, Marking. These sheets cover specific marking for the type of protection. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6.2 Factory-fabricated trace heater units or sets |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Operating voltage |  |  |  |  |  | Rated steady-state current |  |  |  |  |  |  |
|  | Statement “Bond the metal sheath/braid of this trace heater to a suitable earth terminal.” |  |  |  |  |  |  |  |  |  |  |  |  |
| 6.3 Bulk heater cables |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Rated operating voltage |  |  |  |  |  |  |  | Rated power output |  |  |  |  |
|  | Statement “Bond the metal sheath/braid of this trace heater to a suitable earth terminal.” |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Rated resistance per unit length |  |  |  |  |  |  |  |  |  |  |  |  |
| 6.4 Cable spools, reels or cartons |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Rated operating voltage |  |  |  |  |  |  |  | Rated power output |  |  |  |  |
|  | Statement “Bond the metal sheath/braid of this trace heater to a suitable earth terminal.” |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Statement “Refer to installation instructions.” |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Rated resistance per unit length |  |  |  |  |  |  |  |  |  |  |  |  |
| 6.5 Heater field termination/splice kits |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Marked with information required by IEC 60079-0 |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Intended use |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Statement “Bond the metal sheath/braid of this trace heater to a suitable earth terminal.” |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Statement “Refer to installation instructions.” |  |  |  |  |  |  |  |  |  |  |  |  |
| 6.5 Installation marking |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Caution labels or markings provided or noted |  |  |  |  |  |  |  |  |  |  |  |  |
| Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| IEC 62086-1 |  |  |  | COMMENTS |  |  |  |  |  |  |  |  |  |
| #### Clause |  |  |  |  |  |  |  |  |  |  |  | Page |  |