INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

TITLE: Supplementary report for INTEK, Italy, an Associated Testing Facility, ATF, associated with UL/Demko.

Circulation to: Members of the IECEx Management Committee, ExMC

INTRODUCTION

The following document contains the supplementary report for INTEK, Italy, an Associated Testing Facility, ATF, associated with UL/Demko, refer to the UL/DEMKO re-assessment report –

ExMC/1314/DV  Re-assessment and Scope Extension Report for the continued acceptance of UL International Demko A/S an Accepted Certification Body (ExCB), and Accepted Ex Testing Laboratory (ExTL) within the IECEx System, Equipment Scheme 02.

This report is issued for information only and will be submitted for endorsement during the ExMC 2018 Meeting to be held in France.

Chris Agius

IECEx Secretariat

| IECEx Secretariat Australia Square Level 33, 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 4628 4690 Fax: +61 2 4625 3480 Email: chris.agius@iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx ExTL assessment report for the UL International Demko A/S Affiliated Testing Laboratory at INTEK, 25086 - REZZATO - BS – ITALY.

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

(update when report is complete – by right click, Update field, Update entire table)

1	Assessment information	4

1.1	Type of Body covered by this assessment:	4

1.2	Type of assessment:	4

1.3	etails of body	4

1.3.1	Country	4

1.3.2	Name of body	4

1.3.3	Name and title of nominated principal contacts	4

1.4	Assessment information	4

1.4.1	Members of the assessment team	4

1.4.2	Place(s) of assessment	4

1.4.3	Assessment date(s)	4

1.5	Scopes	4

1.5.1	ExTL scope for equipment certification scheme	4

2	Common information	8

2.1	Legal entity of body	8

2.2	Financial support	8

2.3	History	8

2.4	Documentation	8

2.4.1	Quality manual	8

2.4.2	Procedures	8

2.4.3	Work instructions	8

2.4.4	Records (including test records where relevant)	8

2.4.5	Document change control	8

2.5	Confidentiality	8

2.6	Publications	8

2.7	Recognitions and agreements	9

2.8	Internal audit and periodic management review	9

2.9	Subcontracting, use of other labs and use of other locations	9

2.10	Training and competence	9

2.11	Complaints and appeals (including appeals to IECEx)	9

2.12	Special facts to be noted	9

2.12.1	Supporting documentation	9

2.12.2	Witnessed Tests	9

2.13	PTB Proficiency scheme	10

2.14	Recommendations	10

3	ExTL for IECEx Certified Equipment Scheme	11

3.1	Assessment references	11

3.2	Candidate ExTL persons interviewed	11

3.3	Associated ExCB(s)	11

3.4	Organisation	11

3.4.1	Other employees in ExTL activity	11

3.5	Organizational structure	12

3.5.1	Working relationship between UL International Demko A/S and INTEK S.p.A.	12

3.5.2	Organisation charts	12

3.6	Resources	12

3.7	Test reports issued	12

3.8	National accreditation	12

3.9	Calibration	13

3.10	Comments (including issues found during assessment)	13

Annex A Organisation Chart of INTEK SpA	14

Annex B Accreditation certificate for INTEK S.p.A. to ISO/IEC 17025	15

# Assessment information

## Type of Body covered by this assessment:

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment:

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment of INTEK SpA laboratories as an “Additional Testing Facility” |  |
| Scope extension |  |

## Details of body

### Country

Denmark

### Name of body

UL International Demko A/S

Borupvang 5A
2750 Ballerup, Denmark

This is the ExTL who are using INTEK as an ATF with this assessment forming part of the overall 5 year re-assessment of UL International DEMKO A/S.

### Name and title of nominated principal contacts

| Name | Title | E-mail address |
| --- | --- | --- |
| Jasmin Omerovic | Program manager | Jasmin.Omerovic@ul.com |

## Assessment information

### Members of the assessment team

| Name | Role (modify as necessary) |
| --- | --- |
| Ron Webb | Lead assessor |
| Vijay Varma | Expert Assessor |

### Place(s) of assessment

Laboratory at: INTEK SpA 25086 - REZZATO - BS – ITALY.

### Assessment date(s)

18 September 2017

## Scopes

### ExTL scope for equipment certification scheme

The following tests are included.

These tests are the same as listed in the previous report ExMC/1095/R (last re-assessment report of UL DEMKO)

| IEC Standard | Title | Clause | Type tests |
| --- | --- | --- | --- |
| 60079-0 Ed 5 Ed 6 | General requirements | 26.4.2 | Resistance to impact |
|  |  | 26.4.3 | Drop Test |
|  |  | 26.4.5 | Degree of Protection (IP) by enclosure (IEC60529) |
|  |  | 26.5.1 | Temperature measurement |
|  |  | 26.5.2 | Thermal shock test |
|  |  | 26.8 | Thermal endurance to heat |
|  |  | 26.9 | Thermal endurance to cold |
|  |  | 26.12 | Earth continuity |
| 60079-1 Ed 6 (Ed 7) | flameproof enclosures "d" | 15.1.2 (15.2.2) | Determination of explosion pressure (reference pressure) |
|  |  | 15.1.3.1 (15.2.3.2) | over pressure test – first method (static) |
|  |  | 15.2 (15.3) | test for non-transmission of an internal ignition |
|  |  | 15.4.1 (15.4.2) | Tests of flameproof enclosures with breathing and draining devices - Tests of ability of the enclosure to withstand pressure |
|  |  | 15.4.2 (15.4.3) | Tests of flameproof enclosures with breathing and draining devices - thermal test |
|  |  | 15.4.3 (15.4.4) | Tests of flameproof enclosures with breathing and draining devices - Test for non-transmission of an internal ignition |
|  |  | 15.5 | Tests for “dc” devices |
|  |  | 19.3.1 | Tests for flameproofness |
|  |  | (19.3) | Requirements for type tests |
|  |  | (19.4) | Test of erosion by flame |
|  |  | C.3.1 | Additional requirements for flameproof entry devices - Sealing test |
|  |  | C.3.2 | Additional requirements for flameproof entry devices - Test of mechanical strength |
|  |  | C.3.3 | Additional requirements for flameproof entry devices - Type tests for Ex blanking elements |
|  |  | D.3.6 | Empty flameproof enclosures as Ex components - determination of explosion pressure (reference pressure) |
|  |  | D.3.7 | Empty flameproof enclosures as Ex components - over pressure test – first method (static) |
| 60079-7 Ed 4 (Ed 5) | increased safety "e" | 4.9 (4.10) | Degree of protection provided by enclosures |
|  |  | 6.1 | Dielectric strength |
|  |  | (6.3.2) | Luminaires – impact and drop tests |
|  |  | 6.3.2.1 | Rectification test |
|  |  | 6.3.2.2 | Inoperative lamp test |
|  |  | (6.3.4.1) | Abnormal operations of ballasts for discharge lamps |
|  |  | (6.3.4.2) | Abnormal operation of luminaires with tubular fluorescent lamps |
|  |  | (6.3.7) | Test for wiring of luminaires subject to high-voltage impulses from ignitors |
|  |  | 6.7 (6.8) | General purpose connection and junction boxes |
|  |  | 6.8 (6.9) | Resistance heating devices and resistance heating units tests 6.8.6 and 6.8.7 |
|  |  | 6.9 (6.10) | Terminal insulating material tests |
| 60079-11 Ed 6 | intrinsic safety "i" | 10.2 | Temperature tests |
|  |  | 10.3 | Dielectric strength tests |
|  |  | 10.6 | Mechanical tests 10.6.2 only |
|  |  | 10.9 | Cable pull test |
| 60079-15 Ed 4 | type of protection "n" | 5 | Temperatures |
|  |  | 6.3 | Minimum degree of protection |
|  |  | 6.4.4 | Clearances, creepage distances and separations - Comparative tracking index (CTI) |
|  |  | 6.5 | Electric strength |
|  |  | 11.3.4.2 | Supplementary requirements for non-sparking luminaires - Thermal test (normal operation) |
|  |  | 11.3.4.3 | Supplementary requirements for non-sparking luminaires - Thermal test (abnormal conditions) |
|  |  | 11.3.4.4 | Supplementary requirements for non-sparking luminaires - Surface temperatures |
|  |  | 11.3.5 | Supplementary requirements for non-sparking luminaires - Resistance to dust and moisture |
|  |  | 11.3.6 | Insulation resistance and electric strength |
|  |  | 22.3.1.1 | Thermal endurance to heat |
|  |  | 22.4 | Tests for enclosed break devices and non incendive components |
|  |  | 22.5 | Tests for sealed devices |
|  |  | 22.5.1 | Conditioning |
|  |  | 22.5.2 | Voltage test |
|  |  | 22.5.3.2 | Leakage test on sealed devices (method 1) |
|  |  | 22.5.3.3 | Dielectric withstand test |
|  |  | 22.5.4 | Test for sealed devices for luminaries (method A) |
|  |  | 22.6 | Type test requirements for restricted-breathing enclosures |
|  |  | 22.10 | Test for wiring of luminaires subject to high-voltage impulses from ignitors |
| 60079-18 Ed 3 Ed 4 | encapsulation “m” | 8.1.1 | Tests on the compound - Water absorption test |
|  |  | 8.1.2 | Tests on the compound - Dielectric strength test |
|  |  | 8.2.2 | Tests on the apparatus - Maximum temperature |
|  |  | 8.2.3 | Tests on the apparatus - Thermal endurance test |
|  |  | 8.2.4 | Tests on the apparatus - Dielectric strength test |
|  |  | 8.2.5 | Tests on the apparatus - Cable pull test |
|  |  | 8.2.6 | Tests on the apparatus - Pressure test for Group I and Group II electrical equipment |
|  |  | 8.2.7 | Tests on the apparatus - Test for resettable thermal protective device |
|  |  | 8.2.8 | Tests on the apparatus - Sealing test for built-in protective devices |
| 60079-31 Ed 1 Ed 2 | protection by enclosure “t” | 6.1.1 | Type tests for dust exclusion by enclosures |
|  |  | 6.1.2 | Thermal tests |
|  |  | 6.1.3 | Pressure test |

# Common information

## Legal entity of body

INTEK S.p.A. is a private limited company registered in Italy.

## Financial support

The operations at UL International Demko A/S and INTEK S.p.A. are self-financing.

## History

INTEK S.p.A. was founded in 1994. It’s an independent test and measurement laboratory that works in the electric / electronic fields and able to perform the tests required for presumption of conformity with the Low Voltage, Electromagnetic Compatibility, R&TTE and ATEX European Directives.

INTEK S.p.A. is also specialized to perform environmental climatic tests.

INTEK S.p.A. is a laboratory associated with ALPI and AIB, also member of CEI with active participation to the technical committees.

INTEK S.p.A. Laboratory is accredited by ACCREDIA, the Italian Accreditation Body, with number 1180

INTEK S.p.A. is recognized by UL - Underwriters Laboratories Inc. (USA - Illinois) as an accepted laboratory for carrying out the safety tests according to the UL standards for the product certification.

INTEK S.p.A. participates to the Third Party Test Data Program (TPTDP) with the UL file number UL DA928.

UL International Demko A/S and INTEK S.p.A. have been cooperating in testing and certification of electrical equipment since 2000 and for Ex equipment since 2015. Accepted as an ATF (Additional Testing Facility) in April 2016.

## Documentation

### Quality manual

All documents for the INTEK S.p.A. quality system are available on the company intranet.  There is a corporate quality manual MSG Q-SL.  This addresses the main elements of ISO/IEC 17025 and also addresses other relevant requirements.

### Procedures

INTEK S.p.A. have specific procedures for the relevant tests which are under UL/DEMKO’s control

### Work instructions

Each department at INTEK S.p.A. maintains its own documents relevant to their specific area of testing, under UL/DEMKO’s control

### Records (including test records where relevant)

INTEK S.p.A. has an in-house system for keeping track of jobs and storing data associated with them.  It also includes the test plan.

### Document change control

All quality documents reside as hard copy documents which are individually numbered and controlled.

## Confidentiality

Confidentiality between UL International Demko A/S and INTEK S.p.A. is covered by clause 5 of the ‘subcontractor service agreement’ between the two parties.

## Publications

INTEK S.p.A. has no publications but does make use of its website as a communication medium.

## Recognitions and agreements

There is a signed agreement between UL International Demko A/S and INTEK S.p.A. that was reviewed during the assessment visit and found to be appropriate.  It ensures that the control of projects resides with UL International Demko A/S in its role as ExCB and that the operations at INTEK S.p.A. operate as an extension of the UL International Demko A/S ExTL.

## Internal audit and periodic management review

Section 04.14 of the quality manual describes internal audit.  Audits are done once a year in horizontal sections.  The report for the last management system audit for ISO/IEC 17025, which was done in March 2017, was viewed.  There were no findings from that audit.

Management review is covered in Section 04.15 of the quality manual.  The last report in February 2017 was viewed and found to be satisfactory.  Mirko Martina attended as representative for the Ex sector.

UL Demko carried out their last audit of INTEK on 7-8 June 2017.  No nonconformities were found from the testing point of view.

## Subcontracting, use of other labs and use of other locations

No work is further subcontracted through this arrangement.

## Training and competence

INTEK S.p.A. maintains a list of people qualified or under training for a particular standard (test).  A training plan is also maintained, under UL/DEMKO’s control.

## Complaints and appeals (including appeals to IECEx)

IECEx appeals will be handled according to the UL International Demko A/S ExCB procedures previously accepted by IECEx.

## Special facts to be noted

### Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These are included in a site assessment report and include:

- Details of issues raised and how these have been resolved

- Assessor's notes

- Completed test sections of the Technical Capability Document for the scope of work, including photos of the facilities/tests witnessed

### Witnessed Tests

The following tests were witnessed during the assessment visit:

- IEC 60079-1, clause 15.2.2, Determination of reference pressure for IIC hydrogen

- IEC 60079-0, clause 26.5.1, Temperature rise of a set of terminals

- IPX6 water test

- Flame transmission test IEC 60079-1, clause 15.3.3

- Sealing test on a fuse, IEC 60079-15, clause 22.5.3.1

- IP6X dust test including 2kPa pressure test, IEC 60079-31, clauses 6.1.1.3 and 6.1.1.4

- Demonstration of the set-up for enclosed break tests on a small switch IEC 60079-1, clause 15.5.3.2

- Dielectric withstand test, IEC 60079-7, clause 6.1

#### Results of above tests

There were no issues identified with above tests.  Photographic records of the above tests are included in the Technical Capability Document.

## PTB Proficiency scheme

INTEK are about to carry out the latest flameproof tests and the test equipment arrived from PTB on the morning of the assessment visit.

## Recommendations

Based on the assessment performed on 18 September 2017, UL International Demko A/S is recommended to continue to use INTEK S.p.A. as a non-UL IECEx System Affiliated Testing Laboratory

This is according to the scope of the standards listed in this document for INTEK S.p.A.

| Ron Webb | Vijay Varma |
| --- | --- |
| Lead Assessor | Expert Assessor |

Date: 18 September 2017

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

- IECEx  02 Edition 4, IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Edition 1, Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- OD005-1 Edition1, IECEx Quality System Requirements for Manufacturers – Part 1: Guidance on the establishment and maintenance of a quality system

- IECEx OD009 Edition 2, Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

## Candidate ExTL persons interviewed

| Name | Position |
| --- | --- |
| UL International Demko A/S |  |
| Jasmin Omerovic | ExCB Reviewer and Program Manager |
| Marie Bruun de Neergaard | Quality Manager |
| Matteo Redaelli | Engineering Manager |
| Marina Cancellier | Engineer |
| INTEK S.p.A. |  |
| Enrico Veronesi | CEO INTEK and Quality Manager |
| Mirko Martina | ATEX Manager |
| Marco Camodeca | Technician |
| Andrea Legina | Technician |

## Associated ExCB(s)

UL International Demko A/S has an accepted ExCB.

## Organisation

Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| UL International Demko A/S |  |  |
| Marie Bruun de Neergaard | Quality Engineering Manager | 19+ years |
| INTEK S.p.A. |  |  |
| Enrico Veronesi | CEO INTEK and Quality Manager | 41+ years |

### Other employees in ExTL activity

| Name | Title/responsibility | Experience in Ex |
| --- | --- | --- |
| INTEK S.p.A. |  |  |
| Mirko Martina | ATEX Manager | 16 years |
| Marco Camodeca | Technician | 9 years |
| Andrea Legina | Technician | In training |

## Organizational structure

### Working relationship between UL International Demko A/S and INTEK S.p.A.

Key points in the relationship between UL International Demko A/S and INTEK S.p.A., as a partner laboratory are as follows:

- UL International Demko A/S and INTEK S.p.A. have worked together in the field of ATEX testing and certification for about 2 years.

- INTEK S.p.A. have worked in the field of ATEX testing as an independent test lab for 11 years

- For IECEx purposes, UL International Demko A/S will commission all testing and assessment from INTEK S.p.A. based on applications to UL International Demko A/S from clients.

- INTEK S.p.A. will maintain relevant Accredia accreditation for their testing laboratories.

- All IECEx test reports will be reviewed by the UL International Demko A/S ExTL prior to presentation for certification by the UL International Demko A/S ExCB. This they will be subject to scrutiny by at least two independent people at UL International Demko A/S

- INTEK S.p.A. will be able to promote their IECEx test capability to their market only with explicit reference to being a UL International Demko A/S Partner Laboratory and with all copy agreed in advance by UL International Demko A/S.  However, all applications for IECEx testing will be lodged with UL International Demko A/S.

- UL International Demko A/S will finalise and issue the final ExTR

- UL International Demko A/S will integrate INTEK S.p.A. within its own internal audit procedures

### Organisation charts

The organisation of INTEK S.p.A. and its relationship to UL International Demko A/S are shown in Annex A.

## Resources

The laboratory was found to have appropriate competent staff, procedures and test apparatus for the scope of testing sought.

## Test reports issued

The number of test reports per standard issued by INTEK S.p.A. for the preceding two years for each type of protection is as follows:

| Standard numbers | Type of protection or other identifying information | Number of issued test data records (for the last year) |
| --- | --- | --- |
| 60079-0 | General requirements | 17 |
| 60079-1 | Ex d | 5 |
| 60079-7 | Ex e | 5 |
| 60079-11 | Ex i | Included in 60079-0 |
| 60079-15 | Ex n | 5 |
| 60079-18 | Ex m | 2 |
| 60079-31 | Ex t | 5 |

## National accreditation

INTEK S.p.A. has accreditation to ISO/IEC 17025 from Accredia valid to 7 June 2019, Certificate Number: 1180 (See Annex B).  The scope of accreditation covers all the tests listed in 1.5.1.

## Calibration

All test equipment used is calibrated.  Uncertainty calibrations were viewed and found to meet the requirements of the IECEx

## Comments (including issues found during assessment)

None

- Organisation Chart of INTEK SpA

- Accreditation certificate for INTEK S.p.A. to ISO/IEC 17025

Front sheet

Schedule