INTERNATIONAL ELECTROTECHNICAL COMMISSION IEC SYSTEM FOR

CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN

EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

TITLE: IECEx Assessment Report for an extension of scope for Korea Gas Safety Corporation, KGS, an existing Accepted Ex Certification Body (ExCB) and an Accepted Ex Test Laboratory, ExTL, within the IECEx System, Equipment Scheme 02, to include IEC 60079-28, within their scope.

INTRODUCTION

This document contains the IECEx Assessment Report for KGS, KR, an existing Accepted Ex Certification Body (ExCB) and an Accepted Ex Test Laboratory ExTL, within the IECEx System, Equipment Scheme 02, to include IEC 60079-28 within their scope.

The report is hereby submitted for voting by the ExMC.

Please consider the assessment report and return the completed voting form to the Secretariat by

2018 07 30.

Your speedy response to the voting process will be very much appreciated.

- Chris Agius

- IECEx Secretariat

| IECEx Secretariat Level 33, Australia Square 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 8206 6940 Fax: +61 2 8206 6272 Email: chris.agius @iecex.com Web: www.iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form

IECEx Assessment Report Form for use by IECEx Assessment Teams to report Assessments conducted according to the IECEx Assessment Procedures of

- Operational Document IECEx OD 003-2 for the Certified Equipment Scheme

- Operational Document IECEx OD 016 for the Certified Service Facility Scheme

- Operational Document IECEx OD 022 for the IECEx Conformity Mark Licensing System

IECEx ExCB/ExTL assessment report for KGS scope extension

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

1	Assessment information	5

1.1	Type of Body covered by this assessment: <retain appropriate marks>	5

1.2	Type of assessment: <retain appropriate marks>	5

1.2.1	Country	5

1.2.2	Name of body	5

1.2.3	Name and title of nominated principal contact	5

1.3	Assessment information	5

1.3.1	Members of the assessment team	5

1.3.2	Place of assessment	5

1.3.3	Assessment date	5

1.4.1 ExCB scope for equipment certification scheme	6

1.4.2	Additional Standard for ExCB and ExTL scope for equipment certification scheme	7

1.4.3	ExTL Scope……………………………………………………………	7

2     Common Information..	8

2.1	Legal entity of body	8

2.2	Financial support	8

2.3	History	8

2.4	Documentation	8

2.4.1	Quality manual	8

2.4.2	Procedures	8

2.4.3	Work instructions	8

2.4.4	Records (including test records where relevant)	8

2.4.5	Document change control	8

2.5	Confidentiality	8

2.6	Publications (Hard cover and Electronic)	8

2.7	Recognition and agreements	9

2.8	Internal audit and periodic management review	9

2.9	Contracting, subcontracting, use of other labs and use of other locations	9

2.10	Training and competence	9

2.11	Complaints and appeals (including appeals to IECEx)	9

2.12	Special facts to be noted	9

2.12.1	Supporting documentation	9

2.13	Recommendations	9

3	ExCB for IECEx Certified Equipment Scheme	10

3.1	Assessment references	10

3.2	Candidate ExCB persons interviewed	10

3.3	Associated ExTL(s)	10

3.4	Associated certification functions	10

3.5	National marks and certificates	10

3.6	Standards accepted in scope extension	10

3.7	National differences to IEC standards	11

3.8	Organisation	11

3.8.1	Names, titles and experience of the senior executives	11

3.8.2	Name, title and experience of the quality management representative	11

3.8.3	Name and title of signatories for certification	11

3.8.4	Other employees in ExCB activity	11

3.9	Organizational structure	11

3.10	Administration	11

3.10.1	Administrative structure	11

3.10.2	Indemnity insurance	11

3.11	Resources	11

3.12	Committees (such as governing or advisory boards)	11

3.13	Certification operations	12

3.13.1	National approval/certification methods	12

3.13.2	Certification policy	12

3.13.3	Application for certification	12

3.13.4	Certification decision	12

3.13.5	Suspension and cancellation of certificates	12

3.14	Certificates issued	12

3.15	National accreditation	12

3.16	Assessment of manufacturers and issue of QARs	12

3.17	Comments (including issues found during assessment)	12

4	ExTL for IECEx Certified Equipment Scheme	13

4.1	Assessment references	13

4.2	Candidate ExTL persons interviewed	13

4.3	Associated ExCB(s)	13

4.4	Organisation	13

4.4.1	Names, titles and experience of the senior executives	13

4.4.2	Name, title and experience of the quality management representative	13

4.4.3	Other employees in ExTL activity	13

4.5	Organizational structure	14

4.6	Resources	14

4.7	Test reports issued	14

4.8	National accreditation	14

4.9	Calibration	14

4.10	Comments (including issues found during assessment)	14

4.11	Tests witnessed	14

Annex A Organisation chart – overall	15

Annex B Organisation chart – ExCB and ExTL	16

# Assessment information

## Type of Body covered by this assessment: <retain appropriate marks>

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment: <retain appropriate marks>

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

This site assessment is part of the processing of a scope extension request from KGS for inclusion of IEC 60079-28.

### Country

Republic of Korea

### Name of body

Korea Gas Safety Corporation KGS

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Gihoi Kim | General Manager | Kgh0803@kgs.or.kr |

## Assessment information

### Members of the assessment team

| Name | Role (modify as necessary) |
| --- | --- |
| Ron Webb | Lead Assessor |

### Place of assessment

1390 Wonjung-ro, Maengdong-myeon, Eumseong-gun, Chungcheongbuk-do, Rep of Korea

### Assessment date

16 April 2018

1.4 Scope

### 1.4.1 ExCB scope for equipment certification scheme

| Number | Title |
| --- | --- |
| IEC 60079-0-am1 Ed.3 Ed.3.1 Ed.4.0 Ed.5 Ed.6.0 Ed.7.0 | Explosive atmospheres - Part 0: Equipment - General requirements |
| IEC 60079-1 Ed.3.2 Ed.4 Ed.5 Ed.6 Ed.7.0 | Explosive atmospheres – Part 1: Equipment protection by flameproof enclosures "d" |
| IEC 60079-2 Ed.4 Ed.5 Ed.6 | Explosive atmospheres – Part 2: Equipment protection by pressurized enclosure "p" |
| IEC 60079-6 Ed.3 Ed.4.0 | Explosive atmospheres - Part 6: Equipment protection by liquid immersion "o" |
| EC 60079-7 Ed.3 Ed.4 Ed.5.0 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" |
| IEC 60079-11 Ed.4 Ed.5 Ed.6.0 | Explosive atmospheres – Part 11: Equipment protection by intrinsic safety "i" |
| IEC 60079-15 Ed.1 Ed.2 Ed.3 Ed.4 Ed.5.0 | Explosive atmospheres - Part 15: Equipment protection by type of protection "n" |
| IEC60079-18 Ed.1 Ed.2.0 Ed.3 Ed.4.0 | Explosive atmospheres - Part 15: Equipment protection by type of protection "n" |
| EC 60079-26 Ed.2 Ed.3.0 | Explosive atmospheres – Part 26: Equipment with Equipment Protection Level (EPL) Ga |
| IEC 60079-31 Ed.1 Ed.2 | Explosive atmospheres - Part 31: Equipment dust ignition protection by enclosure "t" |

### 1.4.2

### Additional Standard for ExCB and ExTL scope for equipment certification scheme

| Number | Title |
| --- | --- |
| IEC 60079-28 Edition 2 | Explosive atmospheres: Part 28: Protection of equipment and transmission systems using optical radiation |

1.4.3  ExTL Scope

The ExTL scope extension sought is the same as for the ExCB.

# Common information

## Legal entity of body

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## Financial support

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## History

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## Documentation

### Quality manual

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

### Procedures

Procedures for the measurement of optical radiation were seen and found to meet the requirements of the standard.  A reporting form was also available.

### Work instructions

None specific

### Records (including test records where relevant)

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

### Document change control

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## Confidentiality

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## Publications (Hard cover and Electronic)

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## Recognition and agreements

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## Internal audit and periodic management review

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## Contracting, subcontracting, use of other labs and use of other locations

- No subcontracting for the standard being considered

## Training and competence

There is a competency matrix for the IECEx Scheme and relevant staff were seen to be included. Interviews were undertaken with staff to ensure that they had the required level of understanding of IEC 60079-28. These are included in a TCD document which is held by the Secretariat.

## Complaints and appeals (including appeals to IECEx)

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## Special facts to be noted

### Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These include:

- Completed technical capability document (TCD) (partial for IEC 60079-28)

## Recommendations

Based on the assessment performed on 16 April 2018, KGS is recommended for the scope extension for IEC 60079-28 in the IECEx scheme as:

- An ExCB in the IECEx Certified Equipment Scheme

- An ExTL in the IECEx Certified Equipment Scheme

Ron Webb

Lead Assessor

Date 16 April 2018

# ExCB for IECEx Certified Equipment Scheme

## Assessment references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- OD003-2  Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- OD005-1 IECEx Quality System Requirements for Manufacturers – Part 1: Guidance on the establishment and maintenance of a quality system

- OD005-2 IECEx Quality System Requirements for Manufacturers – Part 2: Audit Checklist.  (This is available in a Word format for use by ExCBs)

- ISO/IEC 80079-34 Edition 1, Explosive atmospheres – Part 34: Application of quality systems for equipment manufacture

- OD009 Issuing of CoCs, ExTRs and QARs

- IECEx Document OD 025 Guidelines on the Management of Assessment and Surveillance programs for the assessment of Manufacturer’s Quality Systems in accordance with the IECEx Scheme

- OD0026 IECEx Certified Equipment Scheme – Guidelines for the qualification of Lead Auditor and Auditors, in accordance with the IECEx System

- ISO/IEC 17065, General requirements for bodies operating product certification systems

- IECEx Document OD17 Drawing and documentation guidance

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied

## Candidate ExCB persons interviewed

| Name | Position |
| --- | --- |
| Gihoi Kim | Department Leader, Quality Manger |
| Inchoon Park | Manger |

## Associated ExTL(s)

The ExCB is integral with the ExTL

## Associated certification functions

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## National marks and certificates

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## Standards accepted in scope extension

See clause 1.4.2 of this report

## National differences to IEC standards

National differences to IEC standards are those listed in the latest version of the IECEx Scheme Bulletin.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Hae Duk Jung | Director | 33 years at KGS |
| Gihoi Kim | Department Leader | 22 years at KGS and 10 years in Ex |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Gihoi Kim | General Manager, Ex Testing and Certification Department and Quality Manager | 22 years at KGS and 10 years in Ex |

### Name and title of signatories for certification

| Name | Title |
| --- | --- |
| Gihoi Kim | Department Leader, Quality Manger |

### Other employees in ExCB activity

| Name |  |  |
| --- | --- | --- |
| Inchoon Park | Manger | 7 years at KGS and 6 years in Ex |

## Organizational structure

Included as Annexes A and B

## Administration

### Administrative structure

Included in Annexes A and B

### Indemnity insurance

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## Resources

Adequate staffing resources were available

## Committees (such as governing or advisory boards)

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## Certification operations

### National approval/certification methods

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

### Certification policy

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

### Application for certification

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

### Certification decision

There is an appropriate system in place to make the certification decision.

### Suspension and cancellation of certificates

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## Certificates issued

As yet, KGS have not issued any certificates to this standard.  It is being added to the list of standards on the ExCB and ExTL scope to allow correct use of the standard for product which falls within its scope. (e.g. flameproof LED floodlights).

## National accreditation

IEC 60079-28 is not at present on the KOLAS Certificate scope.  KGS may therefore require annual surveillance.

## Assessment of manufacturers and issue of QARs

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## Comments (including issues found during assessment)

The staff interviewed had a good understanding of the requirements for optical radiation.  This was shown during the demonstration of the use of the equipment..

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories

- IECEx Document OD17 Drawing and documentation guidance

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied.

## Candidate ExTL persons interviewed

| Name | Position |
| --- | --- |
| Gi-hoi Kim | General Manager |
| Hee-jun Choi | Assistant Manager |
| In-choon Park | Manager |
| Woo-suk Kim | Manager |
| Jong-hyun Kim | Assistant Manager |
| Chang-hun Yoo | Technical Manager of ExTL |

## Associated ExCB(s)

The ExCB is integral with the ExTL

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Hae Duk Jung | Director | 33 years at KGS |
| Gihoi Kim | Department Leader | 22 years at KGS and 10 years in Ex |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Gihoi Kim | General Manager, Ex Testing and Certification Department and Quality Manager | 22 years at KGS and 10 years in Ex |

### Other employees in ExTL activity

| Name |  |  |
| --- | --- | --- |
| Changhun Yoo | Technical Manager of ExTL | 22 years at KGS and 9 years in Ex |

## Organizational structure

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## Resources

Adequate staff resources are available

KGS has appropriate equipment, procedures and competent personnel, to carry out assessment and testing required for optical radiation.

## Test reports issued

As yet, KGS have not issued any reports to this standard.  It is being added to the list of standards on the ExCB and ExTL scope to allow correct use of the standard for product which falls within its scope. (e.g. flameproof LED floodlights).

## National accreditation

IEC 60079-28 is not at present on the KOLAS Testing scope.  KGS may therefore require annual surveillance.

## Calibration

Not part of this assessment as this is a scope extension assessment.  This was covered in the reassessment carried out in November 2017.

## Comments (including issues found during assessment)

The staff interviewed had a good understanding of IEC 60079-28

## Tests witnessed

A large LED luminaire (c250W), was energised and the optical measuring equipment used to determine the irradiance produced by the luminaire.  It was noticed that the irradiance was seen to be at a maximum value a short distance away from the LED source.  The tests were considered satisfactory.  The staff involved had a good understanding of the concept.

- Organisation chart – overall

- Organisation chart – ExCB and ExTL