INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR

CERTIFICATION TO STANDARDS RELATING TO EQUIPENT FOR USE

IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

Title: Scope Extension Assessment Report for, China National Quality Supervision and Test Centre for Explosion Protected Electrical Products, (CQST), CN, an Accepted ExTL within the IECEx System, Equipment Scheme 02 to include IEC 60079-33, ISO 80079-36 and ISO 80079-37 in their scope.

To: Members of the IECEx Management Committee, ExMC

Introduction

Following an application for a scope extension by China National Quality Supervision and Test Centre for Explosion Protected Electrical Products, (CQST), CN, an Accepted ExTL within the IECEx System, Equipment Scheme 02 to include IEC 60079-33, ISO 80079-36 and ISO 80079-37 within their scope, working with CNEX as ExCB for these Standards, a special site assessment visit was arranged and conducted.

This report details the assessment findings of this scope extension with the IECEx

Assessment Team recommending the acceptance of the above scope extension.

It is now hereby submitted for voting by ExMC.

Please consider the report and return the completed voting form, separate Word

Document, to the Secretariat by 2018 08 08

Your speedy response to the voting process will be very much appreciated.

Chris Agius

IECEx Secretary

Address:

| IECEx Secretariat Australia Square Level 33, 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 4628 4690 Fax: +61 2 46 27 5285 Email: chris.agius@iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form

IECEx Assessment Report Form for use by IECEx Assessment Teams to report Assessments conducted according to the IECEx Assessment Procedures of

- Operational Document IECEx OD003-2 for the Certified Equipment Scheme

- Operational Document IECEx OD316-5 for the Certified Service Facility Scheme

- Operational Document IECEx OD422 for the IECEx Conformity Mark Licensing System

IECEx ExTL assessment report for China National Quality Supervision and Test Centre for Explosion Protected Electrical Products (CQST)

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

1	Assessment information	5

1.1	Type of Body covered by this assessment:	5

1.2	Type of assessment:	5

1.3	Details of body	5

1.3.1	Country	5

1.3.2	Name of body	5

1.3.3	Name and title of nominated principal contact	5

1.4	Assessment information	5

1.4.1	Members of the assessment team	5

1.4.2	Place(s) of assessment	5

1.4.3	Assessment date(s)	5

1.5	Application information and background information on the assessment	5

1.6	Scopes	6

1.6.1	Additional Standards for ExCB scope for equipment certification scheme	6

1.6.2	Additional Standards for ExTL scope	6

2	Common information	7

2.1	Legal entity of body	7

2.2	Financial support	7

2.3	History	7

2.4	Documentation	7

2.4.1	Quality manual	7

2.4.2	Procedures	7

2.4.3	Work instructions	7

2.4.4	Records (including test records where relevant)	7

2.4.5	Document change control	7

2.5	Confidentiality	7

2.6	Communication with public and customers (Hard copy and Electronic)	7

2.7	Recognitions and agreements	7

2.8	Internal audit	7

2.9	Management review	8

2.10	Contracting, subcontracting and witness testing	8

2.10.1	Contracting	8

2.10.2	Subcontracting	8

2.10.3	Witness testing	8

2.11	Training and competence	8

2.12	Complaints and appeals (including appeals to IECEx)	8

2.13	Impartiality	8

2.14	Commenting on ExTAG Documents	8

2.15	Special facts to be noted	8

2.16	Supporting documentation	8

2.17	Recommendations	8

3	ExTL for IECEx Certified Equipment Scheme	10

3.1	Assessment references	10

3.1.1	General references	10

3.1.2	Additional references applied for this assessment	10

3.2	Candidate ExTL persons interviewed	10

3.3	Associated ExCB(s)	10

3.4	Organisation	10

3.4.1	Names, titles and experience of the senior executives	10

3.4.2	Name, title and experience of the quality management representative	12

3.4.3	Other employees in ExTL activity (overall list)	12

3.5	Organizational structure	13

3.6	Resources	13

3.7	Test reports issued	13

3.8	National accreditation	14

3.9	Calibration	14

3.10	Tests witnessed during the assessment visit	14

3.11	Participation in IECEx Proficiency Testing Programs	14

3.12	Comments (including issues found during assessment)	14

4	Annexes	16

Annex A Overall Organisation Chart	17

Annex B Organisation Chart of ExTL	18

Annex C Accreditation Certificate for ISO/IEC 17025	19

# Assessment information

## Type of Body covered by this assessment: <retain appropriate marks>

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment: <retain appropriate marks>

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country

People's Republic of China

### Name of body

China National Quality Supervision and Test Centre for Explosion Protected Electrical Products (CQST)

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Mr. Jun Wang | Director of CQST | wangjun@cn-ex.com |

## Assessment information

### Members of the assessment team

| Name | Role |
| --- | --- |
| Katy Holdredge | IECEx Lead Assessor |
| Michel Brenon | IECEx Assessor |

### Place(s) of assessment

20 North Zhongjing Road Nanyang City Henan Province People's Republic of China

### Assessment date(s)

8 – 9 November 2017

## Application information and background information on the assessment

Information relevant to the Secretariat review process: ExMC/251B/Q ExCB/ExTL Capability Declaration for Extension of Scope from the Secretariat.

It was agreed to conduct the CNEX-Global B.V. scope extension audit at CQST since the majority of the ExCB staff are located in the joint CNEX-Global B.V.-CQST China office.  The Netherlands staff was also present during the assessment.

## Scopes

### Additional Standards for ExCB scope for equipment certification scheme

China National Quality Supervision and Test Centre for Explosion Protected Electrical Products (CQST) is an ExTL for CNEX-Global B.V., which is also being assessed for the same scope increase.

| Number | Title |
| --- | --- |
| IEC 60079-33 Edition 1.0 | Explosive atmospheres – Part 33: Equipment protection by special protection “s” |
| IS0 80079-36 Edition 1.0 | Explosive atmospheres - Part 36: Non-electrical equipment for explosive atmospheres – Basic method and requirements |
| ISO 80079-37 Edition 1.0 | Explosive atmospheres - Part 37: Non-electrical equipment for explosive atmospheres – Non electrical type of protection constructional safety ”c” control of ignition source ”b”, liquid immersion ”k” |

NOTE 1	Any Standards shown with an asterisk (*) are superseded standards

NOTE 2	Unless otherwise indicated, earlier editions of standards (even if with a different number) are considered to be covered in the above scope for the purposes of the assessment.

NOTE 3	The above list highlights any extension of scope in the list above for new standards or later editions of standards already in scope.

### Additional Standards for ExTL scope

The ExTL scope is the same as for the ExCB.

| Number | Title |
| --- | --- |
| IEC 60079-33 Edition 1.0 | Explosive atmospheres – Part 33: Equipment protection by special protection “s” |
| IS0 80079-36 Edition 1.0 | Explosive atmospheres - Part 36: Non-electrical equipment for explosive atmospheres – Basic method and requirements |
| ISO 80079-37 Edition 1.0 | Explosive atmospheres - Part 37: Non-electrical equipment for explosive atmospheres – Non electrical type of protection constructional safety ”c” control of ignition source ”b”, liquid immersion ”k” |

# Common information

## Legal entity of body

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1102/DV.

## Financial support

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1102/DV.

## History

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1102/DV.

## Documentation

### Quality manual

The quality manuals have been updated to incorporate the requirements of OD 280 for non-electrical equipment and OD233 for Ex ‘s’.  Reference Procedure(s) for the Contract Reviews-2011, CQST-QP-04, Procedure(s) for Testing and Certification of Products-2011, CQST-QP-29, Procedure(s) for Management of IECEx Certification-2017, CQST-QP-33.

### Procedures

While covered in the assessment reported in ExMC/1102/DV, it was confirmed that the procedures also cover the new standards listed under the scope extension request.  Reference Standard operational procedure type equipment evaluation, CQST-ZD-124.

### Work instructions

While covered in the assessment reported in ExMC/1102/DV, it was confirmed that CQST’s work instructions related to conducting tests also cover the new standards listed under the scope extension request.  Reference Working instruction for inspection Ex ‘s’ CQST-ZD-163.

### Records (including test records where relevant)

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1102/DV.

### Document change control

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1102/DV.

## Confidentiality

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1102/DV.

## Communication with public and customers (Hard copy and Electronic)

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1102/DV.

## Recognitions and agreements

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1102/DV.

## Internal audit

While covered in the assessment reported in ExMC/1102/DV, it was confirmed that the procedures also cover the new standards listed under the scope extension request.

## Management review

While covered in the assessment reported in ExMC/1102/DV, it was confirmed that the procedures also cover the new standards listed under the scope extension request.

## Contracting, subcontracting and witness testing

### Contracting

There is no contracting used for these standards.

### Subcontracting

There is no subcontracting used for these standards.

### Witness testing

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1102/DV.

## Training and competence

There is a competency matrix for the IECEx Scheme. Interviews were undertaken with staff to ensure that they had the required level of understanding. These are included in a TCD document which is held by the Secretariat. Training records for each staff member are held as hard copy and as PDF and are very comprehensive.

## Complaints and appeals (including appeals to IECEx)

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1102/DV.

## Impartiality

Not part of this assessment as this is a scope extension assessment. This will be covered in the next reassessment as this a new item.

## Commenting on ExTAG Documents

Not part of this assessment as this is a scope extension assessment. This will be covered in the next reassessment as this a new item.

## Special facts to be noted

None

## Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These are included in a site assessment report or provided separately and include:

- Details of issues raised and how these have been resolved

- Completed Technical Capability Document (TCD)

- Photos of the facilities/tests witnessed are included in the above TCD

- Assessors’ notes

- Other

## Recommendations

Based on the assessment performed on 8 – 9 November 2017, China National Quality Supervision and Test Centre for Explosion Protected Electrical Products (CQST) is recommended as:

- An ExTL in the IECEx Certified Equipment Scheme

with the extension of scope as detailed in section 1.6.

| Katy Holdredge | Michel Brenon |
| --- | --- |
| IECEx Lead Assessor | IECEx Assessor |

Date:  2018-04-23

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

- OD 202 IECEx Certified Equipment Scheme – IECEx Proficiency Testing Program

NOTE	The latest editions of the above documents were applied.

### Additional references applied for this assessment

- OD 280 IECEx Certified Equipment Scheme – Guide to Certification of Nonelectrical Equipment and Protective Systems

- OD 233 IECEx Certified Equipment Scheme - Assessment of Ex “s” Equipment.

## Candidate ExTL persons interviewed

| Name | Position |
| --- | --- |
| Zhang Lixiao (Lily) | Manager of Ex apparatus test lab |
| Hou Yandong (Richard) | Vice Director |
| Liu Ya (Alex) | Project Engineer |
| Ma Quiju (Julia) | Manager of motor test lab |

## Associated ExCB(s)

CNEX-Global B.V. (for scope increase)

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Wang Jun | Director of CQST | 31 years 4 years for Ex motor design; 4 years for inspection and test in CQST; 4 years for standardization and international certification; 19 years (up to now) director of CQST |
| Wu Jianguo | Executive Vice Director of CQST, Technical responsible person | 42 years 8 years for science and technology research work in Ex station; 8 years for manager of Electric & Environment Test lab; 1 year manager of MC in CQST; 22 years deputy director of CQST |
| Mu Dayu | Vice director of CQST, Quality responsible person | 30 years 1 year for motor production; 12 years for design and inspection of Ex apparatus; 3 years for manager of Ex test lab; 14 years (up to now) for vice director of CQST, quality responsible |
| Yang Li | Vice director of CQST | 32 years 12 years for inspection and test in motor test lab; 4 years vice manager of motor test lab; 3 years manager of motor; 14 years for vice director of CQST |
| Hou Yandong | Vice director of CQST | 24 years 4 years for inspector in Ex test lab; 3 years vice manager of Ex test lab; 12 years for manager of Ex test lab; 5 years for vice director of CQST |
| Kou Xiaoguang | Vice director of CQST, Manager of international service office | 35 years 4 years for inspector of Ex motor; 5 years for science and technology research work in CQST; 8 years for translation work and vice director in IC of CNEx; 15 years (up to now) for manager of international service office in CQST; 4 year for vice director of CQST |
| Jin Kai | Manager of Management office | 10 years 7 years for management work in MC office of CQST; 3 year (up to now) for manager of MC office |
| Ma Qiuju | Manager of motor test lab | 19 years 4 years as an inspector in motor test Lab; 9 years as an engineer in international service office; 6 years for manager of motor test lab |
| Zhang Lixiao | Manager of Ex apparatus test lab | 22 years 8 years as an inspector in Ex apparatus test lab; 8 years as an engineer in international service office; 6 years for manager of motor test lab |
| Wang Xitong | Manager of Ex instrument & meter test lab | 17 years 4 years for inspector in Ex instrument test lab; 3 years for motor test; 2 years for vice manager of motor test lab; 2 years for manager of Ex appliance and Environment test lab; 6 years as manager of Ex instrument & meter test lab |
| Wang Sunwu | Manager of Science & Research Section | 29 years 1 year for motor production; 12 years for design and inspection of Ex apparatus; 3 years for manager of Ex test lab; 7 years (up to now) as manager of test facilities management office |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Mu Dayu | Vice director of CQST, Quality responsible person | 28 years 1 year for motor production; 12 years for design and inspection of Ex apparatus; 3 years for manager of Ex test lab; 12 years (up to now) for vice director of CQST, quality responsible |

### Other employees in ExTL activity (overall list)

| Name | Title/responsibility | Experience in Ex |
| --- | --- | --- |
| Wang Jun | Director | 31years |
| Wu Jianguo | Executive Vice Director | 42 years |
| Mu Dayu | Vice Director, Quality Director | 30 years |
| Yang Li | Vice Director | 32 years |
| Hou Yandong | Vice Director | 24 years |
| Kou Xiaoguang (Alice) | Vice Director, Manager of international service office | 35 years |
| Ma Qiuju | Manager of motor test lab | 19 years |
| Xue Ji | Vice Manager of motor test lab | 42 years |
| Wei Lin | Vice Manager of motor test lab | 33 years |
| Li Yuen | Project Engineer | 16 years |
| Chen Rue | Project Engineer | 23 years |
| Song Zahra | Inspection worker | 28 years |
| Xie Xiaochuan | Inspection worker | 9 years |
| Zhou Guo | Inspector | 5 years |
| Hu Yingzhen | Inspector | 5 years |
| Zhang Yu | Inspector | 7 years |
| Li Tongxin | Inspector | 27 years |
| Li Yang | Inspector | 8 years |
| Wang Gang | Inspector | 8 years |
| Huang Xuesong | Inspector | 4 years |
| Zhang Lixiao | Manager of Ex apparatus test lab | 22 years |
| Li Xiaoning | Vice Manager of Management office | 13 years |
| Wen Pin | Vice Manger of Ex Apparatus Test Lab | 9 years |
| Liu Ya | Project Engineer | 9 years |
| Wang Chongyang | Inspector | 5 years |
| Chen Jinhao | Inspector | 10 years |
| Bi Dong | Inspector | 10 years |
| Ye Jingnan | Project Engineer | 6 years |
| Li Lei | Project Engineer | 5 years |
| Li Dan | Project Engineer | 6 years |
| He Hu | Inspector | 4 years |
| Zhang Yitao | Inspector (internship) | 5 years |
| Wang Xitong | Manager of Ex instrument & meter test lab | 17 years |
| Jia Juanmin | Vice Manager of Ex instrument & meter test lab | 13 years |
| Wei Baozhi | Project Engineer | 12 years |
| Wangdefeng | Project Engineer | 28 years |
| Yang Wenyu | Project Engineer (internship) | 4 years |
| Wang Sunwu | Manager of Science & Research Section | 31 years |
| He Hongwen | Vice Manager of Science & Research Section | 29 years |
| Rong Shuduo | Inspector | 23 years |
| Gao Zhilun | Inspector | 5 years |
| Chen Xin | Inspector | 5 years |
| Kou Xiaoguang | Vice Director | 34 years |
| Feng Wei | Project Engineer International | 10 years |
| Liu Sijing | Project Engineer International | 10 years |
| Li Chaonan | Management Clerk | 6 years |
| Jin Kai | Manager of Management office | 15 years |
| Guo Fei | Calibration & Equipment Management clerk | 9 years |
| Wang Yingying | management clerk | 6 years |
| Wu Yinxue | File Management clerk | 26 years |

Note: Blue background means group leader, followed by section members.

## Organizational structure

Included in the Site Assessment Report

## Resources

Adequate staff resources are available including Independent verifiers according IEC 60079-33.

## Test reports issued

Number of test reports (ExTRs) issued under for the preceding four years for each type of protection.

China National Quality Supervision and Test Centre for Explosion Protected Electrical Products (CQST) was able to demonstrate experience with non-electrical standards and special requirements, noting the number of certificates and reports issued under national requirements:

| Standard numbers | Type of protection or other identifying information | Number of issued reports (ExTRs) (for last 4 years) |  |  |  | Total |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2014 | 2015 | 2016 | 2017 |  |
| IEC 60079-33 | According to Annex B of GB19854 | (19) | (10) | (6) | (8) | (43) |
| ISO 80079-36 & ISO 80079-37 | According to GB25286.1, GB25286.3, GB25286.5, GB25286.6, and GB25286.8 | (10) | (8) | (9) | (13) | (40) |

NOTE 1	Above include reports to IEC 60079-0 unless otherwise shown

## National accreditation

China National Quality Supervision and Test Centre for Explosion Protected Electrical Products (CQST) has national accreditation through CNAS for ISO 80079-36 and ISO 80079-37 non-electrical standards along with their Chinese equivalents GB25286.1, GB25286.3, GB25286.5, GB25286.6, and GB25286.8.  In addition, CQST has national accreditation for IEC 60079-33 as well as the following special ‘s’ Chinese standards, GB19854 (industrial trucks), MT/T887 (cranes), JB/T4091 (vehicles) and MT/T334 (batteries).

The ISO/IEC 17025 certificate is included as Annex C issued 2017-04-05.

NOTE The national accreditation is checked annually by the IECEx Secretariat.

## Calibration

While covered in the assessment reported in ExMC/1102/DV, it was confirmed that the procedures also cover the new standards listed under the scope extension request.

## Tests witnessed during the assessment visit

The following tests were witnessed during the assessment visit:

| Standard and edition | Clause number | Test | Comments |
| --- | --- | --- | --- |
| IEC 60079-33 Edition 1.0 | 10.2.3 | Equipment outside the scope of recognized types of protection |  |
| ISO 80079-36 Edition 1.0 | 8.4.7 a) | Mechanical Resistance Test, Test for resistance to impact | Conducted after application of 8.4.1, Test temperatures |
| ISO 80079-36 Edition 1.0 | Annex D4.2 | Determination of the most efficient charging method |  |
| ISO 80079-37 Edition 1.0 | 8.3.2 | Increased Pressure test on equipment having a sealed enclosure that contains static, or flowing protective liquid |  |
| ISO 80079-37 Edition 1.0 | Annex B1 | Dry Run test |  |
| ISO 80079-37 Edition 1.0 | Annex B2 | Determination of maximum engaging time of a clutch |  |

## Participation in IECEx Proficiency Testing Programs

Not part of this assessment as this is a scope extension assessment. This will be covered in the next reassessment as this a new item.

## Comments (including issues found during assessment)

There were some issues found during the site assessment related to:

- Missing or insufficient calibration/validation for the equipment range/parameters;

- Insufficient lab work instructions and datasheets to show compliance with the standards; and

- Insufficient documentation for non-electrical assessments.

Detailed information on this is shown in the site assessment report.  All issues have been resolved to the satisfaction of the assessment team.

# Annexes

Annex A 		Overall Organisation Chart

Annex B		Organisation Chart of ExTL

Annex C 		Accreditation Certificate for ISO 17025

- Overall Organisation Chart

- Organisation Chart of ExTL

- Accreditation Certificate for ISO/IEC 17025