INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

TITLE: Re-assessment and Scope Extension Report for the continued acceptance of Intertek Testing Services NA, Inc.an Accepted Ex Certification Body(ExCB) and an Accepted Ex Testing Laboratory (ExTL) within the IECEx System, Equipment Scheme 02, to include IEC 60079-13, IEC 60079-28 and IEC/TS 60079-40, in their scope.

Circulation to: Members of the IECEx Management Committee, ExMC

INTRODUCTION

In accordance with the 5 year re-assessment plan for the surveillance and monitoring of bodies within the IECEx System, the following document contains the IECEx Re-assessment and Scope Extension Report for the continued acceptance of Intertek Testing Services NA, Inc.an Accepted Ex Certification Body and an Accepted Ex Testing Laboratory (ExTL) within the IECEx System, Equipment Scheme 02.

During the re-assessment the IECEx Assessment Team took the opportunity to also assess Intertek Testing Services NA, Inc, equipment and competence to undertake testing and certification for the following extension of scope –

| Standard | Edition | Title |
| --- | --- | --- |
| IEC 60079-13 | 2.0 | Part 13: Equipment protection by pressurized room 'p' |
| IEC 60079-28 | 2.0 | Part 28: Protection of equipment and transmission systems using optical radiation |
| IEC TS 60079-40 | 1.0 | Part 40: Requirements for process sealing between flammable process fluids and electrical systems |

This document is hereby submitted for ExMC approval via correspondence using the IECEx on-line voting system.  ExMC Members are requested to submit their vote via the IECEx On-line Ballot System  by the closing date 2019 12 27

Please refer to OD 050 for guidance on the “IECEx On-line voting system.”

Chris Agius

IECEx Secretariat

| IECEx Secretariat Australia Square Level 33, 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 4628 4690 Fax: +61 2 4625 3480 Email: chris.agius@iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form

IECEx Assessment Report Form for use by IECEx Assessment Teams to report Assessments conducted according to the IECEx Assessment Procedures of

- Operational Document IECEx OD 003-2 for the Certified Equipment Scheme

IECEx ExCB/ExTL assessment report for

Intertek Testing Services NA, Inc.

Cortland N.Y., USA

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

1	Assessment information	6

1.1	Type of Body covered by this assessment:	6

1.2	Type of assessment:	6

1.3	Details of body	6

1.3.1	Country	6

1.3.2	Name of body	6

1.3.3	Name and title of nominated principal contact	6

1.4	Assessment information	6

1.4.1	Members of the assessment team	6

1.4.2	Place(s) of assessment	6

1.4.3	Assessment date(s)	7

1.5	Application information and background information on the assessment	7

1.5.1	ExCB scope for equipment certification scheme	7

1.5.2	ExTL scope	8

2	Common information	9

2.1	Legal entity of body	9

2.2	Financial support	9

2.3	History	9

2.4	Documentation	10

2.4.1	Quality manual	10

2.4.2	Procedures	10

2.4.3	Work instructions	10

2.4.4	Records (including test records where relevant)	10

2.4.5	Document change control	10

2.5	Confidentiality	11

2.6	Communication with public and customers (Hard copy and Electronic)	11

2.7	Recognitions and agreements	11

2.8	Internal audit	11

2.9	Management review	11

2.10	Contracting, subcontracting and witness testing	11

2.10.1	Contracting	11

2.10.2	Subcontracting	11

2.10.3	Witness testing	12

2.11	Training and competence	12

2.12	Complaints and appeals (including appeals to IECEx)	12

2.13	Impartiality	13

2.14	Commenting on ExTAG Documents	13

2.15	Special facts to be noted	13

2.16	Supporting documentation	13

2.17	Recommendations	13

3	ExCB for IECEx Certified Equipment Scheme	15

3.1	Assessment references	15

3.1.1	General references	15

3.1.2	Additional references applied for this assessment	15

3.2	Candidate ExCB persons interviewed	15

3.3	Associated ExTL(s)	15

3.4	Associated certification functions	15

3.5	National marks and certificates	16

3.6	Standards accepted	16

3.7	National differences to IEC standards	16

3.8	Organisation	16

3.8.1	Names, titles and experience of the senior executives	16

3.8.2	Name, title and experience of the quality management representative	16

3.8.3	Name and title of signatories for certification	16

3.8.4	Other employees in ExCB activity	16

3.9	Organizational structure	17

3.10	Indemnity insurance	17

3.11	Resources	17

3.12	Committees (such as governing or advisory boards)	17

3.13	Certification operations	17

3.13.1	National approval/certification methods	17

3.13.2	Certification policy	17

3.13.3	Application for certification	17

3.13.4	Certification decision	18

3.13.5	Suspension and cancellation of certificates	18

3.14	Certificates issued	18

3.15	National accreditation	19

3.16	Assessment of manufacturers and issue of QARs	20

3.17	Comments (including issues found during assessment)	20

4	ExTL for IECEx Certified Equipment Scheme	21

4.1	Assessment references	21

4.1.1	General references	21

4.1.2	Additional references applied for this assessment	21

4.2	Candidate ExTL persons interviewed	21

4.3	Associated ExCB(s)	21

4.4	Organisation	21

4.4.1	Names, titles and experience of the senior executives	21

4.4.2	Name, title and experience of the quality management representative	22

4.4.3	Other employees in ExTL activity	22

4.5	Organizational structure	22

4.6	Resources	22

4.7	Test reports issued	22

4.8	National accreditation	24

4.9	Calibration	24

4.10	Tests witnessed during the assessment visit	24

4.11	Participation in IECEx Proficiency Testing Programs	25

4.12	Comments (including issues found during assessment)	25

5	Annexes	26

Annex A Overall Organisation Chart	27

Annex B Organisation Chart of ExCB and ExTL	28

Annex C Accreditation Certificate for ISO/IEC 17065	29

Annex D Accreditation Certificate for ISO/IEC 17025	30

- Assessment information

## Type of Body covered by this assessment: <retain appropriate marks>

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment: <retain appropriate marks>

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country

United States of America

### Name of body

Intertek Testing Services NA, Inc., hereafter called as “Intertek NA”.

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| William T. Fiske | Senior Director – Technical Affairs | Bill.fiske@intertek.com Tel: +1 607 758 6286 Fax +1 607 758 6637 |

## Assessment information

### Members of the assessment team

| Name | Role |
| --- | --- |
| Jianping Xu | IECEx Lead Assessor |
| Marino Kelava | IECEx Assessor |

### Place(s) of assessment

| Location of ExCB: 3933 US Route 11 South Cortland, NY 13045 USA | Location of ExTL, Cortland NY: 3933 US Route 11 South Cortland, NY 13045 USA With CTI test in separate building: 75 Clinton Avenue Cortland, NY 13045 USA |
| --- | --- |

NOTE:  In addition, Intertek NA has two other  associated ExTLs as follows:

- Intertek Testing Services NA, Inc. – Plano, TX, USA- Mid-term assessment due 2020

- Intertek Testing Services NA Ltd – Edmonton,  Canada - Accepted 2018 – Mid-term assessment due 2020

### Assessment date(s)

27-29 May 2019

## Application information and background information on the assessment

Application for scope extension of standards IEC 60079-13, IEC 60079-28 and IEC TS 60079-40 was received on 5 March 2019 via IECEx Secretariat.

### ExCB scope for equipment certification scheme

| Number | Title | Comments, eg if scope change |
| --- | --- | --- |
| IEC 60079-0 Edition 7.0 | Explosive atmospheres - Part 0: Equipment - General requirements | Ok |
| IEC 60079-1 Edition 7.0 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | Ok |
| IEC 60079-2 Edition 6.0 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p” | Ok |
| IEC 60079-5 Edition 4.0 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | Ok |
| IEC 60079-6 Edition 4.0 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o” | Ok |
| IEC 60079-7 Edition 5.0 | Explosive atmospheres - Part 7: Equipment protection by increased safety “e” | Ok |
| IEC 60079-11 Edition 6.0 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | Ok |
| IEC 60079-13 Edition 2.0 | Explosive atmospheres - Part 13: Equipment protection by pressurized room “p” | Ok. Scope extension |
| IEC 60079-15 Edition 5.0 | Explosive atmospheres – Part 15: Equipment protection by type of protection “n” | Ok |
| IEC 60079-18 Edition 4.0 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | Ok |
| IEC 60079-25 Edition 2.0 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems | Ok |
| IEC 60079-26 Edition 3.0 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga | Ok |
| IEC 60079-28 Edition 2.0 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation | Ok. Scope extension |
| IEC 60079-31 Edition 2.0 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" | Ok |
| IS0 80079-36 Edition 1.0 | Explosive atmospheres - Part 36: Non-electrical equipment for explosive atmospheres – Basic method and requirements | Ok |
| ISO 80079-37 Edition 1.0 | Explosive atmospheres - Part 37: Non-electrical equipment for explosive atmospheres – Non electrical type of protection constructional safety ”c”, control of ignition source ”b”, liquid immersion ”k” | Ok |
| IEC TS 60079-40 Edition 1.0 | Explosive atmospheres -Part 40: Requirements for process sealing between flammable process fluids and electrical systems | Ok. Scope extension |
| IEC TS 60079-46 Edition 1.0 | Explosive atmospheres - Part 46: Equipment assemblies | Ok |
| *IEC 61241-0 Edition 1.0 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements | Ok |
| *IEC 61241-1-1 Edition 2.0 | Electrical apparatus for use in the presence of combustible dust - Part 1-1: Electrical apparatus protected by enclosures and surface temperature limitation - Specification for apparatus | Ok |
| *IEC 61241-1 Edition 1.0 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosure “tD” | Ok |
| *IEC 61241-4 Edition 1.0 | Electrical apparatus for use in the presence of combustible dust - Part 4: Protection by pressurization "pD" | Ok |

NOTE 1	Standards shown with an asterisk (*) are superseded standards

NOTE 2	Unless otherwise indicated, earlier editions of standards (even if with a different number) are considered to be covered in the above scope for the purposes of the assessment.

NOTE 3	The above list highlights any extension of scope in the list above for new standards or later editions of standards already in scope.

### ExTL scope

The scope of the associated ExTL being assessed is the same as for the ExCB.

The scope of the other two associated ExTLs at Plano USA and Edmonton Canada are not as broad as the ExCB scope. For the details, please refer to OD001, which is posted in IECEx website

# Common information

## Legal entity of body

Intertek Testing Services NA, Inc. is incorporated under the laws of the State of New York, U.S.A., as a for-profit corporation. The legal license of business of Intertek NA with registration number 200402240121 59 was reviewed during site assessment.

## Financial support

Intertek is getting its income from testing, certification and training. The annual reports show a positive result.

## History

Intertek Testing Services NA, Inc. is a wholly owned subsidiary of Intertek Group plc. Intertek Group plc is a technical services company registered in the UK.  Product testing and certification-related consultancies are not provided by the Intertek Group plc.

Intertek Testing Services NA, Inc. has a chain of Testing Laboratories and a Certification Body throughout North America.

The Cortland Laboratory began as Electrical Testing Laboratories (ETL), originally located in New York City, was founded in 1896 as the Lamp Testing Bureau through the incorporation of five of the original Edison Illuminating Companies.

In 1972, Electrical Testing Laboratories established its first satellite laboratory near Atlanta, GA.

In 1977, the laboratory was relocated from New York City to the current site in Cortland NY.

In 1978, Electrical Testing Laboratories was renamed ETL Testing Laboratories, Inc., and shortly thereafter established a laboratory in South San Francisco, CA.

In 1988, ETL was purchased by Inchcape, plc and became part of Inchcape Testing Services.

In 1991, Inchcape Testing Services purchased Dash, Straus & Goodhue, Inc. (DS&G) located near Boston, MA.

In 1992, ETL and DS&G both enter IECEE CB Scheme.

In 1994, Inchcape Testing Services acquired SEMKO, located near Stockholm, Sweden.

In 1996, Inchcape Testing Services is sold and the company name is changed to Intertek Testing Services NA Inc. and incorporated under the laws of the State of New York as a for-profit corporation under the parent company Intertek Group plc.

In 2002, Intertek Group plc became a publically traded company listed on the London Stock Exchange.

Since 2008 the laboratory operates in the CB Scheme under the NCB Intertek Semko and currently is accepted for the product categories HOUS, LITE, PV and BATT.

Under the Consumer & Electrical Division of Intertek Testing Services NA, Inc., there is a Certification Body in Cortland NY, and a chain of testing laboratories, including two Ex testing laboratories in Cortland NY and Plano TX.

The Certification Body and its integrated Ex testing laboratory in Cortland NY were initially assessed and accepted by IECEx Certified Equipment Scheme (IECEx 02) in 2010. The Ex testing laboratory in Plano TX was initially assessed and accepted by IECEx Certified Equipment Scheme (IECEx 02) in 2012. The associated Ex testing laboratory - Intertek Testing Services NA Ltd located in Edmonton, Canada was initially assessed and accepted as an ExTL in 2018.

## Documentation

### Quality manual

There is an Intertek Global Quality Policy Manual (GQPM) at revision date 25 February 2019 at the time of the assessment visit, which describes company’s quality system structure. The completed quality systems consist of four levels:

Level 1: Global Quality Manual (GMS documents).

Level 2: Procedures (GMS for global, SMS for Scheme specific, RMS for regional and LMS for local).

Level 3: Work instructions (WI).

Level 4: Forms and templates (GFT for global, SFT for Scheme specific, RFT for regional and LFT for local).

The quality systems are based on, and compliant with, ISO/IEC 17065, ISO/IEC 17025, ISO/IEC 17020 and the relevant IECEx rules and procedures. All the documents are available on the Intertek Intranet.

Global requirements are covered in the levels described above. The same quality manual is relevant for the ExCB and the two ExTLs. Documents were reviewed during the assessment, and found to meet the requirements of the IECEx.

### Procedures

The procedures concerning IECEx operation are implemented with direct links to the IECEx Homepage inside SMS-IECEx-OP-19 with the revision date of October 26th, 2018. The procedure was reviewed during the assessment and found to meet the requirements of the IECEx.

### Work instructions

Work instructions are stored electronically and are available on the Intertek Intranet.

There are 20 Ex-related work instructions available at the SharePoint:

https://sharepoint.intertek.com/ce/GlobalQuality/gms/Work%20Instructions/Forms/AllItems.aspx.

### Records (including test records where relevant)

Records are stored in electronic format (EPF for evaluation files, SharePoint for QMS documents). The Company policy on record and storage follows procedure GMS-FM-15 Control and Disposal of Records, which specifies a minimum ten-year retention time after certification termination for all the product testing and certification records. Example of records were checked and satisfactory, but the assessment team noted that the IECEx OD 207 Guidance on the Retention of Records was not properly referenced in the Intertek procedure. This has been subsequently resolved to the satisfaction of the assessment team.

Standard IT backup process for all the records has been put in place, and found to meet the requirements of the IECEx.

### Document change control

The procedure GMS-QC-16 Control of Intertek Issued Controlled Document describes the document change control process, which applies to all documents and records, including internal quality documents and external standards used for testing, certification and inspection services. The procedure was reviewed and found appreciate in meeting the requirements of the IECEx system.

## Confidentiality

The procedure GMS-QC-04 Protection of Client Confidential Information and Proprietary Rights describes the confidentiality issue. There is a global procedure and every employee needs to complete an online training and to fill in the confidentiality test. The regional compliance officer has records to ensure this is completed successfully by all staff. Contractors, subcontractors, and members of the advisory board (safeguarding committee) sign a confidentiality agreement. The procedures as well as examples of signed confidentiality documents were reviewed during the assessment and found to meet the requirements of IECEx system.

In addition, Intertek Testing Services NA, Inc. has an open document “Our Core of Ethics” posted at Intertek Website, which also properly declares the Company policy on confidentiality.

## Communication with public and customers (Hard copy and Electronic)

Intertek Testing Services NA, Inc. advertises its services via Internet. The relevant information can be found at www.intertek.com/hazardous-locations/ .

## Recognitions and agreements

N/A.

## Internal audit

Intertek Testing Services NA is implemented in a global internal audit plan. The local quality manager is responsible for these activities. The annual audit plan which combines a series of audits through the year can be taken from the Intranet.

The detailed process describes in the procedure GMS-QC-13, and the resolution of non-conformances follows procedure GMS-QC-11.

The latest audit for 2019 at the time of this site assessment was completed on 29 January 2019. The corresponding audit plan, as well as the audit results and the process of resolving open issues was reviewed, and noted that the internal audits included the assessment against additional IECEx requirements.

## Management review

Management review is addressed in the procedure GMS-QC-08 Management Review. The most recent management review meeting for the year of 2018 was held on January 14th, 2019. The procedure and the minutes were reviewed during the assessment, and found to meet the requirements of the IECEx.

## Contracting, subcontracting and witness testing

### Contracting

There are presently no contractors used.

### Subcontracting

The following tests are, or may be, subcontracted by the body:

| Standard | Clause | Test |
| --- | --- | --- |
| IEC 60079-1 | Clause B1.2 Clause B1.3 Clause B1.4 | Sinter element bubble pore size test; Sinter density Open porosity or fluid permeability |
| IEC 60079-28 | Clause 6.1 | Ignition test |

Intertek Testing Services NA, Inc. advised that the test items listed above will be subcontracted to Intertek Testing & Certification Limited UK.  It was checked that the test capabilities of Intertek Testing & Certification Limited UK are accepted and listed with no limitation in the IECEx website at the time of this assessment.

### Witness testing

The procedure SMS-IECEx-OP-19 IECEx Certified Equipment Scheme includes reference to SMS-IECEx-OP-07a and IECEx OD 024. SharePoint site is used to retain agreements and form letter is to be used to notify the Secretariat of these activities for registration.

Intertek has an awareness that ExTRs where this is used shall be have the location noted in the appropriate field of the IECEx ExTR cover page.

Twelve have been issued since the implementation of the SharePoint site.  The OD 024 activity is performed on a per project basis and clients are assessed per project.

Intertek Testing Service NA, Inc. also knows that all the witness testing facilities need to be officially registered by IECEx secretariat according to OD 024.

## Training and competence

The following procedures deal with staff training and competence qualification:

- GMS-SP-01 New Staff Training

- GMS-SP-02 General Staff Training

- GMS-SP-03 Managerial Staff Training

- GMS-SP-04 Technical Staff Training

- GMS-SP-05 Qualification of Technical Staff Competence

- GMS-SP-06 Qualification of Reviewers & Mandated Reviewers

- GMS-SP-07 Qualification of Certification Body Staff

- GFT-SP-01A Training record

- GFT-SP-05A Technical Personnel Qualification Tracking Record

Staff training needs and competencies are reviewed by the HAZLOC Technical Manager on annual basis. All records of training and qualification activities are maintained locally in the SharePoint of Intertek Intranet at https://sharepoint.intertek.com/ce/UKelectrical/default.aspx.

By accessing into the Intranet, the assessment team member noted that the annual training plan for 2019 as well as the records on competence qualification to new scope extension of standards IEC 60079-13, IEC 60079-28, IEC TS 60079-40 and IEC TS 60079-46 were not available. This has been subsequently resolved to the satisfaction of the assessment team.

Details of staff competence matrix are included in the site assessment report (F-004).  The assessment team noted that a provision has been put in place for separation of activities between testing and certification in accordance with the procedures GMS-OP-22 Certification Review, because some of Intertek staff working in ExCB are also qualified as testing engineers.

## Complaints and appeals (including appeals to IECEx)

Complaints and appeals follow the procedures GMS-QC-02 and GMS-QC-03. The records for handing of complaints and appeals are stored on SharePoint in the CAPA database.

The procedures were reviewed during the assessment, and noted that there is a clear indication regarding the possible way of appeals to IECEx secretariat in the relevant procedures (for example GMS-OP-28 Certification Complaints) as well as the Joint Application Form (SFT-IECEx-ATEX-SC-02).

Records indicated that in the year of 2018 there are 9 complaints received.  All are clearly registered in Intertek intranet, and actions were taken as scheduled. The assessment team member noted that one of them is relating with IECEx certification regarding incorrect overpressure test, which was resolved on 7 August 2018.

## Impartiality

Intertek Global Quality Policy Manual (GQPM) addresses a statement that Intertek does not provide services, which may place the company in a position where a conflict of interest may occur. The company policy on independence and impartiality is also described in the document “Our Core of Ethics”, which is posted at Intertek Website.

The detailed requirements and processes can be found in the following procedures:

- GMS-QC-02 Complaint Handling

- GMS-QC-06 Investigating Claims of Non-Conforming or Potentially Dangerous Products

- GMS-OP-42 Safeguarding Impartiality

The CAPA Database (on Intertek Intranet) records these issues and is controlled by the Quality Manager.

The procedures and the database were reviewed during the assessment and found to meet the requirements of the IECEx.

## Commenting on ExTAG Documents

ExTAG documents are received by email from the IECEx secretariat and applicable National committees.  Comments are reviewed internally and provided to the IECEx secretariat on the documents as applicable.  IECEx OD 035 is referenced in procedure SMS-IECEx-OP-19. The document was reviewed during the assessment and found to meet the requirements of the IECEx.

## Special facts to be noted

N/A

## Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These are included in the site assessment report (F-004) or provided separately and include:

Details of issues raised and how these have been resolved

Checklist for ISO/IEC 17065

Checklist for ISO/IEC 17025

Completed Technical Capability Document (TCD)

Photos of the facilities/tests witnessed are included in the above TCD

Staff competence matrix

List of subcontractors

Assessors’ notes

## Recommendations

Based on the assessment performed on 27-29 May 2019 as well as post assessment activities, Intertek Testing Services NA, Inc. is recommended for continued acceptance in the IECEx system as:

An ExCB in the IECEx Certified Equipment Scheme

An ExTL in the IECEx Certified Equipment Scheme

This is according to the scope of the standards listed in this document (including the extension of scope).

| Jianping Xu | Marino Kelava |  |
| --- | --- | --- |
| IECEx Lead Assessor | IECEx Assessor |  |

Date:  May 29th, 2019

Finalised on: October 3rd, 2019

# ExCB for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx 02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

OD 003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

ISO/IEC 80079-34 Edition 1, Explosive atmospheres – Part 34: Application of quality systems for equipment manufacture

OD 009 Issuing of CoCs, ExTRs and QARs

IECEx Document OD 025 Guidelines on the Management of Assessment and Surveillance programs for the assessment of Manufacturer’s Quality Systems in accordance with the IECEx Scheme

OD 026 IECEx Certified Equipment Scheme – Guidelines for the qualification of Lead Auditor and Auditors, in accordance with the IECEx System

ISO/IEC 17065: 2012, Edition 1, General requirements for bodies operating product certification systems Conformity assessment - Requirements for bodies certifying products, processes and services

IECEx Technical Capability Document (TCD)

ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied

### Additional references applied for this assessment

- N/A

## Candidate ExCB persons interviewed

| Name | Position |
| --- | --- |
| William T. Fiske | Senior Director – Technical Affairs, Global and Network Assurance |
| Todd L. Relyea | Senior Project Engineer, Hazardous Locations |
| Terence J. O’Beirne | Regional Quality Manager, Commercial & Electrical |
| Kevin J. Wolf | Assistant Chief Engineer, Hazardous Locations |

## Associated ExTL(s)

- There are three associated ExTLs. They are:

Intertek Testing Services NA, Inc. – Cortland, NY, USA (integral with the ExCB at same location)

Intertek Testing Services NA, Inc. – Plano, TX, USA (integral with ExCB at different location)

Intertek Testing Services NA Ltd – Edmonton, Canada

- The associated ExTLs at Plano and Edmonton are not assessed and covered by this assessment.

## Associated certification functions

- Intertek Testing Services NA, Inc. operates as an USA and Canada national certification body under NRTL/OSHA, and participates in the IECEE CB Scheme as an issuing and recognizing NCB.

## National marks and certificates

- Intertek Testing Services NA, Inc. issues ETL Certification Mark for multiple regions globally.

## Standards accepted

- See clause 1.5.1 of this report.

## National differences to IEC standards

- National differences to IEC standards are listed in the latest version of the IECEx Scheme Bulletin.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Andre Le Croix | CEO | 5 years with Intertek |
| Tim Corcoran | Vice President | 30 years with Intertek |
| L. Mathew Snyder | Director of Operations | 20 years with Intertek |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Terence J. O’Beirne | Quality Manager | 22 years with Intertek Regional Quality Manager 13 years in quality management |

### Name and title of signatories for certification

| Name | Title | Comments |
| --- | --- | --- |
| William T. Fiske | Senior Director – Technical Affairs Electrical & Network Assurance | Bill.fiske@intertek.com 49 years’ experience in engineering and management, 41 of these with Intertek, 37 in Ex |
| Todd L. Relyea | Sr. project Engineer, Hazardous Locations | Todd.relyea@intertek.com 28 years’ experience in product safety, 16 years in Hazardous Locations, 11 years’ QAR/QAN |
| Kevin J. Wolf | Assistant Chief Engineer | Kevin.wolf@itertek.com 26 years’ experience in product safety, 16 years in Hazardous Locations, 11 years’ certification review |
| Donald D. Card |  | don.card@intertek.com 28 years’ experience in laboratory management 21 years’ experience with Intertek of which last 9 years involved in Ex |

### Other employees in ExCB activity

| Name | Title | Responsibility and Experience in Ex |
| --- | --- | --- |
| Hope Alm | Project Engineer | QAR Auditor, 1 year in Ex |
| Thu Phan | Sr. Project Engineer | QAR Auditor, 5 year in Ex |
| Andrew Browne | Technical analyst | QAR Auditor, 1 year in Ex |

## Organizational structure

See Annex A and Annex B.

## Indemnity insurance

The Intertek Testing Services NA and subsidiary Companies hold an insurance from Zurich Insurance Plc. The number is FINPM1800052 and is valid from October 1st, 2018 to September 30th, 2019. The document was presented via Intranet and found to meet the requirements of the IECEx.

[Secretariat note: The  Secretariat has confirmed renewal of insurance  as at 191111]

## Resources

Intertek Testing Services NA, Inc. has one huge building equipped with all necessary testing facilities in N.Y., USA. The building is located in Cortland, NY USA with building area of 14,000 square meters. There are several qualified staff involved in Ex certification activities, in which seven persons are active in the ExCB of Cortland NY, USA, and four experts are qualified as manufacturer auditors.

## Committees (such as governing or advisory boards)

Global Safe Guarding Committee is described in procedure GMS-OP-43 Safeguarding Impartiality Committee.

Intertek established a committee for safeguarding the independence, impartiality and risk control of Intertek’s product certification programs. The committee includes standing representatives of producer, user interest, and of Intertek’s certification operations, as well as temporary members invited to address specific aspects of certification. There are 20 members from eight countries, in which 3 representatives are from Intertek (2 from Intertek NA and 1 from Intertek UK).

The latest annual meeting for the year of 2018 was held on November 14th, 2018.  The minutes were reviewed and found to meet the requirements of the procedure GMS-OP-43.

## Certification operations

### National approval/certification methods

National approval and certification methods are clearly stipulated in the procedures GMS-OP-19 Basic Certification Program and GMS-OP-29 Certification Maintenance, and in accordance with ISO/IEC 17065 and ISO/IEC 17025 in junction with additional requirements specified by the accreditation body (e.g. SCC, OSHA, ANSI, IECEE, IECEx and etc).

National approval using IECEx documentation is described in SMS-IECEx-OP-19, Section VI (GMS OP-32 Certification Transfer) and SMS-ETL-OP-19 ETL Certification Program.

### Certification policy

The certification policy is described in GQPM Clause 1.1 “Purpose and Quality Policy Statement”, GMS-OP-19 Basic Certification Program and SMS-IECEx-OP-19 IECEx Certified Equipment Scheme.

### Application for certification

The application for certification is described in the procedures GMS-OP-20 Certification Application Review and SMS-IECEx-OP-19 IECEx Certified Equipment Scheme. Intertek Testing Services NA, Inc. uses a Joint Application Form (SFT-IECEx-ATEX-SC-02) for IECEx and ATEX certification.

The procedures and the application form were reviewed during the assessment and found to meet the requirements of the IECEx.

### Certification decision

The certification decision is described in the procedures GMS-OP-22 Certification Review, GMS-OP-23 Certification Granting and SMS-IECEx-OP-19 IECEx Certified Equipment Scheme.

### Suspension and cancellation of certificates

The following procedures cover suspension and cancellation of certificates:

- GMS-OP-26 Certification Suspension and Reinstatement

- GMS-OP-27 Certification Withdraw and Termination

- SMS-IECEx-OP-24 Certification Body Surveillance Management

- SMS-IECEx-OP-19 IECEx Certified Equipment Scheme

The procedures were reviewed, and satisfied that the IECEx OD 208 is properly referenced by the procedure SMS-IECEx-OP-19 IECEx Certified Equipment Scheme. This meets with IECEx requirements.

## Certificates issued

Number of certificates issued under for the preceding four years for each type of protection.  For new applications these should be for national or regional schemes and for currently accepted bodies IECEx certificates should be shown (certificates for other schemes may also be shown):

| Standard numbers | Type of protection or other identifying information | Number of issued certificates (for last 4 years) |  |  |  | Total |
| --- | --- | --- | --- | --- | --- | --- |
| IEC 60079-1 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | 49 | 48 | 58 | 11 | 166 |
| IEC 60079-2 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p” | 19 | 14 | 9 | 3 | 45 |
| IEC 60079-5 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | 0 | 1 | 0 | 0 | 1 |
| IEC 60079-6 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o” | 1 | 0 | 1 | 0 | 2 |
| IEC 60079-7 | Explosive atmospheres - Part 7: Equipment protection by increased safety “e” | 1 | 9 | 12 | 2 | 24 |
| IEC 60079-11 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | 48 | 38 | 47 | 5 | 138 |
| IEC 60079-13 | Explosive atmospheres - Part 13: Equipment protection by pressurized room “p” (Scope extension) | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-15 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" | 37 | 30 | 24 | 4 | 95 |
| IEC 60079-18 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | 7 | 7 | 10 | 2 | 26 |
| IEC 60079-25 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems | 13 | 1 | 1 | 0 | 15 |
| IEC 60079-26 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga | 7 | 5 | 0 | 1 | 13 |
| IEC 60079-28 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation (Scope extension) | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-31 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" | 8 | 19 | 14 | 1 | 42 |
| IS0 80079-36 | Explosive atmospheres - Part 36: Non-electrical equipment for explosive atmospheres – Basic method and requirements | 0 | 1 | 2 | 1 | 4 |
| ISO 80079-37 | Explosive atmospheres - Part 37: Non-electrical equipment for explosive atmospheres – Non electrical type of protection constructional safety ”c”, control of ignition source ”b”, liquid immersion ”k” | 0 | 1 | 2 | 1 | 4 |
| IEC TS 60079-40 | Explosive atmospheres -Part 40: Requirements for process sealing between flammable process fluids and electrical systems (Scope extension) | 0 | 0 | 0 | 0 | 0 |
| IEC TS 60079-46 | Explosive atmospheres - Part 46: Equipment assemblies | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-0 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-1-1 | Electrical apparatus for use in the presence of combustible dust - Part 1-1: Electrical apparatus protected by enclosures and surface temperature limitation - Specification for apparatus | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-1 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosure “tD” | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-4 | Electrical apparatus for use in the presence of combustible dust - Part 4: Protection by pressurization "pD" | 0 | 0 | 0 | 0 | 0 |

NOTE	Above include certificates to IEC 60079-0 unless otherwise shown

## National accreditation

As a Certification Body, Intertek Testing Services NA, Inc. holds accreditations of the American National Standards Institute (ANSI) and the Standards Council of Canada (SCC) in accordance with the requirements of ISO/IEC 17065. They are valid until December 1st, 2019 and June 7th,2023 respectively.

Copies of the certificate issued by both ANSI is attached in Annex C. SCC accreditation certificate can be found at: http://www.scc.ca/en/accreditation/product-process-and-service-certification/intertek-testing-services-na-inc

Furthermore, Intertek NA is also recognized by the US Occupational Safety and Health Administration (OSHA) as a Nationally Recognized Testing Laboratory (NRTL) for testing and certification of products.

All those accreditations cover with scope of certification to equipment used in hazardous locations.

NOTE The national accreditation is checked annually by the IECEx Secretariat.

## Assessment of manufacturers and issue of QARs

The assessment of manufacturers is described in the SMS-IECEx-OP-19 and SMS-IECEx-OP-24. Intertek NA maintains a team of five auditors in order to satisfy the needs of a global market.

There are about 140 QARs issued by Intertek NA in the last five years. The QARs mainly issued for the types of protection: Ex d, Ex e, Ex n, Ex i, Ex m, Ex p and Ex tD.  Examples of Assessment document package were reviewed during assessment. Some of issues regarding the issued QAR were raised and listed in the site assessment report (F-004). The assessment team members noted that IECEx OD 250 Guidance on the Management of IECEx Quality Assessment Reports (QARs) is not properly referenced in the procedure SMS-IECEx-OP-19. By accessing to IECEx online certificate system the out-of-date QARs were checked and found that there are 23 ETL-issued CoCs linked with out-of-date QARs. This issue has been subsequently resolved to the satisfaction of the assessment team, by way of a system being implemented to address this issue.

## Comments (including issues found during assessment)

A number of issues were raised during this assessment, and reported to, and accepted by, the management of Intertek NA at the end of this site assessment.

1) Reference of latest IECEx operational documents;

2) Control of out-of-date QARs

3) Matching between CoC and its linked QAR

4) Staff Training and qualification

5) Equipment configuration compliance with standard

All the issues relating with ExCB has been subsequently resolved to the satisfaction of the assessment team. Details of issues and how these have been resolved are listed in Annex A of the site assessment report (F-004).

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx 02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

IECEx OD 003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

IECEx OD 009 Issuing of CoCs, ExTRs and QARs

ISO/IEC 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories

IECEx Technical Capability Document (TCD)

ExTAG decision sheets (DSs)

OD 202 IECEx Certified Equipment Scheme – IECEx Proficiency Testing Program

NOTE	The latest editions of the above documents were applied.

### Additional references applied for this assessment

N/A

## Candidate ExTL persons interviewed

| Name | Position |
| --- | --- |
| Kevin Wolf | Assistant Chief Engineer |
| Randy Hubbard | Laboratory technician |
| Michael Williams | Associate Engineer |
| Rick Ramano | Laboratory technician |
| Hope Alm | Project Engineer |
| Todd Relyea | Sr. project Engineer, Hazardous Locations |
| Russel Mantey | Associate Engineer |
| Craig Small | Laboratory technician |

## Associated ExCB(s)

Intertek Testing Services NA, Inc. -Cortland NY, USA.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Andre Le Croix | CEO | 5 years with Intertek |
| Tim Corcoran | Vice President | 30 years with Intertek |
| L. Mathew Snyder | Director of Operations | 20 years with Intertek |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Terence J. O’Beirne | Quality Manager | 22 years with Intertek Regional Quality Manager 13 years in quality management |

### Other employees in ExTL activity

| Name | Title/responsibility | Experience in Ex |
| --- | --- | --- |
| William T. Fiske | Senior Director – Technical Affairs, Electrical & Network Assurance | 49 years’ experience in engineering and management 41 of these with Intertek, 37 in Ex |
| Todd L. Relyea | Sr. project Engineer | 28 years in Intertek, 16 in Ex |
| Kevin J. Wolf | Assistant Chief Engineer | 26 years in Intertek, 16 in Ex |
| Michael Spector | Senior Staff Engineer | 24 years in Intertek, 16 in Ex |
| Hope Alm | Sr Engineer | 6 years in Intertek, 1 in Ex |
| Ben Ireland | Project Engineer | 3 years in Ex |
| Ashutosh Phakta | Project engineer | 1 year in Ex |
| Joe Schledorn | Project engineer | 1 year in Ex |
| Lee Heim | Team lead | 8 years in Ex |
| Michael Williams | Lab Team Lead | 8 years in Ex |
| Rick Romano | Technician (level 3) | 5 years in Ex |
| Randy Hubbard | Associate Engineer | 30 years, 16 in Ex |

## Organizational structure

See Annex A and Annex B.

## Resources

Intertek Testing Services NA, Inc. has one huge building equipped with all necessary testing facilities in N.Y., USA. The building is located in Cortland, NY USA with building area of 14,000 square meters at main location plus additional facility in separate building (for CTI test). There are about 35 employees involved with Ex testing and certification activities throughout the Intertek NA and its associated ExTLs at Cortland, Plano and Edmonton, in which 13 in Cortland.

## Test reports issued

Number of test reports (ExTRs) issued under for the preceding four years for each type of protection.  For new applications these should be for national or regional schemes and for currently accepted bodies IECEx ExTRs should be shown (test reports for other schemes may also be shown):

| Standard numbers | Type of protection or other identifying information | Number of issued reports (ExTRs) (for last 4 years) |  |  |  | Total |
| --- | --- | --- | --- | --- | --- | --- |
| IEC 60079-1 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | 40 | 37 | 38 | 8 | 123 |
| IEC 60079-2 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p” | 10 | 10 | 5 | 2 | 27 |
| IEC 60079-5 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-6 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o” | 1 | 0 | 1 | 0 | 2 |
| IEC 60079-7 | Explosive atmospheres - Part 7: Equipment protection by increased safety “e” | 1 | 8 | 9 | 2 | 20 |
| IEC 60079-11 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | 39 | 23 | 23 | 2 | 87 |
| IEC 60079-13 | Explosive atmospheres - Part 13: Equipment protection by pressurized room “p” (Scope extension) | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-15 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" | 19 | 15 | 13 | 2 | 49 |
| IEC 60079-18 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | 7 | 7 | 10 | 2 | 26 |
| IEC 60079-25 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems | 7 | 1 | 1 | 0 | 9 |
| IEC 60079-26 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga | 5 | 4 | 0 | 1 | 10 |
| IEC 60079-28 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation (Scope extension) | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-31 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" | 6 | 11 | 8 | 1 | 26 |
| IS0 80079-36 | Explosive atmospheres - Part 36: Non-electrical equipment for explosive atmospheres – Basic method and requirements | 0 | 1 | 2 | 1 | 4 |
| ISO 80079-37 | Explosive atmospheres - Part 37: Non-electrical equipment for explosive atmospheres – Non electrical type of protection constructional safety ”c”, control of ignition source ”b”, liquid immersion ”k” | 0 | 1 | 2 | 1 | 4 |
| IEC TS 60079-40 | Explosive atmospheres -Part 40: Requirements for process sealing between flammable process fluids and electrical systems (Scope extension) | 0 | 0 | 0 | 0 | 0 |
| IEC TS 60079-46 | Explosive atmospheres - Part 46: Equipment assemblies | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-0 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-1-1 | Electrical apparatus for use in the presence of combustible dust - Part 1-1: Electrical apparatus protected by enclosures and surface temperature limitation - Specification for apparatus | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-1 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosure “tD” | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-4 | Electrical apparatus for use in the presence of combustible dust - Part 4: Protection by pressurization "pD" | 0 | 0 | 0 | 0 | 0 |

NOTE 1	Above include reports to IEC 60079-0 unless otherwise shown

NOTE 2 Where the number of reports is low, assessors are expected to carefully check current capability and document the process in this report.

## National accreditation

Intertek Testing Services NA, Inc. holds an accreditation of the Standards Council of Canada (SCC) in accordance with the requirements of ISO/IEC 17025. A copy of the accreditation certificate issued by SCC, as attached in Annex D, is valid until December 10th, 2019.  The corresponding accreditation scope was checked, and all the Ex techniques relating to the scope of standards listed in Section 1.5.1 of this report are included.

Furthermore, Intertek NA is also recognized by the US Occupational Safety and Health Administration (OSHA) as a Nationally Recognized Testing Laboratory (NRTL).

NOTE The national accreditation is checked annually by the IECEx Secretariat.

## Calibration

The equipment Calibration handling is described in the following procedures:

- GMS-FM-13 Equipment Calibration Handling

- GMS-FM-14 Calibration Results Validation and Suspect Equipment Handling

- GMS-FM-17Internally Calibrated and Verified Test Equipment

The procedures specify that all the measuring equipment shall be calibrated normally at an interval not exceeding 12 months, and not exceeding 36 months for dimensional equipment. There is a calibration Database that covers all the measuring equipment of Intertek NA, Cortland. The equipment is identified by asset number. There is provision to send for calibration, repair etc. All equipment for calibration is then shown in a calibration turn-in sheet. The equipment is taken to Transcat (third party calibration provider). Some of their operation is done on site. The Transcat are accredited by ANAB as a calibration laboratory according to ISO/IEC 17025.  Each department at Intertek NA has its own calibration manager responsible for ensuring calibration is done on time.

Examples of calibration certificates were reviewed, and the corresponding equipment were successfully verified that the relevant information on calibration label is identical to those indicated in certificates. But the calibration certificate for Environmental Chambers shall include calibration of RH at elevated temperatures (e.g. at +70C which is shown as max. in Transcat accreditation certificate). This has been subsequently resolved to the satisfaction of the assessment team.

## Tests witnessed during the assessment visit

The following tests were successfully witnessed during the assessment visit:

| Standard and edition | Clause number | Test | Comments |
| --- | --- | --- | --- |
| IEC 60079-0 | 26.4.5 | IP66 (IEC 60529) | Satisfactory |
|  | 27.5.1 | Temperature rise for Ex e luminaire | Satisfactory |
| IEC 60079-1 | 15.2.2 | Reference pressure determination for Group IIB | Satisfactory |
|  | 15.2.3 | Static overpressure test | Satisfactory |
|  | 15.3 | Flame transmission test Group IIB | Satisfactory |
| IEC 60079-7 | 4.6.1 | CTI determination for Group II material | Satisfactory |
| IEC 60079-11 | 10.2 | Temperature rise on batteries | Satisfactory |
| IEC 60079-13 | 6.4.4 | Purging test | Satisfactory |
| IEC 60079-18 | 8.1.2 | Dielectric strength | Satisfactory |
|  | 8.1.1 | Water absorption test | Satisfactory |
| IEC 60079-28 | 6 | Measurement of optical power and irradiance | Satisfactory |
| IEC TS 60079-40 | 5.2.5 | Burst pressure test | satisfactory |

## Participation in IECEx Proficiency Testing Programs

Program: PTB Ex PT Scheme

NOTE  It is anticipated that the assessment team will be provided with information on the performance of the body in completed PTB Ex PT Scheme programs.

| Year(s) of participation | IECEx Proficiency Testing program | General information about results |
| --- | --- | --- |
| 2011-2012 | Program 1 "Explosion pressure" | Acceptable |
| 2011-2012 | Program 2 "Spark ignition” | acceptable after round 2 |
| 2013-2014 | Program 3 "Flame Transmission" | Acceptable |
| 2013-2014 | Program 4 "Temperature Classification" | Acceptable |
| 2015-2016 | Program 5 "Electrostatic Charge" | Acceptable after round 2 |
| 2015-2016 | Program 6 "Intrinsic Safety" | Acceptable after round 2 |
| 2017-2018 | Program 7 "Explosion Pressure" | Acceptable |
| 2017-2018 | Program 8 "Pressured Enclosure" | Acceptable |
| 2019-2020 | Program 9 "Tests of Enclosures (IP)" | Application was made for participation |
| 2019-2020 | Program 10 "Battery Testing" | Application was made for participation |

## Comments (including issues found during assessment)

A number of issues were raised during this assessment, and reported to, and accepted by, the management of Intertek NA at the end of this site assessment.  See 3.17 above.

All the issues relating with ExTL have been subsequently resolved to the satisfaction of the assessment team. Details of issues and how these have been resolved are clearly listed in Annex B of the site assessment report (F-004).

# Annexes

"

Overall Organisation Chart

Organisation Chart of ExCB and ExTL

Accreditation Certificate for ISO/IEC 17065

Accreditation Certificate for ISO/IEC 17025