| IECEx TEST REPORT IEC 60079-0 Explosive atmospheres – Part 0: Equipment – General requirements |  |  |
| --- | --- | --- |
| ExTR Reference Number : |  |  |
| ExTR Free Reference Number : |  |  |
| Compiled by + signature (ExTL) : | (enter typed name here) | (enter signature here) |
| Reviewed by + signature (ExTL) : | (enter typed name here) | (enter signature here) |
| Date of issue : |  |  |
| Ex Testing Laboratory (ExTL) : |  |  |
| Address : |  |  |
| Applicant’s name : |  |  |
| Address : |  |  |
| Standard : | IEC 60079-0:2017, Edition 7.0 |  |
| Test procedure : | IECEx System |  |
| Test Report Form Number : | ExTR60079-0-7G-DS (released 2023-08) |  |
| Related Amendments, Corrigenda or ISHs |  |  |
| Copyright © 2023 International Electrotechnical Commission System for Certification to Standards Relating to Equipment for use in Explosive Atmospheres (IECEx System), Geneva, Switzerland. All rights reserved. This blank publication may be reproduced in whole or in part for non-commercial purposes as long as the IECEx System is acknowledged as copyright owner and source of the material. The IECEx system takes no responsibility for, and will not assume liability for, damages resulting from the reader's interpretation of the reproduced material due to its placement and context. |  |  |

| Possible test case verdicts: |  |
| --- | --- |
| - test case does not apply to the test item :N / A |  |
| - test item does meet the requirement :Pass |  |
| General remarks: The test results presented in this Ex Test Report relate only to the item or product tested. - "(see Attachment #)" refers to additional information appended to this document. - "(see appended table)" refers to a table appended to this document. - Throughout this document, a point “.” is used as the decimal separator. The technical content of this Ex Test Report shall not be reproduced except in full without the written approval of the Issuing ExCB and ExTL. |  |

| IEC 60079-0 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Clause |  | Requirement – Test | Result – Remark |  | Verdict |
| 1 DS 2021/004 |  | Scope |  |  |  |
| 2 |  | Normative references |  |  |  |
| 3 DS 2020/002 |  | Terms and definitions |  |  |  |
| 4 |  | Equipment grouping |  |  |  |
| 4.1 |  | General |  |  |  |
| 4.2 |  | Group I |  |  |  |
| 4.3 |  | Group II |  |  |  |
| 4.4 |  | Group III |  |  |  |
| 4.5 |  | Equipment for a particular explosive gas atmosphere |  |  |  |
| 5 DS 2016/002 DS 2015/011A |  | Temperatures |  |  |  |
| 5.1 |  | Environmental influences |  |  |  |
| 5.1.1 |  | Ambient temperature |  |  |  |
| 5.1.2 DS 2022/002 |  | External source of heating or cooling |  |  |  |
| 5.2 DS 2020/006 |  | Service temperature |  |  |  |
| 5.3 |  | Maximum surface temperature |  |  |  |
| 5.3.1 |  | Determination of maximum surface temperature |  |  |  |
| 5.3.2 |  | Limitation of maximum surface temperature |  |  |  |
| 5.3.2.1 |  | Group I electrical equipment |  |  |  |
| 5.3.2.2 |  | Group II electrical equipment |  |  |  |
| 5.3.2.3 |  | Group III electrical equipment |  |  |  |
| 5.3.2.3.1 DS 2020/006 |  | Maximum surface temperature for EPL Da |  |  |  |
| 5.3.2.3.2 |  | Maximum surface temperature for EPL Db |  |  |  |
| 5.3.2.3.3 |  | Maximum surface temperature determined without a layer of dust for EPL Dc |  |  |  |
| 5.3.3 |  | Small component temperature for Group I or Group II electrical equipment |  |  |  |
| 5.3.4 |  | Component temperature of smooth surfaces for Group I or Group II electrical equipment |  |  |  |
| 6 |  | Requirements for all electrical equipment |  |  |  |
| 6.1 |  | General |  |  |  |
| 6.2 |  | Mechanical strength of equipment |  |  |  |
| 6.3 |  | Opening times |  |  |  |
| 6.4 |  | Circulating currents in enclosures (e.g. of large electric machines) |  |  |  |
| 6.5 |  | Gasket retention |  |  |  |
| 6.6 |  | Electromagnetic and ultrasonic energy radiating equipment |  |  |  |
| 6.6.1 |  | General |  |  |  |
| 6.6.2 |  | Radio frequency sources |  |  |  |
| 6.6.3 |  | Ultrasonic sources |  |  |  |
| 6.6.4 DS 2018/004 |  | Lasers, luminaires, and other non-divergent continuous wave optical sources |  |  |  |
| 7 |  | Non-metallic enclosures and non-metallic parts of enclosures |  |  |  |
| 7.1 |  | General |  |  |  |
| 7.1.1 |  | Applicability |  |  |  |
| 7.1.2 |  | Specification of materials |  |  |  |
| 7.1.2.1 |  | General |  |  |  |
| 7.1.2.2 |  | Plastic materials |  |  |  |
| 7.1.2.3 |  | Elastomers |  |  |  |
| 7.1.2.4 |  | Materials used for cementing |  |  |  |
| 7.2 |  | Thermal endurance |  |  |  |
| 7.2.1 |  | Tests for thermal endurance |  |  |  |
| 7.2.2 |  | Material selection |  |  |  |
| 7.2.3 |  | Alternative qualification of elastomeric sealing O-rings |  |  |  |
| 7.3 DS 2023/001 |  | Resistance to ultraviolet light |  |  |  |
| 7.4 |  | Electrostatic charges on external non-metallic materials |  |  |  |
| 7.4.1 |  | Applicability |  |  |  |
| 7.4.2 |  | Avoidance of a build-up of electrostatic charge for Group I or Group II |  |  |  |
| 7.4.3 |  | Avoidance of a build-up of electrostatic charge for Group III |  |  |  |
| 7.5 |  | Attached external conductive parts |  |  |  |
| 8 |  | Metallic enclosures and metallic parts of enclosures |  |  |  |
| 8.1 |  | Material composition |  |  |  |
| 8.2 |  | Group I |  |  |  |
| 8.3 |  | Group II |  |  |  |
| 8.4 |  | Group III |  |  |  |
| 8.5 |  | Copper Alloys |  |  |  |
| 9 |  | Fasteners |  |  |  |
| 9.1 |  | General |  |  |  |
| 9.2 |  | Special fasteners |  |  |  |
| 9.3 |  | Holes for special fasteners |  |  |  |
| 9.3.1 |  | Thread engagement |  |  |  |
| 9.3.2 |  | Tolerance and clearance |  |  |  |
| 9.4 |  | Hexagon socket set screws |  |  |  |
| 10 |  | Interlocking devices |  |  |  |
| 11 |  | Bushings |  |  |  |
| 12 |  | (Reserved for future use) |  |  |  |
| 13 DS 2014/001 DS 2021/006 |  | Ex Components |  |  |  |
| 13.1 |  | General |  |  |  |
| 13.2 |  | Mounting |  |  |  |
| 13.3 |  | Internal mounting |  |  |  |
| 13.4 |  | External mounting |  |  |  |
| 13.5 DS 2020/002 |  | Ex Component certificate |  |  |  |
| 14 |  | Connection facilities |  |  |  |
| 14.1 |  | General |  |  |  |
| 14.2 |  | Type of protection |  |  |  |
| 14.3 |  | Creepage and clearance |  |  |  |
| 15 |  | Connection facilities for earthing or bonding conductors |  |  |  |
| 15.1 |  | Equipment requiring earthing or bonding |  |  |  |
| 15.1.1 |  | Internal earthing |  |  |  |
| 15.1.2 |  | External bonding |  |  |  |
| 15.2 |  | Equipment not requiring earthing |  |  |  |
| 15.3 |  | Size of protective earthing conductor connection |  |  |  |
| 15.4 |  | Size of equipotential bonding conductor connection |  |  |  |
| 15.5 |  | Protection against corrosion |  |  |  |
| 15.6 |  | Secureness of electrical connections |  |  |  |
| 15.7 |  | Internal earth continuity plate |  |  |  |
| 16 DS 2017/001 |  | Entries into enclosures |  |  |  |
| 16.1 |  | General |  |  |  |
| 16.2 |  | Identification of entries |  |  |  |
| 16.3 |  | Cable glands |  |  |  |
| 16.4 |  | Blanking elements |  |  |  |
| 16.5 |  | Thread adapters |  |  |  |
| 16.6 DS 2018/002 |  | Temperature at branching point and entry point |  |  |  |
| 16.7 |  | Electrostatic charges of cable sheaths |  |  |  |
| 17 |  | Supplementary requirements for electric machines |  |  |  |
| 17.1 |  | General |  |  |  |
| 17.2 |  | Ventilation |  |  |  |
| 17.2.1 |  | Ventilation openings |  |  |  |
| 17.2.2 DS 2022/006 DS 2023/001 |  | Materials for external fans |  |  |  |
| 17.2.3 |  | Cooling fans of rotating electric machines |  |  |  |
| 17.2.3.1 |  | Fans and fan hoods |  |  |  |
| 17.2.3.2 |  | Construction and mounting of the ventilating systems |  |  |  |
| 17.2.3.3 |  | Clearances for the ventilating system |  |  |  |
| 17.2.4 |  | Auxiliary motor cooling fans |  |  |  |
| 17.2.5 |  | Room ventilating fans |  |  |  |
| 17.2.5.1 |  | Applicability |  |  |  |
| 17.2.5.2 |  | General |  |  |  |
| 17.2.5.3 |  | Fan and fan hoods |  |  |  |
| 17.2.5.4 |  | Construction and mounting |  |  |  |
| 17.2.5.5 |  | Clearances for rotating parts |  |  |  |
| 17.3 |  | Bearings |  |  |  |
| 18 |  | Supplementary requirements for switchgear |  |  |  |
| 18.1 |  | Flammable dielectric |  |  |  |
| 18.2 |  | Disconnectors |  |  |  |
| 18.3 |  | Group I – Provisions for locking |  |  |  |
| 18.4 |  | Doors and covers |  |  |  |
| 19 |  | Reserved for future use |  |  |  |
| 20 DS 2020/007 |  | Supplementary requirements for external plugs, socket outlets and connectors for field wiring connection |  |  |  |
| 20.1 |  | General |  |  |  |
| 20.2 |  | Explosive gas atmospheres |  |  |  |
| 20.3 |  | Explosive dust atmospheres |  |  |  |
| 20.4 |  | Energized plugs |  |  |  |
| 21 |  | Supplementary requirements for luminaires |  |  |  |
| 21.1 DS 2020/001 |  | General |  |  |  |
| 21.2 |  | Covers for luminaires of EPL Mb, EPL Gb, or EPL Db |  |  |  |
| 21.3 |  | Covers for luminaires of EPL Gc or EPL Dc |  |  |  |
| 21.4 |  | Sodium lamps |  |  |  |
| 22 |  | Supplementary requirements for caplights and handlights |  |  |  |
| 22.1 |  | Group I caplights |  |  |  |
| 22.2 |  | Group II and Group III caplights and handlights |  |  |  |
| 23 |  | Equipment incorporating cells and batteries |  |  |  |
| 23.1 |  | General |  |  |  |
| 23.2 |  | Interconnection of cells to form batteries |  |  |  |
| 23.3 DS 2019/002 |  | Cell types |  |  |  |
| 23.4 |  | Cells in a battery |  |  |  |
| 23.5 |  | Ratings of batteries |  |  |  |
| 23.6 |  | Interchangeability |  |  |  |
| 23.7 |  | Charging of primary batteries |  |  |  |
| 23.8 |  | Leakage |  |  |  |
| 23.9 | Connections |  |  |  |  |
| 23.10 |  | Orientation |  |  |  |
| 23.11 |  | Replacement of cells or batteries |  |  |  |
| 23.12 |  | Replaceable battery pack |  |  |  |
| 24 |  | Documentation |  |  |  |
| 25 |  | Compliance of prototype or sample with documents |  |  |  |
| 26 DS 2017/005 |  | Type tests |  |  |  |
| 26.1 |  | General |  |  |  |
| 26.2 |  | Test configuration |  |  |  |
| 26.3 |  | Tests in explosive test mixtures |  |  |  |
| 26.4 |  | Tests of enclosures |  |  |  |
| 26.4.1 |  | Order of tests |  |  |  |
| 26.4.1.1 |  | Metallic enclosures, metallic parts of enclosures and glass parts of enclosures |  |  |  |
| 26.4.1.2 |  | Non-metallic enclosures or non-metallic parts of enclosures |  |  |  |
| 26.4.1.2.1 |  | General |  |  |  |
| 26.4.1.2.2 |  | Group I equipment |  |  |  |
| 26.4.1.2.3 |  | Group II and Group III equipment |  |  |  |
| 26.4.2 DS 2020/001 |  | Resistance to impact |  |  |  |
| 26.4.3 |  | Drop test |  |  |  |
| 26.4.4 |  | Acceptance criteria |  |  |  |
| 26.4.5 DS 2012/003 |  | Degree of protection (IP) by enclosures |  |  |  |
| 26.4.5.1 |  | Test procedure |  |  |  |
| 26.4.5.2 |  | Acceptance criteria |  |  |  |
| 26.5 |  | Thermal tests |  |  |  |
| 26.5.1 |  | Temperature measurement |  |  |  |
| 26.5.1.1 |  | General |  |  |  |
| 26.5.1.2 |  | Service temperature |  |  |  |
| 26.5.1.3 |  | Maximum surface temperature |  |  |  |
| 26.5.2 |  | Thermal shock test |  |  |  |
| 26.5.3 |  | Small component ignition test (Group I and Group II) |  |  |  |
| 26.5.3.1 |  | General |  |  |  |
| 26.5.3.2 |  | Procedure |  |  |  |
| 26.5.3.3 |  | Acceptance criteria |  |  |  |
| 26.6 |  | Torque test for bushings |  |  |  |
| 26.6.1 |  | Test procedure |  |  |  |
| 26.6.2 |  | Acceptance criteria |  |  |  |
| 26.7 |  | Non-metallic enclosures or non-metallic parts of enclosures |  |  |  |
| 26.7.1 |  | General |  |  |  |
| 26.7.2 |  | Test temperatures |  |  |  |
| 26.8 DS 2020/003 |  | Thermal endurance to heat |  |  |  |
| 26.9 |  | Thermal endurance to cold |  |  |  |
| 26.10 |  | Resistance to UV light |  |  |  |
| 26.10.1 |  | General |  |  |  |
| 26.10.2 |  | Light exposure |  |  |  |
| 26.10.3 |  | Acceptance criteria |  |  |  |
| 26.11 |  | Resistance to chemical agents for Group I equipment |  |  |  |
| 26.12 |  | Earth continuity |  |  |  |
| 26.13 |  | Surface resistance test of parts of enclosures of non-metallic materials |  |  |  |
| 26.14 |  | Measurement of capacitance |  |  |  |
| 26.14.1 |  | General |  |  |  |
| 26.14.2 |  | Test procedure |  |  |  |
| 26.15 |  | Verification of ratings of ventilating fans |  |  |  |
| 26.16 |  | Alternative qualification of elastomeric sealing O-rings |  |  |  |
| 26.17 |  | Transferred charge test |  |  |  |
| 26.17.1 |  | Test equipment |  |  |  |
| 26.17.2 |  | Test sample |  |  |  |
| 26.17.3 |  | Test procedure |  |  |  |
| 27 |  | Routine tests |  |  |  |
| 28 |  | Manufacturer's responsibility |  |  |  |
| 28.1 |  | Conformity with the documentation |  |  |  |
| 28.2 DS 2020/002 DS 2021/005 |  | Certificate |  |  |  |
| 28.3 |  | Responsibility for marking |  |  |  |
| 29 DS 2012/005A DS 2017/007 DS 2021/005 DS 2021/006 |  | Marking |  |  |  |
| 29.1 |  | Applicability |  |  |  |
| 29.2 |  | Location |  |  |  |
| 29.3 |  | General |  |  |  |
| 29.4 |  | Ex marking for explosive gas atmospheres |  |  |  |
| 29.5 |  | Ex marking for explosive dust atmospheres |  |  |  |
| 29.6 |  | Combined types (or levels) of protection |  |  |  |
| 29.7 |  | Multiple types of protection |  |  |  |
| 29.8 |  | Ga equipment using two independent Gb types (or levels) of protection |  |  |  |
| 29.9 |  | Boundary wall |  |  |  |
| 29.10 DS 2004/006A DS 2012/006A DS 2012/008 DS 2023/002 |  | Ex Components |  |  |  |
| 29.11 |  | Small Ex Equipment and small Ex Components |  |  |  |
| 29.12 |  | Extremely small Ex Equipment and extremely small Ex Components |  |  |  |
| 29.13 |  | Warning markings |  |  |  |
| 29.14 |  | Cells and batteries |  |  |  |
| 29.15 |  | Electric machines operated with a converter |  |  |  |
| 29.16 |  | Examples of marking |  |  |  |
| 30 DS 2021/006 |  | Instructions |  |  |  |
| 30.1 |  | General |  |  |  |
| 30.2 |  | Cells and batteries |  |  |  |
| 30.3 |  | Electrical machines |  |  |  |
| 30.4 |  | Ventilating fans |  |  |  |
| 30.5 |  | Cable glands |  |  |  |
| Annex A (Normative) DS 2017/001 |  | Supplementary requirements for cable glands |  |  |  |
| A.1 |  | General |  |  |  |
| A.2 |  | Constructional requirements |  |  |  |
| A.2.1 |  | Cable sealing |  |  |  |
| A.2.2 |  | Filling compounds |  |  |  |
| A.2.3 |  | Clamping |  |  |  |
| A.2.3.1 |  | General |  |  |  |
| A.2.3.2 |  | Group II or III cable glands |  |  |  |
| A.2.4 |  | Lead-in of cable |  |  |  |
| A.2.4.1 |  | Sharp edges |  |  |  |
| A.2.4.2 |  | Point of entry |  |  |  |
| A.2.5 |  | Released by a tool |  |  |  |
| A.2.6 |  | Fixing |  |  |  |
| A.2.7 |  | Degree of protection |  |  |  |
| A.3 |  | Type tests |  |  |  |
| A.3.1 |  | Tests of clamping of non-armoured and braided cables |  |  |  |
| A.3.1.1 |  | Cable glands with clamping by the sealing ring |  |  |  |
| A.3.1.2 |  | Cable glands with clamping by filling compound |  |  |  |
| A.3.1.3 |  | Cable glands with clamping by means of a clamping device |  |  |  |
| A.3.1.4 |  | Clamping test |  |  |  |
| A.3.1.5 |  | Mechanical strength |  |  |  |
| A.3.2 |  | Tests of clamping of armoured cables |  |  |  |
| A.3.2.1 |  | Tests of clamping where the armourings are clamped by a device integral to the gland |  |  |  |
| A.3.2.1.1 |  | General |  |  |  |
| A.3.2.1.2 |  | Clamping test |  |  |  |
| A.3.2.1.3 |  | Mechanical strength |  |  |  |
| A.3.2.2 |  | Tests of clamping where the armourings are not clamped by a device integral to the gland |  |  |  |
| A.3.3 |  | Type test for resistance to impact |  |  |  |
| A.3.4 DS 2019/005 |  | Test for degree of protection (IP) of cable glands |  |  |  |
| A.4 |  | Marking |  |  |  |
| A.4.1 |  | Marking of cable glands |  |  |  |
| A.4.2 |  | Identification of cable-sealing rings |  |  |  |
| A.5 |  | Instructions |  |  |  |
| Annex B (Normative) |  | Requirements for Ex Components |  |  |  |
| Table B.1 |  | Applicability of clauses to Ex Components |  |  |  |
| Annex C (Informative) |  | Example of rig for resistance to impact test |  |  |  |
| Annex D (Informative) |  | Electric machines connected to converters |  |  |  |
| Annex E (Informative) |  | Temperature evaluation of electric machines |  |  |  |
| Annex F (Informative) |  | Guideline flowchart for tests of non-metallic enclosures or non-metallic parts of enclosures (26.4) |  |  |  |
| Annex G (Informative) |  | Guidance flowchart for tests of cable glands |  |  |  |
| Annex H (Informative) |  | Shaft voltages resulting in motor bearing or shaft brush sparking Discharge energy calculation |  |  |  |

Measurement Section, including Additional Narrative Remarks (as deemed applicable)