INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

TITLE: Re-assessment Report for the continued acceptance of Bureau Veritas Consumer Products Services GmbH, BV, DE, as an Accepted Certification Body (ExCB) and Accepted Test Laboratory (ExTL) within the IECEx System, Equipment Scheme 02.

Circulation to: Members of the IECEx Management Committee, ExMC

INTRODUCTION

In accordance with the 5 year re-assessment plan for the surveillance and monitoring of bodies within the IECEx System, the following document contains the IECEx Re-assessment Report for the continued acceptance of Bureau Veritas Consumer Products Services GmbH, DE, as an Accepted IECEx Certification Body (ExCB) and Accepted Test Laboratory (ExTL).

This report is hereby submitted for endorsement during the ExMC 2016 Meeting being held in Umlangha, South Africa.

Chris Agius

IECEx Secretariat

| IECEx Secretariat Australia Square Level 33, 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 4628 4690 Fax: +61 2 4625 3480 Email: chris.agius@iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form

IECEx Assessment Report Form for use by IECEx Assessment Teams to report Assessments conducted according to the IECEx Assessment Procedures of

- Operational Document IECEx OD 003-2 for the Certified Equipment Scheme

- Operational Document IECEx OD 016 for the Certified Service Facility Scheme

- Operational Document IECEx OD 022 for the IECEx Conformity Mark Licensing System

IECEx ExCB/ExTL assessment report for

Bureau Veritas Consumer Products Services Germany GmbH

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

(Update when report is complete – by right click, Update field, Update entire table)

1	Assessment information	4

1.1	Type of Body covered by this assessment:	4

1.2	Type of assessment:	4

1.3	Details of body	4

1.3.1	Country	4

1.3.2	Name of body	4

1.3.3	Name and title of nominated principal contact	4

1.4	Assessment information	4

1.4.1	Members of the assessment team	4

1.4.2	Place(s) of assessment	4

1.4.3	Assessment date(s)	4

1.5	Application information	4

1.6	Scope	4

1.6.1	ExCB scope for equipment certification scheme	4

1.6.2	ExTL scope	6

1.6.3	ExCB scope for Service Facilities Scheme	6

1.6.4	ExCB scope for ExMark Scheme	6

2	Common information	7

2.1	Legal entity of body	7

Bureau Veritas Consumer Products Services Germany GmbH is registered under number HRB 3564, Local Court Register Schwerin, Germany.	7

2.2	History	7

2.3	Documentation	7

2.3.1	Quality manual	7

2.3.2	Procedures	7

2.3.3	Work instructions	7

2.3.4	Records (including test records where relevant)	7

2.3.5	Document change control	8

2.4	Confidentiality	8

2.5	Publications (Hard cover and Electronic)	8

2.6	Recognition and agreements	8

2.7	Internal audit and periodic management review	8

2.8	Contracting, subcontracting, use of other labs and use of other locations	8

2.9	Training and competence	8

2.10	Complaints and appeals (including appeals to IECEx)	8

2.11	Special facts to be noted	9

2.11.1	Supporting documentation	9

2.12	Recommendations	9

3	ExCB for IECEx Certified Equipment Scheme	10

3.1	Assessment references	10

3.2	Candidate ExCB persons interviewed	10

3.3	Associated ExTL(s)	10

3.4	Associated certification functions	10

3.5	National marks and certificates	10000

3.6	Standards accepted	10

3.7	National differences to IEC standards	10

3.8	Organisation	11

3.8.1	Names, titles and experience of the senior executives	11

3.8.2	Name, title and experience of the quality management representative	11

3.8.3	Name and title of signatories for certification	11

3.8.4	Other employees in ExCB activity	11

3.9	Organizational structure	11

3.10	Administration	11

3.10.1	Administrative structure	11

3.10.2	Indemnity insurance	11

3.11	Resources	11

3.12	Committees (such as governing or advisory boards)	11

3.13	Certification operations	12

3.13.1	National approval/certification methods	12

3.13.2	Certification policy	12

3.13.3	Application for certification	12

3.13.4	Certification decision	12

3.13.5	Suspension and cancellation of certificates	12

3.14	Certificates issued	12

3.15	National accreditation	13

3.16	Assessment of manufacturers and issue of QARs	13

3.17	Comments (including issues found during assessment)	13

4	ExTL for IECEx Certified Equipment Scheme	14

4.1	Assessment references	14

4.2	Candidate ExTL persons interviewed	14

4.3	Associated ExCB(s)	14

4.4	Organisation	14

4.4.1	Names, titles and experience of the senior executives	14

4.4.2	Name, title and experience of the quality management representative	14

4.4.3	Other employees in ExTL activity	14

4.5	Organizational structure	15

4.6	Resources	15

4.7	Test reports issued	15

4.8	National accreditation	15

4.9	Calibration	15

4.10	Tests witnessed	16

4.11	Comments (including issues found during assessment)	16

5	Annexes	16

Annex A Overall Organisation Chart	17

Annex B Organisation Chart of ExTL and ExCB	18

Annex C Accreditation Certificate for Product Certification	19

# Assessment information

## Type of Body covered by this assessment:

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment:

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country

Germany

### Name of body

Bureau Veritas Consumer Products Services Germany GmbH

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Dieter Zitzmann | Certification Manager | Dieter.Zitzmann@de.bureauveritas.com |

## Assessment information

### Members of the assessment team

| Name | Role (modify as necessary) |
| --- | --- |
| Ron Webb | Lead Assessor |
| Bernard Piquette | Expert Assessor |

### Place(s) of assessment

Businesspark A96, 86842 Türkheim, Germany

### Assessment date(s)

9-11 June 2015

## Application information

## Scope

### ExCB scope for equipment certification scheme

| Number | Title |
| --- | --- |
| IEC 60079-0 Edition 5 Edition 6 | Explosive atmospheres - Part 0: Equipment - General requirements |
| IEC 60079-1 Edition 6 Edition 7 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures ‘d’ |
| IEC 60079-2 Edition 5 Edition 6 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure ‘p’ |
| IEC 60079-5 Edition 4 Edition updated | Explosive atmospheres - Part 5: Equipment protection by powder filling ‘q’ |
| IEC 60079-6 Edition 3 Edition 4 | Explosive atmospheres - Part 5: Equipment protection by oil immersion ‘o’ |
| IEC 60079-7 Edition 4 Edition 5 | Explosive atmospheres - Part 7: Equipment protection by increased safety ‘e’ |
| IEC 60079-11 Edition 5 Edition 6 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety ‘i’ |
| IEC 60079-15 Edition 3 Edition 4 | Explosive atmospheres – Part 15: Equipment protection by type of protection ‘n’ |
| IEC 60079-18 Edition 3 Edition 4 Edition updated | Explosive atmospheres – Part 18: Equipment protection by encapsulation ‘m’ |
| IEC 60079-25 Edition 1 | Explosive atmospheres - Part 25: Intrinsically safe electrical systems |
| IEC 60079-26 Edition 1 Edition 2 Edition 3 Edition updated | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga |
| IEC 60079-27 Edition 1 Edition 2 | Explosive atmospheres - Part 27: Fieldbus intrinsically safe concept (FISCO) |
| IEC 60079-28 Edition 1 Edition 2 | Explosive atmospheres — Part 28: Protection of equipment and transmission systems using optical radiation |
| IEC 60079-30-1 Edition 1 | Explosive atmospheres — Part 30-1: Electrical resistance trace heating — General and testing requirements |
| IEC 60079-31 Edition 1 Edition 2 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure ‘t’ |
| *IEC 61241-0 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements |
| *IEC 61241-1 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosure ‘tD’ |
| *IEC 61241-1-1 Edition 2 | Electrical apparatus for use in the presence of combustible dust - Part 1-1: Electrical apparatus protected by enclosures and surface temperature limitation - Specification for apparatus |
| *IEC 61241-4 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 4: Protection by pressurization ‘pD’ |
| *IEC 61241-11 Edition 1 | Electrical apparatus for use in the presence of combustible dust – Part 11: Protection by intrinsic safety 'iD' |
| *IEC 61241-18 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 18: Protection by encapsulation ‘mD’ |
| IEC 62086-1 Edition 1 | Electrical apparatus for explosive gas atmospheres – Electrical resistance trace heating – Part 1: General and testing requirements |

NOTE 1	Standards shown with an asterisk (*) are superseded standards

NOTE 2	Unless otherwise indicated, earlier editions of standards (even if with a different number) are considered to be covered in the above scope for the purposes of the assessment.

NOTE 3	The above list highlights any extension of scope in the list above for new standards or later editions of standards already in scope.

During the assessment visit a request was made to add the latest editions of IEC 60079-5, IEC 60079-18 and IEC 60079-26.  The test requirements are not affected by the new editions and these are included in the table above.

ExCB scope for Service Facilities Scheme

Not included

### ExCB scope for ExMark Scheme

Not included

# Common information

## Legal entity of body

## Bureau Veritas Consumer Products Services Germany GmbH is registered under number HRB 3564, Local Court Register Schwerin, Germany.

## History

Bureau Veritas Consumer Products Services Germany GmbH located in Tuerkheim (Germany) has been created by Bureau Veritas in September 2007. It integrates most of the activities of Innova, a privately owned company created in 2000, bought in January 2007 at 100% by Bureau Veritas and located in Kaufbeuren. Since 18th of August 2009 the fusion has been completed to Bureau Veritas Consumer Products Services Germany GmbH. ExMC/667/DV April 2011.

Since September 2007 Bureau Veritas Consumer Products Services Germany GmbH is currently issuing documents of compliance, in different areas like: Prüfbescheinigungen (CE), Unbedenklichkeitsbe-scheinigungen; GS-Certificates and BG- Certificates, in the field of electrical safety (Power Supply for Office/ Lab equipment, Battery loader, Luminares, IT, household appliances, Medical and ATEX). Faithful to its origins Bureau Veritas Consumer Products Services Germany GmbH provides testing services to different customers in the areas of IEC 60950, 60335, 60601, 61558 and 61010.

Bureau Veritas Consumer Products Services Germany GmbH has especially experiences in testing of power supply for IT equipment and medical devices. It currently conducts Factory Inspections for these products under the BV-GS- and BV-BG- Mark.

Since 2007-09-01 Bureau Veritas Consumer Products Services Germany GmbH operates a facility of around 1300m2 in the Industrial Business Park of Türkheim, which enables highly effective testing.

## Documentation

### Quality manual

The Global Quality Manual is valid for all activities at Bureau Veritas Consumer Products Services Germany GmbH in Türkheim and describes the quality policy and the management system and found to meet IECEx requirements .

### Procedures

All necessary standard operation procedures (SOP) are available according to ISOIEC 17025. The Quality manual refers to these SOP’s which were reviewed and found to meet IECEx requirements.

### Work instructions

All necessary standard operation procedures (WI’s) are available according to ISO/IEC 17025. The Quality manual refers to these WI’s which were reviewed by the assessment team, and found to meet the IECEx System requirements.

### Records (including test records where relevant)

Documents are stored electronically where possible.  Handwritten notes and records are stored in the project file.  Hardcopy documents are kept for 10 years minimum after validation of the certificate.  After this time the documents can be disposed of by shredding.

NOTE 1	Example records should be sought of oldest records both in electronic and hard copy to test the retrieval and existence of records, including archival records.

NOTE 2	Information should be sought on whether there is a method of secure disposal of hard copy records once they have been placed on an electronic system.

### Document change control

Bureau Veritas Consumer Products Services Germany GmbH document control procedures are detailed in Chapter 5.3 of the quality manual with the assessment team finding that the procedures meet the requirements of ISO/IEC 17025 and Guide 65 (ISO/IEC 17065), as well as, IECEx related documentation, including keeping up to date with IECEx website.

## Confidentiality

The confidentiality issue is described in the QM.  The Corporate Management Manual of Bureau Veritas is binding for each Bureau Veritas Group Member. It is outlined as management task to implement tools to assure confidentiality and conflict of interest. In addition, the employment contract deals with these issues and requires a written statement signed by the employees.

## Publications (Hard cover and Electronic)

Information about Bureau Veritas Consumer Products Services Germany GmbH activities can be found on their website at www.bureauveritas.de/cps.

## Recognition and agreements

There are no recognitions and agreements in the Ex field.

## Internal audit and periodic management review

Internal audits are carried out in accordance with the management procedure CPSD-DE-HL-M-571-029-V00. This covers a series of audits through the last year with coverage of all the quality elements and departments/activities. The latest internal audit for certification body was conducted on 28 January 2015.  This found that the training plan had not been completed but this has now been done. . The requirements of the IECEx were fulfilled

The periodic management review is conducted annually. The latest management review covering both the certification body and the testing laboratory were carried out on 17 November 2014. The requirements of the IECEx were fulfilled.

## Contracting, subcontracting, use of other labs and use of other locations

The procedures refer to OD 024 for witness testing and a signed agreement with one manufacturer was sighted.

An agreement was also sighted which identified a subcontract agreement with IBExU to undertake testing in the event that existing facilities were unavailable at Bureau Veritas Consumer Products Services Germany GmbH. The list of tests is identified the site assessment report.

## Training and competence

There is a well documented plan for training and competence evaluation.  Records of the training were viewed and found to meet the requirements of IECEx.

## Complaints and appeals (including appeals to IECEx)

The complaints procedure is described in the QM. It was checked during the assessment and found to meet the requirements of the IECEx.

## Special facts to be noted

### Supporting documentation

Copies of additional supporting information for this assessment have been provided to BV and the IECEx Secretariat.  These are included in a site assessment report and include:

- Details of issues raised and how these have been resolved

- Checklist for ISO/IEC 17065

- Checklist for ISO/IEC 17025

- Completed technical capability document (TCD)

- Photos of the facilities/tests witnessed

- Assessors’ notes

- Report and Certificate checks

## Recommendations

Based on the assessment performed between 9 and 11 June 2015 Bureau Veritas Consumer Products Services Germany GmbH is recommended for continued acceptance in the IECEx scheme as:

- An ExCB in the IECEx Certified Equipment Scheme

- An ExTL in the IECEx Certified Equipment Scheme

This is according to the scope of the standards listed in this document noting the pending completion of test facilities (water trough) for IEC 60079-30-1.  Once completed extension to include this standard is recommended for the ExTL as the ExCB currently works with IBExU for this standard.

| Ron Webb | Bernard Piquette |
| --- | --- |
| Lead Assessor | Expert Assessor |

Date:  11 June 2105

# ExCB for IECEx Certified Equipment Scheme

## Assessment references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- OD003-2  Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- OD005-2 IECEx Quality System Requirements for Manufacturers – Part 2: Audit Checklist.  (This is available in a Word format for use by ExCBs)

- ISO/IEC 80079-34 Edition 1, Explosive atmospheres – Part 34: Application of quality systems for equipment manufacture

- OD009 Issuing of CoCs, ExTRs and QARs

- IECEx Document OD 025 Guidelines on the Management of Assessment and Surveillance programs for the assessment of Manufacturer’s Quality Systems in accordance with the IECEx Scheme

- OD0026 IECEx Certified Equipment Scheme – Guidelines for the qualification of Lead Auditor and Auditors, in accordance with the IECEx System

- ISO/IEC Guide 17065:1996, Edition 1, General requirements for bodies operating product certification systems

- IECEx Document OD17 Drawing and documentation guidance

- IECEx Technical Capability document (TCD)

- ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied

## Candidate ExCB persons interviewed

| Name | Position |
| --- | --- |
| Dieter Zitzmann | Certification Manager |

## Associated ExTL(s)

The TL is integral with the CB

## Associated certification functions

Bureau Veritas Consumer Products Services Germany GmbH is a Notified Body under the ATEX Directive

## National marks and certificates

There are no national certificates issues for Ex product

## Standards accepted

See clause 1.6 of this report

## National differences to IEC standards

National differences to IEC standards are those for the group differences listed in the latest version of the IECEx Scheme Bulletin.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title |
| --- | --- |
| Michael Grytz | General Manager |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Dieter Zitzmann | Quality Manager | 25+ years |

### Name and title of signatories for certification

| Name | Title |
| --- | --- |
| Dieter Zitzmann | Certification Manager |
| Jurgen Zeiger | Certification Specialist |

### Other employees in ExCB activity

| Name | Title | Responsibility and Experience in Ex |
| --- | --- | --- |
| Thomas Lammel | Head of Laboratory | 12 years |
| Magnus Huber | Technical Certifier | 6 years |

## Organizational structure

See chart as Annex A and Annex B

## Administration

### Administrative structure

See annex A

### Indemnity insurance

Bureau Veritas Consumer Products Services Germany GmbH holds indemnity coverage from Allianz Versicherungs-AG The contract was viewed and found to meet the requirements of the IECEx. The insurance contract was renewed on 30 September 2014 for a further year.

## Resources

In the certification section there are three persons together with adequate administration staff.

## Committees (such as governing or advisory boards)

There is an advisory board that meets annually.  The minutes of the last meeting on 16 June 2014 were viewed and found to meet the requirements of the IECEx.

## Certification operations

### National approval/certification methods

Bureau Veritas Consumer Products Services Germany GmbH operates as a Notified Body under ATEX directive in the field of testing and certification of electrical apparatus used for explosive atmospheres.

### Certification policy

The quality policy statement of the body is involved in the quality manual and meets the principles of the IECEx System.

### Application for certification

The application form for Ex applications was viewed and is in line with the IECEx 02 requirements.

### Certification decision

The certification decision is made by designated persons from the ExCB.  A checklist for certification is used.

### Suspension and cancellation of certificates

There is a general procedure for withdrawal and cancellation.

## Certificates issued

Number of certificates issued under for the last four years for each type of protection.  For new applications these should be for national or regional schemes and for currently accepted bodies IECEx certificates should be shown (certificates for other schemes may also be shown):

| Standard numbers | Type of protection or other identifying information | Number of issued certificates (for last 4 years) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2012 | 2013 | 2014 | 2015 | Total |
| 60079-0 | General requirements |  |  |  |  | Included in others |
| 60079-1 | Ex d | 43 | 46 | 107 | 43 | 239 |
| 60079-2 | Ex p | 1 | 4 | 7 | 2 | 14 |
| 60079-5 | Ex q |  |  |  |  |  |
| 60079-6 | Ex o |  |  |  |  |  |
| 60079-7 | Ex e | 11 | 21 | 36 | 10 | 78 |
| 60079-11 | Ex i | 21 | 15 | 37 | 23 | 96 |
| 60079-15 | Ex n | 6 | 12 | 34 | 5 | 57 |
| 60079-18 | Ex m | 2 | 2 | 9 | 5 | 18 |
| 60079-25 | Is systems |  |  |  |  |  |
| 60079-26 | EPL Ga |  |  | 3 | 1 | 4 |
| 60079-27 | FISCO |  |  |  |  |  |
| 60079-28 | Ex op is | 1 | 2 | 3 | 1 | 7 |
| 60079-30-1 | Trace heating | 5 | 1 | 5 | 1 | 12 |
| 60079-31 | Ex t | 16 | 14 | 32 | 15 | 77 |

## National accreditation

Bureau Veritas Consumer Products Services Germany GmbH is a Notified Body under the ATEX Directive.  Notification has been made via ZLS based on assessments to ISO/IEC 17065 and ISO/IEC 17025.  The latest certificate from ZLS is shown in Annex C.

An assessment to ISO/IEC 17065 and ISO/IEC 17025 has been carried out by DAkkS and formal documentation confirming accreditation to these standards, covering the scope in 1.6.1 is awaited. Pending receipt of suitable documentation covering ISO/IEC 17025, annual surveillance will be required

## Assessment of manufacturers and issue of QARs

Bureau Veritas Consumer Products Services Germany GmbH have issued several QAR/QAN auditing reports for IECEx and ATEX certification purposes. These have been issued using ISO/IEC 80079-34:2011 as the basis.

## Comments (including issues found during assessment)

There were issues with the use of correct templates and dates on reports that should have been picked up at the Certification stage.  These were resolved to the satisfaction of the team.

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories

- IECEx Document OD17 Drawing and documentation guidance

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied.

## Candidate ExTL persons interviewed

| Name | Position |
| --- | --- |
| Thomas Lammel | Head of laboratory |
| Magnus Huber | Test Engineer |
| Dr Rainer Jany | Test Engineer |
| Gregor Huber | Test Engineer |
| Nils Eusterbrock | Test Engineer |
| Dennis Reuber | Test Engineer |

## Associated ExCB(s)

The CB is integral with the TL

## Organisation

### Names, titles and experience of the senior executives

| Name | Title |
| --- | --- |
| Michael Grytz | General Manage |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Dieter Zitzmann | Quality Manager | 25+ years |

### Other employees in ExTL activity

| Name | Title/responsibility |
| --- | --- |
| Nils Eusterbrock | Test Engineer |
| Nils Dohrmann | Test Engineer |
| Dr Hartmut Franz | Test Engineer |
| Lennard Luckert | Test Engineer |
| Frank Hesmer | Test Engineer |
| Gerhard Lutzenberg | Test Engineer |

## Organizational structure

See chart as Annex A and Annex B

## Resources

The TL has adequate facilities and equipment to carry out the necessary testing.  This is listed in a TCD document held by the Secretariat.

## Test reports issued

Number of test reports (ExTRs) issued under for the last four years for each type of protection.

| Standard numbers | Type of protection or other identifying information | Number of issued reports (ExTRs) (for last 4 years) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2012 | 2013 | 2014 | 2015 | Total |
| 60079-0 | General requirements |  |  |  |  | Included in others |
| 60079-1 | Ex d | 43 | 46 | 107 | 43 | 239 |
| 60079-2 | Ex p | 1 | 4 | 7 | 2 | 14 |
| 60079-5 | Ex q |  |  |  |  |  |
| 60079-6 | Ex o |  |  |  |  |  |
| 60079-7 | Ex e | 11 | 21 | 36 | 10 | 78 |
| 60079-11 | Ex i | 21 | 15 | 37 | 23 | 96 |
| 60079-15 | Ex n | 6 | 12 | 34 | 5 | 57 |
| 60079-18 | Ex m | 2 | 2 | 9 | 5 | 18 |
| 60079-25 | Is systems |  |  |  |  |  |
| 60079-26 | EPL Ga |  |  | 3 | 1 | 4 |
| 60079-27 | FISCO |  |  |  |  |  |
| 60079-28 | Ex op is | 1 | 2 | 3 | 1 | 7 |
| 60079-30-1 | Trace heating | 5 | 1 | 5 | 1 | 12 |
| 60079-31 | Ex t | 16 | 14 | 32 | 15 | 77 |

## National accreditation

Bureau Veritas Consumer Products Services Germany GmbH is a Notified Body under the ATEX Directive.  Notification has been made via ZLS based on assessments to ISO/IEC 17065 and ISO/IEC 17025.  The latest certificate from ZLS is shown in Annex C.

An assessment to ISO/IEC 17065 and ISO/IEC 17025 has been carried out by DAkkS and formal documentation confirming accreditation to these standards, covering the scope in 1.6.1 is awaited.  Pending receipt of suitable documentation covering ISO/IEC 17025, annual surveillance will be required.

## Calibration

Equipment is either calibrated externally or internally according to the relevant procedures   External calibrations are made using accredited calibration laboratories.

## Tests witnessed

The following tests were witnessed during the assessment:

  - Reference pressure measurement

  - Electrostatic test

  - Dust test

  - Temperature test

  - Spark Test

## Comments (including issues found during assessment)

Minor issues were found during the assessment and are identified and included in the site assessment report.  These were all resolved to the satisfaction of the assessment team.

The issues generally concerned use of test equipment and correct use of ExTR templates

# Annexes

See Contents.  (add, modify or delete annexes as necessary).  Please note the following instructions for the IEC template:

NOTE When creating a new annex DO NOT type the word Annex, just create a new empty page and then apply the styles ANNEX_title to the first (empty) line. The word "Annex"  followed by the letter "A" or "B", etc will automatically appear.

TIP: When typing annex titles, separate the lines of the title by "shift+return"

- Overall Organisation Chart

- Organisation Chart of ExTL and ExCB

- Accreditation Certificate for Product Certification

:  Note:  The address in Schwein is the registered address for Bureau Veritas Consumer Products Services Germany GmbH