INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

## Title: Re-assessment Report for the continued acceptance of ExVÁ Testing Station for Explosion Proof Equipment Ltd, (BKI ExVÁ Ltd.) as an Accepted Ex Test Laboratory (ExTL)

## To: Members of the IECEx Management Committee, ExMC

Introduction

In accordance with the 5 year re-assessment plan for the surveillance and monitoring of bodies within the IECEx System, the following document contains the IECEx Re-assessment Report for ExVÁ Testing Station for Explosion Proof Equipment Ltd, (BKI ExVÁ Ltd.) as an Accepted Ex Test Laboratory (ExTL)

This report is issued for endorsement during the 2013 Fortaleza, Brazil Meeting.

Chris Agius

IECEx Secretariat

| IECEx Secretariat Standards Australia Building 286 Sussex Street Sydney NSW 2000 Australia | Tel: +61 2 8206 6940 Fax: +61 2 8206 6272 Email: chris.agius@iecex.com |
| --- | --- |

IECEx RE-ASSESSMENT REPORT FOR

ExVÁ Testing Station for Explosion Proof Equipment Ltd. (BKI ExVÁ Ltd.), Hungary

IECEx TEST LABORATORY ExTL

Type of Assessment: (please mark)

Initial assessment for Candidate ExTL

Re-Assessment of ExTL			02 	X

Scope Extension of ExTL

- OBJECT AND FIELD OF APPLICATION

  - Country:

HUNGARY

  - Name of Candidate TL

ExVÁ Testing Station for Explosion Proof Equipment Ltd. (BKI ExVÁ Ltd.)

  - Members of the Assessment Team

Xu Jianping, Team Leader

Alexander Zalogin, Expert Assessor

  - Place and Date of Assessment

ExVÁ Testing Station for Explosion Proof Equipment Ltd. (BKI ExVÁ Ltd.)

H 1037 BUDAPEST
MIKOVINY S.u. 2-4
HUNGARY

12th – 13th September, 2011

  - Assessment References

- IECEx 02 IECEx Certified Equipment Scheme- rules of procedure

- IECEx OD 003 IECEx Assessment procedures

- IECEx OD 009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025:2005

- IECEx Technical Guidance Documents (TGDs)

- ExTAG decision sheets (DSs)

- ExTL scope application document (email) dated 9 June 2011

  - Scope of Application

| Number | Title |
| --- | --- |
| 60079-0 Edition 6 | Explosive atmospheres - Part 0: Equipment - General requirements |
| 60079-1 Edition 6 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” |
| 60079-2 Edition 5 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p” |
| 60079-5 Edition 3 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” |
| 60079-6 Edition 3 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o” |
| 60079-7 Edition 4 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" |
| 60079-11 Edition 6 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” |
| 60079-15 Edition 4 | Explosive atmospheres - Part 15: Equipment protection by type of protection “n” |
| 60079-18 Edition 3 | Explosive atmospheres - Part 18: Equipment protection by encapsulation "m" |
| 60079-26 Edition 2 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga |
| 60079-29-1 Edition 1 | Explosive atmospheres - Part 29-1: Gas detectors - Performance requirements of detectors for flammable gases |
| 60079-31 Edition 1 | Explosive atmospheres - Part 31: Equipment dust ignition protection by enclosure "t" |
| 61241-0 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements |
| 61241-1 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosures “tD” |
| 61241-1-1 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 1-1: Electrical apparatus protected by enclosures and surface temperature limitation - Specification for apparatus |
| 61241-4 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 4: Type of protection "pD" |
| 61241-11 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 11: Protection by intrinsic safety "iD" " |
| 61241-18 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 18: Protection by encapsulation "mD" |
| 61779-1 Edition 1 | Electrical apparatus for the detection and measurement of flammable gases - Part 1: General requirements and test methods |
| 61779-2 Edition 1 | Electrical apparatus for the detection and measurement of flammable gases- Part 2: Performance requirements for group I apparatus indicating a volume fraction up to 5% methane in air |
| 61779-3 Edition 1 | Electrical apparatus for the detection and measurement of flammable gases- Part 3: Performance requirements for group I apparatus indicating a volume fraction up to 100% methane in air |
| 61779-4 Edition 1 | Electrical apparatus for the detection and measurement of flammable gases- Part 4: Performance requirements for group II apparatus indicating a volume fraction up to 100% lower explosive limit |
| 61779-5 Edition 1 | Electrical apparatus for the detection and measurement of flammable gases- Part 5: Performance requirements for group II apparatus indicating a volume fraction up to 100% gas |

  - Candidate TL Persons Interviewed

| Name | Position |
| --- | --- |
| Edit MOLNÁR | Head of the Testing Laboratory |
| Bernadett SZEGVÁRI | Quality Management Representative |
| Béla DENCZ | Testing Officer |
| György MÁDAY | Testing Officer |
| Gergely KOVÁCS | Testing Officer |
| Gábor PONGRÁCZ | Testing Officer |

  - Legal Entity of The Candidate TL

As the national testing station of Hungary in the field of explosion protection, BKI ExVÁ Ltd is legaly registered to the Hungarian Ministry of Administration under the number Cg.01-09-360770. BKI ExVÁ Ltd stated that there had been no change in the legal status of the company since the last re-assessment in 2005.

  - Associated ExCB

The associated ExCB is integral with the ExTL at same site, and has same legal identity.

  - Financial Support

BKI ExVÁ Ltd is a wholly-owned company belonging to the Hungarian Government, but is stated as relying entirely on the income generated from its testing, certification and inspection activities to fund its operating and investment costs.

  - History

The Testing Station for Explosion Proof Equipment Company Limited (abbreviation  ExVÁ Ltd) and its legal predecessors established by the Ministry of  Heavy Industry of the Hungarian Government have been acting as a national institution for the test and certification of Ex-proof electrical equipment since 1960.

At first the Test Station was part of the Mining Research Institute (BKI) applying in its documents the logo  as the certification mark. (In its decision of 16th June 2000 the Hungarian Patent-Office registered the logo ). Later BKI was re-organised, enlarged and transformed to Central Institute for Development in Mining (Hungarian abbreviation KBFI).

Having retired from KBFI in 1994 ExVÁ Ltd became and independent economic company as the legal successor of the activity of BKI-KBFI performing testing and certification thus ensuring the continuity of these activities in time.

ExVÁ Ltd is a Government owned, one-man economic company with the Hungarian State Holding Company exercising the rights of the owner. ExVÁ Ltd is managed by the director; its activity is controlled by the Board of Supervision and the auditor.

In May 2004, BKI ExVÁ Ltd became as an European Notified Body under the ATEX Directive.

- ORGANISATION

  - Names, Titles and Experience of the Senior Executives

| Name | Title | Experience |
| --- | --- | --- |
| Edit MOLNÁR | Head of the Testing Laboratory | 1998: Graduated as en electrical engineer 1998-2002: Designer and QM representative 2002-: Testing Officer Course in QM Representative in 2002 ISO 9000:2000 Series Auditor and Lead Auditor Training Course in 2003 |

  - Name, Title and Experience of the Quality Management Representative

| Name | Title | Experience |
| --- | --- | --- |
| Bernadett SZEGVÁRI | Quality Management Representative | 16 years at BKI, 3 years in Quality Management QM Internal Auditor TRA/09/30483 |

  - Name and Title of Nominated Principal Contact

| Name | Title | Comments |
| --- | --- | --- |
| János FEJES | Managing Director | Tel: +36 1 250 1720 Fax:+36 1 250 1720 Email: bkiex@bki.hu |

  - Employees

| Name | Title | Experience |
| --- | --- | --- |
| Béla DENCZ | Testing Officer | 24 years at BKI, 13 years in Ex field, currently mainly work for Ex e laboratory department |
| Gergely KOVÁCS | Testing Officer | 3 years at BKI, 3 years in Ex field, currently mainly work for Ex d and thermal-test lab. Dept. |
| György MÁDAY | Testing Officer | 6 years at BKI, 6 years in Ex field, currently mainly work for motor testing lab. Dept. |
| Gábor PONGRÁCZ | Testing Officer | 3 years at BKI, 3 years in Ex field, currently mainly work for Ex i laboratory department |

  - Organizational Structure

See Annex 1.

- RESOURCES

BKI ExVÁ Ltd is well resourced and operates properly in purpose-built premises within a secure compound. Adequate provisions are made for the working areas and facilities for the staff. Arrangements for the secure storage of documents appeared adequate.

The laboratory has necessary test facilities covering a wide range of Ex testing, procedures, working instructions and qualified staff to carry out Ex testing.

At the time of re-assessment, there are 6 staff involved in the testing laboratory activities, in which 4 staff are testing officers, head of the laboratory and one additional quality management representative. The Ex testing operations are controlled by the documented management quality system.

- DOCUMENTATION

  - Quality Manual

BKI ExVÁ Ltd. has created separate Quality Manuals for the Certification Body and Testing Laboratory operations. The Quality Manual of the Testing Laboratory is issued according to ISO/IEC 17025 in English language only. The assessment team noted that the quality manual has been updated to Edition 2 dated on 15 January 2010, and satisfied with its incorporation with the requirements of the relevant IECEx rules and procedures.

  - Procedures

There are 29 Annexes (M1-M29) and 30 procedures (E1-E30) supporting the Laboratory’s Quality Manual. All the necessary procedures were found to be in place.

The procedure for subcontracting was reviewed, and the assessment team noted that the requirement of relevant IECE operational documents (for example, OD024) were properly merged with the ExTL’s quality manual, and found to meet the requirements of IECEx system.

  - Work Instructions

The specific testing procedures to be carried out by the ExTL personnel are outlined in the procedures of ExTL’s Qaulity Manual (E4-Procedure) in conjunction with the details in a series of related instructions (32 in total), which include operating of equipment as well as procedures for relevant Ex tests. The working instruction for measuring of clearance and creepage distance using computer controlled measuring microscope (eA8, Rev.1) was checked as an example, and found to be satisfactory.  All the relevant procedures and instructions are available at working place and found to meet the requirements of IECEx system.

  - Records

BKI ExVÁ Ltd establishes suitable procedures dealing with quality records. The procedures ensure that all records related to IECEx testing and certification activities are maintained with a retention time of 10 years.

The detailed requirements on records can be found in Clause 4.3.1 of the ExTL’s Quality Manual. The relevant records are properly stored by using registration numbers.

  - Document Change Control

Documents are all subject to a change control procedure. The detailed requirements can be found in Clause 4.3.3, Article 4 of the ExTL’s Quality Manual. The requirement includes regular checks of those being used in the workplace.

  - Test Records

The detailed requirements are specified in Clause 4.13.2, Article 4 of the ExTL’s Quality Manual. It was checked along with the review of examples of records, and found to meet the IECEx requirements.

- TEST REPORTS

  - Test Reports Issued

Number of test reports issued under the IECEx, national or regional schemes in the preceding four years for each type of protection:

| Standards | Title | Number of issued test reports |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2008 | 2009 | 2010 | 2011 | Total |
| 60079-0 | Explosive atmospheres - Part 0: Equipment - General requirements |  |  |  |  | Part 0 included in numbers below |
| 60079-1 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | 11 | 6 | 0 | 1 | 18 |
| 60079-2 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p” | 0 | 0 | 0 | 0 | 0 |
| 60079-5 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | 0 | 0 | 0 | 0 | 0 |
| 60079-6 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o” | 0 | 0 | 0 | 0 | 0 |
| 60079-7 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" | 15 | 3 | 0 | 0 | 18 |
| 60079-11 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | 7 | 5 | 1 | 4 | 17 |
| 60079-15 | Explosive atmospheres - Part 15: Equipment protection by type of protection “n” | 0 | 0 | 2 | 1 | 3 |
| 60079-18 | Explosive atmospheres – Part 18: Equipment protection by encapsulation "m" | 2 | 0 | 0 | 0 | 2 |
| 60079-26 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga | 2 | 0 | 0 | 3 | 5 |
| 60079-29-1 | Explosive atmospheres - Part 29-1: Gas detectors – Performance requirements of detectors for flammable gases | 0 | 0 | 0 | 0 | 0 |
| 60079-31 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" | 0 | 0 | 2 | 1 | 3 |
| 61241-0 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements | 10 | 6 | 2 | 1 | 19 |
| 61241-1 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosures “tD” | 10 | 5 | 0 | 0 | 15 |
| 61241-4 | Electrical apparatus for use in the presence of combustible dust - Part 4: Type of protection "pD" | 0 | 0 | 0 | 0 | 0 |
| 61241-11 | Electrical apparatus for use in the presence of combustible dust - Part 4: Protection by intrinsic safety "iD" | 0 | 0 | 0 | 0 | 0 |
| 61241-18 | Electrical apparatus for use in the presence of combustible dust - Part 18: Protection by encapsulation "mD" | 0 | 0 | 0 | 0 | 0 |

- CALIBRATION

The detailed requirements on calibration of equipment are described in Clause 5.4, Article 4 of the ExTL’s Quality Manual. Equipment is either calibrated internally or sent out to an external calibration laboratory for calibration.  All the calibrated equipment carries calibration labels and details are also contained in a computer database that is used to flag when calibration is due.

During the assessment, the assessment team noted that two climatic chambers were out of order and were not calibrated. This has been subsequently resolved. A new calibration certificate was sighted and satisfactory.

- CONFIDENTIALITY

The detailed requirements on confidentiality are specified in M16 of the ExTL’s Quality Manual. The assessment team noted that all the BKI staff are subjected to the strict confidentiality requirements. The signed Declaration of Confidentiality was reviewed, and found to meet the IECEx requirements.

- NATIONAL ACCREDITATION

The national accreditation for BKI ExVÁ Ltd being as a testing laboratory for equipment used in explosive atmospheres is from the Hungarian Accreditation Board (NAT) – a full member of ILAC. The latest accreditation certificate is issued in accordance with the standard EN ISO/IEC 17025:2005. The certificate with identification number NAT-1-1034/2009 is valid until 13 January 2013. A copy of the national accreditation certificate is attached as Annex 2 of this report.

A copy of national accreditation scope was reviewed, and found the standards of IEC 60079-26, IEC 61241-4, IEC 61241-11 and IEC 61241-18 listed in Clause 1.6 are not listed in their existing national accreditation scope at the time of this site assessment. BKI management agreed to be subjected to an annual surveillance visit by IECEx until a new national accreditation certificate, covering the above mentioned standards, is forwarded to the IECEx secretariat.

- RECOGNITION AND AGREEMENTS

BKI ExVÁ Ltd holds several mutual recognition and agreements, including:

-  PTB Germany, 1999

-  TÜV Austria, 2000

-  PSB Singapore, 2004

-  TÜV Rheinland Intercert Ltd., Hungary, 2011

- INTERNAL AUDIT AND PERIODIC REVIEW

The requirements for internal audit and periodic review are specified in Article 4.14 and 4.15 of the ExTL’s Quality Manual. As part of the BKI Quality Management requirements, BKI conduct an internal audit and periodic management review as scheduled annually.  There are monthly audit plans as a yearly complete internal audit, and the latest audit was carried out on 22 August 2011. The management review is conducted once a year, and the latest one was conducted on 3 December 2011.

The relevant records were checked and found the management review did not specifically indicate the evaluation against additional IECEx requirements, e.g. Compliance IECEx rules, procedures and operational documents.  This deficiency has been subsequently resolved to the satisfaction of the IECEx assessment team.

- COMPLAINTS AND APPEALS (Including appeals to IECEx)

BKI ExVÁ Ltd operates an appeals procedure handling customer complaints and disputes, and the detailed requirements and procedures are specified in Article 4.8 and its supporting procedure E8 which is referenced with the ExTL’s Quality Manual. The management of the body stated that no appeals and complaints had been received since the last re-assessment.

During the site assessment, the procedure was checked, and the assessment team noted that the appeal procedure includes reference to the further right of manufacturers to use the IECEx appeal procedure. These are satisfactory to meet the requirements of the IECEx System.

- SPECIAL FACTS TO BE NOTED

  - Supporting Documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These include:

- Details of issues raised and how these have been resolved

- Checklist for ISO/IEC 17025

- Competence Matrix

- List of Subcontractors

- Completed technical guidance (TGDs)

- Photos of the facilities

  - Other Issues

BKI ExVÁ Ltd documented that TÜV Rheinland Intercert Ltd in Hungary is used as a subcontractor for IP testing to IEC 60529 which is required for dust protection, increased safety or intrinsic safety, EMC and vibration testing for IEC 60079-29-1, as well as climate testing for IEC 60079-0. The TÜV Rheinland Intercert Ltd is accredited by the Hungarian Accreditation Board in accordance to ISO/IEC 17025 as a qualified laboratory for IP, climate, vibration and EMC tests. The contract and relevant supporting documents were checked and found to meet the IECEx requirements.

- COMMENTS (Including issues found during assessment)

A number of issues were raised during this re-assessment and reported to BKI ExVÁ Ltd at the end of re-assessment.  All the issues relating with ExTL have subsequently been resolved to the satisfaction of the assessment team. Details of issues and how these have been resolved are listed in Annex B of the site assessment report.

- RECOMMENDATION

Based on the re-assessment performed from12th to 13th September 2011, the Testing Station for Explosion Proof Equipment Ltd. (BKI ExVÁ Ltd.) is recommended for continued acceptance in the IECEx system as an IECEx Testing Laboratory (ExTL) according to the scope of the standards listed in this document.

| Lead Assessor Xu Jianping | Expert Assessor Alexander Zalogin |  |
| --- | --- | --- |

Date:  15 August 2012

List of Annexes:

- Overall Organization Chart of ExTL of ExVÁ Ltd. (BKI)

- Accreditation Certificate according to ISO/IEC 17025

Annex 1: Overall organization Chart of ExTL of ExVÁ Ltd. (BKI)

| ExVÁ Ltd. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Board of Supervision |  |  |  |  |  |  | Governing Board |  |  |  |  |  |  | Auditor |  |  |  |  |  |
|  |  |  |  |  |  |  | Director |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Counsel |  |  |  |  | Personnel Manager |  |  |  | Administra-tion of ExVÁ Ltd. |  |  |  |  | Financial Manager |  |  |  |  |
|  |  |  | Certification body of ExVÁ Ltd. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Head of Certification Body: János Müllner |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Representative of Quality System: Bernadett Szegvári |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Administration |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Archives |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Quality Assessment Audit Team |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Testing Laboratory of ExVÁ Ltd. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Annex 2:  Accreditation Certificate according to ISO/IEC 17025